## site
id | name | address | geoCity | geoCoord | geoPostalCode | geoState | geoCountry | sq_ft | timezone | customerType | org | m2fstart | m2fend | satstart | satend | sunstart | sunend | serviceVendor | systemVendor | sfappno | sfappdate | cidate | weatherRef | yearBuilt | floors
PS-12345@example_siteID | Big Office Building | 123 Main Street | New York | 40.7812° N, 73.9665° W | 10018 | NY | USA | 675000 | New York | Commercial Office | @ownershipName | 0.29167 | 0.70833 | 0.29167 | 0.70833 | 0.29167 | 0.5 | @serVendorName | @sysVendorName |  | 44362 | 44451 | @weather.NYC | 1962 | 25

## equip
id | siteRef | equipRef | dis | equip | siteMeter | meter | submeterof | elec | gas | steam | water | domestic
@example_utilityElectric | PS-12345@example_siteID |  | Utility Electric Meter [# - utility meter number] |  | 1 | 1 |  | 1
@example_utilityGas | PS-12345@example_siteID |  | Utility Natural Gas Meter [# - utility meter number] |  | 1 | 1 |  |  | 1
@example_utilitySteam | PS-12345@example_siteID |  | Utility Steam Meter # - [# - utility meter number] |  | 1 | 1 |  |  |  | 1
@example_UtilityWater | PS-12345@example_siteID |  | Utility Water Meter [# - utility meter number] |  | 1 | 1 |  |  |  |  | 1 | 1
@example_sitesElectric | PS-12345@example_siteID | @example_siteMeterID_E | Main Electric Meter [# - name plate manufacturer/model] | 1 | 1 | 1 |  | 1
@example_siteGas | PS-12345@example_siteID | @example_siteMeterID_G | Main Natural Gas Meter [# - name plate manufacturer/model] | 1 | 1 | 1 |  |  | 1
@example_siteSteam | PS-12345@example_siteID | @example_siteMeterID_S | Main Steam Meter [# - name plate manufacturer/model] | 1 | 1 | 1 |  |  |  | 1
@example_siteWater | PS-12345@example_siteID | @example_siteMeterID_W | Main Water Meter [# - name plate manufacturer/model] | 1 | 1 | 1 |  |  |  |  | 1 | 1
@example_tenantElectric_00001 | PS-12345@example_siteID | @example_siteMeterID_E | Tenant Submeter [# - name plate manufacturer/model] | 1 |  | 1 | 1 | 1
@example_tenantElectric_00002 | PS-12345@example_siteID | @example_siteMeterID_E | Tenant Submeter [# - name plate manufacturer/model] | 1 |  | 1 | 1 | 1
@example_tenantElectric_00003 | PS-12345@example_siteID | @example_siteMeterID_E | Tenant Submeter [# - name plate manufacturer/model] | 1 |  | 1 | 1 | 1
@example_tenantElectric_00004 | PS-12345@example_siteID | @example_siteMeterID_E | Tenant Submeter [# - name plate manufacturer/model] | 1 |  | 1 | 1 | 1
@example_tenantElectric_00005 | PS-12345@example_siteID | @example_siteMeterID_E | Tenant Submeter [# - name plate manufacturer/model] | 1 |  | 1 | 1 | 1

## point
id | equipRef | dis | sensor | point | unit | virtual
@example_utilityElectric_Demand | @example_utilityElectric | Demand data from Utility Electric Meter | 1 | 1 | kW
@example_utilityElectric_Consumption | @example_utilityElectric | Consumption data from Utility Electric Meter | 1 | 1 | kWh
@example_siteElectric_Demand | @example_sitesElectric | Demand data from Main Electric Meter | 1 | 1 | kW
@example_siteElectric_Consumption | @example_sitesElectric | Consumption data from Main Electric Meter | 1 | 1 | kWh
@example_siteGas_Consumption | @example_siteGas | Consumption data from Main Gas Meter | 1 | 1 | CF
@example_siteSteam_Consumption | @example_siteSteam | Consumption data from Main Steam Meter | 1 | 1 | MLb
@example_siteWater_Consumption | @example_siteWater | Consumption data from Main Water Meter | 1 | 1 | CF
@example_tenantElectric_00001_Demand | @example_tenantElectric_00001 | Demand data from Tenant Electric Meter | 1 | 1 | kW
@example_tenantElectric_00001_Consumption | @example_tenantElectric_00001 | Consumption data from Teant Electric Meter | 1 | 1 | kWh
@example_tenantElectric_00002_Demand | @example_tenantElectric_00002 | Demand data from Tenant Electric Meter | 1 | 1 | kW
@example_tenantElectric_00002_Consumption | @example_tenantElectric_00002 | Consumption data from Teant Electric Meter | 1 | 1 | kWh
@example_tenantElectric_00003_Demand | @example_tenantElectric_00003 | Demand data from Tenant Electric Meter | 1 | 1 | kW
@example_tenantElectric_00003_Consumption | @example_tenantElectric_00003 | Consumption data from Teant Electric Meter | 1 | 1 | kWh
@example_tenantElectric_00004_Demand | @example_tenantElectric_00004 | Demand data from Tenant Electric Meter | 1 | 1 | kW
@example_tenantElectric_00004_Consumption | @example_tenantElectric_00004 | Consumption data from Teant Electric Meter | 1 | 1 | kWh
@example_tenantElectric_00005_Demand | @example_tenantElectric_00005 | Demand data from Tenant Electric Meter | 1 | 1 | kW
@example_tenantElectric_00005_Consumption | @example_tenantElectric_00005 | Consumption data from Teant Electric Meter | 1 | 1 | kWh

## timeseries
time_stamp | @example_utilityElectric_Demand | @example_utilityElectric_Consumption | @example_siteElectric_Demand | @example_siteElectric_Consumption | @example_siteGas_Consumption | @example_siteSteam_Consumption | @example_siteWater_Consumption | @example_tenantElectric_00001_Demand | @example_tenantElectric_00001_Consumption | @example_tenantElectric_00002_Demand | @example_tenantElectric_00002_Consumption | @example_tenantElectric_00003_Demand | @example_tenantElectric_00003_Consumption | @example_tenantElectric_00004_Demand | @example_tenantElectric_00004_Consumption | @example_tenantElectric_00005_Demand | @example_tenantElectric_00005_Consumption
[m/d/yyyy h:00]
[m/d/yyyy h:15]
[m/d/yyyy h:30]
[m/d/yyyy h:45]