## Slide 1
NYS Electric System
Climate Action Council
October 8, 2020

## Slide 2: Bulk vs Distribution System
BULK SYSTEM
Generation: NYISO administers market for large facilities (typically > 5 MW)
  Independent competitive generators
  NYISO operates competitive electric wholesale markets
Bulk Transmission: NYISO administers planning for the Bulk Power Transmission System (generally 230 kV and above)
  FERC sets rates for bulk system investments
  NYS transmission facilities primarily owned by NYS utilities, along with independent developers
DISTRIBUTION SYSTEM
Local transmission and distribution carried out by regulated utilities, PSC as regulator
PSC approves funding of local transmission and distribution investments
  Duty to ensure reliability at “just and reasonable rates”
Retail activities: Carried out by utilities as well as independent energy service companies

## Slide 3
Rate Case Process
Primary mechanism for establishing utility capital and operating expenditure levels
  Public window for guiding utility expenditures
  Opportunity to receive comments on the implementation of the State priorities
  Expert testimony provided by staff and interested parties; Commission decision based on full record though settlement or hearings
  Balance between investments for system reliability, implementation of state programs and rate impacts to consumers

## Slide 4
Notes: All bills are at 600 kWh per month except Con Edison NYC which is at 300 kWh
For upstate companies taxes represent approximately 15% of the total monthly bill
For Con Edison taxes represent approximately 25% of the total monthly bill
Note:
Bill Assistance:
927,000 Customers, $237 Million
Chart: Typical 2019 Residential Monthly Electric Bills
| Central Hudson | Con Edison NYC | Con Edison Westchester | NMPC | NYSEG | O&R | PSEG-LI | RG&E
Delivery | 67.46 | 53.89 | 92.18 | 48 | 41 | 69.99 | 65 | 47
Supply | 32.9 | 23.49 | 39.39 | 24 | 31 | 42.31 | 60 | 24
Surcharges | 3.69 | 5.23 | 3.14 | 5 | 5 | 5.32 | 5.2 | 8

## Slide 5
Chart: Year
Recent Statewide Reliability Metrics
  Note: Con Edison Has Significant Underground Facilities
Notes: This graph shows the frequency performance for the last five years statewide.
Since Con Edison's networks are usually less prone to interruptions than overhead systems, and Con Edison serves a large percentage of the state’s electric customers,
Con Edison's data can skew the overall statistics. As a result, we also review the data with and without Con Edison.
Excluding major storms, the statewide frequency for 2019 was the same as last year and the five-year average.
On average, customers experienced one interruption every 18 months
For utilities other than Con Edison, the statewide frequency excluding major storms, was better than 2018 and the five-year average - customers on average experienced one interruption in 2019.
The major causes for interruptions excluding major storms were equipment failures and tree contacts.
To reduce the frequency of interruptions, the utilities invest in capital projects, inspections, and maintenance activities.
However, decisions made by utilities today, may take several years before being fully reflected in the frequency measure.
(next slide please)

## Slide 6: Integration of New Resources
Goal: Integrate Reliably and Cost-effectively
Non-wires Alternatives
  Utilities applying NWA suitability criteria to capital plans to identify potential NWAs
  Currently over 40 NWAs are being pursued or under consideration
Distributed Energy Resources
  Solar target - 6000 MW by 2025
    Over 2400 MW installed
    Approximately 4700 MW in utility queues
  DPS staff ombudsman and interconnection working groups
  Access to compensation through both retail compensation and NYISO markets

## Slide 7
Integration of New Resources (continued)
Storage
  Target: 1500 MW by 2025; 3000 MWs by 2030
    936 MW operational/awarded, all programs
    Approximately 1200 MW in utility queues
  Utilities also pursuing storage projects through rate cases or PSC proceedings
  Use cases:
    Customer sided
    Distribution system
    Bulk system

## Slide 8
Integration of New Resources (continued)
Beneficial Electrification
  Electric Vehicles
    PSC Make-Ready Order
      Provides for utility funding of EV charging station through 2025
      Sized to meet the NYS ZEV goal
      Locational/System considerations
  Building Electrification
    PSC Order
      Established targets and budgets for heat pumps
      $454 million in funding to achieve 3.6 TBtu

## Slide 9: Integration of New Resources - NYS Electric System Planning
Accelerated Renewable Energy Growth Act
  PSC to establish State transmission and distribution plans to meet CLCPA goals
System studies needed to inform the Plan are underway
  100x40, Offshore Wind, Utility Local T&D
  Initial results will be available by end of December
In early 2021, PSC will:
  Identify bulk level and local T&D investments and needs
    Bulk projects may be implemented through the NYISO process or other mechanisms
  Establish guidelines for integrating CLCPA goals in utility planning processes
PSC will revisit the plan and progress toward CLCPA goals by January 1, 2023 and every 4 years thereafter