Solar Kit Lesson #7

Positioning Solar Panels I: Explorations with Tracking

TEACHER INFORMATION

LEARNING OUTCOME:  After using a mini–solar panel, and tracking and recording data on the Sun’s position in the sky, students are able to identify relationships between position of the Sun and a solar panel’s output power.

LESSON OVERVIEW:  Through one day of activities, students track and record data on the Sun’s position in the sky and on the output of a solar panel tracking the Sun. On a second day, students graph and analyze the data to identify relationships between

(1) the time of day,

(2) the altitude and azimuth of the Sun, and

(3) the positioning of a solar panel set to receive maximum solar energy.

From this analysis, they propose how to position a stationary solar panel to receive the most solar energy possible over the course of a day.

This is the first of two related Solar Kit lessons. In the second related lesson, Positioning Solar Panels II: Explorations with Stationary Panels, students evaluate their proposals for positioning a stationary solar panel and compare stationary and tracking systems.

GRADE-LEVEL APPROPRIATENESS:  This Level II Physical Setting lesson is intended for use in physical science and technology education classrooms in grades 6–9.

MATERIALS

- Bubble level

- Compass

Per work group

- One 1V, 400 mA mini–solar panel* with conversion curve (see the Solar Kit lesson Calibration Curve for a Radiation Meter)

- Digital multimeter or ammeter

- Student handouts

* Available in the provided Solar Education Kit; other materials are to be supplied by the teacher

SAFETY:  Tell students not to look directly at the Sun. Permanent eye damage might result. Instead, tell them to use a maximum current reading to indicate when a solar panel faces the Sun directly.

TEACHING THE LESSON:  Allow for continuous data collection by performing the activity with all of your classes on the same day. If successive classes are working in small groups, numerically assign groups to particular setups. During lunch, preparatory, and supervisory periods, consider making arrangements for a few students to collect data. You might decide to collect early morning and late afternoon data yourself.

Preparation:  Prepare the required number of Sun Trackers and printouts of the Panel Tracker.

Sun Tracker:  Print out the Sun Tracker template. Straighten one bend in a large (jumbo) paper clip. Lay it on a table and bend the straightened section up 90 degrees. Punch this section through the middle of a 10 x 12 inch piece of corrugated cardboard and securely tape the still-bent portion of the paper clip to the cardboard. The straightened section of the paper clip should now form a three-inch-tall post sticking out of the cardboard.

Run the straightened section of paper clip through the center cross of the Sun Tracker template and glue the template to the cardboard. Adjust the post to stick up at 90 degrees from the surface of the paper. Use an object having a 90-degree angle to guide you.

Panel Tracker:  Glue the Panel Tracker template to a piece of cardboard.

Position the trackers:  Position the trackers where they will be as conveniently available to students as possible and where they will receive sunlight for as many daylight hours as possible. They should not be obscured by the shadows of trees, buildings, or other objects.

Use a compass to face the trackers true north and a bubble level to level them. (Note that the compass printed on the Sun Tracker is deliberately off by 180 degrees from the magnetic compass.) Make sure to adjust the compass to account for magnetic north.

Secure the trackers using weights or strong tape to prevent them from being blown away. If they need to be moved during the day, clearly mark their positions so they can be returned to the exact same location for continuing data collection.

Suggested Approach:  To introduce the activity, discuss why the apparent path of the Sun across the sky is important in positioning solar panels to receive the most light. Explain what is really happening that makes the Sun appear to travel across the sky. Define the terms used in the lesson.

Ask for opinions on how to position a solar panel to absorb the most light in a given moment. Discuss the pros and cons of stationary-mounted versus tracking solar panels.

Divide the class into small groups. Go over the Sun Tracker, Panel Tracker, and Data Log with them. If the trackers will need to be moved during the day, you may want to show students how to use a bubble level and compass. Demonstrate how to use an ammeter and a panel’s conversion curve to obtain milliamps and then convert to watts per square meter (W/m2) (see the Solar Kit lesson Calibration Curve for a Radiation Meter). Distribute the handout Tracking Solar Panel: Data Collection, and have students take several readings and record their data in the Data Log.

Once a day’s worth of data has been collected, copy completed sets of Data Logs and Sun Tracker sheets for redistribution to student teams.

Distribute a matched Data Log and Sun Tracker sheet to each team. Distribute the handout Tracking Solar Panel: Data Analysis, and graphs 1–4. Help students with the graphs and their questions as appropriate.

Use the responses to question 8 of the data analysis as experimental setups for Positioning Solar Panels II: Explorations with Stationary Panels.

ACCEPTABLE RESPONSES FOR DEVELOP YOUR UNDERSTANDING SECTION

Data Collection

The data collected will vary but specific patterns should emerge. For each row, the Sun’s altitude and the tilt of the solar panel should add up to approximately 90 degrees. The length of shadow should decrease as the Sun’s altitude increases. The Sun’s azimuth and the angle east of north of the solar panel should be identical within an acceptable margin of error.

Data Analysis

- You must position a solar panel perpendicular to the Sun’s rays to receive the maximum intensity of light.

- Some variation on the equation: altitude (○) + tilt (○) + 90○ = 180○

- Accurate representation of the data collected

- Accurate representation of the data collected

- Accurate representation of the data collected

- Accurate representation of the data collected

- Students should notice that the Sun appears to move faster across the sky at midday.

- Answers and reasoning will vary. Use the responses to generate class discussion and as experimental setups for Positioning Solar Panels II: Explorations with Stationary Panels.

## ADDITIONAL SUPPORT FOR TEACHERS

SOURCE FOR THIS ADAPTED ACTIVITY:  Renewable Energy Activities for Earth Science. Solar Energy Project in cooperation with the New York State Education Department and SUNY Atmospheric Sciences Research Center (out of print).

BACKGROUND INFORMATION:  The Sun only appears to move across the sky as a result of the Earth’s daily rotation on its axis. The Sun’s apparent position in the sky is commonly described by two coordinates, altitude and azimuth. Altitude is the angular distance above the horizon. Altitude is determined by the angle between a line drawn from the eye of the observer to the Sun and the plane of the horizon. Azimuth is the angular distance eastward from a defined direction, generally true north or true south. In this activity, azimuth is referenced from true north.

REFERENCES FOR BACKGROUND INFORMATION:  Columbia On-line Encyclopedia. New York: Columbia University Press, 2002. New York: Bartleby.Com, 2002.

LINKS TO MST LEARNING STANDARDS AND CORE CURRICULA

Standard 1—Analysis, Inquiry, and Design:  Students will use mathematical analysis, scientific inquiry, and engineering design, as appropriate, to pose questions, seek answers, and develop solutions.

Mathematical Analysis Key Idea 1:  Abstraction and symbolic representation are used to communicate mathematically.

Key Idea 2:  Deductive and inductive reasoning are used to reach mathematical conclusions.

Key Idea 3:  Critical thinking skills are used in the solution of mathematical problems.

Scientific Inquiry Key Idea 1:  The central purpose of scientific inquiry is to develop explanations of natural phenomena in a continuing, creative process.

Key Idea 3:  The observations made while testing proposed explanations, when analyzed using conventional and invented methods, provide new insights into phenomena.

### Standard 3—Mathematics:  Students will understand mathematics and become mathematically confident by communicating and reasoning mathematically, by applying mathematics in real-world settings, and by solving problems through the integrated study of number systems, geometry, algebra, data analysis, probability, and trigonometry.

Key Idea 1:  Students use mathematical reasoning to analyze mathematical situations, make conjectures, gather evidence, and construct an argument.

Key Idea 3:  Students use mathematical operations and relationships among them to understand mathematics.

Key Idea 4:  Students use mathematical modeling/multiple representation to provide a means of presenting, interpreting, communicating, and connecting mathematical information and relationships.

Key Idea 5:  Students use measurement in both metric and English measure to provide a major link between the abstractions of mathematics and the real world in order to describe and compare objects and data.

Key Idea 7:  Students use patterns and functions to develop mathematical power, appreciate the true beauty of mathematics, and construct generalizations that describe patterns simply and efficiently.

### Standard 4:  Students will understand and apply scientific concepts, principles, and theories pertaining to the physical setting and living environment and recognize the historical development of ideas in science.

## Physical Setting

Key Idea 1:  The Earth and celestial phenomena can be described by principles of relative motion and perspective.

Key Idea 4:  Energy exists in many forms, and when these forms change energy is conserved.

# Standard 6—Interconnectedness: Common Themes:  Students will understand the relationships and common themes that connect mathematics, science, and technology and apply the themes to these and other areas of learning.

Key Idea 2:  Models are simplified representations of objects, structures, or systems used in analysis, explanation, interpretation, or design.

Key Idea 3:  The grouping of magnitudes of size, time, frequency, and pressures or other units of measurement into a series of relative order provides a useful way to deal with the immense range and the changes in scale that affect the behavior and design of systems.

Key Idea 5:  Identifying patterns of change is necessary for making predictions about future behavior and conditions.

Produced by the Northeast Sustainable Energy Association in coordination with the Research Foundation of the State University of New York with funding from the New York State Energy Research and Development Authority (NYSERDA)

www.nyserda.org

Should you have questions about this activity or suggestions for improvement,

please contact Chris Mason at cmason@nesea.org.

(STUDENT HANDOUT SECTION FOLLOWS)

Sun Tracker

How to Use the Sun Tracker

Measuring the Sun’s Azimuth

Measuring the Sun’s Altitude

Panel Tracker

How to Use the Panel Tracker

| Data Log | Station Number | Light intensity (W/m2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Sun’s Altitude (○) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Shadow Length (cm) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Sun’s Azimuth (○ east of north) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Date | Angle of solar panel (○ east of north) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Tilt of solar panel (○) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Time (hh:mm) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Name ___________________________________

Date ____________________________________

Tracking Solar Panel: Data Collection

- Connect the ammeter to the solar panel. Point the solar panel toward the Sun and position it to obtain the maximum current reading from the ammeter. Maintaining the panel’s direction, place the panel so its bottom edge runs through the center X of the Panel Tracker. Double check that it is still positioned for maximum current. Record the time of day in the Data Log and note the ammeter reading on a separate sheet of paper.

- Use a protractor to measure the solar panel’s angle from horizontal. Record this in the Data Log.

- Measure the solar panel’s angle east of north. Place the square along the edge of the solar panel so that the corner of the square is at the center of the Panel Tracker. The solar panel’s angle east of north is where the edge of the square crosses the circle. Record this value in the Data Log.

- Draw a line on the Sun Tracker along the post’s shadow. Write the time at the end of the shadow. The Sun’s angle east of north is known as the solar azimuth. Record the solar azimuth in the Data Log.

- Measure the length of the shadow. Record this in the Data Log.

- The angle of the Sun above the horizon is called the solar altitude. Use a string and protractor as shown in the diagram to measure the solar altitude. (Use the line you drew for the shadow instead of the actual shadow as this may have already moved.) Record this in the Data Log.

- Convert the ammeter reading from step 1 to light intensity (W/m2) and record this in the Data Log.

- Repeat the above measurements in 10-minute intervals for as long as your teacher instructs you.

Name ___________________________________

Date ____________________________________

Tracking Solar Panel: Data Analysis

- At what angle to the Sun’s rays must you position a solar panel to expose the panel to the maximum intensity of light? Draw a diagram describing your answer.

- Use the following diagram and data from the Data Log to propose a relationship between the Sun’s altitude and the tilt of a solar panel positioned for maximum solar intensity.

Remember, the sum of the angles of a triangle equals 180○.

- On graph 1, plot Shadow Length (cm) versus Time of Day.

- On graph 2, plot Sun’s Altitude (○) versus Time of Day.

- On graph 3, plot the Solar Intensity (W/m2) versus Time of Day.

- For each row of data, draw an arrow on graph 4 in the appropriate azimuth direction of the Sun. Start each line at the Reference Point. Label the outer end of each arrow with the time of day.

- Looking at graph 4, is there any time of day when the Sun appears to move faster across the sky? What is it?

- During the lab, you always directed the solar panel to receive the maximum intensity of light. To do this, you used the feedback system of your eyes, your brain, and your hands. It is complicated and expensive to build a similar solar-tracking system with such items as light sensors, electronic control systems, and motors. Generally speaking, the added cost of design, materials, and maintenance outweighs the benefits of installing a solar-tracking system. Because of this, most solar-electric systems are stationary—the panels don’t move.

For stationary panels, you need to decide how to position them to receive the most solar energy over the course of a day. Review your data and graphs. At what angle east of north and what angle of tilt up from horizontal would you recommend positioning a solar panel to receive the most solar energy over the course of a day at this time of year?

Recommended position to receive the most solar energy over the course of a day at this time of year:

Angle east of north

Angle of tilt (if any) from horizontal

Briefly, explain your reasoning.

Graph 1:  Shadow Length versus Time of Day

| Shadow Length (cm) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Time of Day |

Graph 2:  Altitude versus Time of Day

| Sun’s Altitude (○) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Time of Day |

Graph 3:  Solar Intensity versus Time of Day

| Solar Intensity (W/m2) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Time of Day |

Graph 4:  Solar Azimuth versus Time of Day

# Text boxes

Draw a line along the shadow.

paper clip

post

Record the

length of the

shadow in the

Data Log.

string

Use a protractor to measure the Sun’s altitude.

Record the solar azimuth (degrees east of north) in the Data Log.

W

S

E

N

True North

paper clip post

thumbtack

Write the time of observation on the Sun Tracker.

altitude of Sun

Sun’s altitude (○)

tilt of solar panel (○)

solar panel

90-degree triangle used as a “square”

N

solar panel

True North

Record the direction the panel faces (degrees east of north) in the Data Log.

W

E

N

S

S

90

100

110

120

130

140

190

200

210

220

230

150

160

170

240

250

260

270

Reference Point

TRUE NORTH

10

20

TRUE NORTH

10

20

30

100

110

120

40

50

60

70

80

130

140

150

160

170

W

E

N

350

340

330

260

250

240

320

310

300

290

280

230

220

210

200

190

S

30

100

110

120

40

50

60

70

80

130

140

150

160

170

W

E

N

350

340

330

260

250

240

320

310

300

290

280

230

220

210

200

190

S