# Code Reference Guide for the

# Affordable Multifamily Program Upstate

All references are from the 2025 NYS Code and supplements

Code Reference Guide for the Affordable Multifamily Upstate

Publish Date: April/2026

The purpose of this document is to provide easy reference for any mention of the NYS code within the Minimum Performance Standards and the Inspection Checklist. Where applicable, comply with NYS code or local code, whichever is more stringent.

Copyright Notice

Copyright © YYYY by New York State Energy Research and Development Authority. All rights reserved. No part of this document may be reproduced in any form without the permission of the copyright owner.

Information contained in this document, such as web page addresses, are current at the time of publication.

All inquiries should be addressed to:

New York State Energy Research and Development Authority
17 Columbia Circle
Albany, NY 12203-6399

Keywords

multifamily, affordable, upstate, efficiency

Record of Revision

| Revision Date | Description of Changes | Revision on Page(s) |
| --- | --- | --- |
| Month YYYY | Provide a brief description of what changed in the manual for the new revision. | Example: 5 25-40 |
| January 2026 | Initial Publication | N/A |

Contents

Copyright Notice	1

Keywords	1

Record of Revision	1

List of Figures	3

List of Tables	3

Code Reference Guide for the Affordable Multifamily Upstate	2

Copyright Notice	2

Keywords	2

Record of Revision	2

List of Tables	8

1.	Domestic Hot Water	1

1.1	Piping	1

1.1.1	R403.4 Mechanical system piping insulation.	1

1.1.2	R403.4.1 Protection of piping insulation.	1

1.1.3	R403.5.1 Heated water circulation and temperature maintenance systems.	1

1.1.4	R403.5.2 Hot water pipe insulation.	1

1.1.5	R403.5.3 Drain water heat recovery units.	2

1.2	DHW Efficiency	2

1.2.1	R403.5 Service hot water systems.	3

1.2.2	R403.5.1 Heated water circulation and temperature maintenance systems.	3

1.2.3	R408.2.2 More efficient HVAC equipment performance options.	3

1.2.4	R408.2.2.1 More efficient HVAC equipment for Climate Zone 4.	4

1.2.5	R408.2.3 Reduced energy use in service water-heating options.	4

1.2.6	ANSI/RESNET/ICC 301 4.2.2.7.2.11. Service Hot Water Use. (External Reference)	5

2.	DHW Fixtures	7

2.1.1	604.3 Water distribution system design criteria.	7

2.1.2	604.4 Maximum flow and water consumption.	8

2.1.3	Reference C406.2.3.5 W09 Service hot water flow reduction. (External Code Reference)	9

2.1.4	604.8 Water pressure-reducing valve or regulator.	9

2.1.5	604.11 Individual pressure balancing in-line valves for individual fixture fittings.	9

3.	Heated Water Circulation Control	11

3.1.1	R403.5.1 Heated water circulation and temperature maintenance systems.	11

3.1.2	R403.5.1.1Circulation systems.	11

3.1.3	R403.5.1.1.1 Demand recirculation water systems.	11

3.1.4	R403.5.1.2 Heat trace systems.	12

3.1.5	R403.5.4 Demand responsive water heating.	12

3.1.6	RJ102.1 General.	12

4.	Envelope	14

4.1	Windows and Doors	14

4.1.1	R303.1.1 Building thermal envelope insulation.	15

4.1.2	R303.1.1.1 Blown-in or sprayed roof and ceiling insulation.	15

4.1.3	R303.1.3 Fenestration product rating.	16

4.1.4	R402.1 General.	17

4.1.5	R503.1.1 Building thermal envelope.	17

4.1.6	R503.1.1.1 Fenestration alterations.	18

4.1.7	R503.1.1.2 Roof, ceiling and attic alterations.	18

4.1.8	R503.1.1.3 Above-grade wall alterations.	18

4.1.9	R503.1.1.4 Floor alterations.	19

4.1.10	R503.1.1.5 Below-grade wall alterations.	19

4.1.11	R503.1.1.6 Air barrier.	19

4.2	Insulation	20

4.2.1	R402.1 General.	20

4.2.2	R402.1.1 Vapor retarder	20

4.2.3	R402.1.2 Insulation and fenestration criteria.	20

4.2.4	Air Conditioner - Room (RAC) Cover and Gap Sealer TRM V13- (External Reference)	20

4.2.5	R402.5.1 Building thermal envelope.	21

4.2.6	R402.5.1.1 Installation.	21

4.2.7	R402.5.1.2 Air leakage testing.(Airsealing)	21

4.2.8	R402.5.1.2.1 Unit sampling.	25

4.2.9	R402.5.1.3 Maximum air leakage rate.	25

4.2.10	R402.5.3 Fenestration air leakage.	26

4.2.11	R402.1.3 R-value alternative.	27

4.2.12	R401.3 Certificate.	28

4.2.13	R403.3 Duct systems.	29

4.2.14	R403.3.1 Duct system design.	29

4.2.15	R403.3.3 Ductwork located outside conditioned space.	29

4.2.16	R403.3.4 Duct systems located in conditioned space.	30

4.2.17	R403.3.5 Ductwork buried within ceiling insulation.	31

4.2.18	R403.3.5.1 Effective R-value of deeply buried ducts.	31

4.2.19	R403.3.6 Sealing.	31

4.2.20	R403.3.6.1 Sealed air-handling unit.	31

4.2.21	R403.3.7 Duct system testing.	31

4.2.22	R403.3.8 Duct system leakage.	32

4.2.23	R402.1.4 R-value computation.	33

4.2.24	R408.2.1 Enhanced building thermal envelope options.	34

4.2.25	R408.2.1.1 Enhanced building thermal envelope performance.	34

4.2.26	R408.2.1.2 Improved fenestration.	34

5.	Heating	35

5.1	Heating System Piping	35

5.1.1	R403.4 Mechanical system piping insulation.	35

5.1.2	R403.4.1 Protection of piping insulation.	35

5.1.3	R403.5 Service hot water systems.	35

5.1.4	R403.5.1 Heated water circulation and temperature maintenance systems.	35

5.1.5	R403.5.1.2 Heat trace systems.	35

5.1.6	R403.5.2 Hot water pipe insulation.	36

5.1.7	R403.5.3 Drain water heat recovery units.	36

5.1.8	R403.5.4 Demand responsive water heating.	36

5.1.9	R403.1 Controls Residential Thermostatic Radiator Valves.	37

5.1.10	C403.4.2.1 Thermostatic setback- Residential Thermostatic Radiator Valves (Exception)	37

5.1.11	C403.4.1 Thermostatic controls-Residential Thermostatic Radiator Valves (Exception)	37

5.1.12	ASME PTC 39.1 Steam Trap residential and Multifamily (External Reference)	37

5.1.13	Tune-up - Boiler (TRM V13- External Reference)	38

5.2	Heating System Efficiency	38

5.2.1	R403.2 Hot water boiler temperature reset.	38

5.2.2	R403.6 Mechanical ventilation.	38

5.2.3	R403.6.1 Heat or energy recovery ventilation.	39

5.2.4	R403.6.2 Fan efficacy for whole-house mechanical ventilation systems and outdoor air ventilation systems.	39

5.2.5	R403.7 Equipment sizing and efficiency rating.	40

5.2.6	R403.8 Systems serving multiple dwelling units.	40

5.2.7	R403.9 Mechanical systems located outside of the building thermal envelope.	40

5.2.8	R403.13.1 Gas fireplace efficiency.	40

5.2.9	R408.2.2 More efficient HVAC equipment performance options.	40

5.3	Heat Pumps	41

5.3.1	R403.1.1 Programmable thermostat.	41

5.3.2	R403.1.2 Heat pump supplementary heat.	42

5.3.3	R408.2.2 More efficient HVAC equipment performance options.	42

5.3.4	R408.2.2.1 More efficient HVAC equipment for Climate  Zone 4.	43

5.3.5	R408.2.3 Reduced energy use in service water-heating options.	43

6.	Distribution System Control	44

6.1	R403.1 Controls.	44

6.2	R403.1.1 Programmable thermostat.	44

6.3	R403.6 Mechanical ventilation.	44

6.4	R403.6.2 Fan efficacy for whole-house mechanical ventilation systems and outdoor air ventilation systems.	44

6.4.1	R403.6.5 Intermittent exhaust control for bathrooms and toilet rooms.	45

6.4.2	R408.2.8.1 Single-stage HVAC system controls.	46

6.4.3	R408.2.8.2 Variable-capacity and two-stage HVAC system controls.	46

7.	Cooling	47

7.1.1	R403.7 Equipment sizing and efficiency rating.	47

7.1.2	R403.9 Mechanical systems located outside of the building thermal envelope.	47

7.1.3	R408.2.2 More efficient HVAC equipment performance options.	47

7.1.4	R408.2.2.1 More efficient HVAC equipment for Climate Zone 4.	48

8.	Lighting	49

8.1	Lighting Controls	49

8.1.1	R404.1 Lighting equipment.	49

8.1.2	R404.2 Interior lighting controls.	49

8.1.3	R404.2.1 Habitable spaces.	49

8.1.4	R404.2.2 Specific locations.	49

8.1.5	R404.4 Renewable energy certificate (REC) documentation.	50

8.1.6	R404.3.1 Controls for individual dwelling units.	50

8.1.7	R404.5 Dwelling electrical meter.	50

8.1.8	R408.2.10 Whole-home lighting control.	50

8.1.9	R408.2.11 Higher efficacy lighting.	51

8.2	Exterior Lighting	51

8.2.1	R404.1.1 Exterior lighting.	51

8.2.2	R404.1.2 Exterior lighting power requirements.	51

8.2.3	R404.1.3 Exterior lighting power allowance.	52

8.2.4	R404.1.4 Additional exterior lighting power.	52

8.2.5	R404.1.5 Gas lighting.	52

8.2.6	R408.2.11 Higher efficacy lighting.	52

9.	Energy Efficiency Appliances	54

9.1.1	R408.2.6 Energy efficient appliances.	54

9.1.2	2022 ANSI/RESNET/ICC 301 Standard 4.2.2.7.2.5. Refrigerators (External reference)	54

10.	Energy Rating Index Compliance Alternative	57

10.1.1	R406.2 ERI compliance.	57

10.1.2	R406.3 Building thermal envelope.	58

10.1.3	R406.4 Energy Rating Index.	58

10.1.4	R406.5 ERI-based compliance.	58

11.	Electric Readiness	60

11.1.1	RK101.1 Electric readiness.	60

11.1.2	RK101.1.1 Cooking appliances.	60

11.1.3	RK101.1.2 Household clothes dryers.	60

11.1.4	RK101.1.3 Water heaters.	61

11.1.5	RK101.1.4 Electrification-ready circuits.	61

12.	ECCCNYS Chapter 6 [RE] Referenced Standards	62

List of Tables

Table 1. R403.5.2—MINIMUM PIPE INSULATION THICKNESS	2

Table 6. R604.4—MAXIMUM FLOW RATES AND CONSUMPTION FOR PLUMBING FIXTURES AND FIXTURE FITTINGS (Min Performance Standards for AMP Up)	8

Table 7. MAXIMUM FLOW RATING FOR RESIDENTIAL PLUMBING FIXTURES WITH HEATED WATER	9

Table 8. TABLE 4.2.2.7.2.11(1) HOT WATER FIXTURE EFFECTIVENESS	10

Table 9. R403.5.4—DEMAND RESPONSIVE CONTROLS FOR WATER HEATING	12

Table 10. RJ102.1—REFERENCED STANDARDS	13

Table 11. R301.1(1)—NEW YORK STATE CLIMATE ZONES BY COUNTY	14

Table 12. R301.1(2)—THERMAL CLIMATE ZONE DEFINITIONS	15

Table 13. R303.1.3(1)—DEFAULT GLAZED WINDOW, GLASS DOOR AND SKYLIGHT U-FACTORS	16

Table 14. R303.1.3(2)—DEFAULT OPAQUE DOOR U-FACTORS	16

Table 15. R303.1.3(3)—DEFAULT GLAZED FENESTRATION SHGC AND VT	17

Table 16. R402.5.1.1—AIR BARRIER, AIR SEALING AND INSULATION INSTALLATIONa	22

Table 16. (Continued)	23

Table 16. (Continued)	24

Table 16. (Continued)	25

Table 17. R402.1.2—MAXIMUM ASSEMBLY U-FACTORSa AND FENESTRATION REQUIREMENT	26

Table 18. R402.1.3—INSULATION MINIMUM R-VALUES AND FENESTRATION REQUIREMENTS BY COMPONENT	27

Table 19. R403.3.8—MAXIMUM TOTAL DUCT SYSTEM LEAKAGE	33

Table 20. R408.2.1.2—IMPROVED FENESTRATION	34

Table 21. FAN EFFICACY FOR WHOLE-HOUSE MECHANICALVENTILATION SYSTEMS AND OUTDOOR AIR VENTILATION SYSTEMS a	39

Table 22. R403.6.2—FAN EFFICACY FOR WHOLE-HOUSE MECHANICALVENTILATION SYSTEMS AND OUTDOOR AIR VENTILATION SYSTEMS a	45

Table 23. R408.2.6—MINIMUM EFFICIENCY REQUIREMENTS: APPLIANCES	54

Table 24. 4.2.2.7.2.5(1) AGE-BASED REFRIGERATOR DEFAULTS	55

Table 25. 4.2.2.7.2.5(2) AGE-BASED VINTAGE RATIOS	56

Table 27. 4.2.2.7.2.5(3) DEFAULT ADJUSTED VOLUME EQUATIONS	56

Table 26. R406.2—REQUIREMENTS FOR ENERGY RATING INDEX	57

# Domestic Hot Water

## Piping

All domestic hot water (DHW) piping in mechanical rooms and all accessible DHW piping in unconditioned spaces shall be insulated to ECCC NYS –Chapter 4, Code R403.4 to R403.5

### R403.4 Mechanical system piping insulation.

Mechanical system piping capable of carrying fluids greater than 105°F (41°C) or less than 55°F (13°C) shall be insulated to an R-value of not less than R-3.

### R403.4.1 Protection of piping insulation.

Piping insulation exposed to weather shall be protected from damage, including that caused by sunlight, moisture, physical contact and wind. The protection shall provide shielding from solar radiation that can cause degradation of the material and shall be removable not less than 6 feet (1828 mm) from the equipment for maintenance. Adhesive tape shall be prohibited.

### R403.5.1 Heated water circulation and temperature maintenance systems.

Heated water circulation systems shall be in accordance with Section R403.5.1.1. Heat trace temperature maintenance systems shall be in accordance with Section R403.5.1.2. Automatic controls, temperature sensors and pumps shall be in a location with access. Manual controls shall be in a location with ready access.

### R403.5.2 Hot water pipe insulation.

Insulation for service hot water piping shall comply with Table R403.5.2 and be applied to the following:

Piping 3/4 inch (19.1 mm) and larger in nominal diameter located inside the conditioned space.

Piping located outside the conditioned space.

Piping from the water heater to a distribution manifold.

Piping located under a floor slab.

Buried piping.

Supply and return piping in circulating hot water systems.

Exception: Cold water returns in demand recirculation water systems.

Table 1. R403.5.2—MINIMUM PIPE INSULATION THICKNESS

| FLUID OPERATING TEMPERATURE RANGE AND USAGE (°F) | INSULATION CONDUCTIVITY |  | MINIMUM PIPE INSULATION THICKNES (inches) |
| --- | --- | --- | --- |
|  | Conductivity Btu × in/(h × ft2 × °F)a | Mean rating temperature (°F) |  |
| 141–200 | 0.25–0.29 | 125 | 1 |
| 105–140 | 0.21–0.28 | 100 | 1 |

For SI: 1 inch = 25.4 mm, °C = (°F – 32)/1.8.

For insulation outside the stated conductivity range listed in this table, the minimum thickness (T) listed in this table shall be determined as follows:

T = r [(1 + t/r)K/k – 1]

where:

T = Minimum insulation thickness.

r = Actual outside radius of pipe.

t = Insulation thickness listed in the table for applicable fluid temperature and pipe size (1 inch).

K = Conductivity of alternate material at mean rating temperature indicated for the applicable fluid temperature (Btu × in/h × ft2 × °F).

k = The upper value of the conductivity range listed in this table for the applicable fluid temperature.

### R403.5.3 Drain water heat recovery units.

Where installed, drain water heat recovery units shall comply with CSA B55.2. Drain water heat recovery units shall be tested in accordance with CSA B55.1. Potable water-side pressure loss of drain water heat recovery units shall be less than 3 psi (20.7 kPa) for individual units connected to one or two showers. Potable water-side pressure loss of drain water heat recovery units shall be less than 2 psi (13.8 kPa) for individual units connected to three or more showers.

## DHW Efficiency

Replacement domestic hot water heating plant(s) shall be ENERGY STAR® labeled. For systems where the ENERGY STAR® label is not available, the specified heating plant(s) shall have a minimum rated efficiency no less than that required by ECCC NYS – See code reference R408.2.3 below.

### R403.5 Service hot water systems.

Energy conservation measures for service hot water systems shall be in accordance with Sections R403.5.1 through R403.5.3.

### R403.5.1 Heated water circulation and temperature maintenance systems.

Heated water circulation systems shall be in accordance with Section R403.5.1.1. Heat trace temperature maintenance systems shall be in accordance with Section R403.5.1.2. Automatic controls, temperature sensors and pumps shall be in a location with access. Manual controls shall be in a location with ready access.

### R408.2.2 More efficient HVAC equipment performance options.

Heating and cooling equipment shall meet one of the following measures as applicable for the climate zone where heating and cooling efficiencies are represented by Annual Fuel Utilization Efficiency (AFUE), Coefficient of Performance (COP), Energy Efficiency Ratio (EER and EER2), Heating Season Performance Factor (HSPF2) and Seasonal Energy Efficiency Ratio (SEER2). Where multiple heating or cooling systems are installed serving different zones, credits shall be earned based on the weighted average of square footage of the zone served by the system.

HVAC options:

- Ground source heat pump: Greater than or equal to 16.1 EER and 3.1 COP ground source heat pump.

- Cooling (Option 1): Greater than or equal to 15.2 SEER2 and 12.0 EER2 air conditioner.

- Cooling (Option 2): Greater than or equal to 16.0 SEER2 and 12.0 EER2 air conditioner.

- Gas furnace (Option 1): Greater than or equal to 97 percent AFUE fuel gas furnace.

- Gas furnace (Option 2): Greater than or equal to 95 percent AFUE fuel gas furnace.

- Gas furnace and cooling (Option 3): Greater than or equal to 95 percent AFUE fuel gas furnace and 15.2 SEER2 and 12.0 EER2 air conditioner.

- Gas furnace and cooling (Option 4): Greater than or equal to 97 percent AFUE fuel gas furnace and 16.0 SEER2 and 12.0 EER2 air conditioner.

- Gas furnace and heat pump (Option 2): Greater than or equal to 95 percent AFUE fuel gas furnace and 8.1 HSPF2 and 15.2 SEER2 air source heat pump capable of meeting a capacity ratio ≥ 70 percent of heating capacity at 5°F (-15°C) versus rated heating capacity at 47°F (8.3°C).

- Heat pump (Option 2): Greater than or equal to 8.1 HSPF2 and 15.2 SEER2 air source heat pump capable of meeting a capacity ratio ≥ 70 percent of heating capacity at 5°F (-15°C) versus rated heating capacity at 47°F (8.3°C).

### R408.2.2.1 More efficient HVAC equipment for Climate Zone 4.

For Climate Zone 4, the following HVAC options shall also apply:

- Gas furnace and heat pump (Option 3): Greater than or equal to 95 percent AFUE fuel gas furnace and 7.8 HSPF2, 15.2 SEER2and 10.0 EER2 air source heat pump.

- Heat pump (Option 1): Greater than or equal to 7.8 HSPF2, 15.2 SEER2 and 11.7 EER2 air source heat pump.

### R408.2.3 Reduced energy use in service water-heating options.

For measure numbers R408.2.3(1) through R408.2.3(7), the installed hot water system shall meet one of the Uniform Energy Factors (UEF) or Solar Uniform Energy Factors (SUEF) in Table R408.2.3. For measure number R408.2.3(8), the hot water distribution system shall comply with Section R408.2.3.1.

Table 2. R408.2.3 SERVICE WATER HEATING EFFICIENCIES (Includes Heat Pump Water Heaters- HPHW)

| MEASURE NUMBER | WATER HEATER | SIZE AND DRAW PATTERN | TYPE | EFFICIENCY |
| --- | --- | --- | --- | --- |
| R408.2.3(1)(a) | Gas-fired storage water heaters (Option 1) | All storage volumes, all draw patterns | — | UEF ≥ 0.81 |
| - R408.2.3(1)(b) | Gas-fired storage water heaters (Option 2) | ≤ 55 gallons, high | — | UEF ≥ 0.86 |
|  |  | > 55 gallons, medium or high | — | UEF ≥ 0.86 |
|  |  | Rated input capacity > 75,000 Btu/h | — | UEF ≥ 0.86 or E t ≥ 94% |

Table 2 (Continued)

| MEASURE NUMBER | WATER HEATER | SIZE AND DRAW PATTERN | TYPE | EFFICIENCY |
| --- | --- | --- | --- | --- |
| R408.2.3(2)(a) | Gas-fired instantaneous water heaters (Option 1) | All storage volumes, medium or high | — | UEF ≥ 0.92 |
| R408.2.3(2)(b) | Gas-fired instantaneous water heaters (Option 2) | All storage volumes, medium or high | — | UEF ≥ 0.95 |
| R408.2.3(3) | Electric water heaters (Option 1) | All storage volumes, low, medium, or high | Integrated HPWH | UEF ≥ 3.30 |
| R408.2.3(5)(a) | Electric water heaters (Option 3) | All storage volumes, low, medium, or high | Split-system HPWH | UEF ≥ 2.20 |
| R408.2.3(5)(b) | Electric water heaters (Option 4) | All storage volumes, low, medium, or high | Split-system HPWH | UEF ≥ 3.75 |
| R408.2.3(6) | Electric water heaters (Option 5) | Rated input capacity > 12 kW | — | COP ≥ 3.00 |
| R408.2.3(7)(a) | Solar water heaters (Option 1) | All storage volumes, all draw patterns | Electric backup | SUEF ≥ 3.00 |
| R408.2.3(7)(b) | Solar water heaters (Option 2) | All storage volumes, all draw patterns | Gas backup | SUEF ≥ 1.80 |

For SI: 1 British thermal unit per hour = 0.2931 W.

UEF = Uniform Energy Factor, Et = Thermal Efficiency, COP = Coefficient of Performance.

### ANSI/RESNET/ICC 301 4.2.2.7.2.11. Service Hot Water Use. (External Reference)

Service hot water system use in gallons per day for the Rated Home shall be determined in accordance with Equation 4.2-38.

Resulting on tables below:

Table 3. 4.2.2.7.2.11(5) ANNUAL ELECTRICITY CONSUMPTON FACTOR FOR HOT WATER RECIRCULATION SYSTEM PUMPS

| RESIRCULATION SYSTEM DESCRIPTION | Efact |
| --- | --- |
| Recirculation without control or with timer control | 8.76 |
| Recirculation with temperature control | 1.46 |
| Recirculation with demand control (presence sensor) | 0.15 |
| Recirculation with demand control (manual) | 0.1 |

Table 4. 4.2.2.7.2.11(6) HOT WATER DISTRIBUTION SYSTEM RELATIVE ANNUAL ENERGY WASTE FACTORS

| RESIRCULATION SYSTEM DESCRIPTION | EWfact |  |
| --- | --- | --- |
|  | No Pipe Insulation | >R-3 pipe insulation |
| Standard systems | 32 | 28.8 |
| Recirculation without control or with timer control | 500 | 250 |
| Recirculation with temperature control | 375 | 187.5 |
| Recirculation with demand control (presence sensor) | 64.8 | 43.2 |
| Recirculation with demand control (manual) | 43.2 | 28.8 |

# DHW Fixtures

DHW Fixture Flow Rates: Faucets and showerheads must not exceed the flow rates specified in current ECCCNYS and NYS Plumbing Code and supplements - See Code Reference Table R404.4 below.

### 604.3 Water distribution system design criteria.

The water distribution system shall be designed, and pipe sizes shall be selected such that under conditions of peak demand, the capacities at the fixture supply pipe outlets shall be not less than shown in Table 604.3. The minimum flow rate and flow pressure provided to fixtures and appliances not listed in Table 604.3 shall be in accordance with the manufacturer’s installation instructions.

Table 4. R404.3 - WATER DISTRIBUTION SYSTEM CRITERIA REQUIRED CAPACITY AT FIXTURE SUPPLY PIPE OUTLETS

| FIXTURE SUPPLY OUTLET SERVING | FLOW RATEa | FLOW PRESSURE |
| --- | --- | --- |
|  | (gpm) | (psi) |
| Bathtub, balanced-pressure, thermostatic or combination balanced-pressure/thermostatic mixing valve | 4 | 20 |
| Bidet, thermostatic mixing valve | 2 | 20 |
| Combination fixture | 4 | 8 |
| Dishwasher, residential | 2.75 | 8 |
| Drinking fountain | 0.75 | 8 |
| Laundry tray | 4 | 8 |
| Lavatory, private | 0.8 | 8 |
| Lavatory, private, mixing valve | 0.8 | 8 |
| Shower | 2.5 | 8 |
| Shower, balanced-pressure, thermostatic or combination balanced-pressure/thermostatic mixing valve | 2.5b | 20 |
| Sill cock, hose bibb | 5 | 8 |
| Sink, residential | 1.75 | 8 |
| Sink, service | 3 | 8 |
| Water closet, siphonic, flushometer valve | 25 | 35 |
| Water closet, tank, close coupled | 3 | 20 |
| Water closet, tank, one piece | 6 | 20 |

For SI:1 pound per square inch = 6.895 kPa, 1 gallon per minute = 3.785 L/m.

For additional requirements for flow rates and quantities, see Section 604.4.

Where the shower mixing valve manufacturer indicates a lower flow rating for the mixing valve, the lower value shall be applied.

### 604.4 Maximum flow and water consumption.

The maximum water consumption flow rates and quantities for all plumbing fixtures and fixture fittings shall be in accordance with Table 604.4.

Exceptions:

- Blowout design water closets having a water consumption not greater than 31/2 gallons (13 L) per flushing cycle.

- Vegetable sprays.

- Clinical sinks having a water consumption not greater than 41/2 gallons (17 L) per flushing cycle.

- Service sinks.

- Emergency showers.

Table 6. R604.4—MAXIMUM FLOW RATES AND CONSUMPTION FOR PLUMBING FIXTURES AND FIXTURE FITTINGS (Min Performance Standards for AMP Up)

| PLUMBING FIXTURE OR FIXTURE FITTING | MAXIMUM FLOW RATE OR QUANTITY b |
| --- | --- |
| Lavatory, private | 1.2 gpm at 60 psi |
| Lavatory, public (metering) | 0.25 gallon per metering cycle |
| Lavatory, public (other than metering) | 0.5 gpm at 60 psi |
| Shower head a, c | 1.8 gpm at 80 psi |
| Sink faucet | 1.8 gpm at 60 psi d |
| Urinal | 0.125 gallon per flushing cycle |
| Water closet | 1.28 gallons per flushing cycle e |

For SI: 1 gallon = 3.785 L, 1 gallon per minute = 3.785 L/m, 1 pound per square inch = 6.895 kPa.

- A hand-held shower spray is a shower head.

- Consumption tolerances shall be determined from referenced standards.

- Showerheads shall comply with all requirements for high-efficiency showerheads in ASME A112.18.1-2020/CSA B125.1.

- [NY] Kitchen faucets are permitted to temporarily increase the flow above the maximum rate, but not to exceed 2.2 gpm at 60 psi and must revert to a maximum flow rate of 1.8 gpm at 60 psi upon valve closure.

- [NY] The flush volume for a dual-flush water closet is defined as the composite, average flush volume of two reduced flushes and one full flush.

### Reference C406.2.3.5 W09 Service hot water flow reduction. (External Code Reference)

Dwelling unit, sleeping unit and guestroom plumbing fixtures that are connected to the service water-heating system shall have a flow or consumption rating less than or equal to the values shown in Table C406.2.3.5.

Table 7. MAXIMUM FLOW RATING FOR RESIDENTIAL PLUMBING FIXTURES WITH HEATED WATER

| PLUMBING FIXTURE | MAXIMUM FLOW RATE |
| --- | --- |
| Faucet for private lavatory, a hand sinks, or bar sinks | 1.2 gpm at 60 psi |
| Faucet for residential kitchen sink a, b, c, e | 1.8 gpm at 60 psi |
| Shower head (including hand-held shower spray) a, b, d | 1.8 gpm at 80 psi |

For SI: 1 gallon per minute = 3.785 L/min, 1 pound per square inch = 6.89 kPa.

- Showerheads, lavatory faucets and kitchen faucets are subject to US federal requirements listed in 10 CFR 430.32(o)–(p).

- Maximum flow allowed is less than required by flow rates listed in 10 CFR 430.32(o)–(p) for showerheads and kitchen faucets.

- Residential kitchen faucets may temporarily increase the flow above the maximum rate, but not above 2.2 gallons per minute at 60 psi (8.3 L/min at 414 kPa) and must default to the maximum flow rate listed.

- Where a shower is served by multiple shower heads, the combined flow rate of all shower heads controlled by a single valve shall not exceed the maximum flow rate listed or the shower shall be designed to allow only one shower head to operate at a time.

- For NYSERDA AMP Up reference; Kitchen faucet aerator; single flow is 1.5 gpm @ 60 psi max.

### 604.8 Water pressure-reducing valve or regulator.

Where water pressure within a building exceeds 80 psi (552 kPa) static, an approved water pressure-reducing valve conforming to ASSE 1003 or CSA B356 with strainer shall be installed to reduce the pressure in the building water distribution piping to not greater than 80 psi (552 kPa) static.

Exception: Service lines to sill cocks and outside hydrants, and main supply risers where pressure from the mains is reduced to 80 psi (552 kPa) or less at individual fixtures.

### 604.11 Individual pressure balancing in-line valves for individual fixture fittings.

Where individual pressure balancing in-line valves for individual fixture fittings are installed, such valves shall comply with ASSE 1066. Such valves shall be installed in a location with access. The valves shall not be utilized alone as a substitute for the balanced pressure, thermostatic or combination shower valves required in Section 412.3.

2022 ANSI/RESNET/ICC 301 Standard for the Calculation and Labeling of the Energy Performance of Dwelling and Sleeping Units using an Energy Rating Index

Table 8. TABLE 4.2.2.7.2.11(1) HOT WATER FIXTURE EFFECTIVENESS

| PLUMBING FIXTURE DESCRIPTION | Feff |
| --- | --- |
| Standard-flow: showers ≤ 2.5 gpm and Bathroom sink faucets ≤ 2.2 gpm | 1.00 |
| Low-flow: all showers a and Bathroom sink faucets ≤ 2.0 gpm | 0.95 |

- (Normative Note) A shower with multiple showerheads that operate simultaneously meets the low-flow criteria if the sum of the flow rates of all showerheads is less than or equal to 2.0 gpm.

# Heated Water Circulation Control

Recirculation control installed meets ECCC NYS requirements – See code reference R403.5.4below.

### R403.5.1 Heated water circulation and temperature maintenance systems.

Heated water circulation systems shall be in accordance with Section R403.5.1.1. Heat trace temperature maintenance systems shall be in accordance with Section R403.5.1.2. Automatic controls, temperature sensors and pumps shall be in a location with access. Manual controls shall be in a location with ready access.

### R403.5.1.1Circulation systems.

Heated water circulation systems shall be provided with a circulation pump. Gravity and thermosyphon circulation systems shall be prohibited. Controls for circulating hot water system pumps shall automatically turn off the pump when the water in the circulation loop is at the desired temperature and when there is no demand for hot water. The system return pipe shall be a dedicated return pipe or a cold water supply pipe. Where a cold water supply pipe is used as the return pipe, a temperature sensor connected to the controls shall be located on the hot water supply not more than two feet (305 mm) from the connection to the cold water supply pipe. The controls shall limit the temperature of the water entering the cold water piping to not greater than 104°F (40°C).

### R403.5.1.1.1 Demand recirculation water systems.

Demand recirculation water systems shall have controls that start the pump upon receiving a signal from the action of a user of a fixture or appliance, sensing the presence of a user of a fixture or sensing the flow of hot or tempered water to a fixture fitting or appliance. The controls shall limit pump operation by:

- Shutting off the pump when the temperature sensor detects one of the following:

  - An increase in the water temperature of not more than 10°F (5.6°C) above the initial temperature of the water in the pipe.

  - The temperature of the water in the pipe reaches 104°F (40°C).

- Limiting pump operation to a maximum of 5 minutes following activation.

- Not activating the pump for at least 5 minutes following shutoff or when the temperature of the water in the pipe exceeds 104°F (40°C).

### R403.5.1.2 Heat trace systems.

Electric heat trace systems shall comply with IEEE 515.1 or UL 515. Controls for such systems shall automatically adjust the energy input to the heat tracing to maintain the desired water temperature in the piping in accordance with the times when heated water is used in the occupancy.

### R403.5.4 Demand responsive water heating.

All electric storage water heaters with a rated water storage volume of 40 gallons (150L) to 120 gallons (450L) and a nameplate input rating equal to or less than 12kW shall be provided with demand responsive controls in accordance with Table R403.5.4.

Exceptions:

- Water heaters that are capable of delivering water at a temperature of 180°F (82°C) or greater.

- Water heaters that comply with Section IV, Part HLW or Section X of the ASME Boiler and Pressure Vessel Code.

- Water heaters that use 3-phase electric power.

Table 9. R403.5.4—DEMAND RESPONSIVE CONTROLS FOR WATER HEATING

| EQUIPMENT TYPE | CONTROLS |  |
| --- | --- | --- |
|  | MANUFACTURED BEFORE 7/1/2025 | MANUFACTURED ON OR AFTER 7/1/2025 |
| Electric storage water heaters | AHRI Standard 1430 (I-P) or ANSI/CTA-2045-B Level 1 and also capable of initiating water heating to meet the temperature set point in response to a demand response signal | AHRI Standard 1430 (I-P) |

### RJ102.1 General.

See Table RJ102.1 for standards that are referenced in various sections of this appendix. Standards are listed by the standard identification with the effective date, the standard title, and the section or sections of this appendix that reference this standard.

Table 10. RJ102.1—REFERENCED STANDARDS

| STANDARD ACRONYM | STANDARD NAME | SECTIONS HEREIN REFERENCED |
| --- | --- | --- |
| AHRI 1430—2022 (I-P) | Demand Flexible Electric Storage Water Heaters | Table RJ101.1 |
| ASME BPVC | ASME Boiler and Pressure Vessel Code | RJ101.1 |

# Envelope

## Windows and Doors

Specified windows and doors shall be ENERGY STAR® labeled and comply with ECCC NYS – See code reference R301.1, R303.1.3, R402.1.3, R402.1.4, R402.4, R402.4.3.4 and R402.5.2 below.

Table 11. R301.1(1)—NEW YORK STATE CLIMATE ZONES BY COUNTY

| CLIMATE ZONE 4 | CLIMATE ZONE 5 |  |  |  | CLIMATE ZONE 6 |  |
| --- | --- | --- | --- | --- | --- | --- |
| Bronx Kings Nassau New York Queens Richmond Suffolk Westchester | Albany Allegany Broome Cattaraugus Cayuga Chautauqua Chemung Columbia Cortland | Dutchess Erie Genesee Greene Livingston Monroe Niagara Onondaga Ontario | Orange Orleans Oswego Putnam Rensselaer Rockland Saratoga Schenectady Schoharie | Schuyler Seneca Steuben Tioga Tompkins Washington Wayne Wyoming Yates | Chenango Clinton Delaware Essex Franklin Fulton Hamilton Herkimer Jefferson | Lewis Madison Montgomery Oneida Otsego St. Lawrence Sullivan Ulster Warren |

Figure 1.  R301.1—CLIMATE ZONES

Table 12. R301.1(2)—THERMAL CLIMATE ZONE DEFINITIONS

| ZONE NUMBER | THERMAL CRITERIA |  |
| --- | --- | --- |
|  | IP Units | SI Units |
| 4 | CDD50°F ≤ 6,300 AND 3,600 < HDD65°F ≤ 5,400 | CDD10°C < 3500 AND 2000 < HDD18°C ≤ 3000 |
| 5 | CDD50°F < 6,300 AND 5,400 < HDD65°F ≤ 7,200 | CDD10°C < 3500 AND 3000 < HDD18°C ≤ 4000 |
| 6 | 7,200 < HDD65°F ≤ 9,000 | 4000 < HDD18°C ≤ 5000 |

For SI: °C = [(°F) – 32]/1.8.

### R303.1.1 Building thermal envelope insulation.

An R-value identification mark shall be applied by the manufacturer to each piece of building thermal envelope insulation that is 12 inches (305 mm) or greater in width. Alternatively, the insulation installers shall provide a certification that indicates the type, manufacturer and R-value of insulation installed in each element of the building thermal envelope. For blown-in or sprayed fiberglass and cellulose insulation, the initial installed thickness, settled thickness, settled R-value, installed density, coverage area and number of bags installed shall be indicated on the certification. For sprayed polyurethane foam (SPF) insulation, the installed thickness of the areas covered and the R-value of the installed thickness shall be indicated on the certification. For reflective insulation, the number of reflective sheets, the number and thickness of the enclosed reflective airspaces and the R-value for the installed assembly determined in accordance with Section R303.1.6 shall be listed on the certification. For insulated siding, the R-value shall be on a label on the product’s package and shall be indicated on the certification. The insulation installer shall sign, date and post the certification in a conspicuous location on the job site.

Exception: For roof insulation installed above the deck, the R-value shall be labeled as required by the material standards specified in Table 1508.2 of the Building Code of New York State or Table R906.2 of the Residential Code of New York State, as applicable.

### R303.1.1.1 Blown-in or sprayed roof and ceiling insulation.

The thickness of blown-in or sprayed fiberglass and cellulose roof and ceiling insulation shall be written in inches (mm) on markers that are installed at not less than one for every 300 square feet (28 m2) throughout the attic space. The markers shall be affixed to the trusses or joists and marked with the minimum initial installed thickness with numbers not less than 1 inch (25 mm) in height. Each marker shall face the attic access opening. The thickness and installed R-value of sprayed polyurethane foam insulation shall be indicated on the certification provided by the insulation installer.

### R303.1.3 Fenestration product rating.

U-factors of fenestration products such as windows, doors and skylights shall be determined in accordance with NFRC 100.

Exception: Where required, garage door U-factors shall be determined in accordance with either NFRC 100 or ANSI/DASMA 105.

U-factors shall be determined by an accredited, independent laboratory, and labeled and certified by the manufacturer.

Products lacking such a labeled U-factor shall be assigned a default U-factor from Table R303.1.3(1) or Table R303.1.3(2). The solar heat gain coefficient (SHGC) and visible transmittance (VT) of glazed fenestration products such as windows, glazed doors and skylights shall be determined in accordance with NFRC 200 by an accredited, independent laboratory, and labeled and certified by the manufacturer. Products lacking such a labeled SHGC or VT shall be assigned a default SHGC or VT from Table R303.1.3(3).

Table 13. R303.1.3(1)—DEFAULT GLAZED WINDOW, GLASS DOOR AND SKYLIGHT U-FACTORS

| FRAME TYPE | WINDOW AND GLASS DOOR |  | SKYLIGHT |  |
| --- | --- | --- | --- | --- |
|  | Single pane | Double pane | Single | Double |
| Metal | 1.2 | 0.8 | 2 | 1.3 |
| Metal with thermal break | 1.1 | 0.65 | 1.9 | 1.1 |
| Nonmetal or metal clad | 0.95 | 0.55 | 1.75 | 1.05 |
| Glazed block | 0.6 |  |  |  |

Table 14. R303.1.3(2)—DEFAULT OPAQUE DOOR U-FACTORS

| DOOR TYPE | OPAQUE U-FACTOR |
| --- | --- |
| Uninsulated metal | 1.2 |
| Insulated metal | 0.6 |
| Wood | 0.5 |
| Insulated, nonmetal edge, not exceeding 45% glazing, any glazing double pane | 0.35 |

Table 15. R303.1.3(3)—DEFAULT GLAZED FENESTRATION SHGC AND VT

|  | SINGLE GLAZED |  | DOUBLE GLAZED |  |  | GLAZED BLOCK |
| --- | --- | --- | --- | --- | --- | --- |
|  | Clear | Tinted | Clear | Tinted |  |  |
| SHGC | 0.8 | 0.7 | 0.7 | 0.6 | 0.6 |  |
| VT | 0.6 | 0.3 | 0.6 | 0.3 | 0.6 |  |

### R402.1 General.

The building thermal envelope shall comply with the requirements of one of the following:

- Sections R402.1.1 through R402.1.4 and Section R402.1.6.

- Sections R402.1.1, R402.1.5 and R402.1.6.

Exceptions:

- The following low-energy buildings, or portions thereof, separated from the remainder of the building by building thermal envelope assemblies complying with this section shall be exempt from the building thermal envelope provisions of Section R402.

  - Those with a peak design rate of energy usage less than 3.4 Btu/h × ft2 (10.7 W/m2) or 1.0 watt/ft2 of floor area for space-conditioning purposes.

  - Those that do not contain conditioned space.

- Log homes designed in accordance with ICC 400.

### R503.1.1 Building thermal envelope.

Alterations of existing building thermal envelope assemblies shall comply with this section. New building thermal envelope assemblies that are part of the alteration shall comply with Section R402. The R-value of insulation shall not be reduced, nor the U-factor of a building thermal envelope assembly increased as part of a building thermal envelope alteration except where the building after the alteration complies with Section R405 or R406.

Exception: The following types of work shall not be required to comply with the requirements of this chapter provided that the energy use of the building is not increased:

- Storm windows installed over existing fenestration.

- Roof recover.

- Surface-applied window film installed on existing single pane fenestration assemblies to reduce solar heat gain provided that the code does not require the glazing or fenestration assembly to be replaced.

- Glass only replacements in an existing sash and frame.

- Air barriers shall not be required for roof recover and roof replacement where the alterations or renovations to the building do not include alterations, renovations or repairs to the remainder of the building thermal envelope.

- Replacement of existing doors that separate conditioned space from the exterior shall not require the installation of a vestibule or revolving door, provided, however, that an existing vestibule that separates such conditioned space from the exterior shall not be removed.

### R503.1.1.1 Fenestration alterations.

Where new fenestration area is added to an existing building, the new fenestration shall comply with Section R402.4. Where some or all of an existing fenestration unit is replaced with a new fenestration product, including sash and glazing, the replacement fenestration unit shall meet the applicable requirements for U-factor and solar heat gain coefficient (SHGC) as specified in Table R402.1.3. Where more than one replacement fenestration unit is to be installed, an area-weighted average of the U-factor, SHGC or both of all replacement fenestration units shall be an alternative that can be used to show compliance.

### R503.1.1.2 Roof, ceiling and attic alterations.

Where replacement of ceiling finishes exposes cavities of the roof-ceiling construction, that is part of the building thermal envelope, the cavities shall be insulated to full depth with new or existing insulation that complies with Section R303.1.4. and having a minimum nominal value of R-3 per inch. Insulation shall comply with Section R402.1 for new cavities created and the following alterations.

- An alteration to roof/ceiling construction other than reroofing where existing insulation located below the roof deck or an attic floor above conditioned space does not comply with Table R402.1.3.

- Roof replacements or a roof alteration that includes removing and replacing the roof covering where the roof assembly includes insulation entirely above the roof deck.

- Conversion of an unconditioned attic space into conditioned space.

### R503.1.1.3 Above-grade wall alterations.

Above-grade wall alterations shall comply with the following as applicable:

- Where wall cavities are exposed, the exposed cavities shall be insulated to full depth with new or existing insulation that complies with Section R303.1.4 and having a minimum nominal value of R-3 per inch. New cavities created shall be insulated in accordance with Section R402.1. An interior vapor retarder shall be provided where required in accordance with Section R702.7 of the Residential Code of New York State or Section 1404.3 of the Building Code of New York State, as applicable.

- Where exterior wall coverings and fenestration are added or replaced for the full extent of any exterior facade of one or more elevations of the building, continuous insulation shall be provided where required in accordance with Section R402.1. Where specified, the continuous insulation requirement also shall comply with Section R702.7 of the Residential Code of New York State. Replacement exterior wall coverings shall comply with the water-resistance requirements of Section R703.1.1 of the Residential Code of New York State or Section 1402.2 of the Building Code of New York State, as applicable, and manufacturers’ instructions.

- Where new interior finishes or exterior wall coverings are applied to the full extent of any exterior wall assembly of mass construction, insulation shall be provided in accordance with Section R402.1.

### R503.1.1.4 Floor alterations.

Where cavities in a floor or floor overhang are exposed and the floor or floor overhang is part of the building thermal envelope, the cavities shall be insulated to full depth with new or existing insulation that complies with Section R303.1.4. and having a minimum nominal value of R-3 per inch. New cavities created in the floor or floor overhang shall comply with Section R402.1.Where an unconditioned below-grade space is changed to conditioned space, floors that are part of the building thermal envelope enclosing such space shall comply with Section R502.

### R503.1.1.5 Below-grade wall alterations.

Where an unconditioned below-grade space is changed to conditioned space, the building thermal envelope walls enclosing such space shall comply with Section R502. Where the below-grade space is conditioned space and where building thermal envelope walls enclosing such space are altered, they shall be insulated in accordance with Section R402.1.

### R503.1.1.6 Air barrier.

Altered building thermal envelope assemblies shall be provided with an air barrier in accordance with Section R402.5. Such an air barrier need not be continuous with unaltered portions of the building thermal envelope. Testing requirements of Section R402.5.1.2 shall not be required.

## Insulation

In addition to the requirements of Section R402.1, insulation shall meet the specific requirements of Sections R402.2.1 through R402.2.13.

### R402.1 General.

The building thermal envelope shall comply with the requirements of one of the following:

- Sections R402.1.1 through R402.1.4 and Section R402.1.6.

- Sections R402.1.1, R402.1.5 and R402.1.6.

Exceptions:

- The following low-energy buildings, or portions thereof, separated from the remainder of the building by building thermal envelope assemblies complying with this section shall be exempt from the building thermal envelope provisions of Section R402.

  - Those with a peak design rate of energy usage less than 3.4 Btu/h × ft2 (10.7 W/m2) or 1.0 watt/ft2 of floor area for space-conditioning purposes.

  - Those that do not contain conditioned space.

- Log homes designed in accordance with ICC 400.

### R402.1.1 Vapor retarder

Wall assemblies in the building thermal envelope shall comply with the vapor retarder requirements of Section R702.7 of the Residential Code of New York State or Section 1404.3 of the Building Code of New York State, as applicable.

### R402.1.2 Insulation and fenestration criteria.

The building thermal envelope shall meet the requirements of Table R402.1.2, based on the climate zone specified in Chapter 3. Assemblies shall have a U-factor or F-factor equal to or less than that specified in Table R402.1.2. Fenestration shall have a U-factor and glazed fenestration SHGC equal to or less than that specified in Table R402.1.2.

### Air Conditioner - Room (RAC) Cover and Gap Sealer TRM V13- (External Reference)

This measure covers the installation of a rigid, insulated cover installed on the inside of a room air conditioner (RAC) and a cover or sealing on the gap surrounding the unit. The cover is designed for permanently installed RAC units, which comprise window air conditioners and through-the wall air conditioners, left in place throughout the heating season and reduces heating load by limiting the infiltration of cold outside air. To ensure persistence of savings, homeowner/building staff shall be instructed on proper annual removal and reinstallation. This measure assumes the cover is in place outside of the cooling season for the duration of the measure EUL. TRM V13 Pg. 24.

### R402.5.1 Building thermal envelope.

The building thermal envelope shall comply with Sections R402.5.1.1 through R402.5.1.3. The sealing methods between dissimilar materials shall allow for differential expansion and contraction.

### R402.5.1.1 Installation.

The components of the building thermal envelope as indicated in Table R402.5.1.1 shall be installed in accordance with the manufacturer’s instructions and the criteria indicated in Table R402.5.1.1, as applicable to the method of construction. Where required by the building official, an approved third party shall inspect all components and verify compliance. The inspection shall include an open wall visual inspection of all components included in Table R402.5.1.1 and shall be installed so that the insulation material uniformly fills each cavity side-to-side and top-to-bottom, without gaps or voids around obstructions, and is split, installed, or fitted tightly around wiring and other penetrations in the cavity. No more than 2 percent of the total insulated area shall contain gaps or voids in the insulation or be compressed below the thickness required to attain the labeled R-value.

### R402.5.1.2 Air leakage testing.(Airsealing)

The building or each dwelling unit or sleeping unit in the building shall be tested for air leakage. Testing shall be conducted in accordance with ANSI/RESNET/ICC 380, ASTM E779, ASTM E1827 or ASTM E3158 and reported at a pressure differential of 0.2 inch water gauge (50 Pa). Where required by the building official, testing shall be conducted by an approved third party. A written report of the results of the test shall be signed by the party conducting the test and provided to the building official. Testing shall be performed at any time after creation of all penetrations of the building thermal envelope have been sealed.

During testing:

- Exterior windows and doors, fireplace and stove doors shall be closed, but not sealed, beyond the intended weatherstripping or other infiltration control measures.

- Dampers including exhaust, intake, makeup air, backdraft and flue dampers shall be closed, but not sealed beyond intended infiltration control measures.

- Interior doors, where installed at the time of the test, shall be open.

- Exterior or interior terminations for continuous ventilation systems shall be sealed.

- Heating and cooling systems, where installed at the time of the test, shall be turned off.

- Supply and return registers, where installed at the time of the test, shall be fully open.

Exceptions:

- For heated sunrooms and heated attached or detached private garages accessory to residential buildings, building thermal envelope tightness and insulation installation shall be considered acceptable where the items in Table R402.5.1.1, applicable to the method of construction, are field verified. Where required by the building official, an approved third party independent from the installer shall inspect both air barrier and insulation installation criteria. Heated sunrooms and heated attached or detached private garage space shall be thermally isolated from all other conditioned spaces in accordance with Sections R402.2.13 and R402.4.5, as applicable.

- Where tested in accordance with Section R402.5.1.2.1, testing of each dwelling unit or sleeping unit is not required.

Table 16. R402.5.1.1—AIR BARRIER, AIR SEALING AND INSULATION INSTALLATIONa

| COMPONENT | AIR BARRIER, AIR SEALING CRITERIA | INSULATION INSTALLATION CRITERIA |
| --- | --- | --- |
| General requirements | A continuous air barrier shall be installed in the building thermal envelope. Breaks or joints in the air barrier shall be sealed. | Air-permeable insulation shall not be used as a sealing material. |
| Ceiling/attic | An air barrier shall be installed in any dropped ceiling or soffit to separate it from unconditioned space. Access openings, drop down stairs or knee wall doors to unconditioned attic spaces shall be sealed with gasketing materials that allow for repeated entrance over time. | The insulation in any dropped ceiling/soffit shall be aligned with the air barrier. Access hatches and doors shall be installed and insulated in accordance with Section R402.2.5. Eave baffles shall be installed in accordance with Section R402.2.4. |

Table 16. (Continued)

| COMPONENT | AIR BARRIER, AIR SEALING CRITERIA | INSULATION INSTALLATION CRITERIA |
| --- | --- | --- |
| Walls | The junction of the foundation and sill plate shall be sealed. The junction of the top plate and the top of exterior walls shall be sealed. Knee walls shall be sealed. | Cavities within corners and headers of frame walls shall be insulated by completely filling the cavity with a material having a thermal resistance, R-value, of not less than R-3 per inch. Exterior building thermal envelope insulation for framed walls shall be installed in substantial contact and continuous alignment with the air barrier. |
| Knee wall | Knee walls shall have an air barrier between conditioned and unconditioned space | Insulation installed in a knee wall assembly shall be installed in accordance with Section R402.2.3. Air-permeable insulation shall be enclosed inside an air barrier assembly. |
| Windows, skylights and doors | The rough opening gap between framing and the frames of skylights, windows and doors, shall be sealed in accordance with fenestration manufacturer’s instructions. | Insulation shall not be required in the rough opening gap except as required by the fenestration manufacturer’s instructions. |
| Rim joists | Rim joists shall include an air barrier. The junctions of the rim board to the sill plate and the rim board and the subfloor shall be air sealed. | Rim joists shall be insulated so that the insulation maintains permanent contact with the exterior rim board. ^b |
| Floors, including cantilevered floors and floors above garages | Floor framing members that are part of the building thermal envelope shall be air sealed to maintain a continuous air barrier. Air permeable floor cavity insulation shall be enclosed. | Floor insulation shall be installed in accordance with the requirements of Section R402.2.8. |
| Basement, crawl space and slab foundations | Exposed earth in crawl spaces shall be covered with a Class I vapor retarder/air barrier in accordance with Section R402.2.11. Penetrations through concrete foundation walls and slabs shall be air sealed. Class 1 vapor retarders shall not be used as an air barrier on below-grade walls and shall be installed in accordance with Section R702.7 of the Residential Code of New York State. | Crawl space insulation, where provided instead of floor insulation, shall be installed in accordance with Section R402.2.11. Conditioned basement foundation wall insulation shall be installed in accordance with Section R402.2.9.1. Slab-on-grade floor insulation shall be installed in accordance with Section R402.2.10. |
| Shafts, penetrations | Duct and flue shafts to exterior or unconditioned space shall be sealed. Utility penetrations of the air barrier shall be caulked, gasketed or otherwise sealed and shall allow for expansion, contraction of materials and mechanical vibration. | Insulation shall be fitted tightly around utilities passing through shafts and penetrations in the building thermal envelope to maintain required R-value. |

Table 16. (Continued)

| COMPONENT | AIR BARRIER, AIR SEALING CRITERIA | INSULATION INSTALLATION CRITERIA |
| --- | --- | --- |
| Narrow cavities | Narrow cavities of 1 inch or less that are not able to be insulated shall be air sealed. | Batts to be installed in narrow cavities shall be cut to fit or narrow cavities shall be filled with insulation that on installation readily conforms to the available cavity space. |
| Garage separation | Air sealing shall be provided between the garage and conditioned spaces. | Insulated portions of the garage separation assembly shall be installed in accordance with Sections R303 and R402.2.8. |
| Recessed lighting | Recessed light fixtures installed in the building thermal envelope shall be air sealed in accordance with Section R402.5.4. | Recessed light fixtures installed in the building thermal envelope shall be airtight and IC rated, and shall be buried in or surrounded with insulation. |
| Plumbing, wiring or other obstructions | All holes created by wiring, plumbing or other obstructions in the air barrier assembly shall be air sealed. | Insulation shall be installed to fill the available space and surround wiring, plumbing, or other obstructions, unless the required R-value can be met by installing insulation and air barrier systems completely to the exterior side of the obstructions. |
| Showers, tubs and fireplaces adjacent to the building thermal envelope | An air barrier shall separate insulation in the building thermal envelope from the shower, tub or fireplace assemblies. | Exterior framed walls adjacent to showers, tubs and fireplaces shall be insulated. |
| Electrical, communication and other equipment boxes, housings and enclosures | Boxes, housing and enclosures that penetrate the air barrier shall be caulked, taped, gasketed or otherwise sealed to the air barrier element being penetrated. All concealed openings into the box, housing or enclosure shall be sealed. Alternatively, air-sealed boxes shall be installed in accordance with Section R402.5.5. | Boxes, housing and enclosures shall be buried in or surrounded by insulation. |
| HVAC register boots | HVAC supply and return register boots shall be sealed to the subfloor, wall covering or ceiling penetrated by the boot. | HVAC supply and return register boots located within a building thermal envelope assembly shall be buried in or surrounded by insulation. |
| Concealed sprinklers | Where required to be sealed, concealed fire sprinklers shall only be sealed in a manner that is recommended by the manufacturer. Caulking or other adhesive sealants shall not be used to fill voids between fire sprinkler cover plates and walls or ceilings. | — |

Table 16. (Continued)

| COMPONENT | AIR BARRIER, AIR SEALING CRITERIA | INSULATION INSTALLATION CRITERIA |
| --- | --- | --- |
| Common walls or double walls separating attached single-family dwellings or townhouses | An interior air barrier shall be provided. Air sealing at the intersections with building thermal envelope shall be provided. Where installed in a fire-resistance-rated wall assembly, air sealing materials shall comply with one of the following: 1.Be in accordance with an approved design for the fire-resistance-rated assembly. 2.Be supported by approved data that shows the assembly as installed complies with the required fire-resistance rating. | Insulation materials recognized in the approved common wall or double-wall design and installed in accordance with the approved design shall be permitted to be used. |

### R402.5.1.2.1 Unit sampling.

For buildings with eight or more dwelling units or sleeping units, seven or 20 percent of the dwelling units or sleeping units, whichever is greater, shall be tested. Tested units shall include a top-floor unit, a ground-floor unit, a middle-floor unit and the dwelling unit or sleeping unit with the largest testing unit enclosure area. Where the air leakage rate of a tested unit is greater than the maximum permitted rate, corrective actions shall be taken and the unit retested until it passes. For each tested dwelling unit or sleeping unit with an air leakage rate greater than the maximum permitted rate, three additional units, including the corrected unit, shall be tested. Where buildings have fewer than eight dwelling units or sleeping units, each unit shall be tested.

### R402.5.1.3 Maximum air leakage rate.

The air leakage rate for buildings, dwelling units or sleeping units shall be not greater than 3.0 air changes per hour in Climate Zones 4 and 5, or 0.19 cubic foot [1.1/(s × m2)] of the building thermal envelope area; and not greater than 2.5 air changes per hour in Climate Zone 6, or 0.16 cubic foot [0.8/(s × m2)] of the building thermal envelope area.

Exceptions:

- Where dwelling units or sleeping units are attached or located in an R-2 occupancy, and are tested without simultaneously testing adjacent dwelling units or sleeping units, the air leakage rate is permitted to be not greater than 0.27 cubic feet per minute per square foot [1.4 L/(s × m2)] of the testing unit enclosure area. Where adjacent dwelling units are simultaneously tested in accordance with ASTM E779, the air leakage rate is permitted to be not greater than 0.27 cubic feet per minute per square foot [1.4 L/(s × m2)] of the testing unit enclosure area that separates conditioned space from the exterior.

- Where buildings have 1,500 square feet (139.4 m2) or less of conditioned floor area, the air leakage rate is permitted to be not greater than 0.27 cubic feet per minute per square foot [1.4 L/(s × m2)] of the testing unit enclosure area.

### R402.5.3 Fenestration air leakage.

Windows, skylights and sliding glass doors shall have an air infiltration rate of not greater than 0.3 cubic feet per minute per square foot (1.5 L/s/m2), and for swinging doors, not greater than 0.5 cubic feet per minute per square foot (2.6 L/s/m2), when tested in accordance with NFRC 400 or AAMA/WDMA/CSA 101/I.S.2/A440 by an accredited, independent laboratory and listed and labeled by the manufacturer.

Exception: Site-built windows, skylights and doors.

Table 17. R402.1.2—MAXIMUM ASSEMBLY U-FACTORSa AND FENESTRATION REQUIREMENT

| CLIMATE ZONE | 4 | 5 | 6 |
| --- | --- | --- | --- |
| Vertical fenestration U-factor | 0.27 | 0.27d | 0.27d |
| Skylight U-factor | 0.50 | 0.50 | 0.50 |
| Glazed vertical fenestration SHGC | 0.40 | NR | NR |
| Skylight SHGC | 0.40 | NR | NR |
| Ceiling U-factor | 0.026 | 0.026 | 0.026 |
| Insulation entirely above roof deck | 0.032 | 0.032 | 0.032 |
| Wood-framed wall U-factor | 0.045 | 0.045 | 0.045 |
| Mass wall U-factorb | 0.060 | 0.060 | 0.060 |
| Floor U-factor | 0.033 | 0.033 | 0.033 |
| Basement wall U-factor | 0.050 | 0.050 | 0.050 |
| Unheated slab F-factore | 0.48 | 0.48 | 0.48 |
| Heated slab F-factore | 0.55 | 0.55 | 0.55 |
| Crawl space wall U-factor | 0.55 | 0.055 | 0.055 |

For SI: 1 foot = 304.8 mm.

- Nonfenestration U-factors and F-factors shall be obtained from measurement, calculation, an approved source, or Appendix RF where such appendix is adopted or approved.

- Mass walls shall be in accordance with Section R402.2.6. Where more than half the insulation is on the interior, the mass wall U-factors shall not exceed 0.56.

- Reserved.

- A maximum U-factor of 0.30 shall apply in Climate Zones 5 and 6 to vertical fenestration products installed in buildings located either:

  - Above 4,000 feet in elevation above sea level, or

  - In windborne debris regions where protection of openings is required by Section R301.2.1.2 of the Residential Code of New York State.

- F-factors for slabs shall correspond to the R-values of Table R402.1.3 and the installation conditions of Section R402.2.10.1.

### R402.1.3 R-value alternative.

Assemblies with an R-value of insulation materials equal to or greater than that specified in Table R402.1.3 shall be an alternative to the U-factor or F-factor in Table R402.1.2.

Table 18. R402.1.3—INSULATION MINIMUM R-VALUES AND FENESTRATION REQUIREMENTS BY COMPONENT

| CLIMATE ZONE | 4 | 5 | 6 |
| --- | --- | --- | --- |
| Vertical fenestration U-factor | 0.27 | 0.27g | 0.27g |
| Skylight U-factor | 0.50 | 0.50 | 0.50 |
| Glazed vertical fenestration SHGC | 0.40 | 0.40 | NR |
| Skylight SHGC | 0.40 | NR | NR |
| Ceiling R-value | 49 | 49 | 49 |
| Insulation entirely above roof deck | 30ci | 30ci | 30ci |
| Wood-framed wall R-valuee | 30 or 20&5ci or 13&10ci or 0&20ci | 30 or20&5ci or13&10ci or0&20ci | 30 or20&5ci or 13&10ci or 0&20ci |
| Mass wall R-valuef | 15/20 | 15/20 | 15/20 |
| Floor R-valueh | 30 or 19&7.5ci or 20ci | 30 or 19&7.5ci or 20ci | 30 or 19&7.5ci or 20ci |
| Basement wall R-valueb, e | 15ci or 19 or 13&5ci | 15ci or 19 or 13&5ci | 15ci or 19 or 13&5ci |
| Unheated slab R-value & depthc | 10ci, 4 ft | 10ci, 4 ft | 10ci, 4 ft |
| Heated slab R-value & depthc | R-10ci, 4 ft and R-10 full slab | R-10ci, 4 ft and R-10 full slab | R-10ci, 4 ft and R-10 full slab |
| Crawl space wall R-valueb,e | 15ci or 19 or 13&5ci | 15ci or 19 or 13&5ci | 15ci or 19 or 13&5ci |

For SI: 1 foot = 304.8 mm.

NR = Not Required, ci = Continuous Insulation.

- R-values are minimums. U-factors and SHGC are maximums. Where insulation is installed in a cavity that is less than the label or design thickness of the insulation, the installed R-value of the insulation shall be not less than the R-value specified in the table.

- “5ci or 13” means R-5 continuous insulation (ci) on the interior or exterior surface of the wall or R-13 cavity insulation on the interior side of the wall. "10ci or 13" means R-10 continuous insulation (ci) on the interior or exterior surface of the wall or R-13 cavity insulation on the interior side of the wall. "15ci or 19 or 13&5ci" means R-15 continuous insulation (ci) on the interior or exterior surface of the wall; or R-19 cavity insulation on the interior side of the wall; or R-13 cavity insulation on the interior of the wall in addition to R-5 continuous insulation on the interior or exterior surface of the wall.

- Slab insulation shall be installed in accordance with Section R402.2.10.1.

- Reserved.

- The first value is cavity insulation; the second value is continuous insulation. Therefore, as an example, “13&5” means R-13 cavity insulation plus R-5 continuous insulation.

- Mass walls shall be in accordance with Section R402.2.6. The second R-value applies where more than half of the insulation is on the interior of the mass wall.

- A maximum U-factor of 0.30 shall apply in Climate Zones 5 and 6 to vertical fenestration products installed in buildings located either:

  - Above 4,000 feet in elevation.

  - In windborne debris regions where protection of openings is required by Section R301.2.1.2 of the Residential Code of New York State.

- "30 or 19&7.5ci or 20ci" means R-30 cavity insulation alone or R-19 cavity insulation with R-7.5 continuous insulation or R-20 continuous insulation alone.

### R401.3 Certificate.

A permanent certificate shall be completed by the builder or other approved party and posted on a wall in the space where the furnace is located, a utility room or an approved location inside the building. Where located on an electrical panel, the certificate shall not cover or obstruct the visibility of the circuit directory label, service disconnect label or other required labels. The certificate shall indicate the following:

- The predominant R-values of insulation installed in or on ceilings, roofs, walls, foundation components such as slabs, basement walls, crawl space walls and floors and ducts outside conditioned spaces.

- U-factors of fenestration and the solar heat gain coefficient (SHGC) of fenestration. Where there is more than one value for any component of the building thermal envelope, the certificate shall indicate both the value covering the largest area and the area weighted average value if available.

- The results from any required duct system and building thermal envelope air leakage testing performed on the building.

- The types, sizes and efficiencies of heating, cooling and service water-heating equipment. Where a gas-fired unvented room heater, electric furnace or baseboard electric heater is installed in the residence, the certificate shall indicate “gas-fired unvented room heater,” “electric furnace” or “baseboard electric heater,” as appropriate. An efficiency shall not be indicated for gas-fired unvented room heaters, electric furnaces and electric baseboard heaters.

- Where on-site photovoltaic panel systems have been installed, the array capacity, inverter efficiency, panel tilt and orientation shall be noted on the certificate.

- For buildings where an Energy Rating Index score is determined in accordance with Section R406, the Energy Rating Index score, both with and without any on-site generation, shall be listed on the certificate.

- The code edition under which the structure was permitted, the compliance path used and, where applicable, the additional efficiency measures selected for compliance with Section R408.

- The location and dimensions of a solar-ready zone where one is provided.

### R403.3 Duct systems.

Duct systems shall be installed in accordance with Sections R403.3.1 through R403.3.9. The duct system in new buildings and additions shall be located in conditioned space in accordance with Section R403.3.4.

Exception: Ventilation ductwork that is not integrated with duct systems serving heating or cooling systems.

### R403.3.1 Duct system design.

Duct systems serving one or two dwelling units or sleeping units shall be designed and sized in accordance with ANSI/ACCA Manual D based on calculations made in accordance with Section R403.7. Duct systems serving more than two dwelling units or sleeping units shall be sized in accordance with the ASHRAE Handbook of Fundamentals, ANSI/ACCA Manual D or other equivalent computation procedure based on calculations made in accordance with Section R403.7.

### R403.3.3 Ductwork located outside conditioned space.

Supply and return ductwork located outside conditioned space shall be insulated to an R-value of not less than R-8 for ducts 3 inches (76 mm) in diameter and larger and not less than R-6 for ducts smaller than 3 inches (76 mm) in diameter. Ductwork buried beneath a building shall be insulated as required per this section or have an equivalent thermal distribution efficiency. Underground ductwork utilizing the thermal distribution efficiency method shall be listed and labeled to indicate the R-value equivalency.

### R403.3.4 Duct systems located in conditioned space.

For duct systems to be considered inside a conditioned space, the space conditioning equipment shall be located completely on the conditioned side of the building thermal envelope. The ductwork shall comply with the following, as applicable:

- The ductwork shall be located completely on the conditioned side of the building thermal envelope.

- Ductwork in ventilated attic spaces or unvented attics with vapor diffusion ports shall be buried within ceiling insulation in accordance with Section R403.3.5 and shall comply with the following:

  - The ductwork leakage, as measured either by a rough-in test of the supply and return ductwork or a post-construction duct system leakage test to outside the building thermal envelope in accordance with Section R403.3.7, is not greater than 1.5 cubic feet per minute (42.5 L/min) per 100 square feet (9.29 m2) of conditioned floor area served by the duct system.

  - The ceiling insulation R-value installed against and above the insulated ductwork is greater than or equal to the proposed ceiling insulation R-value, less the R-value of the insulation on the ductwork.

- Ductwork contained within wall or floor assemblies separating unconditioned from conditioned space shall comply with the following:

  - A continuous air barrier shall be installed as part of the building assembly between the ductwork and the unconditioned space.

  - Ductwork shall be installed in accordance with Section R403.3.3.

Exception: Where the building assembly cavities containing ductwork have been air sealed in accordance with Section R402.5.1 and insulated in accordance with Item 3.3, duct insulation is not required.

  - Not less than R-10 insulation, or not less than 50 percent of the required insulation R-value specified in Table R402.1.3, whichever is greater, shall be located between the ductwork and the unconditioned space.

  - Segments of ductwork contained within these building assemblies shall not be considered completely inside conditioned space for compliance with Section R405 or R406.

### R403.3.5 Ductwork buried within ceiling insulation.

Where supply and return ductwork is partially or completely buried in ceiling insulation, such ductwork shall comply with the following:

- The supply and return ductwork shall be insulated with not less than R-8 insulation.

- At all points along the ductwork, the sum of the ceiling insulation R-value against and above the top of the ductwork, and against and below the bottom of the ductwork, shall be not less than R-19, excluding the R-value of the duct insulation.

### R403.3.5.1 Effective R-value of deeply buried ducts.

Where complying using Section R405, sections of ductwork that are installed in accordance with Section R403.3.5 surrounded with blown-in attic insulation having an R-value of R-30 or greater and located such that the top of the ductwork is not less than 3.5 inches (89 mm) below the top of the insulation shall be considered as having an effective duct insulation R-value of R-25.

### R403.3.6 Sealing.

Ductwork, air-handling units and filter boxes shall be sealed. Joints and seams shall comply with the Mechanical Code of New York State or the Residential Code of New York State, or the New York City Construction Code, as applicable.

### R403.3.6.1 Sealed air-handling unit.

Air-handling units shall have a manufacturer’s designation for an air leakage of not greater than 2 percent of the design airflow rate when tested in accordance with ASHRAE 193.

### R403.3.7 Duct system testing.

Each duct system shall be tested for air leakage in accordance with ANSI/RESNET/ICC 380 or ASTM E1554. Total leakage shall be measured with a pressure differential of 0.1 inch water gauge (25 Pa) across the duct system and shall include the measured leakage from the supply and return ductwork. A written report of the test results shall be signed by the party conducting the test and provided to the building official. Duct system leakage testing at either rough-in or post construction shall be permitted with or without the installation of registers or grilles. Where installed, registers and grilles shall be sealed during the test. Where registers and grilles are not installed, the face of the register boots shall be sealed during the test.

Exceptions:

- Testing shall not be required for duct systems serving ventilation systems that are not integrated with duct systems serving heating or cooling systems.

- Testing shall not be required where there is not more than 10 feet (3048 mm) of total ductwork external to the space conditioning equipment and both the following are met:

  - The duct system is located entirely within conditioned space.

  - The ductwork does not include plenums constructed of building cavities or gypsum board.

- Where the space conditioning equipment is not installed, testing shall be permitted. The total measured leakage of the supply and return ductwork shall be less than or equal to 3.0 cubic feet per minute (85 L/min) per 100 square feet (9.29 m2) of conditioned floor area.

- Where tested in accordance with Section R403.3.9, testing of each duct system is not required.

### R403.3.8 Duct system leakage.

The total measured duct system leakage shall not be greater than the values in Table R403.3.8, based on the conditioned floor area, number of ducted returns, and location of the duct system. For buildings complying with Section R405 or R406, where duct system leakage to outside is tested in accordance with ANSI/RESNET/ICC 380 or ASTM E1554, the leakage to outside value shall not be used for compliance with this section, but shall be permitted to be used in the calculation procedures of Section R405 and R406.

Table 19. R403.3.8—MAXIMUM TOTAL DUCT SYSTEM LEAKAGE

| EQUIPMENT AND DUCT CONFIGURATION | DUCT SYSTEMS SERVING MORE THAN1,000 FT2 OF CONDITIONED FLOOR AREA |  | DUCT SYSTEMS SERVING1,000 FT2 OR LESS OFCONDITIONED FLOOR AREA |
| --- | --- | --- | --- |
|  | cfm/100 ft2 |  | cfm |
|  | Number of ducted returns a |  |  |  |
|  | < 3 | ≥ 3 | Any |  |
| Space conditioning equipment is not installed b, c | 3 | 4 | 30 |  |
| All components of the duct system are installed c | 4 | 6 | 40 |  |
| Space conditioning equipment is not installed, but the ductwork is located entirely in conditioned space c, d | 6 | 8 | 60 |  |
| All components of the duct system are installed and entirely located in conditioned space c | 8 | 12 | 80 |  |

For SI: 1 cubic foot per minute per square foot = 0.0033 LPM/m2, 1 cubic foot per minute = 28.3 LPM

- A ducted return is a duct made of sheet metal or flexible duct that connects one or more return grilles to the return-side inlet of the air-handling unit. Any other method to convey air from return or transfer grilles to the air-handling unit does not constitute a ducted return for the purpose of determining maximum total duct system leakage allowance.

- Duct system testing is permitted where space conditioning equipment is not installed, provided that the return ductwork is installed and the measured leakage from the supply and return ductwork is included.

- For duct systems to be considered inside a conditioned space, where the ductwork is located in ventilated attic spaces or unvented attic with vapor diffusion ports, duct system leakage to outside must comply with Item 2.1 of Section R403.3.4.

- Prior to the issuance of a certificate of occupancy, where the air-handling unit is not verified as being located in conditioned space, the total duct system leakage must be retested.

### R402.1.4 R-value computation.

Cavity insulation alone shall be used to determine compliance with the cavity insulation R-value requirements in Table R402.1.3. Where cavity insulation is installed in multiple layers, the R-values of the cavity insulation layers shall be summed to determine compliance with the cavity insulation R-value requirements. The manufacturer’s settled R-value shall be used for blown-in insulation. Continuous insulation (ci) alone shall be used to determine compliance with the continuous insulation R-value requirements in Table R402.1.3. Where continuous insulation is installed in multiple layers, the R-values of the continuous insulation layers shall be summed to determine compliance with the continuous insulation R-value requirements. Cavity insulation R-values shall not be used to determine compliance with the continuous insulation R-value requirements in Table R402.1.3. Computed R-values shall not include an R-value for other building materials or air films. Where insulated siding is used for the purpose of complying with the continuous insulation requirements of Table R402.1.3, the manufacturer’s labeled R-value for the insulated siding shall be reduced by R-0.6.

### R408.2.1 Enhanced building thermal envelope options.

The building thermal envelope shall comply with one or more of the following:

- Section R408.2.1.1 or R408.2.1.2. Credit shall be permitted from only one measure.

- Section R408.2.1.3.

- Section R408.2.1.4.

### R408.2.1.1 Enhanced building thermal envelope performance.

The proposed total building thermal envelope thermal conductance (TCp)shall be calculated in accordance with Section R402.1.5 and shall be reduced by not less than the percentage indicated in Table R408.2 in comparison to the reference total building thermal envelope thermal conductance (TCr).

### R408.2.1.2 Improved fenestration.

The area weighted average U-factor and SHGC of all vertical fenestration shall be equal to or less than the values specified in Table R408.2.1.2.

Table 20. R408.2.1.2—IMPROVED FENESTRATION

| CLIMATE ZONE | U-FACTOR | SHGC |
| --- | --- | --- |
| 4 | 0.25 | 0.40 |
| 5 | 0.25 | NR |
| 6 | 0.25 | NR |

# Heating

## Heating System Piping

Boiler and Furnace Systems: All steam, hot water, and, cooling system piping in mechanical rooms and all accessible steam, hot water, and cooling system piping in unconditioned spaces shall be insulated to ECCC NYS – See code reference R403.4, R403.4.1, R403.5, R403.5.1, table R403.5.2 below.

### R403.4 Mechanical system piping insulation.

Mechanical system piping capable of carrying fluids greater than 105°F (41°C) or less than 55°F (13°C) shall be insulated to an R-value of not less than R-3.

### R403.4.1 Protection of piping insulation.

Piping insulation exposed to weather shall be protected from damage, including that caused by sunlight, moisture, physical contact and wind. The protection shall provide shielding from solar radiation that can cause degradation of the material and shall be removable not less than 6 feet (1828 mm) from the equipment for maintenance. Adhesive tape shall be prohibited.

### R403.5 Service hot water systems.

Energy conservation measures for service hot water systems shall be in accordance with Sections R403.5.1 through R403.5.3.

### R403.5.1 Heated water circulation and temperature maintenance systems.

Heated water circulation systems shall be in accordance with Section R403.5.1.1. Heat trace temperature maintenance systems shall be in accordance with Section R403.5.1.2. Automatic controls, temperature sensors and pumps shall be in a location with access. Manual controls shall be in a location with ready access.

### R403.5.1.2 Heat trace systems.

Electric heat trace systems shall comply with IEEE 515.1 or UL 515. Controls for such systems shall automatically adjust the energy input to the heat tracing to maintain the desired water temperature in the piping in accordance with the times when heated water is used in the occupancy.

### R403.5.2 Hot water pipe insulation.

Insulation for service hot water piping shall comply with Table R403.5.2 (Page 6) and be applied to the following:

- Piping 3/4 inch (19.1 mm) and larger in nominal diameter located inside the conditioned space.

- Piping located outside the conditioned space.

- Piping from the water heater to a distribution manifold.

- Piping located under a floor slab.

- Buried piping.

- Supply and return piping in circulating hot water systems.

Exception: Cold water returns in demand recirculation water systems.

### R403.5.3 Drain water heat recovery units.

Where installed, drain water heat recovery units shall comply with CSA B55.2. Drain water heat recovery units shall be tested in accordance with CSA B55.1. Potable water-side pressure loss of drain water heat recovery units shall be less than 3 psi (20.7 kPa) for individual units connected to one or two showers. Potable water-side pressure loss of drain water heat recovery units shall be less than 2 psi (13.8 kPa) for individual units connected to three or more showers.

### R403.5.4 Demand responsive water heating.

All electric storage water heaters with a rated water storage volume of 40 gallons (150L) to 120 gallons (450L) and a nameplate input rating equal to or less than 12kW shall be provided with demand responsive controls in accordance with Table R403.5.4.

Exceptions:

- Water heaters that are capable of delivering water at a temperature of 180°F (82°C) or greater.

- Water heaters that comply with Section IV, Part HLW or Section X of the ASME Boiler and Pressure Vessel Code.

- Water heaters that use 3-phase electric power.

### R403.1 Controls Residential Thermostatic Radiator Valves.

Not less than one thermostat shall be provided for each separate heating and cooling system.

### C403.4.2.1 Thermostatic setback- Residential Thermostatic Radiator Valves (Exception)

Thermostatic setback controls shall be configured to set back or temporarily operate the system to maintain zone temperatures down to 55°F (13°C) or up to 85°F (29°C).

### C403.4.1 Thermostatic controls-Residential Thermostatic Radiator Valves (Exception)

The supply of heating and cooling energy to each zone shall be controlled by individual thermostatic controls capable of responding to temperature within the zone. Where humidification or dehumidification or both is provided, not fewer than one humidity control device shall be provided for each humidity control system.

Exception: Independent perimeter systems that are designed to offset only building thermal envelope heat losses, gains or both serving one or more perimeter zones also served by an interior system provided that both of the following conditions are met:

- The perimeter system includes not fewer than one thermostatic control zone for each building exposure having exterior walls facing only one orientation (within ±45 degrees) (0.8 rad) for more than 50 contiguous feet (15240 mm).

- The perimeter system heating and cooling supply is controlled by thermostats located within the zones served by the system.

### ASME PTC 39.1 Steam Trap residential and Multifamily (External Reference)

Steam trap performance is evaluated based on operational condition and steam loss, using industry-standard testing methods (ASME PTC 39.1), rather than fixed minimum efficiency thresholds.

From TRM V12; Residential Multifamily Steam Trap – Low Pressure Space Heating Modified Measure Description to clarify application; Revised variable terms and definition to capture hours trap is pressurized.

### Tune-up - Boiler (TRM V13- External Reference)

This measure covers tune-up of residential fossil fuel-fired space heating boilers to improve seasonal heating efficiency. A tune-up involves the inspection, cleaning, and/or adjustment of boiler and appurtenances per manufacturer’s recommendations. This measure addresses tune-up benefits associated with heating performance in single - family or low-rise multifamily buildings only. For boiler tune-up in high-rise multifamily buildings, see Commercial Boiler Tune-Up measure. TRM V13, Pg. 246.

## Heating System Efficiency

Heating and cooling equipment shall be sized in accordance with ACCA Manual S based on building loads calculated in accordance with ACCA Manual J or other approved heating and cooling calculation methodologies. New or replacement heating and cooling equipment shall have an efficiency rating equal to or greater than the minimum required by federal law for the geographic location where the equipment is installed. ECCC NYS – See code reference R403.2, R403.6, R403.6.1, R403.7 below.

### R403.2 Hot water boiler temperature reset.

Other than where equipped with tankless domestic water heating coils, the manufacturer shall equip each gas, liquid fuel and electric boiler with automatic means of adjusting the water temperature supplied by the boiler so that incremental change of the inferred heat load will cause an incremental change in the temperature of the water supplied by the boiler. This can be accomplished with outdoor reset, indoor reset or water temperature sensing.

### R403.6 Mechanical ventilation.

The buildings and dwelling units complying with Section R402.5.1.1 shall be provided with mechanical ventilation that complies with the requirements of Section M1505 of the Residential Code of New York State, Mechanical Code of New York State, or New York City Construction Code, as applicable, or with other approved means of ventilation. Outdoor air intakes and exhausts shall have automatic or gravity dampers that close when the ventilation system is not operating.

### R403.6.1 Heat or energy recovery ventilation.

Dwelling units shall be provided with a heat recovery or energy recovery ventilation system in Climate Zone 6. The system shall be a balanced ventilation system with a sensible recovery efficiency (SRE) of not less than 65 percent at 32°F (0°C) at an airflow greater than or equal to the design airflow. The SRE shall be determined from a listed value or from interpolation of listed values.

### R403.6.2 Fan efficacy for whole-house mechanical ventilation systems and outdoor air ventilation systems.

Fans used to provide whole-dwelling mechanical ventilation shall meet the efficacy requirements of Table R403.6.2 at one or more rating points. Fans shall be tested in accordance with the test procedure referenced by Table R403.6.2 and listed. The airflow shall be reported in the product listing or on the label. Fan efficacy shall be reported in the product listing or shall be derived from the input power and airflow values reported in the product listing or on the label. Fan efficacy for fully ducted HRV, ERV, balanced ventilation systems and in-line fans shall be determined at a static pressure of not less than 0.2 inch water gauge (50 Pa). Fan efficacy for ducted range hoods, bathroom and utility room fans shall be determined at a static pressure of not less than 0.1 inch water gauge (25 Pa).

Table 21. FAN EFFICACY FOR WHOLE-HOUSE MECHANICALVENTILATION SYSTEMS AND OUTDOOR AIR VENTILATION SYSTEMS a

| SYSTEM TYPE | AIRFLOWRATE (CFM) | MINIMUM EFFICACY (CFM/WATT) | TEST PROCEDURE |
| --- | --- | --- | --- |
| HRV or ERV | Any | 1.2a | CAN/CSA C439 |
| Balanced ventilation system without heat or energy recovery | Any | 1.2a | ANSI/AMCA 210-ANSI/ASHRAE 51 |
| Range hood | Any | 2.8 |  |
| In-line supply or exhaust fan | Any | 3.8 | ANSI/AMCA 210-ANSI/ASHRAE 51 |
| Other exhaust fan | < 90 | 2.8 |  |
|  | ≥ 90 and < 200 | 3.5 |  |
|  | ≥ 200 | 4 |  |
| Air-handling unit that is integrated to tested and listed HVAC equipment | Any | 1.2 | Outdoor airflow as specified. Air-handling unit fan power determined in accordance with the applicable US Department of Energy Code of Federal Regulations DOE10 CFR 430 or other approved test method. |

For SI: 1 cubic foot per minute = 28.3 L/min.

- For balanced ventilation systems, HRVs and ERVs, determine the efficacy as the outdoor airflow divided by the total fan power.

### R403.7 Equipment sizing and efficiency rating.

Heating and cooling equipment shall be sized in accordance with ACCA Manual S based on building loads calculated in accordance with ACCA Manual J or other approved heating and cooling calculation methodologies. New or replacement heating and cooling equipment shall have an efficiency rating equal to or greater than the minimum required by federal law for the geographic location where the equipment is installed.

### R403.8 Systems serving multiple dwelling units.

Except for systems complying with Section R403.9, systems serving multiple dwelling units and sleeping units shall comply with Sections C403 and C404 of the Energy Conservation Construction Code of New York State—Commercial Provisions instead of Section R403.

Exception: Systems complying with Section R403.9.

### R403.9 Mechanical systems located outside of the building thermal envelope.

Mechanical systems providing heat outside of the building thermal envelope of a building shall comply with Sections R403.9.1 through R403.9.4.

### R403.13.1 Gas fireplace efficiency.

Vented gas fireplace heaters shall have a fireplace efficiency (FE) rating not less than 50 percent as determined in accordance with CSA P.4.1, and shall be listed and labeled in accordance with CSA/ANSI Z21.88. Vented gas fireplaces (decorative appliances) shall be listed and labeled in accordance with CSA/ANSI Z21.50.

### R408.2.2 More efficient HVAC equipment performance options.

Heating and cooling equipment shall meet one of the following measures as applicable for the climate zone where heating and cooling efficiencies are represented by Annual Fuel Utilization Efficiency (AFUE), Coefficient of Performance (COP), Energy Efficiency Ratio (EER and EER2), Heating Season Performance Factor (HSPF2) and Seasonal Energy Efficiency Ratio (SEER2). Where multiple heating or cooling systems are installed serving different zones, credits shall be earned based on the weighted average of square footage of the zone served by the system.

HVAC options:

- Ground source heat pump: Greater than or equal to 16.1 EER and 3.1 COP ground source heat pump.

- Cooling (Option 1): Greater than or equal to 15.2 SEER2 and 12.0 EER2 air conditioner.

- Cooling (Option 2): Greater than or equal to 16.0 SEER2 and 12.0 EER2 air conditioner.

- Gas furnace (Option 1): Greater than or equal to 97 percent AFUE fuel gas furnace.

- Gas furnace (Option 2): Greater than or equal to 95 percent AFUE fuel gas furnace.

- Gas furnace and cooling (Option 3): Greater than or equal to 95 percent AFUE fuel gas furnace and 15.2 SEER2 and 12.0 EER2 air conditioner.

- Gas furnace and cooling (Option 4): Greater than or equal to 97 percent AFUE fuel gas furnace and 16.0 SEER2 and 12.0 EER2 air conditioner.

- Gas furnace and heat pump (Option 2): Greater than or equal to 95 percent AFUE fuel gas furnace and 8.1 HSPF2 and 15.2 SEER2 air source heat pump capable of meeting a capacity ratio ≥ 70 percent of heating capacity at 5°F (-15°C) versus rated heating capacity at 47°F (8.3°C).

- Heat pump (Option 2): Greater than or equal to 8.1 HSPF2 and 15.2 SEER2 air source heat pump capable of meeting a capacity ratio ≥ 70 percent of heating capacity at 5°F (-15°C) versus rated heating capacity at 47°F (8.3°C).

## Heat Pumps

Equipment shall comply with the minimum efficiency requirements of Section R403 of the 2025 ECCCNYS Residential provisions and applicable federal appliance efficiency standards. R403.1, R403.1.2, R403.1.3, R408.2.2, R408.2.2.1 and 408.2.2.3. The code does not define performance tables directly for most residential HVAC, Instead, it references federal standards (DOE / 10 CFR Part 430).

Where applicable to program requirements, equipment shall be listed on the NEEP Cold Climate Air Source Heat Pump (ccASHP) Specification Listing.

### R403.1.1 Programmable thermostat.

The thermostat controlling the primary heating or cooling system of the dwelling unit shall be capable of controlling the heating and cooling system on a daily schedule to maintain different temperature set points at different times of day and different days of the week. This thermostat shall include the capability to set back or temporarily operate the system to maintain zone temperatures of not less than 55°F (13°C) to not greater than 85°F (29°C). The thermostat shall be programmed initially by the manufacturer with a heating temperature setpoint of not greater than 70°F (21°C) and a cooling temperature setpoint of not less than 78°F (26°C).

### R403.1.2 Heat pump supplementary heat.

Where permitted, heat pumps having supplementary electric-resistance, fuel gas or liquid fuel heating systems shall have controls that are configured to prevent supplemental heat operation when the capacity of the heat pump compressor can meet the heating load.

Supplemental heat operation shall be limited to only where one of the following applies:

- The vapor compression cycle cannot provide the necessary heating energy to satisfy the thermostat setting.

- The heat pump is operating in defrost mode.

- The vapor compression cycle malfunctions.

- The thermostat malfunctions.

### R408.2.2 More efficient HVAC equipment performance options.

Heating and cooling equipment shall meet one of the following measures as applicable for the climate zone where heating and cooling efficiencies are represented by Annual Fuel Utilization Efficiency (AFUE), Coefficient of Performance (COP), Energy Efficiency Ratio (EER and EER2), Heating Season Performance Factor (HSPF2) and Seasonal Energy Efficiency Ratio (SEER2). Where multiple heating or cooling systems are installed serving different zones, credits shall be earned based on the weighted average of square footage of the zone served by the system.

HVAC options:

- Ground source heat pump: Greater than or equal to 16.1 EER and 3.1 COP ground source heat pump.

- Cooling (Option 1): Greater than or equal to 15.2 SEER2 and 12.0 EER2 air conditioner.

- Cooling (Option 2): Greater than or equal to 16.0 SEER2 and 12.0 EER2 air conditioner.

- Gas furnace (Option 1): Greater than or equal to 97 percent AFUE fuel gas furnace.

- Gas furnace (Option 2): Greater than or equal to 95 percent AFUE fuel gas furnace.

- Gas furnace and cooling (Option 3): Greater than or equal to 95 percent AFUE fuel gas furnace and 15.2 SEER2 and 12.0 EER2 air conditioner.

- Gas furnace and cooling (Option 4): Greater than or equal to 97 percent AFUE fuel gas furnace and 16.0 SEER2 and 12.0 EER2 air conditioner.

- Gas furnace and heat pump (Option 2): Greater than or equal to 95 percent AFUE fuel gas furnace and 8.1 HSPF2 and 15.2 SEER2 air source heat pump capable of meeting a capacity ratio ≥ 70 percent of heating capacity at 5°F (-15°C) versus rated heating capacity at 47°F (8.3°C).

- Heat pump (Option 2): Greater than or equal to 8.1 HSPF2 and 15.2 SEER2 air source heat pump capable of meeting a capacity ratio ≥ 70 percent of heating capacity at 5°F (-15°C) versus rated heating capacity at 47°F (8.3°C).

### R408.2.2.1 More efficient HVAC equipment for Climate 
Zone 4.

For Climate Zone 4, the following HVAC options shall also apply:

- Gas furnace and heat pump (Option 3): Greater than or equal to 95 percent AFUE fuel gas furnace and 7.8 HSPF2, 15.2 SEER2and 10.0 EER2 air source heat pump.

- Heat pump (Option 1): Greater than or equal to 7.8 HSPF2, 15.2 SEER2 and 11.7 EER2 air source heat pump.

### R408.2.3 Reduced energy use in service water-heating options.

For measure numbers R408.2.3(1) through R408.2.3(7), the installed hot water system shall meet one of the Uniform Energy Factors (UEF) or Solar Uniform Energy Factors (SUEF) in Table R408.2.3.(Refer to page 4 of this document) For measure number R408.2.3(8), the hot water distribution system shall comply with Section R408.2.3.1.

# Distribution System Control

Distribution System Replacements: When replacing existing distribution systems or installing new systems, terminal heating and cooling distribution equipment serving an apartment shall be controlled by a thermostat(s) located within the same apartment as per ECCC NYS – See code reference R403.1, R403.1.1, below.

## R403.1 Controls.

Not less than one thermostat shall be provided for each separate heating and cooling system.

## R403.1.1 Programmable thermostat.

The thermostat controlling the primary heating or cooling system of the dwelling unit shall be capable of controlling the heating and cooling system on a daily schedule to maintain different temperature set points at different times of day and different days of the week. This thermostat shall include the capability to set back or temporarily operate the system to maintain zone temperatures of not less than 55°F (13°C) to not greater than 85°F (29°C). The thermostat shall be programmed initially by the manufacturer with a heating temperature setpoint of not greater than 70°F (21°C) and a cooling temperature setpoint of not less than 78°F (26°C).

## R403.6 Mechanical ventilation.

The buildings and dwelling units complying with Section R402.5.1.1 shall be provided with mechanical ventilation that complies with the requirements of Section M1505 of the Residential Code of New York State, Mechanical Code of New York State, or New York City Construction Code, as applicable, or with other approved means of ventilation. Outdoor air intakes and exhausts shall have automatic or gravity dampers that close when the ventilation system is not operating.

## R403.6.2 Fan efficacy for whole-house mechanical ventilation systems and outdoor air ventilation systems.

Fans used to provide whole-dwelling mechanical ventilation shall meet the efficacy requirements of Table R403.6.2 at one or more rating points. Fans shall be tested in accordance with the test procedure referenced by Table R403.6.2 and listed. The airflow shall be reported in the product listing or on the label. Fan efficacy shall be reported in the product listing or shall be derived from the input power and airflow values reported in the product listing or on the label. Fan efficacy for fully ducted HRV, ERV, balanced ventilation systems and in-line fans shall be determined at a static pressure of not less than 0.2 inch water gauge (50 Pa). Fan efficacy for ducted range hoods, bathroom and utility room fans shall be determined at a static pressure of not less than 0.1 inch water gauge (25 Pa).

Table 22. R403.6.2—FAN EFFICACY FOR WHOLE-HOUSE MECHANICALVENTILATION SYSTEMS AND OUTDOOR AIR VENTILATION SYSTEMS a

| SYSTEM TYPE | AIRFLOWRATE (CFM) | MINIMUM EFFICACY (CFM/Watt) | TEST PROCEDURE |
| --- | --- | --- | --- |
| HRV or ERV | Any | 1.2a | CAN/CSA C439 |
| Balanced ventilation system without heat or energy recovery | Any | 1.2a | ANSI/AMCA 210-ANSI/ASHRAE 51 |
| Range hood | Any | 2.8 |  |
| In-line supply or exhaust fan | Any | 3.8 | ANSI/AMCA 210-ANSI/ASHRAE 51 |
| Other exhaust fan | < 90 | 2.8 |  |
|  | ≥ 90 and < 200 | 3.5 |  |
|  | ≥ 200 | 4 |  |
| Air-handling unit that is integrated to tested and listed HVAC equipment | Any | 1.2 | Outdoor airflow as specified. Air-handling unit fan power determined in accordance with the applicable US Department of Energy Code of Federal Regulations DOE10 CFR 430 or other approved test method. |

For SI:1 cubic foot per minute = 28.3 L/min.

- a. For balanced ventilation systems, HRVs and ERVs, determine the efficacy as the outdoor airflow divided by the total fan power.

### R403.6.5 Intermittent exhaust control for bathrooms and toilet rooms.

Where an exhaust system serving a bathroom or toilet room is designed for intermittent operation, the exhaust system controls shall include one or more of the following:

- A timer control with one or more delay setpoints that automatically turns off exhaust fans when the selected setpoint is reached. Not fewer than one delay-off setpoint shall be 30 minutes or less.

- An occupant sensor control with one or more delay setpoints that automatically turns off exhaust fans in accordance with the selected delay setpoint after all occupants have vacated the space. Not fewer than one delay-off setpoint shall be 30 minutes or less.

- A humidity control with an adjustable setpoint ranging between 50 percent or more and 80 percent or less relative humidity that automatically turns off exhaust fans when the selected setpoint is reached.

- A contaminant control that responds to a particle or gaseous concentration and automatically turns off exhaust fans when a design setpoint is reached.

Manual off functionality shall not be used in lieu of the minimum setpoint functionality required by this section.

Exception: Bathroom and toilet room exhaust systems serving as an integral component of an outdoor air ventilation system or a whole-house mechanical ventilation system.

### R408.2.8.1 Single-stage HVAC system controls.

Thermostats controlling single-stage HVAC systems shall be provided with a demand responsive control that complies with one of the following:

- Certified OpenADR 2.0a VEN, as specified under Clause 11, Conformance.

- Certified OpenADR 2.0b VEN, as specified under Clause 11, Conformance.

- Certified by the manufacturer as being capable of responding to a demand response signal from a certified OpenADR 2.0b VEN by automatically implementing the control functions requested by the VEN for the equipment it controls.

- IEC 62746-10-1.

- The communication protocol required by a controlling entity, such as a utility or service provider, to participate in an automated demand response program.

- The physical configuration and communication protocol of CTA 2045-A or CTA-2045-B.

### R408.2.8.2 Variable-capacity and two-stage HVAC system controls.

Thermostats controlling variable-capacity and two-stage HVAC systems shall be provided with a demand responsive control that complies with the communication and performance requirements of AHRI 1380.

# Cooling

### R403.7 Equipment sizing and efficiency rating.

Heating and cooling equipment shall be sized in accordance with ACCA Manual S based on building loads calculated in accordance with ACCA Manual J or other approved heating and cooling calculation methodologies. New or replacement heating and cooling equipment shall have an efficiency rating equal to or greater than the minimum required by federal law for the geographic location where the equipment is installed.

### R403.9 Mechanical systems located outside of the building thermal envelope.

Mechanical systems providing heat outside of the building thermal envelope of a building shall comply with Sections R403.9.1 through R403.9.4.

### R408.2.2 More efficient HVAC equipment performance options.

Heating and cooling equipment shall meet one of the following measures as applicable for the climate zone where heating and cooling efficiencies are represented by Annual Fuel Utilization Efficiency (AFUE), Coefficient of Performance (COP), Energy Efficiency Ratio (EER and EER2), Heating Season Performance Factor (HSPF2) and Seasonal Energy Efficiency Ratio (SEER2). Where multiple heating or cooling systems are installed serving different zones, credits shall be earned based on the weighted average of square footage of the zone served by the system.

HVAC options:

- Ground source heat pump: Greater than or equal to 16.1 EER and 3.1 COP ground source heat pump.

- Cooling (Option 1): Greater than or equal to 15.2 SEER2 and 12.0 EER2 air conditioner.

- Cooling (Option 2): Greater than or equal to 16.0 SEER2 and 12.0 EER2 air conditioner.

- Gas furnace (Option 1): Greater than or equal to 97 percent AFUE fuel gas furnace.

- Gas furnace (Option 2): Greater than or equal to 95 percent AFUE fuel gas furnace.

- Gas furnace and cooling (Option 3): Greater than or equal to 95 percent AFUE fuel gas furnace and 15.2 SEER2 and 12.0 EER2 air conditioner.

- Gas furnace and cooling (Option 4): Greater than or equal to 97 percent AFUE fuel gas furnace and 16.0 SEER2 and 12.0 EER2 air conditioner.

- Gas furnace and heat pump (Option 2): Greater than or equal to 95 percent AFUE fuel gas furnace and 8.1 HSPF2 and 15.2 SEER2 air source heat pump capable of meeting a capacity ratio ≥ 70 percent of heating capacity at 5°F (-15°C) versus rated heating capacity at 47°F (8.3°C).

- Heat pump (Option 2): Greater than or equal to 8.1 HSPF2 and 15.2 SEER2 air source heat pump capable of meeting a capacity ratio ≥ 70 percent of heating capacity at 5°F (-15°C) versus rated heating capacity at 47°F (8.3°C).

### R408.2.2.1 More efficient HVAC equipment for Climate Zone 4.

For Climate Zone 4, the following HVAC options shall also apply:

- Gas furnace and heat pump (Option 3): Greater than or equal to 95 percent AFUE fuel gas furnace and 7.8 HSPF2, 15.2 SEER2and 10.0 EER2 air source heat pump.

- Heat pump (Option 1): Greater than or equal to 7.8 HSPF2, 15.2 SEER2 and 11.7 EER2 air source heat pump.

# Lighting

## Lighting Controls

Dwelling units within multifamily buildings shall comply with Section R404.1. All other dwelling units shall comply with Section R404.1, R404.2, R404.2.1, R404.2.2, R404.4, R404.5.

### R404.1 Lighting equipment.

All permanently installed luminaires shall be capable of operation with an efficacy of not less than 45 lumens per watt or shall contain lamps capable of operation with an efficacy of not less than 65 lumens per watt.

Exceptions:

- Appliance lamps.

- Antimicrobial lighting used for the sole purpose of disinfecting.

- General service lamps complying with DOE 10 CFR, Part 430.32.

- Luminaires with a rated electric input of not greater than 3.0 watts.

### R404.2 Interior lighting controls.

All permanently installed luminaires shall be controlled as required in Sections R404.2.1 and R404.2.2.

Exception: Lighting controls shall not be required for safety or security lighting.

### R404.2.1 Habitable spaces.

All permanently installed luminaires in habitable spaces shall be controlled with a manual dimmer or with an automatic shutoff control that automatically turns off lights within 20 minutes after all occupants have left the space and shall incorporate a manual control to allow occupants to turn the lights on or off.

### R404.2.2 Specific locations.

All permanently installed luminaires in garages, unfinished basements, laundry rooms and utility rooms shall be controlled by an automatic shutoff control that automatically turns off lights within 20 minutes after all occupants have left the space and shall incorporate a manual control to allow occupants to turn the lights on or off.

### R404.4 Renewable energy certificate (REC) documentation.

Where renewable energy generation is used to comply with this code, a signed attestation shall be provided to the building official by the property owner or owner’s authorized agent demonstrating that where renewable energy certificates (RECs) or energy attributable certificates (EACs) are associated with that portion of renewable energy used to comply with this code, the owner has entered into a REC or EAC agreement that complies with the applicable provisions of this code, including that the RECs or EACs shall be retained, or retired, on behalf of the property owner.

### R404.3.1 Controls for individual dwelling units.

Where the total permanently installed exterior lighting power is greater than 30 watts, the permanently installed exterior lighting shall comply with the following:

- Lighting shall be controlled by a manual on and off switch which permits automatic shutoff actions.

- Lighting shall be automatically shut off when daylight is present and satisfies the lighting needs.

- Controls that override automatic shutoff actions shall not be allowed unless the override automatically returns automatic control to its normal operation within 24 hours.

### R404.5 Dwelling electrical meter.

Each dwelling unit located in a Group R-2 building shall have a separate electrical meter or submeter.

### R408.2.10 Whole-home lighting control.

The dwelling unit shall have a manual control by the main entrance that turns off all the permanently installed interior lighting or a lighting control system that has the capability to turn off all permanently installed interior lighting from remote locations.

Exceptions:

- Up to 5 percent of the total lighting power may remain uncontrolled.

- Spaces where lighting is controlled by a count-down timer or occupant sensor control.

### R408.2.11 Higher efficacy lighting.

All spaces shall be provided with hardwired lighting with a lamp efficacy of 90 lumens per watt (lm/W) or a luminaire efficacy of 55 lm/W.

Exceptions:

- Closets.

- Other storage spaces.

## Exterior Lighting

Connected exterior lighting for Group R-2, R-3 and R-4 residential buildings shall comply with 2025 ECCCNYS Code reference  Sections R404.1.2 through R404.1.5.

Fixtures must include automatic switching on timers or photocell controls except fixtures intended for 24-hour operation, required for security, or located on apartment balconies.

### R404.1.1 Exterior lighting.

Connected exterior lighting for Group R-2, R-3 and R-4 residential buildings shall comply with Sections R404.1.2 through R404.1.5.

Exceptions:

- Detached one- and two- family dwellings.

- Townhouses.

- Group R-3 buildings that do not contain more than two dwelling units.

- Solar-powered lamps not connected to any electrical service.

- Luminaires controlled by a motion sensor.

- Lamps and luminaires that comply with Section R404.1.

### R404.1.2 Exterior lighting power requirements.

The total exterior connected lighting power shall be not greater than the exterior lighting power allowance calculated in accordance with Section R404.1.3. The total exterior connected lighting power shall be the total maximum rated wattage of all lighting that is powered through the energy service for the building.

Exceptions: Lighting used for the following applications shall not be included.

- Lighting approved for safety reasons.

- Emergency lighting that is automatically off during normal operations.

- Exit signs.

- Specialized signal, directional and marker lighting associated with transportation.

- Lighting for athletic playing areas.

- Temporary lighting.

- Lighting used to highlight features of art, public monuments and the national flag.

- Lighting for water features and swimming pools.

- Lighting controlled from within sleeping units and dwelling units.

- Lighting of the exterior means of egress as required by the Building Code of New York State.

### R404.1.3 Exterior lighting power allowance.

The total area or length of each area type multiplied by the value for the area type in Table R404.1 shall be the lighting power (watts) allowed for each area type. For area types not listed, the area type that most closely represents the proposed use of the area shall be selected. The total exterior lighting power allowance (watts) shall be the sum of the base site allowance plus the watts from each area type.

### R404.1.4 Additional exterior lighting power.

Additional exterior lighting power allowances shall be available for the building facades at 0.075 W/ft2 (0.807 w/m2) of gross above-grade wall area. These additional power allowances shall be used only for the luminaires serving the facade and shall not be used to increase any other lighting power allowance.

### R404.1.5 Gas lighting.

Gas-fired lighting appliances shall not be equipped with a continuous pilot and shall be equipped with an on-demand pilot, intermittent ignition or interrupted ignition as defined by ANSI Z21.20.

### R408.2.11 Higher efficacy lighting.

All spaces shall be provided with hardwired lighting with a lamp efficacy of 90 lumens per watt (lm/W) or a luminaire efficacy of 55 lm/W.

Exceptions:

- Closets.

- Other storage spaces.

# Energy Efficiency Appliances

### R408.2.6 Energy efficient appliances.

Each appliance of a type listed in Table R408.2.6 installed in a residential building shall comply with the efficiency requirements specified in that table. Each appliance specified in Table R408.2.6 shall be installed. A clothes washer shall be installed at each location plumbed for a clothes washer.

Exception: In dwelling units of Group R-2 occupancies where a dishwasher is not installed in each unit, not fewer than two appliance types complying with Table R408.2.6 shall be installed.

Table 23. R408.2.6—MINIMUM EFFICIENCY REQUIREMENTS: APPLIANCES

| APPLIANCE TYPES | EFFICIENCY IMPROVEMENT | TEST PROCEDURE |
| --- | --- | --- |
| Refrigerator | Maximum Annual Energy Consumption (AEC), not greater than 620 kWh/yr | 10 CFR 430, Subpart B, Appendix A |
| Dishwasher (No Incentive) | Maximum Annual Energy Consumption (AEC), not greater than 240 kWh/yr | 10 CFR 430, Subpart B, Appendix C1 |
| Clothes, Washer/Dryer (No Incentive) | Clothes washer located within dwelling units: Maximum Annual Energy Consumption (AEC), not greater than 130 kWh/yr, and Integrated Modified Energy Factor (IMEF) > 1.84 cu ft/kWh/cycle Clothes washer not located within dwelling units and where dwelling units are not provided with rough-in plumbing for washers: Modified Energy Factor (MEF) > 2.0 cu ft/kWh/cycle | 10 CFR 430, Subpart B, Appendices D1, D2 and J2 |

- For SI: 1 cubic foot per kilowatt hour per cycle = 0.028 m3/kWh/cycle.-

2022 ANSI/RESNET/ICC 301 Standard for the Calculation and Labeling of the Energy Performance of Dwelling and Sleeping Units using an Energy Rating Index

### 2022 ANSI/RESNET/ICC 301 Standard 4.2.2.7.2.5. Refrigerators (External reference)

Refrigerator annual energy use for the Rated Home shall be determined from either refrigerator Energy Guide labels or from age-based defaults in accordance with Table 4.2.2.7.2.5(1).

Default values for adjusted volume (AV) shall be determined in accordance with Table 4.2.2.7.2.5(3)

For the purpose of adjusting the annual refrigerator energy consumption for calculating the Rating, ECLA shall be adjusted by ΔECFRIG, which shall be calculated as the annual refrigerator energy use derived by the procedures in this section minus the annual refrigerator energy use derived for the Energy Rating Reference Home in Section 4.2.2.7.1, converted to MBtu/y, where MBtu/y = (kWh/y)/293.

For refrigerator energy use, Internal Gains in the Rated Home shall be modified by 100 percent of the refrigerator ΔECFRIG converted to Btu/day as follows: ΔECFRIG × 106 / 365. Internal Gains shall not be modified for refrigerators located in Unconditioned Space Volume, Unrated Heated Space, Unrated Conditioned Space or outdoor environment.17

Table 24. 4.2.2.7.2.5(1) AGE-BASED REFRIGERATOR DEFAULTS

| REFRIGERATOR/FREEZER TYPE | ANNUAL kWH EQUATION |
| --- | --- |
| Single-door refrigerator only | (13.5 × AV + 299) × VR |
| Single-door refrigerator/freezer | (13.5 × AV + 299) × VR |
| Refrigerator with top freezer | (16.0 × AV + 355) × VR |
| with TDI | (17.6 × AV + 391) × VR |
| Refrigerator with side-by-side freezer | (11.8 × AV + 501) × VR |
| with TDI | (16.3 × AV + 527) × VR |
| Refrigerator with bottom freezer | (16.6 × AV + 367) × VR |
| Upright freezer only manual defrost | (10.3 × AV + 264) × VR |
| Upright freezer only auto defrost | (14.0 × AV + 391) × VR |
| Chest freezer only | (11.0 × AV + 160) × VR |

Where:

AV = Adjusted Volume = (refrigerator compartment volume) + 1.63 x (freezer compartment volume)

TDI = Through the door ice

VR = Vintage Ratio from Table 4.2.2.5.2.5(2)

Table 25. 4.2.2.7.2.5(2) AGE-BASED VINTAGE RATIOS

| REFRIGERATOR VINTAGE | VINTAGE RATIO |
| --- | --- |
| 1980 or before | 2.50 |
| 1981–1984 | 1.82 |
| 1985–1988 | 1.64 |
| 1989–1990 | 1.39 |
| 1991–1993 | 1.30 |
| 1994–2000 | 1.00 |
| 2001–Present | 0.77 |

Table 27. 4.2.2.7.2.5(3) DEFAULT ADJUSTED VOLUME EQUATIONS

| MODEL TYPE | DEFAULT EQUATION |
| --- | --- |
| Single-door refrigerator only | AV = 1.00 x nominal volume |
| Single-door refrigerator/freezer | AV = 1.01 x nominal volume |
| Bottom Freezer | AV = 1.19 x nominal volume |
| Top Freezer | AV = 1.16 x nominal volume |
| Side by side | AV = 1.24 x nominal volume |
| Freezer only | AV = 1.73 x nominal volume |

# Energy Rating Index Compliance Alternative

This section establishes criteria for compliance using an Energy Rating Index (ERI) analysis. Such analysis shall be limited to dwelling units and sleeping units. Common areas in residential buildings shall comply with Sections R402 through R404. Common areas in commercial buildings shall comply with Sections C402 through C406, and Section C408.

### R406.2 ERI compliance.

Compliance based on the ERI requires that the rated design and as-built dwelling unit or sleeping unit meet all of the following:

The requirements of the sections indicated within Table R406.2.

Maximum ERI values indicated in Table R406.5.

Table 26. R406.2—REQUIREMENTS FOR ENERGY RATING INDEX

| SECTION | TITLE |
| --- | --- |
| General |  |
| R401.3 | Certificate |
| Building thermal envelope |  |
| R402.1.1 | Vapor retarder |
| R402.1.6 | Rooms containing fuel-burning appliances |
| R402.2.4 | Eave baffle |
| R402.2.5.1 | Access hatches and door insulation installation and retention |
| R402.2.10 | Slab-on-grade floors |
| R402.2.11 | Crawl space walls |
| R402.5.1.1 | Installation |
| R402.5.1.2 | Air leakage testing |
| R402.5.1.3 | Maximum air leakage rate |
| R402.5.2 | Fireplaces |
| R402.5.3 | Fenestration air leakage |
| R402.5.4 | Recessed lighting |
| R402.5.5 | Air-sealed electrical and communication outlet boxes |
| R406.3 | Building thermal envelope |
| Mechanical |  |
| R403.1 | Controls |
| R403.2 | Hot water boiler temperature reset |

| SECTION a | TITLE |
| --- | --- |
| R403.3 | Duct systems |
| R403.4 | Mechanical system piping insulation |
| R403.5 | Service hot water systems |
| R403.6 | Mechanical ventilation |
| R403.7, except Section R403.7.1 | Equipment sizing and efficiency rating |
| R403.8 | Systems serving multiple dwelling units |
| R403.9.2 | Snow melt and ice system controls |
| R403.10 | Energy consumption of pools and spas |
| R403.11 | Portable spas |
| R403.12 | Residential pools and permanent residential spas |
| R403.13 | Gas fireplaces |
| Electrical power and lighting systems |  |
| R404.1 | Lighting equipment |
| R404.2 | Interior lighting controls |
| R404.5 | Dwelling unit electrical meter |

- a. Reference to a code section includes all of the relative subsections except as indicated in the table.

### R406.3 Building thermal envelope.

The proposed total building thermal envelope thermal conductance (TCp)shall be less than or equal to the reference total building thermal envelope thermal conductance (TCr) using the prescriptive U-factors and F-factors from Table R402.1.2 multiplied by 1.15, in accordance with Equation 4-2 and Section R402.1.5.

### R406.4 Energy Rating Index.

The Energy Rating Index (ERI) shall be determined in accordance with ANSI/RESNET/ICC 301. The mechanical ventilation rates used for the purpose of determining the ERI shall not be construed to establish minimum ventilation requirements for compliance with this code.

Energy used to recharge or refuel a vehicle used for transportation on roads that are not on the building site shall not be included in the ERI reference design or the rated design.

### R406.5 ERI-based compliance.

Compliance based on an ERI analysis requires that the rated design and each confirmed as-built dwelling unit or sleeping unit be shown to have an ERI less than or equal to the appropriate value indicated in Table R406.5 where compared to the ERI reference design as follows:

Where on-site renewables are not installed, the values under ENERGY RATING INDEX NOT INCLUDING OPP apply.

Where on-site renewables are installed, the values under ENERGY RATING INDEX WITH OPP apply.

Exceptions:

- Where the E analysis excludes on-site power production (OPP), the values under ENERGY RATING INDEX NOT INCLUDING OPP shall be permitted to be applied.

- For buildings with 20 or more dwelling units or sleeping units, where approved by the building official, compliance shall be permitted using the Average Dwelling Unit Energy Rating Index, as calculated in accordance with ANSI/RESNET/ICC 301.

# Electric Readiness

About this appendix: This appendix is not part of this code and is included for informational purposes only. In considering whether to adopt this appendix or a modification thereof, municipalities should note that the adoption or promulgation of local energy conservation construction codes that are more restrictive than the State Energy Code is regulated by New York State Energy Law §11-109 and the adoption or promulgation of more restrictive standards for construction than the Uniform Code is regulated by New York State Executive Law §379. The Code Council is empowered by Energy Law §11-109 to determine whether such more restrictive local energy conservation construction codes are in compliance with Energy Law §11-109. Municipalities should also note that the minimum efficiency standards of certain consumer products are regulated by federal law, which might be found to preempt some of the provisions this appendix prescribes. See the Public Health and Welfare Act, 42 U.S.C. § 6297: Effect on other law and consult with your municipal attorney.

### RK101.1 Electric readiness.

Water heaters, household clothes dryers and cooking appliances that use fuel gas or liquid fuel shall comply with Sections RK101.1.1 through RK101.1.4.

### RK101.1.1 Cooking appliances.

A dedicated branch circuit outlet with a rating not less than 240 volts and not less than 40 amperes shall be installed and terminate within 3 feet (914 mm) of conventional cooking tops, conventional ovens or cooking appliances combining both.

Exception: Cooking appliances not installed in an individual dwelling unit.

### RK101.1.2 Household clothes dryers.

A dedicated branch circuit with a rating not less than 240 volts and not less than 30 amperes shall be installed and terminate within 3 feet (914 mm) of each household clothes dryer.

Exception: Clothes dryers not installed in an individual dwelling unit.

### RK101.1.3 Water heaters.

A dedicated branch circuit with a rating either not less than 240 volts and not less than 30 amperes, or not less than 120 volts and not less than 20 amperes, shall be installed and terminate within 3 feet (914 mm) of each water heater.

Exception: Water heaters serving multiple dwelling units in a R-2 occupancy.

### RK101.1.4 Electrification-ready circuits.

The unused conductors required by Sections RK101.1.1 through RK101.1.3 shall be labeled with the word “spare.” Space shall be reserved in the electrical panel in which the branch circuit originates for the installation of an overcurrent device. Capacity for the circuits required by Sections RK101.1.1 through RK101.1.3 shall be included in the load calculations of the original installation.

# ECCCNYS Chapter 6 [RE] Referenced Standards

ANSI/ACCA 1 Manual D—2016:

Residential Duct Systems

R403.3.1

∗ANSI/ACCA 2 Manual J—2016:

Residential Load Calculation

R403.7

∗ANSI/ACCA 3 Manual S—2023:

Residential Equipment Selection

R403.7

ANSI/ACCA 5 QI—2010:

HVAC Quality Installation Specification

R408.2.4

AHRI

Air-Conditioning, Heating, and Refrigeration Institute,2311 Wilson Blvd, Suite 400,ArlingtonVA22201

1380(I-P)—2019:

Demand Response through Variable Capacity HVAC Systems in Residential and Small Commercial Applications

R408.2.8.2

AISI

American Iron and Steel Institute,25 Massachusetts Avenue, NW, Suite 800,WashingtonDC20001

∗AISI S250—22:

North American Standard for Thermal Transmittance of Building Envelopes with Cold-Formed Steel Framing, with Supplement 1, Dated 2022

R402.2.7

ANSI

American National Standards Institute,25 West 43rd Street, 4th Floor, New YorkNY10036

∗ANSI Z21.20—2005 (R2016):

Automatic Gas Ignition Systems and Components

R403.13, R404.1.5

ANSI/AMCA Standard 210-ANSI/ASHRAE 51—16:

Laboratory Methods of Testing Fans for Aerodynamic Performance Rating

Table R403.6.2

ANSI/ASHRAE Standard 140—2020:

Method of Test for the Evaluation of Building Energy Analysis Computer Programs

R405.5.2, R406.7.1

ANSI/CTA 2045-B—February 2021:

Modular Communications Interface for Energy Management

R408.2.8.1

CSA/ANSI Z21.88—19/CSA 2.33—19:

Vented Gas Fireplace Heaters

R403.13.1

Z21.50-19/CSA 2.22—2019:

Vented Decorative Gas Appliances

R403.13.1

ASHRAE

ASHRAE,180 Technology Parkway NW, Peachtree Corners,GA30092

∗NYS ASHRAE 90.1—2025:

New York State version of the Energy Standard for Buildings Except Low-Rise Residential Buildings

R402.1.5, R402.2.10.2, R402.2.11.2, R405.2

ASHRAE 193—2010(RA 2014):

Method of Test for Determining the Airtightness of HVAC Equipment

R403.3.6.1

∗ASHRAE—2021:

2021 ASHRAE Handbook of Fundamentals

Table R405.4.2(1)

∗ASHRAE—2017:

2017 ASHRAE Handbook of Fundamentals

R402.1.5, R403.3.1, R405.4.2

ASTM

ASTM International,100 Barr Harbor Drive, P.O. Box C700,West ConshohockenPA19428-2959

C1313/C1313M—13(2019):

Standard Specification for Sheet Radiant Barriers for Building Construction Applications

R303.2.2, R402.3.5

∗C1363—19:

Standard Test Method for Thermal Performance of Building Materials and Envelope Assemblies by Means of a Hot Box Apparatus

R303.1.4.1

C1371—15(2022):

Standard Test Method for Determination of Emittance of Materials Near Room Temperature Using Portable Emissometers

Table R407.2, R408.2.1.3

C1549—16(2022):

Standard Test Method for Determination of Solar Reflectance Near Ambient Temperature Using a Portable Solar Reflectometer

Table R407.2, R408.2.1.3, R408.2.1.3.1

∗C1743—19:

Standard Practice for Installation and Use of Radiant Barrier Systems (RBS) in Residential Building Construction

R303.2.2, R402.3

E283/E283M—19:

Standard Test Method for Determining the Rate of Air Leakage Through Exterior Windows, Skylights, Curtain Walls and Doors Under Specified Pressure Differences Across the Specimen

R402.5.4

E408—13(2019):

Standard Test Methods for Total Normal Emittance of Surfaces Using Inspection-Meter Techniques

Table R407.2, R408.2.1.3

∗E779—19:

Standard Test Method for Determining Air Leakage Rate by Fan Pressurization

R402.5.1.2, R402.5.1.3

E903—20:

Standard Test Method for Solar Absorptance, Reflectance and Transmittance of Materials Using Integrating Spheres

Table R407.2, R408.2.1.3, R408.2.1.3.1

E1554/E1554M—13(2018):

Standard Test Methods for Determining Air Leakage of Air Distribution Systems by Fan Pressurization

R403.3.7, R403.3.8, Table R405.4.2(1)

∗E1827—22:

Standard Test Methods for Determining Airtightness of Building Using an Orifice Blower Door

R402.5.1.2

E1918—21:

Standard Test Method for Measuring Solar Reflectance of Horizontal and Low-Sloped Surfaces in the Field

Table R407.2, R408.2.1.3, R408.2.1.3.1

E1980—11(2019):

Standard Practice for Calculating Solar Reflectance Index of Horizontal and Low-Sloped Opaque Surfaces

Table R407.2, R408.2.1.3

E2178—21a:

Standard Test Method for Determining Air Leakage Rate and Calculation of Air Permanence of Building Materials

R303.1.5

∗E3158—18:

Standard Test Method for Measuring the Air Leakage Rate of a Large or Multizone Building

R402.5.1.2

F1281—2017(2021)e1:

Standard Specification for Electrofusion Type Polyethylene Fittings for Outside Diameter Controlled Polyethylene and Crosslinked Polyethylene Pipe and Tubing

Table R408.2.3.1

CRRC

Cool Roof Rating Council,2435 North Lombard Street,PortlandOR97217

ANSI/CRRC S100—2021:

Standard Test Methods for Determining Radiative Properties of Materials

Table R407.2, R408.2.1.3, R408.2.1.3.1

CSA

CSA Group,8501 East Pleasant Valley Road,ClevelandOH44131-5516

AAMA/WDMA/CSA 101/I.S.2/A440—22:

North American Fenestration Standard/Specification for Windows, Doors, and Skylights

R402.5.3

CAN/CSA C439—18:

Laboratory Methods of Test for Rating the Performance of Heat/Energy-Recovery Ventilators

Table R403.6.2

CSA B55.1—20:

Test Method for Measuring Efficiency and Pressure Loss of Drain Water Heat Recovery Units

R403.5.3

CSA B55.2—20:

Drain Water Heat Recovery Units

R403.5.3

CSA P.4.1—21:

Testing Method for Measuring Fireplace Efficiency

R403.13.1

CTA

Consumer Technology Association, Technology & Standards Department; 1919 S Eads Street,ArlingtonVA22202

ANSI/CTA-2045-A—2018:

Modular Communications Interface for Energy Management

R408.2.8.1

ANSI/CTA-2045-B—2018:

Modular Communications Interface for Energy Management

R408.2.8.1

DASMA

Door & Access Systems Manufacturers Association,1300 Sumner Avenue,ClevelandOH44115-2851

ANSI/DASMA 105—2020:

Test Method for Thermal Transmittance and Air Infiltration of Garage Doors and Rolling Doors

R303.1.3

DOE

US Department of Energy,1000 Independence Avenue SW,WashingtonDC20585

10 CFR, Part 430—2021:

Energy Conservation Program for Consumer Products: Energy and Water Conservation Standards and Their Compliance Dates

Table R403.6.2, R404.1, Table R405.4.2(1), Table R408.2.6

FGIA

Fenestration & Glazing Industry Alliance (formerly American Architectural Manufacturers Association),1900 E Golf Road, Suite 250,SchaumburgIL 60173-4268

AAMA/WDMA/CSA 101/I.S.2/A440—22:

North American Fenestration Standard/Specification for Windows, Doors, and Skylights

R402.5.3

ICC

International Code Council, Inc.,200 Massachusetts Avenue, NW, Suite 250,Washington DC 20001

ANSI/APSP/ICC 14—2019:

American National Standard for Portable Electric Spa Energy Efficiency

R403.11

ANSI/PHTA/ICC 15—2021:

American National Standard for Residential Swimming Pool and Spa Energy Efficiency

R403.12

∗ANSI/RESNET/ICC 301—2022:

Standard for the Calculation and Labeling of the Energy Performance of Dwelling and Sleeping Units Using an Energy Rating Index—includes Addendum A, Approved July 28, 2022, and Addendum B, Approved October 12, 2022

R405.5.3, R406.4, R406.5, R406.7.1, R406.7.6,

∗ANSI/RESNET/ICC 380—2022:

Standard for Testing Airtightness of Building, Dwelling Unit and Sleeping Unit Enclosures; Airtightness of Heating and Cooling Air Distribution Systems, and Airflow of Mechanical Ventilation Systems

R402.5.1.2, R403.3.7, R403.3.8, R403.6.3, Table R405.4.2(1)

∗BCNYS—25:

Building Code of New York State®

R201.3, R202, R303.1.1, R303.1.2, R303.2, R402.1.1, R402.2.11.1, R404.1.2, R501.2, R501.4, R503.1.1.3

∗EBCNYS—25:

Existing Building Code of New York State®

R501.2

∗FCNYS—25:

Fire Code of New York State®

R201.3, R501.2

∗FGCNYS—25:

Fuel Gas Code of New York State®

R201.3, R501.2

ICC 400—22:

Standard on the Design and Construction of Log Structures

R402.1, Table R402.5.1.1

ICC/NSSA 500—2023:

ICC/NSSA Standard for the Design and Construction of Storm Shelters

R402.6

IECC—06:

2006 International Energy Conservation Code®

R202

∗MCNYS—25:

Mechanical Code of New York State®

R201.3, R403.3.5, R403.3.6, R403.6, R501.2

∗NYS ASHRAE 90.1—2025:

New York State version of the Energy Standard for Buildings Except Low-Rise Residential Buildings

R402.1.5, R402.2.10.2, R402.2.11.2, R405.2

∗PCNYS—25:

Plumbing Code of New York State®

R201.3, R501.2

∗PMCNYS—25:

Property Maintenance Code of New York State®

R501.2

∗RCNYS—25:

Residential Code of New York State®

R201.3, R303.1.1, R303.1.2, R303.1.6, R303.2, R402.1.1, Table R402.1.2, Table R402.1.3, R402.1.6, R402.2.10.1, R402.2.11.1, R402.2.11.1, Table R402.5.1.1, R403.3.5, R403.3.6, R403.6, R501.2, R501.4, R503.1.1.3

IEC

IEC Regional Centre for North America,446 Main Street, 16th Floor,WorcesterMA01608

IEC 62746-10-1—2018:

Systems interface between customer energy management system and the power management system – Part 10-1: Open automated demand response

R408.2.8.1

IEEE

Institute of Electrical and Electronics Engineers, Inc.,3 Park Avenue, 17th Floor, New YorkNY10016-5997

515.1—2012:

IEEE Standard for the Testing, Design, Installation and Maintenance of Electrical Resistance Trace Heating for Commercial Applications

R403.5.1.2

NEMA

National Electrical Manufacturers Association,1300 17th Street N #900,ArlingtonVA22209

OS 4—2016:

Requirements for Air-Sealed Boxes for Electrical and Communication Applications

R402.5.5

NFPA

National Fire Protection Association,1 Batterymarch Park,QuincyMA02169-7471

∗70—23:

National Electrical Code

R501.2

NFRC

National Fenestration Rating Council, Inc.,6305 Ivy Lane, Suite 140,GreenbeltMD20770

100—2023:

Procedure for Determining Fenestration Products U-Factors

R303.1.3

200—2023:

Procedure for Determining Fenestration Product Solar Heat Gain Coefficient and Visible Transmittance at Normal Incidence

R303.1.3

400—2023:

Procedure for Determining Fenestration Product Air Leakage

R402.5.3

OpenADR

OpenADR Alliance,111 Deerwood Road, Suite 200,San RamonCA94583

OpenADR 2.0a and 2.0b—2019:

Profile Specification Distributed Energy Resources

R408.2.8.1

PHTA

Pool & Tub Alliance (formerly the APSP),1650 King Street, Suite 602,AlexandriaVA22314

ANSI/APSP/ICC 14—2019:

American National Standard for Portable Electric Spa Energy Efficiency

R403.11

ANSI/PHTA/ICC 15—2021:

American National Standard for Residential Swimming Pool and Spa Energy Efficiency

R403.12

RESNET

Residential Energy Services Network, Inc., P.O. Box 4561,OceansideCA92052-4561

∗ANSI/RESNET/ICC 301—2022:

Standard for the Calculation and Labeling of the Energy Performance of Dwelling and Sleeping Units using an Energy Rating Index—includes Addendum A, Approved July 28, 2022, and Addendum B, Approved October 12, 2022

R405.5.3, R406.4, R406.5, R406.7.1, R406.7.6

∗ANSI/RESNET/ICC 380—2022:

Standard for Testing Airtightness of Building, Dwelling Unit and Sleeping Unit Enclosures; Airtightness of Heating and Cooling Air Distribution Systems, and Airflow of Mechanical Ventilation Systems

R402.5.1.2, R403.3.7, R403.3.8, R403.6.3, Table R405.4.2(1)

UL

UL LLC,333 Pfingsten Road,NorthbrookIL60062

127—2011:

Standard for Factory-Built Fireplaces—with Revisions through February 2020

R402.5.2

515—2015:

Electrical Resistance Trace Heating for Commercial Applications

R403.5.1.2

US-FTC

United States-Federal Trade Commission,600 Pennsylvania Avenue NW,WashingtonDC20580

CFR Title 16 (2015):

R-Value Rule

R303.1.4

WDMA

Window & Door Manufacturers Association,2001 K Street NW, 3rd Floor North,WashingtonDC20006

AAMA/WDMA/CSA 101/I.S.2/A440—22:

North American Fenestration Standard/Specification for windows, doors, and skylights

R402.5.3