<Project Name>
NYSERDA MPP – Existing Buildings

<50% [or] 100%> Complete Photo Documentation


Instructions

This document should be used in conjunction with the QC Inspection Workbook to provide photo documentation of completed work at 50% and/or 100% project completion status. If a measure is partially complete, photo documentation should be included to support claimed percent complete.

1. This file should be named as follows: <Project Name> - <50% [or] 100%> Complete Photo Documentation
2. Enter the project name and inspection type into the header. 
3. For each type of measure, include all applicable measure #’s.

4. Do not copy and paste photos. Instead, click on <Insert Photo> and insert the photo from a file (select Insert(Picture(From File from the menu). Inserting will automatically resize the photos to fit the provided boxes. Another way to add photos that automatically resize is to drag the file for the photo directly into the provided box. Please make sure that all photos are clear so that the relevant content of the photo is identifiable. Photo file size is not an issue as long as all photos are compressed before submitting this document (see instructions below). You can re-size your photos before inserting them if this is easier for you.
5. Under each photo click on <Insert Note> and provide a description of the photo and information on where it was taken. 
6. As necessary, copy and paste more of the photo boxes.
7. Before submitting this file, or converting the document to .pdf, please make sure to compress all photos. One way this can be achieved is with Microsoft Word, Click on a Photo(Formatting Menu(Compress Pictures (command prompts are shown below). Select “All pictures in document” and “Print” resolution. Avoid selecting a resolution that is less than 200 dpi/ppi or else the picture quality will suffer. After compressing photos and/or converting the document to pdf, always check to make sure photo content is still clear.
[image: image1.png](o g — &

Apply to
O selected pictures.
® all pictures in document
Change resolution
O webjscreen
@ print. Resolution:
O Ho Change.
Options
[Eampress pctres]
Delete cropped areas of picures




[image: image2.png]Compress Pictures

‘Compression ptins:
O oy only to this picture:
Deete cropped areas of picures

Torget output:

© print (220 pp): excellent quality on most printers and screens
O Sreen (150 pp): good for Web pages and projectors
O Emai (96 pp): minimze cocument size fo sharing

O Use document resolution

o J [eme ]




.doc (left) and .docx (right) command prompts for compressing photos in Microsoft Word

8. Remove all unused measure types and photo boxes.

Air Sealing
Measure #:      
Include photos of air sealing work completed.  Include enough photos to properly verify each type of air sealing activity performed.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>



	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Appliances
Measure #:      
Include a photo of the nameplate of each type and model of appliance installed. If possible, include a photo showing Energy Star Label and Energy Guides.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Cooling
Measure #:      
Include a photo of all primary equipment installed and a separate photo of their nameplate. If new controls were installed or settings changed, include a photo of controls and settings.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Domestic Hot Water
Measure #:      
Include a photo of all primary equipment installed and a separate photo of their nameplates. If new controls were installed, or settings changed, include a photo of controls and settings.
	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Duct Improvements
Measure #:      
Include one representative photo of each: duct sealing detail, duct replacement, and duct insulation with thickness of insulation either labeled or measured. For areas where ductwork is no longer accessible, include before (if available) and after (required) photos.
	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Elevator Upgrades
Measure #:      
Include a representative photo of all equipment, motors, and/or controls installed and a separate photo of their nameplates.
	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Energy Management Systems
Measure #:      
Include a photo of all control systems installed. In addition, include photos of a representative selection of the sensors installed. Include photos of the settings.
	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Envelope Insulation
Measure #:      
Include a representative photo of each location insulated. Photos should show type of insulation installed, thickness of new insulation, and total thickness of all insulation. Thickness should be shown in photo using a ruler or another measurement technique. If insulation has stamped R-value, include photo of markings. For areas that are longer accessible include before (if available) and after (required) photos.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Exterior Doors
Measure #:      
Include a representative photo of each type of door installed. Include photos to verify that new doors have been properly air sealed. If available, include photos of NFRC rating sticker and Energy Star Label.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Heat and Energy Recovery
Measure #:      
Include a photo of all equipment installed and separate photos of their nameplates and control settings.
	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Heating
Measure #:      
Include a photo of all primary equipment installed and a separate photo of their nameplate. If new controls were installed, or settings changed, include a photo of controls and settings.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Heating Distribution Improvements
Measure #:      
Include a representative photo of each type of heating distribution equipment installed, replaced, or repaired. If new controls were installed or settings changed, include a photo of controls and settings.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Lighting - Apartments
Measure #:      
Include a representative photo of each fixture type installed (with Energy Star label affixed if applicable) and a photo of the lamps installed with wattage visible. Include measure # (if more than one) and line item within photo caption. Photos of CFLs must show whether they are pin-based or screw-based and their wattage.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Lighting – Common Area
Measure #:      
Include a representative photo of each fixture type installed (with Energy Star label affixed if applicable) and a photo of the lamps installed with wattage visible. Include measure # (if more than one) within photo caption. Photos of CFLs must show whether they are pin-based or screw-based and their wattage.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Include a photo of each type of lighting control specified for each unique space (motion sensors, timers, and daylight sensors).

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


If possible, include a photo showing that installed bi-level lighting is functioning properly.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


For exterior lighting with timers, include a photo of the control and settings.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


To document daylight sensor performance, include one photo showing the light fixture is off during the day and another photo showing the fixture is on when the daylight sensor is covered.
	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Low Flow Devices
Measure #:      
Include a photo of each type of plumbing fixture installed with the rated flow rate visible.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Motors
Measure #:      
Include a representative photo of all motors installed and a separate photo of their nameplates (be sure to clearly identify location and use of each motor represented).
	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Pipe Improvements
Measure #:      
Include one representative photo of each pipe replacement and pipe insulation, with thickness of insulation either labeled or measured. For areas where piping is no longer accessible, include before (if available) and after (required) photos.
	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Ventilation Improvements
Measure #:      
Include a representative photo of all equipment installed. For fans and air handler units, include a photo of the nameplates. If new controls are installed or settings changed, include a photo of controls and settings. Include a representative photo of each type of ventilation distribution equipment installed, replaced, or repaired (e.g. balancing dampers or Constant Air Regulators).
	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


VFD Upgrades
Measure #:      
Include a photo of each type of equipment installed and a separate photo of their nameplates (be sure to identify what motor the equipment controls).
	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Windows
Measure #:      
Include a representative photo of each type of window installed and any associated labels (NFRC, manufactures, third-party, Energy Star, etc…). 

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Include photos of air sealing details for each type of window installed. The photos should show exterior and interior air sealing details, as well as any air sealing that occurred in the space around the window frame.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>


Include a photo of low-e sensor device verifying low-e (if applicable) for each type of window installed.

	<Insert Photo>
<Insert Note>
	<Insert Photo>
<Insert Note>



