## Slide 1
September 13, 2023
Harnessing RTEM in Healthcare
@

## Slide 2: September 13, 2023 1-2 PM
Speakers: Jonathan Liang, Energy Project Manager at Memorial Sloan Kettering Cancer Center Ed Harvey, Systems Engineer at utiliVisor Moderator: Thomas Yeh, the Technical Advisor of the Real Time Energy Management (RTEM) Program for New York State Energy Research and Development Authority (NYSERDA)
RTEM Talks
with Memorial Sloan Kettering and utiliVisor

## Slide 3: Agenda 9/13/23
Welcome (5 min)
MSKCC presentation (20 min)
Panel discussion (20 min)
Online audience Q&A (10 min)
Closing remarks (5 min)

## Slide 4
September 13, 2023
Harnessing RTEM in Healthcare
@

## Slide 5
What is RTEM?
RTEM at the Josie Robertson Surgery Center
Challenges and Successes with RTEM
Results
AGENDA

## Slide 6: What is RTEM?
Real Time Energy Management is a combination of systems and services employed to monitor and identify building improvement opportunities. The system consists of hardware, software, and secure internet connectivity that continuously transmits a building’s current and historical performance data to the cloud.
DEFINITION
“
”

## Slide 7: Why Real-Time?
RTEM & HEALTHCARE
RTEM helps discover potential capital projects
Justify implementing projects (boilers)
Measure ECMs, baselines, and points

## Slide 8
RTEM & HEALTHCARE
RTEM implementation
Right place, right time
Alignment with NYSERDA incentives
  30% of installation cost coverage
  30% of service for first three years

## Slide 9
ABOUT

## Slide 10
ABOUT
2016 – facility first started seeing patients
2017 – hardware furnished & programmed
2017 – utiliVisor started monitoring

## Slide 11: Challenges at Josie Robertson
Best way to save energy is to turn it off
RTEM
VS
24/7 facility operation & operating rooms
Balance of performance/compliance
  Joint commission
  ASHRAE standards
  NYC local laws (LL97/LL87)

## Slide 12: Challenges at Josie Robertson
Working with the data available
BMS limitations (data volume, frequency, detail)
No bypass installed / preheat setpoints / etc.
Ideal world: designed at 100%, not reality
Using information received to the best of our abilities
RTEM

## Slide 13: Successes at Josie Robertson
RTEM
Reduce Condenser Approach
Found at >6 Deg F; lowered to <1 Deg F
Free Cooling Heat Exchangers
Increased Enthalpy in use from 18 BTU/lb up to 22 BTU/lb.
AHU Scheduling
Static Reset During unoccupied hours (Manual to Automatic)
AHU Preheat Valve Operations
Found enabling at 65 Deg F OAT, lowered to 45 Deg F.
Clear Chiller Surge Maps
Chiller VFD not found not operating below 50Hz with vane operation not optimized.
TOP FIVE IMPLEMENTED ECMS

## Slide 14: Results of RTEM

## Slide 15: Comparison of Site EUI by Year
RESULTS
Chart: kBTU/Sqft
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
EUI Site | 329.015 | 298.9187 | 260.3693 | 281.8117 | 275.0895 | 267.9873 | 280.803
SATURDAY
SURGERIES

## Slide 16: JRSC Total Utility Cost
RESULTS
Chart: 
utiliVisor started monitoring

## Slide 17: Savings since 2017 to date
RESULTS
523,000 total kWh energy savings
$53,200 energy cost reduction (annually)
14.65% reduction in site energy use intensity (EUI)

## Slide 18: Questions?

## Slide 19: NYSERDA’ RTEM Resources
  RTEM Talks webinar series
  Qualified Vendor Lists (RTEM Vendors , + Tenant Vendors)
  Existing Success Stories
  Project Dashboard of 1000+ sites
  Buying Guide in Knowledge Center
  Contact us at RTEM@nyserda.ny.gov