## Title
DMSHP market characterization study
Appendix F
Technical Literature Review

## 1- Overview
Secondary Reserarch- Survey of Secondary Sources- Technical Focused Topics
The research team leveraged the 2014 NEEP Ductless Heat Pump Meta-study (http://www.neep.org/neep-ductless-heat-pump-meta-study-report ) as part of its survey of secondary sources of information related to Ductless mini-split heat pumps (DMSHP) and more specifically the detailed research questions that were core to this project. This spreadsheet contains several tabs documenting findings from dozens of secondary resources.
Tab 1- This opening tab provides a brief overview of what the key tabs include.
Tab 2- This synopsis provides a brief overall description of the various studies that the research team surveyed, both as part of the 2014 Meta-study and the "new", more recent studies.
Tab 3- This tab documents findings from the various studies/reports that provided insight into the key research questions posed as part fo this study. This spreadsheet focuses on Technical topics related to DMSHPs.
Remaining Tabs- Several remaining tabs document past findings from NEEP's 2014 Meta-study

## 2- DHP Studies-Synopsis
DB# | Reference Study | Synopsis
1 | Bangor Hydro Electric and Maine Public Service Heat Pump Pilot Program | This is an interim report on the summer impacts of a heat pump pilot program in Maine. As we finalized this meta-study, the final report became available and we have updated the findings.
2 | Performance of Ductless Heat Pumps in the Pacific Northwest | This study reports results from a Pacific Northwest utility pilot program which installed, monitored, and evaluated DHP technology. The paper reports on the evaluation of sub-metered data collected on 14 homes. Four channels of energy use are monitored: DHP, electric heat, hot water, and total use.
3 | Air Source Heat Pumps in Southeast Alaska | The Cold Climate Housing Research Center prepared this study that includes a literature review, market assessment, and preliminary modeling for residential heat pumps in Southeast Alaska to provide a picture of the current use in that region. The four sections of the report include a primer on air source heat pumps, a literature reivew regarding heat pumps in cold climates, a southeast Alaska market assessment, and RETScreen and AkWarm modeling.
4 | Mini Split Heat Pump Efficiency Analysis | Analysis conducted by CSG based on historical data referencing other studies. Indicates that heat pumps currently operate with lower carbon footprints and comparable end-user operating costs to current combustion heating equipment. The trend for heat pumps suggests that efficiencies will continue to increase significantly over the coming years, whereas combustion equipment is near its maximum theoretical limit and will therefore remain relatively steady.
5 (16) | Ductless Mini Pilot Study | This 2009 study is an evaluation of a DSHP pilot program conducted by CL&P, UI, NSTAR, and Ngrid in CT and MA in which DHP were installed at approximately 145 sites with installation costs fully paid by the utilities. Energy and demand impacts and customer satisfaction and perspective were assessed.
6 | DHP Monitored Projects from Marc Rosenbaum | N/A
7 | Ductless Heat Pump Engineering Analysis | The study described in this report was funded by the Bonneville Power Administration (BPA) to provide an assessment of the state of technology development and the potential for emerging technologies to increase the efficiency of electricity use.This study evaluated the impact of ductless heat pumps (DHPs) on single-family and manufactured homes with forced-air furnaces (FAFs).
8 | Commonwealth Accelerated Renewable Thermal Strategy | This is a market strategy report covering current state and potential of several technologies - only general technical information is included
9 | Massachusetts Renewable Heating and Cooling Opportunities and Impacts Study | This non-technical report covers market barriers and potential for multiple renewable energy systems - DHPs are classified as renewable energy systems for this report
10 | Ductless Heat Pump Impact & Process Evaluation: Billing Analysis Report | This is a comprehensive report covering an extensive billing analysis report on the heating and cooling savings for DHPs in the PNW - it expands upon and updates/modifies the savings reported in the Field Metering Report
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | Field monitoring of several DHPS with COP and savings calculations
12 | Energy Efficient Heating Options: Pilot Projects and Relevant Studies | The document is a report to the Maine legislature that outlines opportunities related to reducing heating costs for Mainers. The data relevent to DHP in this report is excerpted from Study #1
13 | Efficiency Maine Low Income Multifamily Weatherization Program | This study assesses the realization rate of savings resulting from upgrades funded by the Maine Low Income Multifamily Weatherization Program by comparing pre- and post-upgrade utility data.
14 | Laboratory Test Report for Fujitsu 12RLS and Mitsubishi FE12NA Mini-Split Heat Pumps | This study evaluates the Northwest Ductless Heat Pump Pilot Project with field monitoring of 95 DHP installations throughout the Pacific Northwest and laboratory performance testing of two DHPs: the Fujitsu 12RLS and Mitsubishi FE12NA.
15 | Mitsubishi Heat Pump VRF Market Data | This data produced by Mitsubishi Electric shows market growth, history, and forecast for DHPs.
16 | Ductless Split Heat Pump – Retrofit (Measure 21) | N/A
17 | MA Cool Smart (Vol. Ductless Mini-Split Heat Pump Survey Results) | This is a slide deck that presents summarized results of study #39
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | Final report in a series of evaluation reports based on a pilot project that ran in the Pacific Northwest in 2008-2009, and was monitored through 2012. 3,899 DHP units were installed through the 2008-09 pilot in homes that had previously been heated by electric resistence heat, and there has been extensive evaluation of both technical performance and market impacts. The pilot focused on displacing, rather than replacing existing heating systems, offseting significant portions of the heating load without eliminating the need for a primary heating system that can maintain comfort in more extreme conditions.
19 | Northeast/Mid-Atlantic Air-Source Heat Pump Market Strategies Report | This report characterizes the opportunity for homes to reduce home energy consumption, costs, GHG emissions, and for states to meet energy policy goals. It also identifies market barriers and recommends strategies to realize the important potential for energy and cost savings with DHPs.
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | Reports the results of primary research conducted to better determine the potential for energy savings and efficiency program support for ductless mini-split heat pumps (DHPs)in the residential sector, particularly in heating‐dominant climates, and to determine appropriate methodologies for assessing the savings.
21 | Northwest Ductless Heat Pump Initiative (#E12-245 ed., Vol. Market Progress Evaluation Report #2) | This is the 2nd report on market progress for this substantive, long range NEEA study. It is more specific than the overall final report for the project (Study # 18) It reports that since the initiative launch, over 15,800 DHPs have been installed in the Nothwest.
22 | Heat Pumps (Vol. An alternative to oil heat for the Northeast - input for planners and policy-makers) | Policy paper that presents heat pumps (not just DHP) as an alternative to oil heat in the Northeast. It reviews some market barriers and presents a high level picture of the underlying negatives for oil heat in the Northeast.
23 | A Case Study: ~3,000 Ductless Heat Pumps in Maine | This presentation covers a range of considerations associated with specifying and installing heat pumps in cold climates, addresses DHP concerns, reviews key factors that affect performance of DHPs in cold climates, and interprets manufacturers’ specifications.
24 | Cold Climate Ductless Heat Pumps – Measured performance | This study explores the measured results of a DHP Installation: Stamford, VT July, 2012. Also touches upon Maine program experience, including evaluation billing study
25 | Air Source Heat Pumps in Cold Climate Homes: Expert Meeting Report | The Consortium for Advanced Residential Buildings hosted an Expert Meeting with 45 participants to establish current status and future potential of ccASHP technology including surveys on installations, testing, implementation, program metrics, etc..
26 | Technology Trends (Vol. Cold Climate Heat Pumps / Mini Splits) | Presentation covering technology trends of cold climate heat pumps & mini splits
27 | N/A | N/A
28 | Northwest Ductless Heat Pump Initiative: (#E14-278 ed., Vol. Market Progress Evaluation Report #3) | This is the 3rd report on market progress for this substantive, long range NEEA study. It updates findings from study #21, and provides some of the basis for study #18. Between the initiative launch in 2008 and the As of the publication date utilities have supported the installation of over 19,000 DHPs through the pilot and subsequent programs.
29 | Ductless Heat Pump Impact & Process Evaluation: Lab-Testing Report | Same as #8
30 | Ductless Heat Pump Retrofits in Multifamily and Small Commercial Buildings | This study evaluates the electricity savings that can be gained by installing ductless heat pumps (DHPs) in multifamily and small commercial applications in the Pacific NW.
31 | Eliakim’s Way Three Year Energy Usage | Study focuses on homes in Massachusetts with new DHP installations with three years of annual data at a glance. Not too much substantial info.
32 | Mitsubishi Indoor Unit Brochure | Overview of Mitsubishi Electric cooling and heating systems' specifications for their DHP indoor fan units.
33 | Mitsubishi System Technologies | Overview of Mitsubishi Electric cooling and heating systems' specifications for their DHP models.
34 | Ductless Mini-Split and Multi-Split Heat Pump units under 65kBtuh | This work paper addresses replace on burnout (ROB) of a split system air conditioning unit <65kBtu/h in commercial applications with equivalently sized mini-split ductless systems at 16, 19, and 22 SEER and multi-splits at 16 and 19 SEER.
35 | Improved Modeling of Residential Air Conditioners and Heat Pumps for Energy Calculations | This report presents improved air conditioner (AC) and heat pump (HP) modeling methods in the context of whole-building simulation tools. Its goal is to enable more accurate evaluation of cost-effective equipment upgrade opportunities and efficiency improvements in residential buildings.
36 | Laboratory Testing of Residential, Variable Speed Heat Pump | The objective of this work was to assess the heating performance of a newly developed residential variable capacity heat pump. Evaluating the steady-state, frost accumulation, and cyclic operation of the system were focuses within the assessment. Quantifying the energy savings potential of the residential variable capacity system and identifying the characteristics of variable speed equipment which result in system performance were included in the evaluation.
37 | Economic and Environmental Analysis of Residential Heating and Cooling Systems: A Study of Heat Pump Performance in U.S. Cities | This study analyzes and compares the energy and environmental impacts of HVAC options on an hourly or seasonal basis. It addresses which options are most cost-effective, which provides the greatest CO2 reductions, and which cities are consumers more likely to gain benefit from these technologies.
38 | Kallock FE18 Data | N/A
39 | Ductless Mini-Split Heat Pump Customer Survey Results | A web survey conducted of participants in The Massachusetts COOL SMART program to better understand motivations for participating and how the DHP equipment is being used. The final survey included responses from 430 participants, and the key findings are as follows: DHPs are being installed as retrofit projects, the majority of participants are installing DMSHPs for improved comfort, more often for for cooling than heating, and are being used to supplement, rather than replace existing heating systems.
40 | Incremental Cost Study Phase Two Final Report | This report presents the results of the Second Phase Incremental Cost Study (ICS) commissioned by the Evaluation, Measurement and Verification (EM&V) Forum Research Subcommittee (Subcommittee) to investigate and update incremental costs for a number of common measures employed in energy efficiency programs, including DHPs.
41 | Emera Maine Heat Pump Pilot Program (Vol. Final Report) | This is the final report from the Maine evaluation covered by the preliminary report listed as report #1
42 | Heat Pump Impact on Load Forecast | Presentation presenting predicted impacts of heat pump installations on Vermont energy loads
43 | Navigant: A Ductless Heat Pump in Every Pot…or Home? | DHPs offer solutions to heating savings and winter peak savings. Due to the vast variability in (a) customer motivation (save $, increase cooling or heating comfort, both), (b) different existing equipment, (c) different home characterictics, the baseline should vary. Program design should also vary depending on the goal (saving heating costs, saving winter peak, etc.). Contractors need education so they can educate home owners as to optimal operation. 2 parts to this paper: (1) Con Edison Metering study found DHP operation was highly variable with much lower heating savings than expected and much higher cooling savings than expected. Effective coincidence factor was much lower (0.47) than predicted and savings not corrleated well to rated equipment efficiency & capacity. (2) Survey of market actors & experts in Northwest that looked at market characterization of DHPs in NW and potential load displacement. Findings: Market changing rapidly due to variety of customer motivations and home applications with lots of new products entering; More savings are available but contractors are not using this as part of their sales; Prices unlikely to drop soon; NW motivation is primarily about saving $ by converting from electric baseboards - as compared to motivations in other US locales; When there are ducts, use regular ducted heat pumps. Significant savings are available in places outside of NE and NW if there are goals to reduce winter peak and electric resistance is used. A number of recommendations provided for program designers & also evaluators.
44 | Navigant,Eversource,Cadmus: The Humpty Dumpty of Heating_Minisplit HP Usage in NE | An on-line survey and metering (with on-site interview) of Massachusetts' COOL SMART participants that found DMSHPs are: (1) installed for added amentity (2/3 participants reported they installed DMSHP for improved comfort, 1/3 for energy savings); (2) primarily used for heating & cooling (74% respondents); (3) replacing existing cooling systems (32% respondents stated the space had been cooled previously, of which 85% used window A/C, of which 88% removed the old window A/C system); (4) supplementing rather than replacing heating systems (89% respondents stated area was heated before installation of DMSHP; of which 95% said pre-existing system stayed in place. Of this group, 41% said previously existing system was still primary system, 29% reported DMSHP was now their primary); (5) A blended baseline is most accurate for high-efficiency DMSHP.
45 | BPA: HVAC Market Intelligence Report | BPA completed research on the HVAC market, highlighting how the market works, what the industry is excited about, efficiency trends in equipment sales, and providing suggestions for program design. High-level findings: Industry is excited about ductless; high-efficiency HVAC equipment showing a fairly stagnant market and may need market intervention to jumpstart; information on how purhase decision-making and product flow through the supply chain may impede high-efficiency sales - and there are ways for programs to address these barriers.
46 | NEEA: Residential Inverter-Driven HP Technical & Market Assmnt | The key objectives of this study were to (1) identify relevant market segments in the NW and quantify the maximum tehcnical potential for displacing electric resistance heating in each segment; (2) identify current market barriers and likely market adoption issues for standard DHPs in the NW, and: (3) forecast the likely total displacement of electric resistance heating by standard and specialized DHPs over the next 20 years under different market adoption scenarios. Findings were: (1) The technical potential over 10 years reached nearly 1,350 aMW, while the achievable potential savings (high, medium and low scenarios) were 180 aMW, 240 aMW and 440 aMW; (2) equipment costs are expected to increae at least at the same rate as inflation because of material costs (according to market actors). Recommendations: (1) sponsor the new manufactured housing market; (2) expand the current initiative to other technologies to achieve a greater portion of the single-family existing homes market; (3) The multi-family market should be a low priority unless NEEA plans on bundling DHP with other offerings. If NEEA does this, marketing should focus on the increased value to the rental property (and therefore the opportunity to increase rent price); (4) NEEA should increase marketing & awareness of short-run ducted systems to alleviate aesthetic concerns about traditional DHPs - marketing should focus on "there is a heat pump solution for all applications"; (5) NEEA should consider promoting cold climate heat pumps as the best solution for all participants (as they help peak demand, which may become an increased concern in the future); (6) NEEA should consider adding central inverter-driven heat pumps to the current DHP inititaive to target the market where central heating & cooling is most applicable (e.g. homes with ducts).
47 | DOE EERE BA: CASE STUDY Field Performance of Inverter Driven HP in Cold Climates | Short brochure of monitoring heat output and electricity consumption of seven inverter-driven ASHPs in the northesast during the winter of 2013-14. This included performance in subzero (Fahrenheit) temperatures. The overall COPs were calculated with the data.
48 | DOE EERE BA: Field Performance of Inverter Driven HP in Cold Climates | Full report on monitoring heat output and electricity consumption of seven inverter-driven ASHPs in the northesast during the winter of 2013-14. This included performance in subzero (Fahrenheit) temperatures. The overall COPs were calculated with the data.
49 | NYSERDA: HP Potential for Energy Savings in NY State | A report completed by Optimal Energy for NYSERDA that provides an assessment of the potential for energy savings from heat pumps in NY state. The report has three sections: (1) results of the potential assessment, (2) description of methodology, (3) overivew of selected heat pump technologies, their market status & ideal site characteristsi for installation, and barriers to market adoption. The assessment was limited to heat pumps providing both heating and cooling in residential and commercial buildings in 4 zones: Long Island, NYC, Hudson Valley, Upstate NY. Three potential assessments were performed: (1) Technical potential for ASHP, (2) Technical potential for GSHP, (3) Economic potential for AS and GS heat pumps combined. Analysis compared the potential savings froma heat pump with the likely code compliant alternative and was NOT an analysis that quantifyed the full savings customers would experience (based on TRC). Report builds on NY's Energy Efficiency & Renewable Energy Potential Study.
50 | DOE EERE NREL: Mini-Split Heat Pumps MF Retrofit Feasibility Study | This report investigates whether mini-splits can work in multi-family retrofits focusing on 4 areas: (1) identification of technical barriers to installing MSHPs in selected buildings types; (2) cost with respect to competing alternatives; (3) review of collateral impacts and benefits of MSHPs such as on electrical billing for space heating; (4) market potential for MSHP retrofits in low-rise multifamily buildings, including characterization of the best applications for MSHPs. Conclusions: MSHPs are a viable retrofit opportunity for certain low- to mid-rise multifamily buildings, with many conditions proving to be cost-effective, looking at 3 states ( ) with all projects being retrofits of electric resistance heated buildings. Buildings most suitable are those with high-cost heating fuel (propane, oil, electric resistance); natural gas less suitable. Coupling expensive fuels with poor thermal envelopes further improves benefits. It is easier to install MSHPs on low- to mid-rise (up to 9 floors) buildings where ground and/or roof space permits mounting compressor units in relative close proximity to indoor units. Small, open plan homes where distribution of conditioned air is easy-to-do is more cost-effective. BEOpt modeling using NYC climate converting from electric resistance saves ~30% of annualized energy-related costs. Converting from oil saved ~4%. Converting from NG increases cost 30% more. BEOpt modeling using Boston cliamte found 50% cost savings for electric resistance, 3% savings for oil, and an increase in cost of 24% from NG. Low-rise MF buildings saw minimal technical and regulatory barriers (looking at Maine and Connecticut). For affordable housing where a shift from central heating to individually metered MSHP systems may engender regulatory barriers but no existing conversions of this type were identified.
51 | NEEA: Northwest Ductless HP Initiative Market Progress Evaluation Report No 4 | 4th Market Progress Evaluation Report (MPER) of NEEAs NW Ductless Heat Pump Project (Initiative), launched in 2008 - 2010. The Initiative is a market transofmration effort that (1) promotes product availability and (2) builds consumer and market awareness for DHPs, focusing on "pushing" equipment through midstream and upstreamn and creating "pull" from customers through consumer-focused marketing. Initiative trains installers to become Master Installers who must participate in Orientation & Best Practices training and install a minimum # of DHPs in last 3 years - they then receive beneifts such as preferred listings on website etc.
52 | NEEA: Consumer Messaging for Ductless HP and HPWH | Report summarizes the findings from the DHP and HPWH mesasge testing conducted by ILLUME for NEEA. Key findings inlcude: customers are somehwat aware of DHP and HPWH; despite being unfamiliar almost all consumers are open to learning more and ultimately purchasing them; for DHPs upfront cost (58%), concerns about impropery installation (57%) and ease of self-install (41%) were primary barriers by respondents. For HPWHs, upfront cost, lack of familiarity & ease of self-install were primary barriers. Aesthetic concerns were a barrier (21%) but the other benefits can offset this; consumers intend to purchase a heating system or water heater only when their current system breaks down; participants said they would ask contractors for more DHP info (this was second to most-cited source of info which was family and friends at 36%). Customers indicated contractors are a key source ofinfo, but so too are online ratings, customer reviews, utility company info. Motivation: saving money first (and saving energy somewhat synonymous). For DHPs, safety *73%) and ease of operation (68%) also weighed in. For HPWHS, durability and long life also factored but not as much as saving money.
53 | NYSERDA Residential Baseline Study Volume Three HVAC Market Assessment Final Report | The HVAC Market Assessment identifies the baseline conditions for residential non-electric heating and water ehating equipment, central air conditioning, and heat pumps in NY state, focusing on single-family homes with 1 to 4 units, multifamily buildings, or in townhouse-style configurations where individual units have their own heating systems. The assessment shows where market is now based on equipment sold/installed in 2012 and after, and what % of the equipment currently being sold is high efficiency. This information will be used to establish more accurate baselines, estimate the influence of NYSERDAs and other PA activities on the market, and to support program planning in NY. They study used primary data (47 phone surveys & over 3,000 phone & web surveys), secondary data (HARDI sales data for 2013 and Census), and also made comparisons to data on installed HVAC equipment from on-site inspections of 179 new construction and 197 existing homes.
54 | R113 Ductless Heat Pump Evaluation - Connecticut Energy Efficiency Board (DNV GL) - 6/27/16 | This study was undertaken to identify the causes of the lower than expected realization rate (46%) for ductless heat pumps (DHPs) reported in the R16 Impact Evaluation of the 2011 program year for DHPs installations in single and multifamily residences in Connecticut through the Connecticut Energy Efficiency Fund (CEEF). Study involved: Collection of data from both 2011 participants and participants in subsequent years (2013 - 2015), including 124 phone surveys, of which 20 respondents agreed to an on-site survey; and also in-depth vendor interviews. FIndings included: (1) Participants are overwhelmingly satisfied with their DHP, (2) low realization rate due primarily to (a) a moderate # of installations that added to heat loads which was not accounted for in original calculation, (b) cooling saving factor that was used for original calculation was pased on program operations and installation conditions that differ from actual conditions, (c) many customers are adopting control strategies that reduce the overall efficiency of their DHPs. Other conclusions include: (a) electric savings in future years may be even lower than the R16 findings for a variety of reasons, (b) Although considerable customer education is occuring, more needs to be done in the area of integrating the pre-existing system, (c) there was not enough evidence to conclude that temperature take-back was a factor in the low realization rate - other operational patterns were likely to have more of an impact, (d) majority of pre-existing cooling systems are no longer in use, (e) operational patterns of DHP users suggest using a two-stage, variable degree-day billing analysis approach when the pre-existing heating system is electric; (f) using billing analysis methods to evluate customers with pre-existing oil heat is not recommended due to lack of fuel use data, etc. RECOMMENDATIONS: Update the current PSD savings calculations to reflect actual applications, (b) perform billing analysis for electric heat users, (c)perform on-site engineering analysis, (d) educate customers on DHP operation strategies to maximize efficiency, (e) target electric resistance heat users, (f) use a 2-stage, variable degree day approach for all fugure applications of biling analysis to estimate DHP savings (g) change DHP application form to ask about location of DHP (addition or new space?) and whether DHP will be used for heating, cooling, or both.
55 | Ecotope: Performance Testing of HP in NW | The research described in this paper incorporated detailed house and duct measurements and eight weeks of heating season monitoring and evaluated the capacity and efficiency of the combined heat pump and duct system in homes in central Oregon.
56 | CEE Field Assessment of CC ASHP | This paper describes the results from installing three ccASHPs in Minnesota homes, including detailed monitoring equipment, to collect data for the 2015-2016 heating season. Data analysis was performed to determine energy savings, heat pump heating capacity, installed efficiency, and the ability to reduce reliance on the traditional or backup heating system. Space heating energy savings of 39-65% and cost savings of 14-29% were found.
57 | Cadmus: DMSHP Systems: Answers to Questions about Efficiency You Didn’t Know You Had | This paper provides technical background information about DHPs, then explains the DHP testing and analytical methodology defined in the AHRI standard. There are several real-world examples from long-term meter data included to support these concepts. Additionally, the authors compare nameplate efficiency ratings to the actual measured average efficiency from 90 DHPs for a full cooling season. The paper includes a comprehensive explanation of rated efficiency and performance to describe how AHRI standard ratings may be misleading, and explains which specification data are important and how to use these data to select a DHP system that meets the needed criteria and maximized energy savings.
58 | Cadmus: Interaction of Cold Weather DHP and Primary Fossil Systems | This paper gives a summary of a study of over 100 homes in Massachusetts where detailed data was collected on 150 DMSHPs and on the heating systems that had previously fully heated the study homes. The paper examines when residents used ductless systems and base systems and estimates the relative costs of that use.
59 | Northeast/Mid-Atlantic Air-Source Heat Pump Market Strategies Report 2016 Update
Note on A46: Gabrielle: # aligned with above

## 3-2016 NYSERDA Questions
| 2016 NYSERDA Questions | What should be used for baseline measurement? | Are there (?)/ what are the potential future impacts from program intervention (e.g. what is the anticipated increase in market share of DHP in absence of traditional per-unit measure incentives? | What are the potential future energy savings? | What is the unit cost by efficiency/capacity/system optimization for heating/cooling/both by manufacturer/distributor/installer? | What is the in-field performance of DMSHP? | What is the per-unit change GHG? Summer peak? Winter peak? Electricity use? Fossil fuel use (savings)? | What is the displaced fuel (estimate) per install by fuel type (fossil or electric)? | What is the displaced fuel cost (estimate) per install by fuel type (fossil or electric)? | What is the simple payback by system type? | Short summary of the study | Misc. Notes
43 | Navigant: A Ductless Heat Pump in Every Pot…or Home? |  |  | Navigant projected increased sales of DHP's to achieve a cumulative 440aMW of savings n the most aggressive scenario by 2034. |  | Heating season energy savings (51 kWh/ton) were much lower than expected and cooling season energy savings (271 kWh/ton) were much higher than expected. Effective CF was much lower (0.47) than expected Highly variable operation across sampled sites Savings could not be correlated well to rated equipment efficiency and capacity | [5 empty] | Manufacturer's curves for DHPs were not as well developed/believable as those for central air cond. Some DHPs were rated at an operating point very below their full capacity. Consider requiringmanufacturers to publish add'l design point system efficiencies & use those to determine program elig. Considerchanging codes to require min. eff. higher than federal min. for DHPs. Lots of suggestions for future evaluations related to metering.
44 | Navigant,Eversource,Cadmus: The Humpty Dumpty of Heating_Minisplit HP Usage in NE | Blended baseline for DMSHP's, 47% standard efficiency DMSHP and 53% with a variety of existing and alternative systems. Table 3, Page 9 of study
45 | BPA: HVAC Market Intelligence Report | Ducted heat pumps? (because an estimated 30% of energy used to run typical HVAC system is lost due to leaky ductwork). But conversion from ducted to ductless appears to be a rare occurrence. | Research indicates that regional sales of high-efficiency ASHP are not taking off on their own (in the northwest). |  |  | In the PNW: of ductless mini splits, about 18% sold in 2015 have an HSPF of 8.2-8.99, about 18% 9-9.99, and 64% have an HSPF of 10 or higher | In the Northwest, 1/2 of single-family homes heat with gas, 1/3 use electric heat, and the remainder heat with wood, oil, pellets, or propane. Of the electrically-heated homes, over half distribute conditioned air through ductwork, while 43% have zonal heating systems. 67% of commercial buildings heat with natural gas and one-third heat with electricity. Of the electrically-heated buildings, 70% distribute conditioned air via ducted systems. The remainder of electrically-heated buildings have zonal systems. |  |  |  |  | VSHP SAVE ABOUT 30% MORE THAN EFFICIENT SINGLE-SPEED ASHPs
46 | NEEA: Residential Inverter-Driven HP Technical & Market Assmnt |  | The cumulative achievable potential savings for the high, medium, and low penetration scenarios are approximately 180 aMW, 240 aMW, and 440 aMW, respectively, over the twenty-year period ending in 2034. | Sector Potential electric load displacement (most optimistic scenario) Manufactured homes 86 aMW Single family existing 230 aMW Multifamily rental 0.1 aMW Whole house comfort 51 aMW CC-ASHP 54 aMW Central inverter driven HP's 110 aMW | [6 empty] | The cumulative achievable potential savings for the high, medium, and low penetration scenarios are approximately 180 aMW, 240 aMW, and 440 aMW, respectively, over the twenty-year period ending in 2034. market actors from the NW believe that equipment costs will increase at least at the same rate as inflation because of material costs, despite their advanced development. Many international markets, which are much more mature than that of the NW, have lower installation costs due to installation volumes, familiarity of contractors, and different retail channels.
47 | DOE EERE BA: CASE STUDY Field Performance of Inverter Driven HP in Cold Climates |  |  |  |  | See Page x, Table 1 for Monthly heating COP summary. COP's varied from 1.1 to 2.3, due to oversizing and setting fan speeds to low. All HP's provided useful heating at subzero, but performance varied because of differences in return air temperatures, low fan speed setting and use of a frequent setback control strategy. Cycling increased if HP was oversized. Daily avg COP peaked when OAT=40 deg F. Without cycling at 40 deg F, COP ranged around 2.5. Above 50 deg F, frequent cycling led to COP around 1.5. Setback strategy reduced elec consumption, but fequent recovery resulted in lower overall COP
49 | NYSERDA:: HP Potential for Energy Savings in NY State |  |  | ASHP's: Cooling energy would be reduced by year 2020 by about 2.0 terawatt hours (TWh), or 9% of the cooling energy forecast. Increased electric space heating of about 41 TWh, which would increase the total residential and commercial electric forecast by about 21%. Gas and petroleum fuel space heating would be reduced by 84% and 81%, respectively | [6 empty] | Fuel switching from petroleum fuels is the most cost-effective, due to their higher costs. Cooling impacts are relatively low since both baseline and efficient cooling is electric, so the same electric avoided costs apply to the relatively small difference in usage. Fuel switching from natural gas is not cost-effective for most of the HP measures, due to the relatively low cost of natural gas. | Savings from non fuel switching measures are a fraction of potential savings from fuel switching, for both ASHP's and GSHP's
50 | DOE EERE NREL: Mini-Split Heat Pumps MF Retrofit Feasibility Study |  |  | In Building Energy Optimization Program modeling using the New York City climate, converting from electric resistance to MSHPs saves approximately 30% of annualized energy-related costs in one sample building. Converting from oil saved about 4%. Converting from natural gas would cost about 30% more. In the Boston climate, converting from electric resistance to MSHPs is projected to save approximately 50% of annualized energy-related costs. Converting from oil saves about 3%. Converting from natural gas would cost 24% more. | A survey was conducted by ARIES in 2012 of contractors on Long Island, New York to estimate current installed costs of MSHPs in a typical retrofit situation. Costs were obtained for the installation of single systems (i.e., a single-family home) and for multiple systems (i.e., multiunit development). All units had SEERs from 17.5 to 23 and HSPF from 9.5 to 11. The results are shown below. |  | MSHPs have the potential to reduce peak electricity demand by 40%–60% as compared to electric resistance heated buildings during both heating and cooling seasons (assuming the buildings already have cooling—if not, they will increase summer electricity demand and energy consumption). Converting from fossil fuel heating to MSHPs will increase winter kilowatt peaks, but reduce summer kilowatt peaks, assuming the property has pre-existing cooling. |  |  | The simple paybacks for installing a single MSHP unit ($3,500 assumed cost) in an apartment in the New York City climate to fully offset a 30 MMBtu annual heat demand are estimated to be approximately 3.5, 4.2 and 8.3 years if replacing fuel oil, propane and electric resistance respectively. | MSHPs are a viable retrofit opportunity for certain low- to mid-rise multifamily buildings. They can be cost effective under many conditions. Successful multifamily retrofits were identified at sites in three states. All were retrofits of electric resistance heated buildings, the lowest hanging fruit. Buildings most suitable for MSHP retrofits are those with high-cost heating fuel such as liquefied petroleum gas (propane), fuel oil and, especially, electric resistance. Buildings with natural gas service are less suitable. Coupling expensive fuels with poor thermal envelopes makes the replacement even more attractive; however, even when the envelope is substantially improved, MSHPs can be cost effective on annualized cost of energy-related expenses. | It is easier to install MSHPs on low- to midrise (up to nine floors) buildings where ground and/or roof space permits mounting compressor units in relative close proximity to indoor units. Small, open plan homes where distribution of conditioned air is simple will be more cost effective.
55 | DNVGL R113 Ductless Heat Pump Eval | 28% from 2013-15 reported they transitioned to their DHP from electric heat. Electric heat used as assumption for the baseline for the 2011 study. In this study, 11% of participants installed DHP in a space that was not previously heated or that was an addition. Electric cooling w. EER of 9.0 (cooling savings factor of 3.1 kWh/MBTU for Hartford and 3.2 for Bridgeport.) 44% of sites didn't have cooling before DHP installation. 17% say they're not using DHP in winter or use ot as backup. In areas that were heated before DHP was installed, 72% were heated by non-electric fuels. | Low oil prices are also likely to slow program growth among participants who might normally enter the program specifically to mitigate the high price of fossil fuels. It may not be possible for program marketing efforts to overcome the cost/benefit of operating a DHP during periods of depressed fossil fuel prices. | Will be heavily impacted by how well the preexisting system integrates with the DHP. It is likely that the mass market conditions in which DHPs are being installed is going to reduce electric savings further than observed in the R16 study. 56% of 2013-2015 participants increased their electric heating load because fossil fuel heating systems previously heated the space served by the DHP. Electric savings from a DHP are dependent on the manner in which the space was previously conditioned in terms of fuel type and technology, and the way previously existing systems that have not been removed are used in conjunction with the DHP. In Jan 16, a Maine Low-Income Weatherization Evaluation reported tenants that used a DHP only (w/o a backup heat source), achieved savings of 989 kWh. This is consistent with the Mini-Split Heat Pumps Multifamily Retrofit Feasibility Study. EERE concluded DHPs had higher savings rates when they displaced electric resistance heating. Modeled savings from this same EERE study showed similar results. In the Boston climate, converting from electric resistance to DHPs saved approximately 50% of annualized energy related costs in one sample building. Converting from oil saved about 4% in annualized energy related cost savings from reduced pump operations and lower maintenance costs. Converting from natural gas returned the lowest level of cost savings. Estimates of take-back, as a percent of savings, fall within a commonly accepted range of 10 to 30% (although this is rarely measured empirically). The PSD (equations below) in place for the estimation of DHP energy savings evaluated in the R16 Impact Evaluation was based largely upon a KEMA study performed in 2009. | This report defines cold climate DHPs as having a HSPF of 13.5. | How the customer controls the DHP has a direct effect on its operating efficiency. The remote control device is new and the operational patterns that optimize DHP efficiency do not align with the conventional wisdom surrounding traditional HVAC equipment. This includes the potential that the customer has to increase the temperature setting in order to produce the same ambient temperature as their pre-existing system. It is clear that the programs rebating DHP take customer education seriously based on the amount of training time spent, although there some noted areas for improvement.In the Northeast, many DHP users integrate a DHP with a secondary heating system. Under these circumstances, education about integrating the pre-existing system with the DHP becomes an even more critical factor for the DHP to realize anticipated levels of savings. |  | In areas that were heated before DHP was installed, 72% were heated by non-electric fuels. Many DHPs are backup heating systems, not primary. Electric heating customers have the highest savings potential. | Of the seven on-site participants with pre-existing oil heat, three stated that they reverted to oil as their sole heat source because oil prices were so low. |  | The 2011 evaluation, which this report describes in a good bit of detail, consisted of 95% multifamily installations which previously had electric resistance heat before their DHP installation. This also evaluated the 2013-15 program. | Connecticut- so this is in our region. Many of the assumptions for the program savings documents calculations originated from a 2009 impact analysis of a DHP pilot. Has agood bit of information about current and preexisting uses (or lack thereof) of heating and cooling. Telephone survey respondents frequently mentioned that the DHP cannot provide adequate heat in colder weather. 10% of respondents have transitioned to the DHP for 100% of their heating needs. HSPF does not include testing at temperatures below 17 °F, which introduces uncertainty around its relevance for the DHP technology.
|  | The table below should be in cell c10 but is pasted below for space purposes |  | the equtions below are meant for cell E12, but don't translate well to text:
The kWh heating savings per MBTU is 130 kWh and 140 kWh for Hartford and Bridgeport, respectively.
56 | Ecotope_Performance Testing of HP in NW |  |  |  |  | Overall, the field project showed that the VCHP systems by themselves are efficient and perform at higher levels than single speed heat pumps. The modeled performance, based on the field data, suggests a 25-30% improvement. However, the measurements showed that duct losses are larger for variable speed systems because they typically operate at lower airflows. The losses, however, are only ~5% greater. Taken as a whole, the VCHP and duct system provide improvements over a federal minimum single-speed system. A further finding is that, just like single speed air-source heat pumps, the equipment size (heating output), auxiliary resistance heat controls, and thermostat setback behavior still matter. Although the VCHP is able to boost its heating output at lower temperatures, the equipment still needs to be properly sized for the house heating load. An undersized VCHP will still resort to auxiliary resistance heat just like a fixed speed system. The issue is further compounded when the occupants use a thermostat setback. In two of the six cases, the morning recovery period was a clear driver for resistance heating use. A better controller could anticipate the recovery sooner to avoid the low efficiency resistance heat. |  |  |  |  | The research described in this paper incorporates both detailed house and duct measurements and eight weeks of heating season monitoring and evaluates the capacity and efficiency of the combined heat pump and duct system. Quantification of duct losses is especially challenging in this situation, and duct losses are larger for variable speed systems because indoor unit airflow varies with load. Research was carried out in a mild continental climate, which resulted in a robust range of outdoor temperatures and variable heating loads. Also, parallel lab testing work on similar technology, as well as deployment of simulation tools, enabled an extension of short-term results to estimates of whole heating-season performance.
57 | CEE Field Assessment of CC ASHP |  |  |  |  | Three ccASHPs were installed in Minnesota homes, along with detailed monitoring equipment, to collect data for the 2015-2016 heating season. Data analysis was performed to determine energy savings, heat pump heating capacity, installed efficiency, and the ability to reduce reliance on the traditional or backup heating system. Space heating energy savings of 39% to 65% and cost savings of 14%-29% were found. The project has concluded that the measured performance of ccASHP installed in real homes confirms the potential to provide significant energy savings (39% to 65% of space heating energy use) and cost savings (14% to 29% of space heating costs). | In Minnesota, 16% of homes are heated with either propane or heating oil (US Census 2000). | Results showed that ccASHP reduce reliance on delivered fuels in 52% to 89% of homes. | The project has concluded that the measured performance of ccASHP installed in real homes confirms the potential to provide 14% to 29% of space heating costs. |  | Three ccASHPs were installed in Minnesota homes, along with detailed monitoring equipment, to collect data for the 2015-2016 heating season. Data analysis was performed to determine energy savings, heat pump heating capacity, installed efficiency, and the ability to reduce reliance on the traditional or backup heating system. Space heating energy savings of 39% to 65% and cost savings of 14%-29% were found. The field performance data was also used as a base for analysis of ccASHP policy implications regarding delivered fuels in Minnesota. Analysis shows that it is feasible for a utility energy efficiency program to receive credit for the energy savings achieved from ccASHPs through the reduction in delivered fuels. | A potential pilot program to promote ccASHPs may be feasible. The proposed programs should contain the following elements: 1. The program should target existing homes that use electricity, propane, or heating oil as their space heating fuel (not utility natural gas). 2. To help ensure that the program is genuinely focused on energy conservation, the program should include incentives and assistance to facilitate building shell conservation improvements (i.e., insulation and air sealing) in the homes that install ccASHPs. 3. Cost-effectiveness should be based on the total energy savings (electricity and heating fuel) of the package of measures installed in the home (ccASHPs plus any building shell conservation measures), net of any increase in electricity use from the ccASHP. 4. Any net electricity savings from the package should be directly credited toward the co-op’s energy savings goal under the progran
58 | Cadmus DMSHP Systems Answers to Questions about Efficiency You Didn't Know You Had |  |  |  |  | Meter data revealed that the primary reason some DHPs have lower seasonal efficiency than nameplate SEER is because many homeowners operate their DHP sporadically. Many of the metered DHPs were installed in spaces that do not require continuous conditioning, such as a spare bedroom, office, or area of the home that could not be adequately cooled by the CAC. Consequently, these homeowners are more likely to switch the DHP on or off and use it more like an appliance than a central cooling system that conditions a space to a constant temperature, which is the basis for the AHRI standard SEER calculations. However, the average DHP operating efficiency was not always lower than the nameplate SEER value. The following are examples of when a DHP may operate at a higher average efficiency than its nameplate SEER: 1.It is oversized. 2. The AHRI bin temperatures do not represent weather or usage patterns. 3. It is operated as a supplemental heat source. |  |  |  |  | This paper first provides technical background information about DHPs, then explains the DHP testing and analytical methodology defined in the AHRI standard. There are several realworld examples from long-term meter data included to support these concepts. Additionally, they compare nameplate efficiency ratings to the actual measured average efficiency from 90 DHPs for a full cooling season. The variance of actual to rated efficiency will support the paper concepts about the AHRI standard; we include a comprehensive explanation of rated efficiency and performance to describe how AHRI standard ratings may be misleading. The paper explains which specification data are important and how to use these data to select a DHP system that meets the needed criteria and maximizes energy savings. | The application (e.g., heating/cooling needs of the space) and operational strategy clearly have a large impact on DHP performance and efficiency. The following details are important for estimating the efficiency and potential savings of a DHP: • Physically bigger is generally better. Oversized systems have an increased average operating efficiency because the larger coil surface areas have a greater ability to transfer heat per Btu/h of rated capacity. • Avoid large temperature swings or volatile operation. A DHP system should operate at partial load as often as possible. For example, do not set the indoor temperature setpoint to 60°F when the space temperature is 80°F. • Do not rely on SEER and HSPF ratings. These ratings may only be reasonable for a space that is precisely conditioned and maintaining a constant indoor temperature throughout the year. • Do not rely on peak performance ratings (e.g., COP, EER). Review all available technical details to determine both peak performance and rated performance. Most variable speed DHPs are able to operate at higher speed and lower efficiency than the certified value. Undersized DHPs result in much less efficient operation than expected. • Other advantages. Central HVAC systems can be inefficient because they may condition unnecessary rooms or experience air leakage, entrainment, or conductive losses through the duct system. DHPs condition a specific zone and do not lose efficiency because of duct losses—two potentially major advantages.
59 | Cadmus Interaction of Cold Weather Ductless HP's and Primary Fossil Systems |  |  |  | Table 2 on Page 9 compares relative costs of operating DMSHP's and other heating systems | For the heating seasson, usage of the DMSHPs in this study varied widely. Median energy consumption was 340 kWh/ton. Half of the DMSHPs consumed on average 121 kWh/ton and the other half consumed over ten times that amount (1,433 kWh/ton). Although DMSHPs can save homeowners space heating costs compared with oil, propane, and electric-resistance heating sources, they cost more to operate per delivered BTU of heat than do gas-fired sources. They are not used for a great number of hours, partly because of how they interact with primary heating sources and partly because of their sizing in relation to the spaces they serve. Most were installed as secondary system without intention to serve the entire load, and many were installed primarily to provide space cooling. |  |  |  |  | A study of over 100 homes in Massachusetts collected detailed data on 150 ductless mini-split heat pumps (DMSHPs) and on heating systems that had previously fully heated the study homes. This paper examines when residents used ductless systems and base systems and estimates the relative costs of that use. Because the study was conducted after installation, it could not definitively determine savings, but it could identify use factors that impacted savings. To estimate the heat provided by DMSHPs, the study authors directly monitored temperatures and indirectly metered air flow at the DMSHP indoor head. To estimate space heating provided by primary systems, the authors used run-time meters, gas valve metering, and oil pump run times and installed nozzle sizes. These data provided the information necessary to establish system use across a range of outdoor temperatures. | How a DMSHP is used is one of the largest determiners of fuel savings and cost effectiveness. Table 3 shows the normalized heating energy consumption for 150 DMSHPs metered in Massachusetts and Rhode Island (also see Figure 5). The evaluation team surveyed the metering study participants to understand their motivation to purchase their DMSHP system(s). Most (65%) purchased the DMSHP for both its heating and cooling capability. Some (31%) said they purchased the DMSHP primarily for its cooling capability and were not particularly interested in using it for heat. A small percentage of participants (4%) purchased the DMSHP exclusively for its heating ability. The team found significant differences in DMSHP use between participants who said they purchased it primarily to cool or primarily to heat the space. Those who purchased the DMSHP for cooling did use it for heat, but it provided only about one-fourth the heat of the DMSHPs purchased primarily for that purpose. Table 3, Page 11
60 | Cadmus Mini-split Heat Pump Impact evaluation | Using baseline weighting from the previously published Baseline Memorandum (from Cadmus studies ublished Oct 12, 2015 and Jan 22, 2016), the evaluation team calculated average weighted savings for each of the three studied seasons, both for a single and specific baseline, as shown in Table ES-9. The terms “Single Baseline” and “Specific Baseline” differentiate the methodologies used in calculating savings; the former averages DMSHP usage across all participants and applies various baselines to the result, and the latter calculates savings using survey responses indicating participant specific baselines. Specific baselines showed savings similar to, or somewhat higher than, single baselines, but at poorer (higher) precisions. The following baselines were used in this study, borrowed from the Massachusetts and Rhode Island PA TRM recommnedation on Dec 2, 2016. |  | The evaluation team recommends exploring methods for targeting homes with electric resistance heating for DMSHP retrofits, targeting propane-heated homes for DMSHPs, exploring methods for addressing oil-heated homes, and examining opportunities for a new construction measure to substitute DMSHPs for central air conditioners. |  | In general, the evaluation team found DMSHPs operated in highly variable ways, resulting in widely varying hours of use, power use, and savings among units. Some variation resulted from variable-speed designs, but most was from users chose to operate their equipment. Cooling: The evaluation team determined an average EFLH cooling value of 218, well below the 360-hour value assumed in the Massachusetts and Rhode Island TRMs. Units often operated at low capacity or even were turned off for periods. For elements that contributed to low EFLH, see page 20 of study. In many cases, DMSHPs produced additional savings beyond providing more efficient air conditioning from a purely mechanical standpoint (i.e. zonal savings). Therefore, they may be providing higher savings than indicated by comparisons to baselines. As the report addresses, DMSHPs were installed at a rate of approximately 1 ton of capacity per 1,043 s.f. of home floor area. This value is far lower than typically observed for central air conditioners. Users frequently shut off DMSHPs due to unoccupied rooms or mild outdoor temperatures. Thereby, DMSHPs can deliver zonal savings by performing less cooling. DMSHP also can run in dehumidification modes, further reducing the need for cooling. Heating: Study found a heating EFLH value of roughly 450 hours. In nearly all cases, observed DMSHP units provided heat coincidentally with other systems. In most cases, DMSHPs served as secondary systems, either to provide heat for a single space or to provide supplemental heat in addition to a primary system. The operational cost-effectiveness to a homeowner using a DMSHP for heating depended on alternative heating systems, energy prices for a given period, and outside air temperatures. Compared against electric resistance & propane heating, the DMSHP proved more cost-effective on average for all outdoor air temperatures typically observed during winters in Massachusetts and Rhode Island. For oil-fired systems, the relative energy price determined the temperature above which a DMSHP became more cost-effective. Current oil prices remain low relative to historic values, but DMSHPs proved cost-effective in comparison to oil. Compared to natural gas heating systems, DMSHP rarely proved cost-effective. This generalization excludes a scenario where a DMSHP heats a single space, negating the need to turn on a whole-house heating system. COP/SEER/HSPF: Evaluation team found unit efficiencies varied widely by site and period. On average, field-measured seasonal efficiencies for most units were below their rated values, although some units met or exceeded their ratings. Measured SEER values below rated values could result from the following: • Some units were seldom used. • Some homeowners used DMSHPs only to cool on the hottest days, with their resulting cooling efficiencies closer to rated EER values (i.e., the efficiency rating at 95°F). • SEER and EER tests run at specific conditions might not fully represent actual operations. In the SEER test, for example, return air was 80°F—much warmer than most homes during cooling seasons. • Units were used for functions that reduced the rated performance, including fan-only modes and dry or dehumidification modes. These modes may help displace cooling, but, for these SEER calculations, simply show up as energy use without much delivered cooling. Measured HSPF values could fall below rated values for the following reasons: • Some homeowners used their DMSHPs during very cold outdoor conditions, when the resulting DMSHP COP was lower than its rated value. • HSPF tests run under specific conditions that did not fully represent actual operations. • Units operated at very low capacities (due to low heating needs) realized low efficiencies. • Site conditions caused units to run in defrost modes for long periods of time, decreasing efficiency. The evaluation team has completed other studies that found marked differences in the frequency of defrost cycles between brands. | See page 66 for more details. Table 11 from study Table 13, Page 67 |  |  |  | The Massachusetts and Rhode Island Program Administrators (PAs) commissioned Cadmus and its subcontractors, Navigant and Tetra Tech, (the evaluation team) to conduct an in situ evaluation of ductless mini-split heat pumps (DMSHPs). The evaluation team initially planned to study 132 Massachusetts homes that participated in the COOL SMART Program. The PAs, however, extended the scope of work to include 20 Rhode Island homes that participated in the High Efficiency Heating and Cooling Rebate Program.

## 2014_DHP Studies - Condensed
|  | Performance Characteristics Prioritized for Cataloguing and Study | [16 empty] | Lower Priority - Coverage Based on Budget and Interest Level
DB# | Reference Study | Cold weather perf. | COP testing – Field | COP testing – Lab | HSPF testing/ estimating | Cost to Operate | Energy consumption cooling | Energy consumption heating | Energy demand cooling | Energy demand heating | Savings Calc/Est. | Customer satisfaction assessment | Comfort assess. | Load shape – cooling | Load shape – heating | Fuel switching assessment | SEER testing/ estimating | System sizing assess. | Defrost testing | Emission Comparison/Reduction Calc. | Extreme heat perf. | Failure testing | Installation configuration assessment | Noise assess. | Market Presence, Strategies, & Barriers
1 | Bangor Hydro Electric and Maine Public Service Heat Pump Pilot Program |  |  |  |  | x | x |  | x |  |  | x | [7 empty] | x |  |  |  |  | x
2 | Performance of Ductless Heat Pumps in the Pacific Northwest | [5 empty] | x | x |  |  | x | [9 empty] | x |  |  |  | x
3 | Air Source Heat Pumps in Southeast Alaska | x |  |  |  | x |  | x |  |  |  |  | x | [11 empty] | x
4 | Mini Split Heat Pump Efficiency Analysis |  |  |  |  | x | [13 empty] | x
5 | Ductless Mini Pilot Study |  |  |  |  | x |  |  |  | x | x | x | x |  |  |  |  | x |  |  | x |  | x |  | x
6 | DHP Monitored Projects from Marc Rosenbaum
7 | Ductless Heat Pump Engineering Analysis | [6 empty] | x |  |  | x | x | x | [7 empty] | x
8 | Commonwealth Accelerated Renewable Thermal Strategy |  |  |  |  | x |  |  |  |  | x |  |  |  |  | x |  |  |  | x |  |  |  |  | x
9 | Massachusetts Renewable Heating and Cooling Opportunities and Impacts Study |  | x |  |  | x | x | x |  |  | x |  |  |  |  | x |  |  |  | x |  |  | x |  | x
10 | Ductless Heat Pump Impact & Process Evaluation: Billing Analysis Report | x | x | x |  | x | x | x |  |  | x | [6 empty] | x | [6 empty] | x
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | x | x | x |  | x | x | x |  |  | x | x | [5 empty] | x | x |  |  | x |  |  | x
12 | Energy Efficient Heating Options: Pilot Projects and Relevant Studies | x |  |  |  | x |  |  |  |  | x |  |  |  |  | x |  |  |  |  | x |  |  |  | x
13 | Efficiency Maine Low Income Multifamily Weatherization Program | x | [8 empty] | x
14 | Laboratory Test Report for Fujitsu 12RLS and Mitsubishi FE12NA Mini-Split Heat Pumps | x |  | x | [14 empty] | x |  | x
15 | Mitsubishi Heat Pump VRF Market Data | [23 empty] | x
16 | Ductless Split Heat Pump – Retrofit (Measure 21)
17 | MA Cool Smart (Vol. Ductless Mini-Split Heat Pump Survey Results) | x | [18 empty] | x
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | x | x | x |  |  | x | x |  |  | x | x | x | [5 empty] | x |  |  | x | x | x | x
19 | Northeast/Mid-Atlantic Air-Source Heat Pump Market Strategies Report |  |  |  |  | x |  |  |  |  | x |  |  |  |  | x |  |  |  | x |  |  |  |  | x
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | x |  | x |  | x | x | x | x | x | x | x | x | x | x | x |  | x | [5 empty] | x
21 | Northwest Ductless Heat Pump Initiative (#E12-245 ed., Vol. Market Progress Evaluation Report #2) | [10 empty] | x | [12 empty] | x
22 | Heat Pumps (Vol. An alternative to oil heat for the Northeast - input for planners and policy-makers) |  |  |  |  | x |  |  |  |  | x |  |  |  |  | x |  |  |  | x |  |  |  |  | x
23 | A Case Study: ~3,000 Ductless Heat Pumps in Maine | [9 empty] | x | [11 empty] | x
24 | Cold Climate Ductless Heat Pumps – Measured performance | [9 empty] | x | [9 empty] | x |  | x
25 | Air Source Heat Pumps in Cold Climate Homes: Expert Meeting Report | [9 empty] | x | [7 empty] | x
26 | Technology Trends (Vol. Cold Climate Heat Pumps / Mini Splits) | [9 empty] | x |  |  |  |  | x | [8 empty] | x
27 | N/A
28 | Northwest Ductless Heat Pump Initiative: (#E14-278 ed., Vol. Market Progress Evaluation Report #3) | [10 empty] | x | [12 empty] | x
29 | Ductless Heat Pump Impact & Process Evaluation: Lab-Testing Report | x | x | x | x | [5 empty] | x | [5 empty] | x |  | x
30 | Ductless Heat Pump Retrofits in Multifamily and Small Commercial Buildings |  | x | [5 empty] | x | x | x | [7 empty] | x |  | x
31 | Eliakim’s Way Three Year Energy Usage | [5 empty] | x | x
32 | Mitsubishi Indoor Unit Brochure |  |  |  | x | [11 empty] | x | x |  | x |  |  | x
33 | Mitsubishi System Technologies | x | [20 empty] | x | x
34 | Ductless Mini-Split and Multi-Split Heat Pump units under 65kBtuh | [9 empty] | x
35 | Improved Modeling of Residential Air Conditioners and Heat Pumps for Energy Calculations | [15 empty] | x
36 | Laboratory Testing of Residential, Variable Speed Heat Pump | x | [8 empty] | x |  |  |  | x
37 | Economic and Environmental Analysis of Residential Heating and Cooling Systems: A Study of Heat Pump Performance in U.S. Cities | [9 empty] | x | [8 empty] | x
38 | Kallock FE18 Data
39 | Ductless Mini-Split Heat Pump Customer Survey Results | x | [18 empty] | x
40 | Incremental Cost Study Phase Two Final Report | [23 empty] | x
41 | Emera Maine Heat Pump Pilot Program (Vol. Final Report) |  |  |  |  | x |  | x | [7 empty] | x
42 | Heat Pump Impact on Load Forecast
Note on AA3: Brian McCowan: For the market factor spreadsheet

## 2014_Cold Weather Performance
DB# | Reference Study | Cold Weather Performance | Highlights | Reported Minimum OAT Heating Range
3 | Air Source Heat Pumps in Southeast Alaska | x | Field monitoring and performance modelling of several systems between 2006-2011 in Southern Alaska. 2009-2010 studies reported good performance at -15°F; 2006 & 2007 studies found that the DHPs did not have good performance at this temperature. | -15°F
10 | Ductless Heat Pump Impact & Process Evaluation: Billing Analysis Report | x | Billing analysis of 3,621 installations coducted during 2008-2009 of systems installed in DHP pilot program. Confirms heating mode operation through entire winter, does not assess system performance at coldest temperatures. Identifies significant heating contribution from biomass systems affecting overall savings. | -5°F
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | x | Field metering - 95 installs - 1+year - Cold weather performance was not a goal of the metering study. Metering confirmed heating operation throught the heating season. Individual system performance at 0-20F calculated at 1.8 - 2.4 COP | -5°F
12 | Energy Efficient Heating Options: Pilot Projects and Relevant Studies | x | Based on an NREL laboratory study, Emaine established that experimental test data aligned with manufacturer reported values for the Fujitsu 12RLS and Mitsubishi FE12NA Mini-Split Heat Pump models. C-C models HSPF 10 - Heating performance @ -15F; achieve 1,000 Btu/hr @ -10°F. | -15°F
13 | Efficiency Maine Low Income Multifamily Weatherization Program | x | Field Monitoring/Audit of 130 properties repesenting 2,943 units in Maine. Early 2012-Fall 2013. Minimum operating temperature measured at -5°F. | -5°F
14 | Laboratory Test Report for Fujitsu 12RLS and Mitsubishi FE12NA Mini-Split Heat Pumps | x | Laboratory Test for Fujitsu 12RLS & Mitsubishi FE12NA. The manufacturer-reported heating capacities align with the experimental results and the capacity degradation with colder outdoor temperatures is similar between the reported and laboratory data. Heating capacity at -10F is approximately 70-75% of capacity at 30F. | -10°F
17 | MA Cool Smart (Vol. Ductless Mini-Split Heat Pump Survey Results) | x | Survey of 3,289 participants with various DHP unit types. Question: "How has the DMSHP system in the space performed in terms of heating during extemely cold temperatures, below 15°F? Results: 42% reported sufficient heating, 23% does not provide sufficient heating, 24% have not used in these temperatures, 8% other, 3% don't know. | NA
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | x | Field and lab monitoring of ~4,000 Fujitsu 12RLS and Mitsubishi FE12NA in the Pacific Northwest. Both models continue to operate well in cold temperatures (0 to -5F) with the 12RLS showing slightly higher capacity and efficiency. COP of 1.4 - 2 at 0 to -5F | -5°F
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Field Monitoring of 9 DHPs; Central NH; February - September. Extrapolated for full year and weather normalized. Heating to rated low temperature (-18°F); most participants relied on DHPS as a primary heat source through winter. | -18°F
25 | Air Source Heat Pumps in Cold Climate Homes: Expert Meeting Report | x | Field monitoring of DHP data over 24 hours in the Pacific NW, including extremely cold temperatures. COP approximately 1.4 with outdoor temperatures of -10 to -20°; when temperatures rose to near 20°F, COP rose to approximately 1.8. | -20°F
29 | Ductless Heat Pump Impact & Process Evaluation: Lab-Testing Report | x | Skipped, same data as #18 | NA
33 | Mitsubishi System Technologies | x | Laboratory Test for Mitsubishi Models MSZ-FE09NA and MSZ-FE12NA. MSZ-FE09NA showed a 62% heating capacity at -13°F, MSZ-FE12NA showed a 58% heating capacity at -13°F | -13°F
36 | Laboratory Testing of Residential, Variable Speed Heat Pump | x | Not DHP - Indoor lab testing of central HP Carrier Infinity Series - Greenspeed Based on the laboratory data, the variable capacity system operates more efficiently at maximum capacity when exposed to lower outdoor temperatures (7°F) | NA
39 | Ductless Mini-Split Heat Pump Customer Survey Results | x | Survey of 430 COOL SMART DMSHP participants. At extremely cold temperatures (below 15°F), an almost equal number of participants report that their DMSHP provides sufficient heat (43%) to those who report that their unit either does not provide sufficient heating (19%) or that they have not used the DMSHP in these temperatures (25%.) | NA
Overall Summary |  |  | A Combination of laboratory testing, field testing, and end user surveys provide insight into the cold weather performance of DHP's. Field and lab testing has verified performance at cold temperatures ranging from from 20°F to -20°F. More recent models designated for cold climate operation demonstrated the best performance at the lowest temperatures. Laboratory tests of Fujitsu 12RLS and Mitsubishi FE12NA Mini-Split Heat Pump models in cold climates closeley match with model specifications. No systems were found undable to operate at their lowest rated temperatures. In the PNW, studies, most participants relied on electric resistance, fossil fuel, or biomass heating systems for heating during extremely cold temperatures, but the NEEP New Hampshire study found participants relying primarily on DHP as primary heating source throughout the winter. Participant surveys revealed that an equal number of participants reported sufficient or insufficient heating at extremely cold temperatures (below 15°F.) When COP was estimated at these cold temperatures, it was generally reported to be between 1.4 and 2.0

## 2014_COP Testing-Field
DB# | Reference Study | COP Testing- Field | Highlights | COP Range
10 | Ductless Heat Pump Impact & Process Evaluation: Billing Analysis Report | x | No COP testing, but billing analysis reduced the savings calculated from Field Monitoring | NA
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | x | Estimated average heating COP for several of the monitored systems in 5 geographic regions. Average heating season COP ranged from 2.8 to 3.4. Overal avg for all 5 regions = 3.0 | 2.8-3.4 AVG 3
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | x | Field monitoring of ~4,000 Fujitsu 12RLS and Mitsubishi FE12NA (which behave simarlarly to the 12RLS) in the Pacific Northwest. Lab and field COP measurements show general agreement. | 2.8-3.4 AVG 3
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Field monitoring. Results from 2 of 9 DHPS - Results are "rough" estimates due to field monitoring challenges. Heating COP Average Range: 1.15 at ‐4°F to 3.65 at 35°F. Cooling COP Average Range: 1.5 at 91.7°F to 4.7 at 80.1°F | 1.5-4.7
25 | Air Source Heat Pumps in Cold Climate Homes: Expert Meeting Report | x | Report from NEEA studies - Field monitoring of DHP data over 24 hours in the Pacific NW, including extremely cold temperatures. COP approximately 1.4 with outdoor temperatures of -10 to -20°; when temperatures rose to near 20°F, COP rose to approximately 1.8. | 1.4 - 1.8 @ a temp range of -20 to 20 F
29 | Ductless Heat Pump Impact & Process Evaluation: Lab-Testing Report | x | Skipped, same data as #18 | NA
30 | Ductless Heat Pump Retrofits in Multifamily and Small Commercial Buildings | x | Small commercial and MF installations. Estimates of the energy-weighted heating COPs for the metered sites is based on billing data for two apartment complexes (Jadwin & Oakwood) relying on a variable-base degree day method. Average COPs are 3.3 to 3.4 Eugene, OR and Richmond, WA. | 3.3-3.4 avg
Overall Summary |  |  | Lab and field COP measurements show general agreement. Mfg test COP is somewhat higher than both lab and field test #s. Average heating season throughout 5 geographic regions: 2.4 - 3. Cooling COP average: 3, but limited data. COP is difficult to calculate in the field. COP difficult to apply to DHPs as the testing is designed for steady state operation and DHPs are continuously modulating. COP below -5 is reported to be between 1.4 and 2.0

## 2014_COP Testing-Lab
DB# | Reference Study | COP Testing- Lab | Highlights
10 | Ductless Heat Pump Impact & Process Evaluation: Billing Analysis Report | x | References lab testing from earlier phase
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | x | References lab testing from earlier phase
14 | Laboratory Test Report for Fujitsu 12RLS and Mitsubishi FE12NA Mini-Split Heat Pumps | x | Laboratory Test for Fujitsu 12RLS & Mitsubishi FE12NA. The manufacturer-reported COPs align with the experimental results and the capacity degradation with colder outdoor temperatures is similar between the reported and laboratory data.
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | x | Lab data ollected in a stable, repeatable, and highly controllable situation which provides a “reference set” for the field measurements of similar DHPs. Limited useful data from field testing due to various difficulties of field testing COP, but some data show general agreement with lab testing.
28 | Northwest Ductless Heat Pump Initiative: (#E14-278 ed., Vol. Market Progress Evaluation Report #3) | x | 2.0 - 3.5 @ 30F; 1.6 - 2 @ -5F
Overall Summary |  |  | Lab testing of DHPs can be done in a manor more consistent with manufacturer rating testing than can field testing. Although data is limited, results are generally consistent with mfg ratings for identical conditions but result in a greater range of COP at a variety of conditions.

## 2014_HSPF Calculations
DB# | Reference Study | HSPF Testing | Highlights
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | x | HSPF & SEER not well suited to DHPs - variety of factors including modulating operation
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Field monitoring of 9 residential heat pumps. HSPF ratings were adjusted by a factor of 0.9% (10% reduction in rating) for the monitoried DHPs due to local climate conditions. Adjusted HSPF used for savings calcs.
32 | Mitsubishi Indoor Unit Brochure | x | Lab testing of Mitsubishi DHPS show an HSPF rating of 8.9-10.5
Overall Summary |  |  | HSPF ratings are published for only one climate zone. The methodology can be applied to all climate zones, but is not done so by the industry. DOE publishes adjusted HSPF for other climate zones, but it is not accurate for DHPS, especially cold climate models.

## 2014_Cost to Install
DB# | Reference Study | Cost to Operate | Highlights
1 | Bangor Hydro Electric and Maine Public Service Heat Pump Pilot Program | x | Survey of 945 participants in Maine: Half of surveyed installers said that the cost of the equipment was prohibitive for many customers. 81% of participants took part in a financing program in order to save money on related expenses.
5 | Ductless Mini Pilot Study | x | Range $ 3,000 - $3,500 per ton - MA. Estimations of how heat pumps would respond in NY cities. Data taken from Vermont & several NY city programs' participant survey and contractor assessment. The total installed cost of these 26 systems in Northeast averaged $4,926. Despite being satisfied with the equipment, most customers regarded the market price of the ductless mini-split heat pump systems to be too high to afford on their own without incentives.
12 | Energy Efficient Heating Options: Pilot Projects and Relevant Studies | x | Calculations base on field monitoring of an average Maine home. A one zone system totals $3,500 with a 1.7 year simple payback after $600 rebate. A two zone system totals $4,500 in capital expenses with a 2.3 year simple payback after rebate.
22 | Heat Pumps (Vol. An alternative to oil heat for the Northeast - input for planners and policy-makers) | x | Price forecast scenarios. Air source heat pump shows a levelized cost of heat per million BTU at $30.00. A high price operating cost per million BTU is forecasted to be $7.00, a low price $11.00, & capital cost $11.00.
Overall Summary |  |  | Installed cost of single zone systems ranges from under $3,000 to over $5,000. Average installed cost of single zone systems is estimated to be approximately $4,000. Many survey participants reported that the cost of the systems were prohibitive and incentives and/or financing made the project attractive. In contrast, many participants purchased additional heat pumps after initial experience with the systems.

## 2014_Cost to Operate
DB# | Reference Study | Cost to Operate | Highlights
3 | Air Source Heat Pumps in Southeast Alaska | x | Field monitoring/modelling. Results ranged from $700-$2,300 to operate compared to $1,600-$4,300 using baseline HVAC systems, depending on location in Alaska.
4 | Mini Split Heat Pump Efficiency Analysis | x | NREL lab testing, and field monitoring of one home in Vermont were used to estimate performance in NY State. Mistubishi models average cost/MMBtu of delivered heat ranged from 12.8-20.05, Fujitsu ranged 9.78-15.96.
10 | Ductless Heat Pump Impact & Process Evaluation: Billing Analysis Report | x | 5,150 to 5,800 kWh total varies from field metering as customers increased heating setpoints, heated adjacent areas, used less supplemental fuels (especially wood) and increased occupied time periods
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | x | 1823 - 2492 kWh Heating - 2052 Avg heating - - - 72 - 408 cooling 208 Avg cooling
19 | Northeast/Mid-Atlantic Air-Source Heat Pump Market Strategies Report | x | Field monitoring of 137 homes included from 3 different studies in New England and the Northwest. Results report approximate annual average operating cost of large/inefficient homes to be $3,074, an average NE home $1,537, a new/code-compliant home $768, and a very efficient home $307.
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Avg $479 per ton @$0.14/kWh - Central NH
22 | Heat Pumps (Vol. An alternative to oil heat for the Northeast - input for planners and policy-makers) | x | Price forecast scenarios. Air source heat pump shows a levelized cost of heat per million BTU at $30.00. A high price operating cost per million BTU is forecasted to be $7.00, a low price $11.00, & capital cost $11.00.
41 | Emera Maine Heat Pump Pilot Program (Vol. Final Report) | x | Field monitoring of 64 homes. Range of annual consumption is 342 kWh to 7,372 kWh. Avg DHP consumption 1735 kWh - $222 @ $0.13/kW
Overall Summary |  |  | Cost to operate DHPs varies greatly due to the common use of DHPs to displace heating rather than to fully replace other heating systems. Cooling costs are easier to estimate.

## 2014_Energy Consumption-Cooling
DB# | Reference Study | Energy Consumption- Cooling | Highlights
1 | Bangor Hydro Electric and Maine Public Service Heat Pump Pilot Program | x | Field monitoring of 945 program participants with DHP installations in Maine. Results show an average consumption of 1.6 kWh/day
2 | Performance of Ductless Heat Pumps in the Pacific Northwest | x | Field monitoring. Three small utilities in the BPA service territory participated, and a total of 14 electric resistance zonal houses were retrofit. Average of 20,785 kWh/yr. Study does not distinguish heating from cooling.
10 | Ductless Heat Pump Impact & Process Evaluation: Billing Analysis Report | x | 5,150 to 5,800 kWh H&C
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | x | 72 - 408 cooling 208 Avg cooling
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | x | Field monitoring of 95 sites in the Pacific Northwest with a detailed instrumentation package to measure DHP electricity input and thermal output. Average DHP Cooling kWh/yr is 208.
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Field Monitoring of 9 DHPs; Central NH; February - September. Extrapolated for full year and weather normalized. Annual Cooling energy consumption of the 9 sites averaged 359.1 kWh.
30 | Ductless Heat Pump Retrofits in Multifamily and Small Commercial Buildings | x | Cooling energy compared with PTAC units. Estimates of the cooling energy demand for the metered sites is based on billing data for one of two apartment complexes (Oregon & Washington) relying on a variable-bas degree day method. Pre-cool install kWh/yr was 543, the post-installation DHP cooling energy changed to 213 kWh/yr. Some cooling take back.
31 | Eliakim’s Way Three Year Energy Usage | x | Annual billing data of 8 homes in Vermont. Annual cooling energy usage totaled 926 kWh.
Overall Summary |  |  | Cooling consumption of course varies greatly with climate. Studies that measured cooling impacts, distiguishing them from heating usage, report cooling consumption ranging from 208 to 926 kWh annually. These studies were performed in N.H., VT, ME, and the PNW. A study performed in the NYC area is yet to be finalized.

## 2014_Energy Consumption-Heating
DB# | Reference Study | Energy Consumption- Heating | Highlights | Notes
2 | Performance of Ductless Heat Pumps in the Pacific Northwest | x | Field monitoring. Three small utilities in the BPA service territory participated, and a total of 14 electric resistance zonal houses were retrofit. Average of 20,785 kWh/yr. DHP and baseload system; 5,000 kWh/yr DHP only. Study does not distinguish heating from cooling. | ACEEE conference paper referencing NEEA & BPA studies
3 | Air Source Heat Pumps in Southeast Alaska | x | Modelling of several system types based on total energy consumption metering of homes between 2006-2011 in Southern Alaska. Modelled results predict DHP average annual consumption of 7,575 kWh. No cooling consumption. | Total home energy consumption metered - DHP potential use is modelled.
7 | Ductless Heat Pump Engineering Analysis | x | Field monitoring of 20 homes. Study evaluted the impact of ductless heat pumps in single family and manufactured homes with forced-air furnaces. The total heating consumption post-installation is 15,321 kWh/yr. | No information on size of DHPs installed
10 | Ductless Heat Pump Impact & Process Evaluation: Billing Analysis Report | x | 5,150 to 5,800 kWh Heating | Billing analysis differs from metered analysis - due rimarily to "take-back" often associated with lower wood heat usage
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | x | 1823 - 2492 kWh Heating - 2052 Avg heating
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | x | Field monitoring of 95 sites in the Pacific Northwest with a detailed instrumentation package to measure DHP electricity input and thermal output. Consumption for heating averages 2,052 kWh/yr.
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Field Monitoring of 9 DHPs; Central NH; February - September. Extrapolated for full year and weather normalized. Heating energy consumption of the 9 sites averaged 3,421 kWh.
30 | Ductless Heat Pump Retrofits in Multifamily and Small Commercial Buildings | x | Estimates of the energy demand for the metered sites is based on billing data for two apartment complexes Oregon & Washington relying on a variable-base degree day method. Pre install kWh/yr was 7000, the post-installation DHP heating energy changed to 4019 kWh/yr. Approx savings 3.000 kWh/yr.
31 | Eliakim’s Way Three Year Energy Usage | x | Annual billing data of 8 homes in Vermont. Annual heating energy usage totaled 10,132 kWh.
41 | Emera Maine Heat Pump Pilot Program (Vol. Final Report) | x | Reports an avg annual consumption of 1745 kWh nearly all of which is for heating | Installed system sizes not provided
Overall Summary |  |  | Annual post-install heating consumption varies greatly; averages ~3,000 kWh in New England. In the Northwest, heating consumption post-installation ranges from 766 - 5,000 kWh/yr according to NEEA studies

## 2014_Energy Demand-Cooling
DB# | Reference Study | Energy Demand- Cooling | Highlights
1 | Bangor Hydro Electric and Maine Public Service Heat Pump Pilot Program | x | Field monitoring of 945 participants in Maine: cooling energy demand increase average = .14 kW on peak/ton NE ISO peak cooling period
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Field Monitoring of 9 DHPs; Central NH; February - September. Extrapolated for full year and weather normalized. Average energy demand = .15 kW
Overall Summary |  |  | Very limited cooling demand results due to small cooling loads in study areas.

## 2014_Energy Demand-Heating
DB# | Reference Study | Energy Demand- Heating | Highlights
5 | Ductless Mini Pilot Study | x | Heating peak demand savings analysis - .24 - .27 kW per ton savings - NE ISO peaqk heating demand days
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Field Monitoring of 9 DHPs; Central NH; February - September. Extrapolated for full year and weather normalized. Average energy demand = .55 kW
Overall Summary |  |  | Very limited heating demand analysis - .24-.27 per ton for So NE (KEMA study) .55kw for NH - NEEP study. Listed as knowledge gap.

## 2014_Savings Calculations
DB# | Reference Study | Savings Calculations | Highlights
2 | Performance of Ductless Heat Pumps in the Pacific Northwest | x | Field monitoring. Three small utilities in the BPA service territory participated, and a total of 14 electric resistance zonal houses were retrofit. Average heating savings- 4,400 kWh
5 | Ductless Mini Pilot Study | x | Estimations of how heat pumps would respond in NY cities. Calculated by running models through TMY1 Weather Files for 5 New England locations. Cooling savings average 2.8 kWh/MBTU. Heating savings average 94.8 kWh/MBTU
7 | Ductless Heat Pump Engineering Analysis | x | Field monitoring of 20 homes. Study evaluted the impact of ductless heat pumps in single family and manufactured homes with forced-air furnaces. Savings estimates from billing analysis: 2,189 kWh/yr
8 | Commonwealth Accelerated Renewable Thermal Strategy | x | NA
9 | Massachusetts Renewable Heating and Cooling Opportunities and Impacts Study | x | NA
10 | Ductless Heat Pump Impact & Process Evaluation: Billing Analysis Report | x | 8 regions 1,240 - 3,380 kWh Avg 3,120
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | x | 5 regions 3,264 - 4,184 - Avg = 3,887 - calculated from field COP data
12 | Energy Efficient Heating Options: Pilot Projects and Relevant Studies | x | Based on an NREL laboratory study on Fujitsu 12RLS and Mitsubishi FE12NA Mini-Split Heat Pump models. Basic savings calculations of an average energy use home: savings of $1,905 in heating costs,savings of 783 gallons of oil/yr, annual cost savings subtotal of $1,676, and a simple payback of 1.7 years after rebate. Avg home savings 50%.
13 | Efficiency Maine Low Income Multifamily Weatherization Program | x | Survey of 130 properties repesenting 2,943 units in Maine. Early 2012-Fall 2013. Analysis shows savings realization rate for weatherization-only upgrades is 107%. Average annual savings per unit upgraded in program is projected to be 17%, which corresponds to 1,651 kWh/yr, $239/yr, and a savings-to-investment ratio of 1:1.6
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | x | Billing analysis of sites divided by 8 clusters (including reasonably homogenous climates) of ~4,000 Fujitsu 12RLS and Mitsubishi FE12NA (which behave simarlarly to the 12RLS) in the Pacific Northwest. Avg savings of 1,892 kWh/yr.
19 | Northeast/Mid-Atlantic Air-Source Heat Pump Market Strategies Report | x | Field monitoring of 137 homes included in 3 different studies in New England and the Northwest. Average annual savings from installing a DHP were approximately 3,000 kWh when offsetting resistance.
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Field monitoring of 9 DHPs; Central Nh; February-September. Extrapolated for full year and weather normalized. Savings estimated for four baselines. Electric resistance- 4,502 kWh weighted average per ton, $832. Standard ASHP- 2,154 Btu, $398. Central oil heat- 22.19 MMBtu weighted average per ton, $613. Central natural gas heat- 21.31 MMBtu weighted average per ton, $91.
22 | Heat Pumps (Vol. An alternative to oil heat for the Northeast - input for planners and policy-makers) | x | RMI calculations based on data from U.S. EIA State Energy Data System, 2010. Entirely replacing oil heating with heat pumps can save the region $5.5-6.0 bbillion in fuel costs annually, a roughly 40% savings over the region's existing $14 billion annual heating oil fuel bill. The average residential household would see their heating bill drop from $1,600 per year with oil to anywhere from $625-$950 depending on their electric rate.
23 | A Case Study: ~3,000 Ductless Heat Pumps in Maine | x | Billing analysis of 306 units in Maine, normalized results for weather and usage. Net savings: 25-54% with a simple payback of ~7 years.
24 | Cold Climate Ductless Heat Pumps – Measured performance | x | Skipped, same data as #23
25 | Air Source Heat Pumps in Cold Climate Homes: Expert Meeting Report | x | Billing analysis of 3,500 sites in the Pacific NW using Fujitsu and Mitsubishi units. Heating savings average 2,125 kWh/yr.
26 | Technology Trends (Vol. Cold Climate Heat Pumps / Mini Splits) | x | Market Research of an ASHP with a COP of 3.0. Savings average $1,315 using an ASHP ranging from kerosene, propane, or electricity as the type of energy.
29 | Ductless Heat Pump Impact & Process Evaluation: Lab-Testing Report | x | Skipped, same data as #18
30 | Ductless Heat Pump Retrofits in Multifamily and Small Commercial Buildings | x | Estimates of the savings for the metered sites is based on billing data for two apartment complexes (Oregon & Washington) relying on a variable-base degree day method. Overall energy savings: 4,185 kWh/yr. Heating savings: 1,648 kWh/yr. Cooling savings: 533 kWh/yr
34 | Ductless Mini-Split and Multi-Split Heat Pump units under 65kBtuh | x | Sample calculations based on a 16 SEER mini split system in various climate zones for an assembly building type. Average kW savings per unit: 0.048 kW/ton
36 | Laboratory Testing of Residential, Variable Speed Heat Pump | x | Yearly energy savings based on indoor laboratory testing of an energy model consisting of two systems, one in Boise, ID and one in Seattle, WA. Seattle savings: 1,318 VSHP kWh savings per year. Boise savings: 2,537 VSHP kWh savings per year.
37 | Economic and Environmental Analysis of Residential Heating and Cooling Systems: A Study of Heat Pump Performance in U.S. Cities | x | Field monitoring based on two heat pump technologies located in 11 different cities, covering 5 climate zones. Annual heating site energy savings averaged 11.72 MMBtu. Annual cooling site energy savings averaged 2.5 MMBtu.
Overall Summary |  |  | Savings are calculated many different ways across the studies reviewed. Very little pre and post install billing analysis has been performed. A further complicating facotr is that several studies do not identify the size of the sytems installed, making comparisons difficult. Savings in the Pacific Northwest roughly average 2,602 kWh and 2,489 kWh in the Northeast, but these averages are the result of large deviations. Overall, MMBtu savings average at 11.99. Studies which covered multple climates show an average savings of 3,503 kWh. Most studies focused on electric savings compared with resistance and standard ASHPs. Savings compared with oil heat are calculated for the NEEP and Emira studies, but no oil heat billing analysis is included.

## 2014_Customer Satisfaction
DB# | Reference Study | Customer Satisfaction | Highlights
1 | Bangor Hydro Electric and Maine Public Service Heat Pump Pilot Program | x | Survey of 945 program participants with DHP installations in Maine. Overall, satisfaction with the Program and each of its components is quite high (e.g., participating contractors, response from program staff). On average respondents rated the likelihood that they would recommend the DHP program 9.7 on a 0-10 scale.
5 | Ductless Mini Pilot Study | x | Phone interviews with 11 participants. Focus group attendees were generally satisfied or very satisfied with the system. Only a few participants indicated that they are dissatisfied or not at all satisfied. Attendees were more strongly satisfied with the cooling functions versus the heating functions of the DSHP.
7 | Ductless Heat Pump Engineering Analysis | x | Participant survey of 20 homes. Study evaluted the impact of ductless heat pumps in single family and manufactured homes with forced-air furnaces. Most participants were very satisfied with the sound, electricity bill, comfort, and maitenance of the systems. The rest were either neutral or satisfied.
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | x | Strong consumer acceptance reported
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | x | Participant survey. Participants reported high levels of satisfaction with DHPs (92%)
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Participant survey. Most participants were extremely satisfied with the heating ability. All participants expressed satisfaction with the cooling performance.
21 | Northwest Ductless Heat Pump Initiative (#E12-245 ed., Vol. Market Progress Evaluation Report #2) | x | Participant survey. Participant satisfaction is high; almost 90 percent of surveyed participants have had their overall expectations met and 74 percent reported that their DHPs provide sufficient heating and cooling for their household.
28 | Northwest Ductless Heat Pump Initiative: (#E14-278 ed., Vol. Market Progress Evaluation Report #3) | x | Participant survey. 70% of participants were very satisfied with the sound, 66% with the maitenance, 56% with the comfort, 50% with the electricity bill, 45% appearance. The rest of the participants ranged from somewhat satisfied to not satisfied or "don't know."
Overall Summary |  |  | Interviews and surveys with program participants show general satisfaction with DHP systems: heating, cooling, sound, electric bill, comfort, maitenance. Only a few were either neautril or dissatisfied.

## 2014_Load Shape - Cooling
DB# | Reference Study | Load Shape- Cooling | Highlights
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Field Monitoring of 9 DHPs; Central NH; Load shape focusing on Jun-Aug averages.
Overall Summary |  |  | Cooling season load shape shows a general increase throughout the day, peaking between 1 & 3 pm which is during the NE - ISO target period of 1-5pm during the cooling season.

## 2014_Load Shape - Heating
DB# | Reference Study | Load Shape- Heating | Highlights
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Field Monitoring of 9 DHPs; Central NH; Load shape focusing on a typical January day- DHP load shape & utility load shape vs. O.A. temp.
Overall Summary |  |  | No comprehensive data - NEEP study includes typical winter day usage with peaks at 6AM and 7 PM.

## 2014_Fuel Switching
DB# | Reference Study | Fuel Switching | Highlights
8 | Commonwealth Accelerated Renewable Thermal Strategy | x | Discussion of GHG reduction compared with other fuels
9 | Massachusetts Renewable Heating and Cooling Opportunities and Impacts Study | x | Discussion of GHG reduction compared with other fuels
12 | Energy Efficient Heating Options: Pilot Projects and Relevant Studies | x | Based on an NREL laboratory study on Fujitsu 12RLS and Mitsubishi FE12NA Mini-Split Heat Pump models. Installation costs range from $600 (air sealing) to $10,000 (boiler replacement using ENERGY STAR oil.) Projected annual savings ranging from $300 (air sealing) to $2,786 (solar PV.) Payback period ranging from 2 years (air sealing) to 13 years (geothermal heat pump.)
19 | Northeast/Mid-Atlantic Air-Source Heat Pump Market Strategies Report | x | Simple efficiency calculations based on DHPS in New England homes. COPs: Oil- 80%, LP 90%, Gas 90%, ASHP 2.5, Electricity Resistance 100%. Fuel Cost: Oil- $3.87/gallon, LP- $3.00/gallon, Gas- $1.15/therm, Electricity- $0.15/kWh, Electricity Resistance- $0.15/kWh
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Field Monitoring of 9 DHPs; Central NH. Calculations are weather-normalized estimates. DHP heating savings compared with a natural gas baseline: 21.41 MMBtu & $91.00 per ton of heating. DHP heating savings compared with an oil baseline: 22.19 MMBtu & $465.00 per ton of heating. DHP heating savings compared with an electric resistance baseline: 4,502 MMBtu & $630.00 per ton of heating.
22 | Heat Pumps (Vol. An alternative to oil heat for the Northeast - input for planners and policy-makers) | x | Price forecast scenarios. From highest to lowest levelized cost of heat: Electric resistance heater, oil furnace, biomass pellets, ground source heat pumps, air source heat pumps, natural gas.
26 | Technology Trends (Vol. Cold Climate Heat Pumps / Mini Splits) | x | Market research on energy types. From highest to lowest $/MMBtu: propane, kerosene, fuel oil, pellets, natural gas, DHP electricity, wood.
41 | Emera Maine Heat Pump Pilot Program (Vol. Final Report) | x | Calculated/modelled savings compared with oil heat - Avg annual savings; 150 gallons fuel oil - displaced fuel, not system replacement
Overall Summary |  |  | A variety of studies compare multiple baseline heating scenarios. DHPs are calculated to provide significant montary savings compared with all studied fuels except natural gas and wood. Studies also recognize reduced GHG emissions, assuming elecvtrical generation with natural gas and/or non-biomass renewable sources. Some studies suggest non-SBC funding, such as RGGI, for fuel switching when policy issues restrict fuel switching support with rate-payer funds.

## 2014_SEER Testing
DB# | Reference Study | SEER Testing | Highlights
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | x | HSPF & SEER not well suited to DHPs - modulating systems
32 | Mitsubishi Indoor Unit Brochure | x | Factory Lab testing of Mitsubishi DHPS show SEER ratings ranging from 15-26.
35 | Improved Modeling of Residential Air Conditioners and Heat Pumps for Energy Calculations | x | Comparisons of SEER values obtained from AHRI (2012) and calculated using data from the manufacturer EPTs. The large discrepancies between SEER,CALC and SEER,AHRI for most units evaluated were most significant. The differences ranged from 0 to >3.5 SEER points. In some cases the trend in SEER,CALC did not match the trend in SEER,AHRI values.
Overall Summary |  |  | SEER not an ideal rating protocol for DHPs as it was designed for steady state operation. However, no evidence that SEER ratings are wildly inaccurate.

## 2014_System Sizing
DB# | Reference Study | System Sizing | Highlights
5 | Ductless Mini Pilot Study | x | Contractor assessments from Vermont and NY efficiency program DHP installments. The ideal size and number of indoor air handlers and outdoor condensers were reported by the contractors as contingent upon the heating and cooling loads as well as the layout of the house. Because the indoor and outdoor units have different capacities, the indoor units are chosen based on the heating and cooling loads of the zones and then the outdoor units are matched accordingly. The ductless systems are normally sized to meet the heating loads.
10 | Ductless Heat Pump Impact & Process Evaluation: Billing Analysis Report | x | Discusses difficulty of sizing for both heating and cooling - very small cooling usage - heating operating at 25-35% capacity for most time periods
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | x | Same as study 10
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | x | Systems sized for heating - oversized for cooling. Some systems oversized for both as single units in one room intended to contribute to entire building load.
Overall Summary |  |  | DHPs are typically sized for heating loads. For the climate zones included in the reviewed studies. Systems are typically oversized for cooling, in order to meet heating loads. Systems are also often oversized for heating loads. Because of the modulating nature of DHPs, as well as their part-load performance characteristics, oversizing the systems does not carry the energy penalty experienced with other heating and cooling systems. This may have ramifications for energy codes which require sizing to loads. with no oversizing.