## Benefits Only LCA
Syracuse District Energy
Baseline LCA Calculation
Total buildings square footage | Blended Electric Rate | Gas Utility Rate
| ($/kWh) | ($/therm) |  |  |  | System Efficiency Degredation/year |  | 0.25%
9032610 | 0.085 | 0.57 |  |  |  | General Inflation Rate (%) |  | 3%
[6 empty] | Utility Inflation Rate (%) |  | 5%
[6 empty] | Electric CO₂ Equivalency (kg/kWh) |  | 0.3
25 Year Energy Savings | 25 Year tCO2e Reduction |  |  |  |  | Gas CO₂ Equivalency (ton/MMBtu) |  | 0.0548
5933718.9884 | 98506.2689
25 Year Energy Consumption Comparison (Direct Benefit)
Nat Gas Energy Savings (Therms) | 1120506.4657
Baseline Scenario Electric Energy Savings (kWh) | 11184093.7762
Natural Gas Utility Rate ($/Therm) | 0.57
Electric Utility Rate ($/kWh) | 0.085
| Estimated First Cost | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Total | Average
|  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Gas Cost ($) | 638688.6855 |  |  | 348956.1856 | 776330.089 | 815146.5934 | 855903.9231 | 898699.1193 | 943634.0752 | 990815.779 | 1040356.568 | 1092374.3964 | 1146993.1162 | 1204342.772 | 1264559.9106 | 1327787.9061 | 1394177.3014 | 1463886.1665 | 1537080.4748 | 1613934.4985 | 1694631.2235 | 1779362.7846 | 1868330.9239 | 1961747.4701 | 2059834.8436 | 2162826.5858 | 2270967.915 | 2384516.3108 | 1326054.7723
Electric Cost ($) | 950647.971 |  |  | 519399.3527 | 1155518.5503 | 1213294.4778 | 1273959.2017 | 1337657.1618 | 1404540.0198 | 1474767.0208 | 1548505.3719 | 1625930.6405 | 1707227.1725 | 1792588.5311 | 1882217.9577 | 1976328.8556 | 2075145.2983 | 2178902.5633 | 2287847.6914 | 2402240.076 | 2522352.0798 | 2648469.6838 | 2780893.168 | 2919937.8264 | 3065934.7177 | 3219231.4536 | 3380193.0262 | 3549202.6776 | 1973749.1948
Total Customer Energy Savings ($) | 1589336.6565 |  |  | 868355.5383 | 1931848.6393 | 2028441.0712 | 2129863.1248 | 2236356.281 | 2348174.0951 | 2465582.7998 | 2588861.9398 | 2718305.0368 | 2854220.2887 | 2996931.3031 | 3146777.8683 | 3304116.7617 | 3469322.5998 | 3642788.7297 | 3824928.1662 | 4016174.5745 | 4216983.3033 | 4427832.4684 | 4649224.0918 | 4881685.2964 | 5125769.5613 | 5382058.0393 | 5651160.9413 | 5933718.9884 | 3299803.9671
Operations and Maintenance (Direct Benefit)
| Estimated First Cost | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Total Cost | Average
|  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Avoided Customer O&M - Baseline Scenario | 30000 |  |  | 16390.905 | 33765.2643 | 34778.2222 | 35821.5689 | 36896.216 | 38003.1024 | 39143.1955 | 40317.4914 | 41527.0161 | 42772.8266 | 44056.0114 | 45377.6917 | 46739.0225 | 48141.1932 | 49585.429 | 51072.9918 | 52605.1816 | 54183.337 | 55808.8372 | 57483.1023 | 59207.5953 | 60983.8232 | 62813.3379 | 64697.738 | 1112171.1006 | 46340.4625
Carbon Reduction Social Benefit (Indirect Benefit)
CO₂ Emissions - Electricity(tons) | 3355.2281
CO₂ Emissions - NG(tons) | 6140.3754
Associated Methane Leakage (tons) | 79.5026 | Year 2 2: -0.9426%; Year 3 3: -9.609%
| Estimated First Cost | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Total
|  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Total Ton Reduction |  |  | 9575.1062 | 9098.38 | 8619.2103 | 8137.5879 | 7653.5035 | 7166.9479 | 6677.9116 | 6186.3854 | 5692.3598 | 5195.8254 | 4696.7727 | 4195.1923 | 3691.0747 | 3184.4102 | 2675.1894 | 2163.4025 | 1649.04 | 1132.0922 | 612.5493 | 83.3652 | 83.5736 | 83.7825 | 83.992 | 84.2019 | 84.4124 | 98506.2689
Carbon Reduction Social Benefit | 1382616.2629 |  | 1382616.2629 | 1341479.9502 | 1307664.7931 | 1263649.4579 | 1217845.0183 | 1177878.7264 | 1129079.968 | 1077028.4554 | 1030782.3259 | 977140.6571 | 925892.4612 | 863539.6159 | 807414.5564 | 749352.6197 | 689340.3449 | 619110.5367 | 555136.3072 | 489170.9117 | 421200.6257 | 341797.1537 | 351009.0038 | 360264.777 | 369564.6352 | 370488.5468 | 379856.0129 | 20198303.7239
|  |  |  | -5.24% | -5.559% | -5.918% | -6.325% | -6.789% | -7.323% | -7.945% | -8.679% | -9.556% | -10.63% | -11.96% | -13.66% | -15.91% | -19.03% | -23.66% | -31.19% | -45.66% | -84.82%
Equipment Replacement Cost at the End of Equipment Life (Direct Benefit)
| Total Cost of Recondition | 0: At 10% per Year
Tower Costs - Baseline Scenario | 0 | 0: 0
Boiler Costs - Baseline Scenario | 229881.0449 | 0: 22988.1045
Total Cost - Baseline Scenario | 229881.0449 | 0: 22988.1045
| Estimated First Cost | Year 0 | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Total Cost
|  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Tower Recondition Costs - Baseline Scenario | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boiler Replacement Costs - Baseline Scenario | 22988.1045 |  |  | 12559.8612 | 25873.3141 | 26649.5136 | 27448.999 | 28272.4689 | 29120.643 | 29994.2623 | 30894.0902 | 31820.9129 | 32775.5403 | 33758.8065 | 34771.5707 | 35814.7178 | 36889.1593 | 37995.8341 | 39135.7091 | 40309.7804 | 41519.0738 | 42764.646 | 44047.5854 | 45369.0129 | 46730.0833 | 48131.9858 | 49575.9454 | 852223.5159
Total Avoided Customer Equipment Recondition | 22988.1045 |  |  | 12559.8612 | 25873.3141 | 26649.5136 | 27448.999 | 28272.4689 | 29120.643 | 29994.2623 | 30894.0902 | 31820.9129 | 32775.5403 | 33758.8065 | 34771.5707 | 35814.7178 | 36889.1593 | 37995.8341 | 39135.7091 | 40309.7804 | 41519.0738 | 42764.646 | 44047.5854 | 45369.0129 | 46730.0833 | 48131.9858 | 49575.9454 | 852223.5159
Baseline Cashflow | 3024941.0238 | 0 | 1382616.2629 | 2238786.2547 | 3299152.0108 | 3353518.265 | 3410978.711 | 3479403.6923 | 3544377.8085 | 3611748.713 | 3690855.8472 | 3768793.6229 | 3855661.1167 | 3938285.7368 | 4034341.687 | 4136023.1216 | 4243693.2972 | 4349480.5295 | 4470273.1744 | 4598260.4483 | 4733886.3398 | 4868203.1053 | 5101763.7833 | 5346526.6817 | 5603048.103 | 5863491.9098 | 6145290.6376 | 103068460.8603
Discount Rate | 7%
Net Present Value Life Cycle Cost | 42604043.1877

## Baseline LCA
Syracuse District Energy
Baseline LCA Calculation
Total buildings square footage | Blended Electric Rate | Gas Utility Rate
| ($/kWh) | ($/therm) |  | System Efficiency Degredation/year |  | 0.25%
11904002 | 0.085 | 0.57 |  | General Inflation Rate (%) |  | 3%
|  |  |  | Utility Inflation Rate (%) |  | 5%
|  |  |  | Electric CO₂ Equivalency (kg/kWh) |  | 0.3
25 Year Energy Cost | 25 Year tCO2e |  |  | Gas CO₂ Equivalency (ton/MMBtu) |  | 0.0548
239794499.4223 | 200626.8503
25 Year Energy Consumption Comparison (system efficiency deteriorates by 0.25% every year)
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Total | Average
Baseline Scenario Nat Gas Energy Consumption (Therms) | 1120506.4657 | 1123307.7319 | 1126116.0012 | 1128931.2912 | 1131753.6195 | 1134583.0035 | 1137419.461 | 1140263.0097 | 1143113.6672 | 1145971.4514 | 1148836.38 | 1151708.471 | 1154587.7421 | 1157474.2115 | 1160367.897 | 1163268.8168 | 1166176.9888 | 1169092.4313 | 1172015.1623 | 1174945.2003 | 1177882.5633 | 1180827.2697 | 1183779.3378 | 1186738.7862 | 1189705.6331 | 28869372.5935 | 1154774.9037
Baseline Scenario Electric Energy Consumption (kWh) | 44736375.1047 | 44848216.0425 | 44960336.5826 | 45072737.4241 | 45185419.2676 | 45298382.8158 | 45411628.7728 | 45525157.8448 | 45638970.7394 | 45753068.1662 | 45867450.8366 | 45982119.4637 | 46097074.7624 | 46212317.4493 | 46327848.2429 | 46443667.8635 | 46559777.0332 | 46676176.4758 | 46792866.917 | 46909849.0842 | 47027123.707 | 47144691.5162 | 47262553.245 | 47380709.6281 | 47499161.4022 | 1152613680.3877 | 46104547.2155
Natural Gas Utility Rate ($/Therm) | 0.57 | 0.5985 | 0.6156 | 0.6213 | 0.6498 | 0.6897 | 0.7239 | 0.7638 | 0.8094 | 0.855 | 0.8949 | 0.9405 | 0.9918 | 1.0488 | 1.1001 | 1.1571 | 1.2141 | 1.2711 | 1.3338 | 1.4022 | 1.4763 | 1.5447 | 1.6245 | 1.7043 | 1.7898 |  | 1.0556
Electric Utility Rate ($/kWh) | 0.085 | 0.09095 | 0.09605 | 0.102 | 0.10965 | 0.11645 | 0.1241 | 0.1309 | 0.13855 | 0.1445 | 0.15215 | 0.1598 | 0.17 | 0.1802 | 0.1904 | 0.1989 | 0.20825 | 0.21845 | 0.22865 | 0.2414 | 0.25415 | 0.2703 | 0.28305 | 0.29835 | 0.31365 |  | 0.18023
Gas Cost ($) | 638688.6855 | 672299.6775 | 693237.0104 | 701405.0112 | 735413.5019 | 782521.8975 | 823377.9478 | 870932.8868 | 925236.2022 | 979805.5909 | 1028093.6765 | 1083181.8169 | 1145120.1226 | 1213958.953 | 1276520.7235 | 1346018.3479 | 1415855.4821 | 1486033.3894 | 1563233.8235 | 1647508.1598 | 1738908.0281 | 1824023.8834 | 1923049.5343 | 2022558.9133 | 2129335.1422 | 30666318.4085 | 1226652.7363
Electric Cost ($) | 3802591.8839 | 4078945.2491 | 4318440.3288 | 4597419.2173 | 4954581.2227 | 5274996.6789 | 5635583.1307 | 5959243.1619 | 6323279.3959 | 6611318.35 | 6978732.6448 | 7347942.6903 | 7836502.7096 | 8327459.6044 | 8820822.3055 | 9237645.5381 | 9696073.5672 | 10196410.7511 | 10699189.0206 | 11324037.5689 | 11951943.4901 | 12743210.1168 | 13377665.696 | 14136034.7176 | 14898111.9738 | 209128181.0138 | 8365127.2406
Total Cost ($) | 4441280.5694 | 4751244.9266 | 5011677.3391 | 5298824.2285 | 5689994.7246 | 6057518.5764 | 6458961.0785 | 6830176.0487 | 7248515.5982 | 7591123.9409 | 8006826.3213 | 8431124.5072 | 8981622.8322 | 9541418.5574 | 10097343.029 | 10583663.8859 | 11111929.0493 | 11682444.1405 | 12262422.8441 | 12971545.7287 | 13690851.5183 | 14567234.0003 | 15300715.2303 | 16158593.6308 | 17027447.116 | 239794499.4223 | 9591779.9769
Natural Gas Rate Escalation Factor | 1 | 1.05 | 1.08 | 1.09 | 1.14 | 1.21 | 1.27 | 1.34 | 1.42 | 1.5 | 1.57 | 1.65 | 1.74 | 1.84 | 1.93 | 2.03 | 2.13 | 2.23 | 2.34 | 2.46 | 2.59 | 2.71 | 2.85 | 2.99 | 3.14
Electricity Rate Escalation Factor | 1 | 1.07 | 1.13 | 1.2 | 1.29 | 1.37 | 1.46 | 1.54 | 1.63 | 1.7 | 1.79 | 1.88 | 2 | 2.12 | 2.24 | 2.34 | 2.45 | 2.57 | 2.69 | 2.84 | 2.99 | 3.18 | 3.33 | 3.51 | 3.69
| 0.57 | 0.5985 | 0.62842 | 0.65985 | 0.69284 | 0.72748 | 0.76385 | 0.80205 | 0.84215 | 0.88426 | 0.92847 | 0.97489 | 1.0236 | 1.0748 | 1.1286 | 1.185 | 1.2442 | 1.3065 | 1.3718 | 1.4404 | 1.5124 | 1.588 | 1.6674 | 1.7508 | 1.8383
| 638688.6855 | 670623.1197 | 704154.2757 | 739361.9895 | 776330.089 | 815146.5934 | 855903.9231 | 898699.1193 | 943634.0752 | 990815.779 | 1040356.568 | 1092374.3964 | 1146993.1162 | 1204342.772 | 1264559.9106 | 1327787.9061 | 1394177.3014 | 1463886.1665 | 1537080.4748 | 1613934.4985 | 1694631.2235 | 1779362.7846 | 1868330.9239 | 1961747.4701 | 2059834.8436
Operations and Maintenance
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Total Cost | Average
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
O&M - Baseline Scenario | 30000 | 30900 | 31827 | 32781.81 | 33765.2643 | 34778.2222 | 35821.5689 | 36896.216 | 38003.1024 | 39143.1955 | 40317.4914 | 41527.0161 | 42772.8266 | 44056.0114 | 45377.6917 | 46739.0225 | 48141.1932 | 49585.429 | 51072.9918 | 52605.1816 | 54183.337 | 55808.8372 | 57483.1023 | 59207.5953 | 60983.8232 | 1093777.9297 | 43751.1172
Carbon Emissions
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
CO₂ Emissions - Electricity(tons) | 13420.9125 | 12746.3351 | 12068.3009 | 11386.7968 | 10701.8098 | 10013.3267 | 9321.3343 | 8625.8194 | 7926.7686 | 7224.1687 | 6518.0062 | 5808.2677 | 5094.9398 | 4378.009 | 3657.4617 | 2933.2843 | 2205.4631 | 1473.9845 | 738.8347 | 5.208e-12 | 0 | 0 | 0 | 0 | 0
CO₂ Emissions - NG(tons) | 6140.3754 | 5831.7408 | 5521.5246 | 5209.7208 | 4896.3236 | 4581.3267 | 4264.7243 | 3946.5103 | 3626.6785 | 3305.2229 | 2982.1374 | 2657.4158 | 2331.0519 | 2003.0396 | 1673.3727 | 1342.0449 | 1009.05 | 674.3817 | 338.0338 | 3.2611e-12 | 0 | 0 | 0 | 0 | 0
Associated Methane Leakage (tons) | 79.5026 | 79.7014 | 79.9006 | 80.1004 | 80.3006 | 80.5014 | 80.7026 | 80.9044 | 81.1066 | 81.3094 | 81.5127 | 81.7165 | 81.9207 | 82.1256 | 82.3309 | 82.5367 | 82.743 | 82.9499 | 83.1573 | 83.3652 | 83.5736 | 83.7825 | 83.992 | 84.2019 | 84.4124
Total | 19640.7906 | 18657.7772 | 17669.726 | 16676.618 | 15678.434 | 14675.1548 | 13666.7613 | 12653.234 | 11634.5538 | 10610.701 | 9581.6562 | 8547.3999 | 7507.9125 | 6463.1742 | 5413.1652 | 4357.8658 | 3297.2561 | 2231.3162 | 1160.0259 | 83.3652 | 83.5736 | 83.7825 | 83.992 | 84.2019 | 84.4124
Social Cost of Carbon | 2620695.4439 | 2526845.2092 | 2448029.7781 | 2356645.3114 | 2253061.0479 | 2161453.8371 | 2051608.1241 | 1943586.1774 | 1838920.7085 | 1718978.6167 | 1603914.293 | 1474589.5639 | 1349405.5226 | 1220183.119 | 1086894.4356 | 941257.7501 | 799731.5775 | 654054.5051 | 504198.0696 | 341797.1537 | 351009.0038 | 360264.777 | 369564.6352 | 370488.5468 | 379856.0129
Equipment Replacement Cost at the End of Equipment Life
| Total Cost of Recondition | At 10% per Year
Tower Costs - Baseline Scenario | Year 1: 0; Year 2: 0
Boiler Costs - Baseline Scenario | Year 1: 230000; Year 2: 23000
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Total Cost
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Tower Recondition Costs - Baseline Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Boiler Replacement Costs - Baseline Scenario | 23000 | 23690 | 24400.7 | 25132.721 | 25886.7026 | 26663.3037 | 27463.2028 | 28287.0989 | 29135.7119 | 30009.7832 | 30910.0767 | 31837.379 | 32792.5004 | 33776.2754 | 34789.5637 | 35833.2506 | 36908.2481 | 38015.4955 | 39155.9604 | 40330.6392 | 41540.5584 | 42786.7751 | 44070.3784 | 45392.4898 | 46754.2644 | 838563.0794
| 23000 | 23690 | 24400.7 | 25132.721 | 25886.7026 | 26663.3037 | 27463.2028 | 28287.0989 | 29135.7119 | 30009.7832 | 30910.0767 | 31837.379 | 32792.5004 | 33776.2754 | 34789.5637 | 35833.2506 | 36908.2481 | 38015.4955 | 39155.9604 | 40330.6392 | 41540.5584 | 42786.7751 | 44070.3784 | 45392.4898 | 46754.2644 | 838563.0794
Baseline Cashflow | 4494280.5694 | 4805834.9266 | 5067905.0391 | 5356738.7595 | 5749646.6916 | 6118960.1024 | 6522245.8503 | 6895359.3635 | 7315654.4125 | 7660276.9197 | 8078053.8894 | 8504488.9024 | 9057188.1593 | 9619250.8442 | 10177510.2844 | 10666236.159 | 11196978.4905 | 11770045.065 | 12352651.7963 | 13064481.5495 | 13786575.4137 | 14665829.6126 | 15402268.711 | 16263193.7159 | 17135185.2036 | 241726840.4314
Discount Rate | bar: 230000 Year 1
Initial OpEx- Year 1 | 230000 Year 1: 4494280.5694
Net Present Value Life Cycle Cost | 230000 Year 1: 99747660.1531

## DES LCA
Syracuse District Energy
DES LCA Calculation
Total buildings square footage | Blended Electric Rate | Gas Utility Rate | Central Plant Electric Rate |  | Cooling System Improvement |  | 25%
| ($/kWh) | ($/therm) | ($/kWh) |  | System Efficiency Degredation/year |  | 0.25%
9032610 | 0.085 | 0.57 | 0.146 |  | General Inflation Rate (%) |  | 3%
[5 empty] | Electric CO₂ Equivalency (kg/kWh) |  | 0.3
[5 empty] | Gas CO₂ Equivalency (ton/MMBtu) |  | 0.0548
25 Year Energy Cost | 25 Year tCO2e
156846135.7604 | 102120.5814
25 Year Proposed Energy Consumption (system efficiency deteriorates by 0.25% every year)
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Total | Average
DES Scenario Nat Gas Energy Consumption (Therms) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DES Scenario Electric Energy Consumption (kWh) | 33552281.3286 | 33636162.0319 | 33720252.437 | 33804553.068 | 33889064.4507 | 33973787.1118 | 34058721.5796 | 34143868.3836 | 34229228.0545 | 34314801.1247 | 34400588.1275 | 34486589.5978 | 34572806.0718 | 34659238.087 | 34745886.1822 | 34832750.8976 | 34919832.7749 | 35007132.3568 | 35094650.1877 | 35182386.8132 | 35270342.7802 | 35358518.6372 | 35446914.9338 | 35535532.2211 | 35624371.0517 | 864460260.2908 | 34578410.4116
DES Plant Electric Energy Consumption (kWh) | 1409939.1633 | 1413464.0112 | 1416997.6712 | 1420540.1654 | 1424091.5158 | 1427651.7446 | 1431220.8739 | 1434798.9261 | 1438385.9234 | 1441981.8882 | 1445586.843 | 1449200.8101 | 1452823.8121 | 1456455.8716 | 1460097.0113 | 1463747.2538 | 1467406.622 | 1471075.1385 | 1474752.8264 | 1478439.7084 | 1482135.8077 | 1485841.1472 | 1489555.7501 | 1493279.6395 | 1497012.8386 | 1500755.3707
DES Energy Served (MMBTU)
DES Rate ($/MMBTU)
Natural Gas Utility Rate ($/Therm) | 0.57 | 0.5985 | 0.6156 | 0.6213 | 0.6498 | 0.6897 | 0.7239 | 0.7638 | 0.8094 | 0.855 | 0.8949 | 0.9405 | 0.9918 | 1.0488 | 1.1001 | 1.1571 | 1.2141 | 1.2711 | 1.3338 | 1.4022 | 1.4763 | 1.5447 | 1.6245 | 1.7043 | 1.7898 |  | 1.0556
Electric Utility Rate ($/kWh) | 0.085 | 0.09095 | 0.09605 | 0.102 | 0.10965 | 0.11645 | 0.1241 | 0.1309 | 0.13855 | 0.1445 | 0.15215 | 0.1598 | 0.17 | 0.1802 | 0.1904 | 0.1989 | 0.20825 | 0.21845 | 0.22865 | 0.2414 | 0.25415 | 0.2703 | 0.28305 | 0.29835 | 0.31365 |  | 0.18023
Gas Cost ($) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Electric Cost ($) | 2851943.9129 | 3059208.9368 | 3238830.2466 | 3448064.4129 | 3715935.917 | 3956247.5092 | 4226687.348 | 4469432.3714 | 4742459.547 | 4958488.7625 | 5234049.4836 | 5510957.0177 | 5877377.0322 | 6245594.7033 | 6615616.7291 | 6928234.1535 | 7272055.1754 | 7647308.0633 | 8024391.7654 | 8493028.1767 | 8963957.6176 | 9557407.5876 | 10033249.272 | 10602026.0382 | 11173583.9804 | 156846135.7604 | 6273845.4304
Total Cost ($) | 2851943.9129 | 3059208.9368 | 3238830.2466 | 3448064.4129 | 3715935.917 | 3956247.5092 | 4226687.348 | 4469432.3714 | 4742459.547 | 4958488.7625 | 5234049.4836 | 5510957.0177 | 5877377.0322 | 6245594.7033 | 6615616.7291 | 6928234.1535 | 7272055.1754 | 7647308.0633 | 8024391.7654 | 8493028.1767 | 8963957.6176 | 9557407.5876 | 10033249.272 | 10602026.0382 | 11173583.9804 | 156846135.7604 | 6273845.4304
Natural Gas Rate Escalation Factor | 1 | 1.05 | 1.08 | 1.09 | 1.14 | 1.21 | 1.27 | 1.34 | 1.42 | 1.5 | 1.57 | 1.65 | 1.74 | 1.84 | 1.93 | 2.03 | 2.13 | 2.23 | 2.34 | 2.46 | 2.59 | 2.71 | 2.85 | 2.99 | 3.14
Electricity Rate Escalation Factor | 1 | 1.07 | 1.13 | 1.2 | 1.29 | 1.37 | 1.46 | 1.54 | 1.63 | 1.7 | 1.79 | 1.88 | 2 | 2.12 | 2.24 | 2.34 | 2.45 | 2.57 | 2.69 | 2.84 | 2.99 | 3.18 | 3.33 | 3.51 | 3.69
Operations and Maintenance
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Total Cost | Average
Year | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Central Plant O&M | 319000 | 328570 | 338427.1 | 348579.913 | 359037.3104 | 369808.4297 | 380902.6826 | 392329.7631 | 404099.656 | 416222.6456 | 428709.325 | 441570.6048 | 454817.7229 | 468462.2546 | 482516.1222 | 496991.6059 | 511901.3541 | 527258.3947 | 543076.1465 | 559368.4309 | 576149.4839 | 593433.9684 | 611236.9874 | 629574.097 | 648461.32 | 11630505.3187 | 465220.2127
Carbon Emissions
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
CO₂ Emissions - Electricity(tons) | 10065.6844 | 9559.3972 | 9050.5158 | 8539.0301 | 8024.9305 | 7508.207 | 6988.8497 | 6466.8487 | 5942.194 | 5414.8756 | 4884.8835 | 4352.2076 | 3816.8378 | 3278.7639 | 2737.9758 | 2194.4633 | 1648.2161 | 1099.224 | 547.4765 | 0 | 0 | 0 | 0 | 0 | 0
CO₂ Emissions - NG(tons) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Associated Methane Leakage (tons) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 10065.6844 | 9559.3972 | 9050.5158 | 8539.0301 | 8024.9305 | 7508.207 | 6988.8497 | 6466.8487 | 5942.194 | 5414.8756 | 4884.8835 | 4352.2076 | 3816.8378 | 3278.7639 | 2737.9758 | 2194.4633 | 1648.2161 | 1099.224 | 547.4765 | 0 | 0 | 0 | 0 | 0 | 0
Societal Cost of Carbon Reduction | 1238079.181 | 1185365.2589 | 1140364.985 | 1092995.8534 | 1035216.0296 | 983575.1107 | 922528.1562 | 866557.722 | 808138.3827 | 741837.9596 | 678021.8318 | 611049.9481 | 541990.9662 | 470830.4993 | 397554.0907 | 322147.2134 | 244595.2703 | 164883.5934 | 82997.4439 | 0 | 0 | 0 | 0 | 0 | 0 | 13528729.4962
Cashflow | 4409023.094 | 4573144.1957 | 4717622.3316 | 4889640.1794 | 5110189.257 | 5309631.0496 | 5530118.1868 | 5728319.8565 | 5954697.5856 | 6116549.3677 | 6340780.6404 | 6563577.5705 | 6874185.7213 | 7184887.4572 | 7495686.942 | 7747372.9728 | 8028551.7997 | 8339450.0514 | 8650465.3559 | 9052396.6076 | 9540107.1015 | 10150841.556 | 10644486.2594 | 11231600.1352 | 11822045.3003 | 168476641.079
Discount Rate | bar: Year 1
Net Present Value Life Cycle Cost (w/o Emissions) | Year 1: 79055902.5169
Net Present Value Life Cycle Cost | Year 1: 79055902.5169
Initial Capital Investent - Year 1 | Year 1: 70000000
Savings | 85257.4754 | 232690.7309 | 350282.7075 | 467098.5801 | 639457.4346 | 809329.0528 | 992127.6634 | 1167039.507 | 1360956.8269 | 1543727.5519 | 1737273.249 | 1940911.3318 | 2183002.4379 | 2434363.387 | 2681823.3424 | 2918863.1862 | 3168426.6908 | 3430595.0136 | 3702186.4405 | 4012084.9419 | 4246468.3122 | 4514988.0566 | 4757782.4516 | 5031593.5807 | 5313139.9033 | 73250199.3524

## Fuel Indices
Syracuse District Energy
Fuel Indices
|  | E(0.09) G(0.7) | E(0.10) G(0.8) | E(0.11) G(0.9) | E(0.12) G(1.0) |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Discount | 7% | 1 | 2 | 2 | 4 | Electricity | 1 | 1.07 | 1.13 | 1.2 | 1.29 | 1.37 | 1.46 | 1.54 | 1.63 | 1.7 | 1.79 | 1.88 | 2 | 2.12 | 2.24 | 2.34 | 2.45 | 2.57 | 2.69 | 2.84 | 2.99 | 3.18 | 3.33 | 3.51 | 3.69
Rate | 6% | 3 | 4 | 3 | 5 | Natural Gas | 1 | 1.05 | 1.08 | 1.09 | 1.14 | 1.21 | 1.27 | 1.34 | 1.42 | 1.5 | 1.57 | 1.65 | 1.74 | 1.84 | 1.93 | 2.03 | 2.13 | 2.23 | 2.34 | 2.46 | 2.59 | 2.71 | 2.85 | 2.99 | 3.14
| 5% | 5 | 6 | 5 | 8
| 4% | 6 | 8 | 7 | 10
| 3% | 7 | 9 | 11 | 12

## Cost of Carbon
Syracuse District Energy
Cost of Carbon
https://www.dec.ny.gov/docs/administration_pdf/vocguidrev.pdf
[5 empty] | Year |  | Total CO2 | Annual Benefit | Benefit Rate | Methane
[7 empty] | (tons) | ($) | ($)
[5 empty] | 2020 | 0
[5 empty] | 2021 | 1 | 5000 | 615000 | 123 | 2700
[5 empty] | 2022 | 2 | 10000 | 1240000 | 124 | 2800
[5 empty] | 2023 | 3 | 15000 | 1890000 | 126 | 2900
[5 empty] | 2024 | 4 | 20000 | 2560000 | 128 | 2900
[5 empty] | 2025 | 5 | 25000 | 3225000 | 129 | 3000
[5 empty] | 2026 | 6 | 30000 | 3930000 | 131 | 3100
[5 empty] | 2027 | 7 | 35000 | 4620000 | 132 | 3200
[5 empty] | 2028 | 8 | 40000 | 5360000 | 134 | 3200
[5 empty] | 2029 | 9 | 45000 | 6120000 | 136 | 3300
[5 empty] | 2030 | 10 | 50000 | 6850000 | 137 | 3400
[5 empty] | 2031 | 11 |  |  | 138.8 | 3500
[5 empty] | 2032 | 12 |  |  | 140.4 | 3500
[5 empty] | 2033 | 13 |  |  | 142 | 3600 | Benefit Rate Regression
[5 empty] | 2034 | 14 |  |  | 143.6 | 3700 | X | Const
[5 empty] | 2035 | 15 |  |  | 145.2 | 3800 | 1.6 | 121.2
[5 empty] | 2036 | 16 |  |  | 146.8 | 3800
[5 empty] | 2037 | 17 |  |  | 148.4 | 3900
[5 empty] | 2038 | 18 |  |  | 150 | 4000
[5 empty] | 2039 | 19 |  |  | 151.6 | 4100
[5 empty] | 2040 | 20 |  |  | 153.2 | 4100
[5 empty] | 2041 | 21 |  |  | 154.8 | 4200
[5 empty] | 2042 | 22 |  |  | 156.4 | 4300
[5 empty] | 2043 | 23 |  |  | 158 | 4400
[5 empty] | 2044 | 24 |  |  | 159.6 | 4400
[5 empty] | 2045 | 25 |  |  | 161.2 | 4500
[5 empty] | Year | kg/kWh | tons/MMBtu
|  |  |  | 1 | 2021 | 0.3 | 0.0548
|  |  |  | 2 | 2022 | 0.28421 | 0.051916
|  |  |  | 3 | 2023 | 0.26842 | 0.049032
|  |  |  | 4 | 2024 | 0.25263 | 0.046147
|  |  |  | 5 | 2025 | 0.23684 | 0.043263
|  |  |  | 6 | 2026 | 0.22105 | 0.040379
|  |  |  | 7 | 2027 | 0.20526 | 0.037495
|  |  |  | 8 | 2028 | 0.18947 | 0.034611
|  |  |  | 9 | 2029 | 0.17368 | 0.031726
|  |  |  | 10 | 2030 | 0.15789 | 0.028842
|  |  |  | 11 | 2031 | 0.14211 | 0.025958
|  |  |  | 12 | 2032 | 0.12632 | 0.023074
|  |  |  | 13 | 2033 | 0.11053 | 0.020189
|  |  |  | 14 | 2034 | 0.094737 | 0.017305
|  |  |  | 15 | 2035 | 0.078947 | 0.014421
|  | Regression - kWh |  | 16 | 2036 | 0.063158 | 0.011537
|  | X | Const | 17 | 2037 | 0.047368 | 0.0086526
|  | -0.015789 | 0.31579 | 18 | 2038 | 0.031579 | 0.0057684
|  |  |  | 19 | 2039 | 0.015789 | 0.0028842
|  | Regression - MMBtu |  |  | 2040 | 0 | 0
|  | X | Const |  | 2041 | 0 | 0
|  | -0.0028842 | 0.057684 |  | 2042 | 0 | 0
[5 empty] | 2043 | 0 | 0
[5 empty] | 2044 | 0 | 0
[5 empty] | 2045 | 0 | 0

## Sizing
Syracuse District Energy
Sizing Estimates | [7 empty] | 40 Btu/sf | sizing of heating system
|  |  | Heating | Cooling
| Building | Sq-ft | MMBtu/yr | MMBtu/yr | Htg EUI | Clg EUI |  | MMBtu/hr | Peak Htg (MBH) | Boilers | Pumps | Clg Tons | Chiller | Tower
| Phase A | 0 | 0 | 4226.6592 | #DIV/0! | #DIV/0! | A | 2.3881 | 2388.0637 |  |  | 309.742
| Barclay Damon | 330000 | 1460.7473 | 2177.3699 | 4.4265 | 6.5981 | B | 1.2302 | 1230.2146 |  |  | 159.5641
| State Tower | 1200000 | 5311.8082 | 15369.6698 | 4.4265 | 12.8081 | A | 8.6839 | 8683.8679 |  |  | 1126.3346
| Courtyard Marriott | 40000 | 1420.059 | 632.77 | 35.5015 | 15.8193 | A | 0.98565 | 985.6521 |  |  | 70.5436
| US Social Security Admin | 287000 | 1270.4075 | 3675.9127 | 4.4265 | 12.8081 | A | 2.0769 | 2076.8917 |  |  | 269.3817
| M&T Bank | 365000 | 1615.675 | 4674.9412 | 4.4265 | 12.8081 | A | 2.6413 | 2641.3431 |  |  | 342.5934
| State Office Building | 360000 | 1593.5425 | 4610.9009 | 4.4265 | 12.8081 | A | 2.6052 | 2605.1604 |  |  | 337.9004
| SU-Warehouse | 72000 | 1054.1906 | 1610.7961 | 14.6415 | 22.3722 | A | 0.94721 | 947.2056 |  |  | 148.44
| 300 S State St | 252910 | 1119.5078 | 3239.286 | 4.4265 | 12.8081 | A | 1.8302 | 1830.1975 |  |  | 237.3844
| Key Bank Building | 132000 | 584.2989 | 1690.6637 | 4.4265 | 12.8081 | A | 0.95523 | 955.2255 |  |  | 123.8968
| 100 East Washington St | 50000 | 1189.2121 | 373.0119 | 23.7842 | 7.4602 | A | 1.2263 | 1226.321 |  |  | 82.6823
| Ramboll | 137000 | 606.4314 | 1754.704 | 4.4265 | 12.8081 | A | 0.99141 | 991.4083 |  |  | 128.5899
| City Hall | 84555 | 1238.0151 | 1891.6787 | 14.6415 | 22.3722 | A | 1.1124 | 1112.3746 |  |  | 174.3242
| 1 Lincoln Center | 367500 | 1626.7413 | 4706.9614 | 4.4265 | 12.8081 | A | 2.6594 | 2659.4345 |  |  | 344.94
| SUNY Oswego MetroCenter | 185530 | 821.2498 | 2376.279 | 4.4265 | 12.8081 | A | 1.3426 | 1342.5983 |  |  | 174.1407
| 217 Montgomery St | 50000 | 732.0768 | 1118.6084 | 14.6415 | 22.3722 | A | 0.65778 | 657.7817 |  |  | 103.0833
| City Hall Commons | 52957 | 775.3718 | 1184.7629 | 14.6415 | 22.3722 | A | 0.69668 | 696.6829 |  |  | 109.1797
| Salinas Place | 50000 | 903.4281 | 553.5229 | 18.0686 | 11.0705 | A | 0.74826 | 748.2566 |  |  | 74.8784
| SU-Peck Hall | 25920 | 379.5086 | 8365.929 | 14.6415 | 322.7596 | B | 4.7268 | 4726.7523 |  |  | 613.0799
| Phase B | 0 | 0 | 32230.0951 | #DIV/0! | #DIV/0! | B | 18.21 | 18210.0131 |  |  | 2361.9162
| Atrium | 170000 | 752.5062 | 11389.8602 | 4.4265 | 66.9992 | B | 17.7417 | 17741.7384 |  |  | 1269.7841
| AXA Towers | 653177 | 2891.2924 | 795.3306 | 4.4265 | 1.2176 | B | 0.46768 | 467.6828 |  |  | 73.2922
| Hotel Syracuse | 720000 | 25561.0628 | 485.0122 | 35.5015 | 0.67363 | B | 1.5931 | 1593.0979 |  |  | 107.3384
| Tech Garden | 35550 | 520.5066 | 2305.4505 | 14.6415 | 64.8509 | B | 1.3026 | 1302.5802 |  |  | 168.9502
| Bank of America | 45000 | 1336.9322 | 6547.4793 | 29.7096 | 145.4995 | B | 3.6993 | 3699.3277 |  |  | 479.8185
| Clinton Exchange | 180000 | 796.7712 | 2292.6424 | 4.4265 | 12.7369 | B | 1.2953 | 1295.3436 |  |  | 168.0116
| National Grid | 511200 | 2262.8303 | 2804.9647 | 4.4265 | 5.487 | B | 1.5848 | 1584.8059 |  |  | 205.5561
| Post Standard | 179000 | 792.3447 | 1536.967 | 4.4265 | 8.5864 | B | 0.86839 | 868.3868 |  |  | 112.6335
| Galleries of Syracuse | 219000 | 969.405 | 2147.2136 | 4.4265 | 9.8046 | B | 1.2626 | 1262.6382 |  |  | 197.8726
| 100 Clinton Sq | 120000 | 531.1808 | 0 | 4.4265 | 0 | B | 13.4892 | 13489.1654 |  |  | 451.049
| City of Syr Criminal Court House | 95977 | 1405.2507 | 667.6356 | 14.6415 | 6.9562 | B | 1.04 | 1039.9616 |  |  | 74.4305
| 550 Harrison Building | 252000 | 9975.473 | 910.5472 | 39.5852 | 3.6133 | B | 0.53543 | 535.4343 |  |  | 83.9098
| Jefferson Clinton Hotel | 42204 | 1498.3043 | 1336.7057 | 35.5015 | 31.6725 | B | 4.6146 | 4614.6282 |  |  | 307.4038
| Sky Armory | 40700 | 595.9105 | 894.8867 | 14.6415 | 21.9874 | B | 0.52623 | 526.2253 |  |  | 82.4667
| Clinton Plaza | 254690 | 5051.5213 | 820.7006 | 19.834 | 3.2224 | B | 0.4826 | 482.6013 |  |  | 75.6302
| MOST | 40000 | 585.6614 | 579.8866 | 14.6415 | 14.4972 | A | 0.34099 | 340.994 |  |  | 53.4384
| 600 Montgomery St | 36684 | 537.1101 | 3663.1241 | 14.6415 | 99.8562 | C | 4.4689 | 4468.9339 |  |  | 453.6785
| Medical Office Bldg | 25056 | 991.847 | 1757.1306 | 39.5852 | 70.1281 | C | 3.2375 | 3237.5143 |  |  | 268.2646
| Phase C | 0 | 0 | 402.0669 | #DIV/0! | #DIV/0! | C | 1.3212 | 1321.204 |  |  | 89.0471
| Parcel 1 | 180000 | 4132.0969 | 1610.703 | 22.9561 | 8.9484 | C | 2.9677 | 2967.7215 |  |  | 245.9092
| Parcel 2 | 120000 | 2962.4298 | 268.0446 | 24.6869 | 2.2337 | C | 0.8808 | 880.8027 |  |  | 59.3647
| Parcel 3 | 45000 | 1188.7981 | 1180.8818 | 26.4177 | 26.2418 | C | 4.0767 | 4076.6867 |  |  | 271.5688
| Parcel 4 | 110000 | 2715.5607 | 4685.6815 | 24.6869 | 42.5971 | C | 8.6334 | 8633.3715 |  |  | 715.3722
| Parcel 5 | 30000 | 792.5321 | 629.8036 | 26.4177 | 20.9935 | C | 2.1742 | 2174.2329 |  |  | 144.8367
| Parcel 6 | 225000 | 4462.6498 | 536.0892 | 19.834 | 2.3826 | C | 1.7616 | 1761.6054 |  |  | 118.7295
| Parcel 7 | 320000 | 7899.8129 | 839.7382 | 24.6869 | 2.6242 | C | 2.899 | 2898.9772 |  |  | 193.1156
| Parcel 8 | 120000 | 2380.0799 | 3953.5438 | 19.834 | 32.9462 | C | 7.2844 | 7284.4072 |  |  | 603.5953
| Parcel 9 | 60000 | 1585.0642 | 1133.8988 | 26.4177 | 18.8983 | C | 2.6418 | 2641.7508 |  |  | 211.4946
| Parcel 10 | 160000 | 3173.4399 | 0 | 19.834 | 0 | B | 1.3412 | 1341.2084 |  |  | 44.8472
|  | 9032610 | 112050.6466 | 152640.5119
| A | 3726452 | 22447.6772 | 54271.0153
| B | 4034418 | 59954.9878 | 77708.7903
| C | 1271740 | 29647.9816 | 20660.7062
| Barclay Damon | 330000 | 973.8315 | 4226.6592 | 2.951 | 12.8081 |  | 2.3881 | 2388.0637 |  |  | 309.742
| One Clinton Square | 45000 | 1876.1928 | 485.0122 | 41.6932 | 10.778 |  | 1.5931 | 1593.0979 |  |  | 107.3384
| Atrium | 170000 | 501.6708 | 2177.3699 | 2.951 | 12.8081 |  | 1.2302 | 1230.2146 |  |  | 159.5641
| State Tower | 1200000 | 3541.2055 | 15369.6698 | 2.951 | 12.8081 |  | 8.6839 | 8683.8679 |  |  | 1126.3346
| Courtyard Marriott | 40000 | 1420.059 | 632.77 | 35.5015 | 15.8193 |  | 0.98565 | 985.6521 |  |  | 70.5436
| US Social Security Admin | 287000 | 846.9383 | 3675.9127 | 2.951 | 12.8081 |  | 2.0769 | 2076.8917 |  |  | 269.3817
| M&T Bank | 365000 | 1077.1167 | 4674.9412 | 2.951 | 12.8081 |  | 2.6413 | 2641.3431 |  |  | 342.5934
| State Office Building | 360000 | 1062.3616 | 4610.9009 | 2.951 | 12.8081 |  | 2.6052 | 2605.1604 |  |  | 337.9004
| SU-Warehouse | 72000 | 702.7937 | 1610.7961 | 9.761 | 22.3722 |  | 0.94721 | 947.2056 |  |  | 148.44
| 300 S State St | 252910 | 746.3386 | 3239.286 | 2.951 | 12.8081 |  | 1.8302 | 1830.1975 |  |  | 237.3844
| Key Bank Building | 132000 | 389.5326 | 1690.6637 | 2.951 | 12.8081 |  | 0.95523 | 955.2255 |  |  | 123.8968
| 100 East Washington St | 50000 | 2147.8976 | 373.0119 | 42.958 | 7.4602 |  | 1.2263 | 1226.321 |  |  | 82.6823
| Ramboll | 137000 | 404.2876 | 1754.704 | 2.951 | 12.8081 |  | 0.99141 | 991.4083 |  |  | 128.5899
| City Hall | 84555 | 825.3434 | 1891.6787 | 9.761 | 22.3722 |  | 1.1124 | 1112.3746 |  |  | 174.3242
| 1 Lincoln Center | 367500 | 1084.4942 | 4706.9614 | 2.951 | 12.8081 |  | 2.6594 | 2659.4345 |  |  | 344.94
| SUNY Oswego MetroCenter | 185530 | 547.4999 | 2376.279 | 2.951 | 12.8081 |  | 1.3426 | 1342.5983 |  |  | 174.1407
| 217 Montgomery St | 50000 | 488.0512 | 1118.6084 | 9.761 | 22.3722 |  | 0.65778 | 657.7817 |  |  | 103.0833
| City Hall Commons | 52957 | 516.9145 | 1184.7629 | 9.761 | 22.3722 |  | 0.69668 | 696.6829 |  |  | 109.1797
| Salinas Place | 50000 | 1611.375 | 553.5229 | 32.2275 | 11.0705 |  | 0.74826 | 748.2566 |  |  | 74.8784
| AXA Towers | 653177 | 1927.5283 | 8365.929 | 2.951 | 12.8081 |  | 4.7268 | 4726.7523 |  |  | 613.0799
| Onondaga County DH&C Plant | 2516392 | 7425.8842 | 32230.0951 | 2.951 | 12.8081 |  | 18.21 | 18210.0131 |  |  | 2361.9162
| Hotel Syracuse | 720000 | 25561.0628 | 11389.8602 | 35.5015 | 15.8193 |  | 17.7417 | 17741.7384 |  |  | 1269.7841
| Tech Garden | 35550 | 347.0044 | 795.3306 | 9.761 | 22.3722 |  | 0.46768 | 467.6828 |  |  | 73.2922
| Bank of America | 40000 | 1752.0455 | 209.9345 | 43.8011 | 5.2484 |  | 0.72474 | 724.7443 |  |  | 48.2789
| Clinton Exchange | 180000 | 531.1808 | 2305.4505 | 2.951 | 12.8081 |  | 1.3026 | 1302.5802 |  |  | 168.9502
| National Grid | 511200 | 1508.5535 | 6547.4793 | 2.951 | 12.8081 |  | 3.6993 | 3699.3277 |  |  | 479.8185
| Post Standard | 179000 | 528.2298 | 2292.6424 | 2.951 | 12.8081 |  | 1.2953 | 1295.3436 |  |  | 168.0116
| Galleries of Syracuse | 219000 | 646.27 | 2804.9647 | 2.951 | 12.8081 |  | 1.5848 | 1584.8059 |  |  | 205.5561
| 100 Clinton Sq | 120000 | 354.1205 | 1536.967 | 2.951 | 12.8081 |  | 0.86839 | 868.3868 |  |  | 112.6335
| City of Syr Criminal Court House | 95977 | 936.8338 | 2147.2136 | 9.761 | 22.3722 |  | 1.2626 | 1262.6382 |  |  | 197.8726
| 550 Harrison Building | 252000 | 9975.473 | 1580.2592 | 39.5852 | 6.2709 |  | 13.4892 | 13489.1654 |  |  | 451.049
| Jefferson Clinton Hotel | 42204 | 1498.3043 | 667.6356 | 35.5015 | 15.8193 |  | 1.04 | 1039.9616 |  |  | 74.4305
| Sky Armory | 40700 | 397.2737 | 910.5472 | 9.761 | 22.3722 |  | 0.53543 | 535.4343 |  |  | 83.9098
| Clinton Plaza | 254690 | 11155.7119 | 1336.7057 | 43.8011 | 5.2484 |  | 4.6146 | 4614.6282 |  |  | 307.4038
| MOST | 40000 | 390.441 | 894.8867 | 9.761 | 22.3722 |  | 0.52623 | 526.2253 |  |  | 82.4667
| 600 Montgomery St | 36684 | 358.0734 | 820.7006 | 9.761 | 22.3722 |  | 0.4826 | 482.6013 |  |  | 75.6302
| SU-Peck Hall | 25920 | 253.0057 | 579.8866 | 9.761 | 22.3722 |  | 0.34099 | 340.994 |  |  | 53.4384
| Parcel 1 | 180000 | 3546.4355 | 3663.1241 | 19.7024 | 20.3507 |  | 4.4689 | 4468.9339 |  |  | 453.6785
| Parcel 2 | 120000 | 3725.8949 | 1757.1306 | 31.0491 | 14.6428 |  | 3.2375 | 3237.5143 |  |  | 268.2646
| Parcel 3 | 45000 | 1907.8123 | 402.0669 | 42.3958 | 8.9348 |  | 1.3212 | 1321.204 |  |  | 89.0471
| Parcel 4 | 110000 | 3415.4037 | 1610.703 | 31.0491 | 14.6428 |  | 2.9677 | 2967.7215 |  |  | 245.9092
| Parcel 5 | 30000 | 1271.8749 | 268.0446 | 42.3958 | 8.9348 |  | 0.8808 | 880.8027 |  |  | 59.3647
| Parcel 6 | 225000 | 9855.2561 | 1180.8818 | 43.8011 | 5.2484 |  | 4.0767 | 4076.6867 |  |  | 271.5688
| Parcel 7 | 320000 | 9935.7197 | 4685.6815 | 31.0491 | 14.6428 |  | 8.6334 | 8633.3715 |  |  | 715.3722
| Parcel 8 | 120000 | 5256.1366 | 629.8036 | 43.8011 | 5.2484 |  | 2.1742 | 2174.2329 |  |  | 144.8367
| Parcel 9 | 60000 | 2543.7497 | 536.0892 | 42.3958 | 8.9348 |  | 1.7616 | 1761.6054 |  |  | 118.7295
| Parcel 10 | 160000 | 7008.1821 | 839.7382 | 43.8011 | 5.2484 |  | 2.899 | 2898.9772 |  |  | 193.1156
| Parcel 11 | 270000 | 8383.2635 | 3953.5438 | 31.0491 | 14.6428 |  | 7.2844 | 7284.4072 |  |  | 603.5953
| Parcel 12 | 85000 | 1613.4142 | 1133.8988 | 18.9813 | 13.34 |  | 2.6418 | 2641.7508 |  |  | 211.4946
| Medical Office Bldg | 25056 | 991.847 | 157.1229 | 39.5852 | 6.2709 |  | 1.3412 | 1341.2084 |  |  | 44.8472
|  | 11944002 | 145765.8913 | 154587.8285

## Terminal Equipment Cost (hidden)
WSHP Heat Pump Cost
20 MBH WSHP | Material | Labor | Total
WSHP Unit | 2100 | 600 | 2700
Piping in Bldg | 230 | 600 | 830
Total |  |  | 3530
MBH Rating |  |  | 20
Initial Cost per MBH |  |  | 176.5
Replacement Cost per MBH |  |  | 135
Total MBH |  |  | 151973.2176
Total Initial Cost |  |  | 26823272.9149 | Total Area (SF) | 9032610 | SF
Total Replacement Cost |  |  | 20516384.3825 | Total Terminal Unit Cost | 26823272.9149
2.9696
PTAC with hot water heat and dx cooling
20 MBH Heat | Material | Labor | Total
PTAC Unit | 1750 | 600 | 2350
MBH Rating |  |  | 20
Cost per MBH |  |  | 117.5
Total MBH |  |  | 151973.2176
Total Initial Cost |  |  | 17856853.0736
Total Replacement Cost |  |  | 17856853.0736

## LCA (hidden)
LCA Calculation for Syracuse DES Geothermal
Total buildings square footage | Blended Electric Rate | Gas Utility Rate
| ($/kWh) | ($/therm) |  | Electricity Cost Escalation |  | 3%
9032610 | 0.085 | 0.57 |  | Natural Gas Cost Escalation |  | 2%
|  |  |  | System Efficiency Degredation/year |  | 0.25%
|  |  |  | O&M Growth Rate (%) |  | 2%
25 Year Energy Cost Savings & Revenue | 25 Year Project Savings (Construction Cost - Energy Savings)
8981994.9334 | 8989232.901
25 Year Energy Consumption Comparison (system efficiency deteriorates by 0.25% every year)
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Total kWh
Baseline scenario Nat Gas energy consumption (Therms) | 1120506.4657 | 1123307.7319 | 1126116.0012 | 1128931.2912 | 1131753.6195 | 1134583.0035 | 1137419.461 | 1140263.0097 | 1143113.6672 | 1145971.4514 | 1148836.38 | 1151708.471 | 1154587.7421 | 1157474.2115 | 1160367.897 | 1163268.8168 | 1166176.9888 | 1169092.4313 | 1172015.1623 | 1174945.2003 | 1177882.5633 | 1180827.2697 | 1183779.3378 | 1186738.7862 | 1189705.6331 | 1192679.8972 | 1154774.9037
Heat Pump scenario Nat Gas energy consumption (Therms) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Baseline scenario electric energy consumption (kWh) | 44736375.1047 | 44848216.0425 | 44960336.5826 | 45072737.4241 | 45185419.2676 | 45298382.8158 | 45411628.7728 | 45525157.8448 | 45638970.7394 | 45753068.1662 | 45867450.8366 | 45982119.4637 | 46097074.7624 | 46212317.4493 | 46327848.2429 | 46443667.8635 | 46559777.0332 | 46676176.4758 | 46792866.917 | 46909849.0842 | 47027123.707 | 47144691.5162 | 47262553.245 | 47380709.6281 | 47499161.4022 | 47617909.3057 | 46104547.2155
Heat Pump scenario electric energy consumption (kWh) | 1722459.0223 | 1726765.1698 | 1731082.0827 | 1735409.7879 | 1739748.3124 | 1744097.6832 | 1748457.9274 | 1752829.0722 | 1757211.1449 | 1761604.1728 | 1766008.1832 | 1770423.2037 | 1774849.2617 | 1779286.3848 | 1783734.6008 | 1788193.9373 | 1792664.4221 | 1797146.0832 | 1801638.9484 | 1806143.0458 | 1810658.4034 | 1815185.0494 | 1819723.012 | 1824272.3195 | 1828833.0003 | 1833405.0828 | 1775136.9692
Natural Gas Utility Rate ($/Therm) | 0.57 | 0.5814 | 0.59303 | 0.60489 | 0.61699 | 0.62933 | 0.64191 | 0.65475 | 0.66785 | 0.6812 | 0.69483 | 0.70872 | 0.7229 | 0.73736 | 0.7521 | 0.76714 | 0.78249 | 0.79814 | 0.8141 | 0.83038 | 0.84699 | 0.86393 | 0.88121 | 0.89883 | 0.91681 |  | 0.73029
Electric Utility Rate ($/kWh) | 0.085 | 0.08755 | 0.090177 | 0.092882 | 0.095668 | 0.098538 | 0.10149 | 0.10454 | 0.10768 | 0.11091 | 0.11423 | 0.11766 | 0.12119 | 0.12483 | 0.12857 | 0.13243 | 0.1364 | 0.14049 | 0.14471 | 0.14905 | 0.15352 | 0.15813 | 0.16287 | 0.16775 | 0.17279 |  | 0.12396
Operations and Maintenance
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Total Cost
Baseline Scenario | 6500 | 6630 | 6762.6 | 6897.852 | 7035.809 | 7176.5252 | 7320.0557 | 7466.4568 | 7615.786 | 7768.1017 | 7923.4637 | 8081.933 | 8243.5717 | 8408.4431 | 8576.612 | 8748.1442 | 8923.1071 | 9101.5692 | 9283.6006 | 9469.2726 | 9658.6581 | 9851.8312 | 10048.8679 | 10249.8452 | 10454.8421 | 208196.9482 | 8327.8779
Heat Pump (DES) Scenario | 2000 | 2040 | 2080.8 | 2122.416 | 2164.8643 | 2208.1616 | 2252.3248 | 2297.3713 | 2343.3188 | 2390.1851 | 2437.9888 | 2486.7486 | 2536.4836 | 2587.2133 | 2638.9575 | 2691.7367 | 2745.5714 | 2800.4828 | 2856.4925 | 2913.6223 | 2971.8948 | 3031.3327 | 3091.9593 | 3153.7985 | 3216.8745 | 64060.5994 | 2562.424
Replacement Cost at the End of Equipment Life
| Year 1 | Present Worth | Year 20* | Total Life Cycle Cost
Baseline Scenario | Year 1: 3476146.9149; Year 2: 519660.8172; Year 3: 2010923.39; Year 4: 3995807.7321
Heat Pump (DES) Scenario | Year 1: 3140477.7358; Year 2: 0; Year 3: 0; Year 4: 3140477.7358
* Boiler and Chiller Replacement Cost
Energy Cost Savings | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25 | Totals
Natural Gas Cost Savings | 638688.6855 | 653091.1153 | 667818.32 | 682877.6231 | 698276.5135 | 714022.6489 | 730123.8596 | 746588.1526 | 763423.7155 | 780638.9203 | 798242.3279 | 816242.6924 | 834648.9651 | 853470.2993 | 872716.0545 | 892395.8016 | 912519.3269 | 933096.6377 | 954137.9669 | 975653.7781 | 997654.7708 | 1020151.8858 | 1043156.3109 | 1066679.4857 | 1090733.1081 | 15918673.4048
Electric Cost Savings | 3656182.867 | 3775283.0239 | 3898262.8684 | 4025248.7813 | 4156371.2604 | 4291765.0542 | 4431569.3008 | 4575927.6708 | 4724988.5147 | 4878905.0156 | 5037835.3464 | 5201942.8329 | 5371396.1206 | 5546369.3493 | 5727042.3308 | 5913600.7347 | 6106236.2787 | 6305146.9255 | 6510537.0866 | 6722617.8321 | 6941607.108 | 7167729.9596 | 7401218.763 | 7642313.4642 | 7891261.8253 | 100857229.1948
Total Energy Savings | 4294871.5525 | 4428374.1392 | 4566081.1884 | 4708126.4044 | 4854647.7739 | 5005787.7031 | 5161693.1605 | 5322515.8235 | 5488412.2302 | 5659543.9358 | 5836077.6744 | 6018185.5253 | 6206045.0858 | 6399839.6486 | 6599758.3854 | 6805996.5363 | 7018755.6056 | 7238243.5632 | 7464675.0535 | 7698271.6102 | 7939261.8788 | 8187881.8454 | 8444375.0739 | 8708992.9499 | 8981994.9334 | 116775902.5996
NPV ANALYSIS
Initial Capital Investment - WSHP (DES) | Year 1: 3140477.7358
Initial Capital Investment - Boiler/Ch/Twr | Year 1: 3476146.9149
Net Investment | Year 1: 335669.1791
Discount Rate | bar: Year 1
Project Cash Flow | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year 10 | Year 11 | Year 12 | Year 13 | Year 14 | Year 15 | Year 16 | Year 17 | Year 18 | Year 19 | Year 20 | Year 21 | Year 22 | Year 23 | Year 24 | Year 25
| 675838.3583 | 4432964.1392 | 4570762.9884 | 4712901.8404 | 4859518.7186 | 5010756.0667 | 5166760.8913 | 5327684.909 | 5493684.6974 | 5664921.8524 | 5841563.1493 | 6023780.7097 | 6211752.1738 | 6405660.8784 | 6605696.0398 | 6812052.9438 | 7024933.1413 | 7244544.6496 | 7471102.1616 | 7704827.2605 | 7945948.6421 | 8194702.344 | 8451331.9824 | 8716088.9966 | 8989232.901
Net Present Worth of Investment | 7% Year 1: 67820722.7098

## Install Cost DES (hidden)
City of Troy
Multipliers
|  |  |  | Material: | 0.983
|  |  |  | Labor: | 1.09
WSHP District Energy |  |  |  | Equipment: | 1
Description | QTY | UNIT | UNIT COSTS |  |  | SUBTOTAL COSTS |  |  | TOTAL COST | REMARKS
|  |  | MAT. | LABOR | EQUIP. | MAT. | LABOR | EQUIP.
Central Plant Building
Central Plant Building | 750 | SF |  |  | 175 | 0 | 0 | 131250 | 131250
Pump Station | 250 | SF |  |  | 125 | 0 | 0 | 31250 | 31250
Excavation and backfill | 2000 | LF |  |  |  | 0 | 0 | 0 | 0
Compact backfill | 2100 | LF |  |  | 15 | 0 | 0 | 31500 | 31500
HDPE Piping | 4050 | LF | 20 | 7 |  | 79623 | 30901.5 | 0 | 110524.5
Hardscape Restroration | 750 | LF |  |  | 650 | 0 | 0 | 487500 | 487500
Parking Lot Restoration | 20500 | SF |  |  | 1.5 | 0 | 0 | 30750 | 30750
[6 empty] | 0 | 0 | 0 | 0
Source Side | [5 empty] | 0 | 0 | 0 | 0
Loop Pumps - 40 HP | 2 | EA | 15000 | 1125 |  | 29490 | 2452.5 | 0 | 31942.5
Pump VFD - 40 HP | 2 | EA | 7500 | 1350 |  | 14745 | 2943 | 0 | 17688
Borefield Pumps - 20 HP | 2 | EA | 10600 | 1130 |  | 20839.6 | 2463.4 | 0 | 23303
Pump VFD - 20 HP | 2 | EA | 4350 | 1350 |  | 8552.1 | 2943 | 0 | 11495.1
Borefield Pumps - 10 HP | 2 | EA | 7500 | 7500 |  | 14745 | 16350 | 0 | 31095
Pump VFD - 10 HP | 2 | EA | 3100 | 3100 |  | 6094.6 | 6758 | 0 | 12852.6
6" Black Iron Pipe | 250 | LF | 45 | 42 |  | 11058.75 | 11445 | 0 | 22503.75
Steel Fittings | 0.3 | LS |  |  | 7143.75 | 0 | 0 | 2143.125 | 2143.125
4" HDPE | 50 | LF | 3.83 |  |  | 188.2445 | 0 | 0 | 188.2445
Site Trenching and backfill | 2100 | LF |  |  | 15 | 0 | 0 | 31500 | 31500
3' HDPE | 1700 | LF | 2.52 | 7.5 |  | 4211.172 | 13897.5 | 0 | 18108.672
2 1/2" HDPE | 720 | LF | 2.3 | 7.5 |  | 1627.848 | 5886 | 0 | 7513.848
2" HDPE | 3600 | LF | 1.89 | 7.5 |  | 6688.332 | 29430 | 0 | 36118.332
1 1/2" HDPE | 1500 | LF | 1.14 | 7.5 |  | 1680.93 | 12262.5 | 0 | 13943.43
HDPE Fittings | 0.15 | LS |  |  | 10656.825 | 0 | 0 | 1598.5237 | 1598.5237
Air Separator - 6" | 1 | EA | 3950 | 533 |  | 3882.85 | 580.97 | 0 | 4463.82
Expansion Tanks -300 gal | 1 | EA | 3000 | 200 |  | 2949 | 218 | 0 | 3167
Geothermal Boreholes (180 Boreholes x 500 ft) | 90000 | LF |  |  | 15 | 0 | 0 | 1350000 | 1350000
Heat Exchanger | 2 | EA | 15000 | 6000 |  | 29490 | 13080 | 0 | 42570
[6 empty] | 0 | 0 | 0 | 0
Electrical | [5 empty] | 0 | 0 | 0 | 0
75 kVA Transfomer | 1 | EA | 16000 | 1800 |  | 15728 | 1962 | 0 | 17690
100 A Panel - 460 V/3 Ph | 1 | EA | 2150 | 1050 |  | 2113.45 | 1144.5 | 0 | 3257.95
100 A Panel - 240V/1Ph | 1 | EA | 1250 | 1000 |  | 1228.75 | 1090 | 0 | 2318.75
Equipment Connection - Pumps | 2 | EA |  |  | 1000 | 0 | 0 | 2000 | 2000
Misc Elec | 1 | LS |  |  | 10000 | 0 | 0 | 10000 | 10000
[5 empty] | 5000 | 0 | 0 | 0 | 0
HVAC Controls | [5 empty] | 0 | 0 | 0 | 0
Pumps | 2 | EA |  |  | 7500 | 0 | 0 | 15000 | 15000
Heat Exchanger | 1 | EA |  |  | 7500 | 0 | 0 | 7500 | 7500
Front End | 1 | EA |  |  | 20000 | 0 | 0 | 20000 | 20000
Startup & Testing | 300 | HRS | 0 | 100 |  | 0 | 32700 | 0 | 32700
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[6 empty] | 0 | 0 | 0 | 0
[9 empty] | 2595436.1453 | Subtotal
[9 empty] | 259543.6145 | 10% | Contingency
[9 empty] | 285497.976 | 10% | Contractor O&P
[9 empty] | 0 |  | Engineering
[9 empty] | 3140477.7358 | Total

## Install Cost Blr_Ch_Twr (hidden)
City of Troy
Multipliers
[5 empty] | Material: | 0.983
[5 empty] | Labor: | 1.09 |  |  | Boiler Replacement | 991642.29
Boiler_Chiller_Tower System |  |  |  |  | Equipment: | 1 |  |  | Chiller Replacement | 1019281.1
Description |  | QTY | UNIT | UNIT COSTS |  |  | SUBTOTAL COSTS |  |  | TOTAL COST | REMARKS
|  |  |  | MAT. | LABOR | EQUIP. | MAT. | LABOR | EQUIP.
Boilers
Taylor 1 -2 x 1500 MBH |  | 2 | EA | 38000 | 12500 |  | 74708 | 27250 | 0 | 101958
Taylor 2 -2 x 1500 MBH |  | 2 | EA | 38000 | 12500 |  | 74708 | 27250 | 0 | 101958
Taylor 3 -2 x 1500 MBH |  | 2 | EA | 38000 | 12500 |  | 74708 | 27250 | 0 | 101958
Taylor 4 -2 x 1500 MBH |  | 2 | EA | 38000 | 12500 |  | 74708 | 27250 | 0 | 101958
155 River Street -2 x 500 MBH |  | 2 | EA | 15500 | 7500 |  | 30473 | 16350 | 0 | 46823
171 River Street -1 x 500 MBH |  | 1 | EA | 15500 | 7500 |  | 15236.5 | 8175 | 0 | 23411.5
213 River Street -1 x 500 MBH |  | 1 | EA | 15500 | 7500 |  | 15236.5 | 8175 | 0 | 23411.5
219 River Street -1 x 500 MBH |  | 1 | EA | 15500 | 7500 |  | 15236.5 | 8175 | 0 | 23411.5
221-223 River Street - 75 MBH Furnace |  | 1 | EA | 880 | 500 |  | 865.04 | 545 | 0 | 1410.04
231-249 River Street -2 x 1000 MBH |  | 2 | EA | 30400 | 12500 |  | 59766.4 | 27250 | 0 | 87016.4
251 River Street -2 x 1000 MBH |  | 2 | EA | 30400 | 12500 |  | 59766.4 | 27250 | 0 | 87016.4
261-269 River Street -2 x 1500 MBH |  | 2 | EA | 38000 | 12500 |  | 74708 | 27250 | 0 | 101958
Main Pumps | [6 empty] | 0 | 0 | 0 | 0
Taylor 1 -2x10 HP Pump |  | 0 | EA | 14950 | 950 |  | 0 | 0 | 0 | 0
Taylor 2 -2x10 HP Pump |  | 0 | EA | 14950 | 950 |  | 0 | 0 | 0 | 0
Taylor 3 -2x10 HP Pump |  | 0 | EA | 14950 | 950 |  | 0 | 0 | 0 | 0
Taylor 4 -2x10 HP Pump |  | 0 | EA | 14950 | 950 |  | 0 | 0 | 0 | 0
155 River Street -2x5 HP Pump |  | 2 | EA | 12500 | 650 |  | 24575 | 1417 | 0 | 25992
171 River Street -2x5 HP Pump |  | 2 | EA | 12500 | 650 |  | 24575 | 1417 | 0 | 25992
213 River Street -2x5 HP Pump |  | 2 | EA | 12500 | 650 |  | 24575 | 1417 | 0 | 25992
219 River Street -2x5 HP Pump |  | 2 | EA | 12500 | 650 |  | 24575 | 1417 | 0 | 25992
221-223 River Street - Pump |  | 2 | EA |  |  |  | 0 | 0 | 0 | 0
231-249 River Street -2x7.5 HP Pump |  | 2 | EA | 11800 | 750 |  | 23198.8 | 1635 | 0 | 24833.8
251 River Street -2x7.5 HP Pump |  | 2 | EA | 11800 | 750 |  | 23198.8 | 1635 | 0 | 24833.8
261-269 River Street -2x10 HP Pump |  | 2 | EA | 14950 | 950 |  | 29391.7 | 2071 | 0 | 31462.7
Chillers & Tower | [6 empty] | 0 | 0 | 0 | 0
Air Separator |  | 0 | EA | 4000 | 550 |  | 0 | 0 | 0 | 0
Expansion Tank |  | 0 | EA | 3000 | 250 |  | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0
Taylor 1 - 4 500 Ton Chiller |  | 1 | EA | 198000 | 20000 |  | 194634 | 21800 | 0 | 216434
650 Ton Tower |  | 1 | EA | 150000 | 30000 |  | 147450 | 32700 | 0 | 180150
155 River Street -50 Ton |  | 1 | EA | 43800 | 7500 |  | 43055.4 | 8175 | 0 | 51230.4
171 River Street -50 Ton |  | 1 | EA | 43800 | 7500 |  | 43055.4 | 8175 | 0 | 51230.4
213 River Street -30 Ton |  | 1 | EA | 33400 | 6500 |  | 32832.2 | 7085 | 0 | 39917.2
219 River Street -30 Ton |  | 1 | EA | 33400 | 6500 |  | 32832.2 | 7085 | 0 | 39917.2
221-223 River Street - 10 T DX |  | 1 | EA | 8000 | 2500 |  | 7864 | 2725 | 0 | 10589
231-249 River Street -100 Ton |  | 1 | EA | 75000 | 15000 |  | 73725 | 16350 | 0 | 90075
251 River Street -50 Ton |  | 1 | EA | 43800 | 7500 |  | 43055.4 | 8175 | 0 | 51230.4
261-269 River Street -100 Ton |  | 1 | EA | 75000 | 15000 |  | 73725 | 16350 | 0 | 90075
Circ Pumps | [6 empty] | 0 | 0 | 0 | 0
Taylor 1 -Circulation Pumps | 3-HP | 0 | EA | 3000 | 500 |  | 0 | 0 | 0 | 0
Taylor 2 -Circulation Pumps | 3-HP | 0 | EA | 3000 | 500 |  | 0 | 0 | 0 | 0
Taylor 3 -Circulation Pumps | 3-HP | 0 | EA | 3000 | 500 |  | 0 | 0 | 0 | 0
Taylor 4 -Circulation Pumps | 3-HP | 0 | EA | 3000 | 500 |  | 0 | 0 | 0 | 0
155 River Street -Circulation Pumps - 1 HP |  | 2 | EA | 2050 | 250 |  | 4030.3 | 545 | 0 | 4575.3
171 River Street -Circulation Pumps - 1 HP |  | 2 | EA | 2050 | 250 |  | 4030.3 | 545 | 0 | 4575.3
213 River Street -Circulation Pumps - 1 HP |  | 2 | EA | 2050 | 250 |  | 4030.3 | 545 | 0 | 4575.3
219 River Street -Circulation Pumps - 1 HP |  | 2 | EA | 2050 | 250 |  | 4030.3 | 545 | 0 | 4575.3
221-223 River Street -Circulation Pumps |  | 2 | EA | 2950 | 325 |  | 5799.7 | 708.5 | 0 | 6508.2
231-249 River Street -Circulation Pumps- 2HP |  | 2 | EA | 2950 | 325 |  | 5799.7 | 708.5 | 0 | 6508.2
251 River Street -Circulation Pumps - 2HP |  | 2 | EA | 2950 | 325 |  | 5799.7 | 708.5 | 0 | 6508.2
261-269 River Street -Circulation Pumps - 3HP |  | 2 | EA | 3000 | 500 |  | 5898 | 1090 | 0 | 6988
Boilers - Sage | [6 empty] | 0 | 0 | 0 | 0
Cowee Hall + Swimming Pool -2 x 500 MBH |  | 2 | EA | 15500 | 7500 |  | 30473 | 16350 | 0 | 46823
Slingerland Alumnae House - 100 MBH Furnace |  | 1 | EA | 900 | 550 |  | 884.7 | 599.5 | 0 | 1484.2
Roy Courtyard - 150 MBH Furnace |  | 1 | EA | 1750 | 550 |  | 1720.25 | 599.5 | 0 | 2319.75
Hart Hall - 1 x 500 MBH |  | 1 | EA | 15500 | 7500 |  | 15236.5 | 8175 | 0 | 23411.5
Ricketts Hall - 2 x 500 MBH |  | 2 | EA | 15500 | 7500 |  | 30473 | 16350 | 0 | 46823
Manning Hall - 2 x 500 MBH |  | 2 | EA | 15500 | 7500 |  | 30473 | 16350 | 0 | 46823
Esteves School of Education - 1 x 300 MBH |  | 1 | EA | 12000 | 5150 |  | 11796 | 5613.5 | 0 | 17409.5
Plum Memorial - 200 MBH Furnace |  | 1 | EA | 3500 | 750 |  | 3440.5 | 817.5 | 0 | 4258
Chillers - Sage | [6 empty] | 0 | 0 | 0 | 0
Cowee Hall + Swimming Pool - 30 Ton |  | 1 | EA | 33400 | 6500 |  | 32832.2 | 7085 | 0 | 39917.2
Slingerland Alumnae House - 10 Ton dx |  | 1 | EA | 3500 | 2000 |  | 3440.5 | 2180 | 0 | 5620.5
Roy Courtyard - 10 Ton dx |  | 1 | EA | 3500 | 2000 |  | 3440.5 | 2180 | 0 | 5620.5
Hart Hall - 30 Ton |  | 1 | EA | 33400 | 6500 |  | 32832.2 | 7085 | 0 | 39917.2
Ricketts Hall - 50 Ton |  | 1 | EA | 43800 | 7500 |  | 43055.4 | 8175 | 0 | 51230.4
Manning Hall - 30 Ton |  | 1 | EA | 33400 | 6500 |  | 32832.2 | 7085 | 0 | 39917.2
Esteves School of Education - 15 Ton dx |  | 1 | EA | 8000 | 2500 |  | 7864 | 2725 | 0 | 10589
Plum Memorial - 10 Ton dx |  | 1 | EA | 3500 | 2000 |  | 3440.5 | 2180 | 0 | 5620.5
[7 empty] | 0 | 0 | 0 | 0
Main Pumps - Sage | [6 empty] | 0 | 0 | 0 | 0
Cowee Hall + Swimming Pool - 2x5 HP |  | 2 | EA | 12500 | 650 |  | 24575 | 1417 | 0 | 25992
Hart Hall - 2x5 HP |  | 2 | EA | 12500 | 650 |  | 24575 | 1417 | 0 | 25992
Ricketts Hall - 2x5 HP |  | 2 | EA | 12500 | 650 |  | 24575 | 1417 | 0 | 25992
Manning Hall - 2x5 HP |  | 2 | EA | 12500 | 650 |  | 24575 | 1417 | 0 | 25992
Esteves School of Education - 2x3 HP |  | 2 | EA | 7500 | 500 |  | 14745 | 1090 | 0 | 15835
[7 empty] | 0 | 0 | 0 | 0
Circ Pumps - Sage | [6 empty] | 0 | 0 | 0 | 0
Cowee Hall + Swimming Pool - 1 HP |  | 2 | EA | 2050 | 250 |  | 4030.3 | 545 | 0 | 4575.3
Hart Hall - 1 HP |  | 2 | EA | 2050 | 250 |  | 4030.3 | 545 | 0 | 4575.3
Ricketts Hall - 1 HP |  | 2 | EA | 2050 | 250 |  | 4030.3 | 545 | 0 | 4575.3
Manning Hall - 1 HP |  | 2 | EA | 2050 | 250 |  | 4030.3 | 545 | 0 | 4575.3
Esteves School of Education - 3/4 HP |  | 2 | EA | 1500 | 200 |  | 2949 | 436 | 0 | 3385
[7 empty] | 0 | 0 | 0 | 0
For four new buildings/ Use existing for all others. | [6 empty] | 0 | 0 | 0 | 0
Misc Electricals - xformer/ Panel/ Switchgear |  | 4 | EA | 25000 | 12500 |  | 98300 | 54500 | 0 | 152800
Chemical Tratment |  | 4 | EA |  |  | 3500 | 0 | 0 | 14000 | 14000
Concrete Pad - Primary Boilers |  | 4 | EA | 4500 | 1500 |  | 17694 | 6540 | 0 | 24234
Boiler Rigging - All Boilers |  | 4 | EA |  |  | 7500 | 0 | 0 | 30000 | 30000
Boiler - Flue Venting (double wall stainless steel AL-294c) |  | 4 | EA | 15000 | 7500 |  | 58980 | 32700 | 0 | 91680
Gas Piping |  | 4 | EA | 7500 | 7500 |  | 29490 | 32700 | 0 | 62190
Boiler Controls and Wiring |  | 4 | EA | 5000 | 5000 |  | 19660 | 21800 | 0 | 41460
Power Wiring to new equipment |  | 4 | EA | 5000 | 5000 |  | 19660 | 21800 | 0 | 41460
Startup & Testing |  | 300 | HRS | 0 | 100 |  | 0 | 32700 | 0 | 32700
[7 empty] | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0
[7 empty] | 0 | 0 | 0 | 0
[10 empty] | 2872848.69 | Subtotal
[10 empty] | 287284.869 | 10% | Contingency
[7 empty] | 65 |  |  | 316013.3559 | 10% | Contractor O&P
[10 empty] | 0 |  | Engineering
[7 empty] | 1.0943 |  |  | 3476146.9149 | Total