## Cat A Instructions
NYSERDA Solicitation: Program Opportunity Notice (PON) 4614 Community Heat Pump Systems ATTACHMENT A.2
Instructions
For those who have been awarded a contract under PON 4614, completion of this data spreadsheet is required as part of the Category A Site-Specific Scoping Study final report. This Report-Stage spreadsheet updates the data included in the Applicant's submittal, and includes new data collected during the study.
Green shaded cells indicate data that were submitted at the Solicitation Stage. If previously reported data were updated during the scoping study, enter only the updated responses.
Yellow shaded cells indicate new information compiled or collected during the scoping study.
If your application is for a different Category (Category B - Site-Specific Design Study, or Category C - Site Specific Implementation Project),
please download and provide information in the relevant Category spreadsheet.
Data to be provided by applicants are grouped into 3 main areas : District Characteristics , Systems and Technology, and Business Model. There is one worksheet tab for each sub-category.
Please fill in information for all 3 worksheets
District Characteristics worksheet instructions
CA1 Location & Site Area
Provide the requested system location data.
CA2 Building Cluster Scale & Type
Characterize the scale of the proposed system.
CA3 Building Construction/Retrofit
Identify whether buildings to be served are new construction, retrofit or both. Also indicate if building heating/cooling systems will be replaced.
CA4 District System Construction/Retrofit
Identify whether the proposed district energy distribution system will be new construction, retrofit of an existing system, or both. Indicate distribution system type (high- or low- temp hot water, steam)
CA5 Building Address, Type, Size, Conditioned Area, Age
Provide information for each building to be served by the district system including address, conditioned space, new construction, major building renovation, or retrofit of heating/cooling system.
Indicate building age of existing buildings to be served by the system.
CA6 Estimated Building Loads
Provide information regarding building loads.
CA7 If Retrofit - Energy Systems of Existing Buildings
For existing buildings, identify the primary heating and cooling energy sources, annual energy consumption data from utility bills, and type of heating and cooling system.
CA8 If Retrofit - Building Conversion Related Information
For existing buildings, identify whether heat pumps are used and the year the heating and cooling systems were last upgraded or replaced.
CA9 Energy Use from Existing Facilities
Calculate the total energy use for all existing buildings to be served by the system.
CA10 Conditioned Space, Loads and Energy Use
Calculate the total conditioned area for heating and for cooling for all existing buildings to be served by the system.
Systems and Technology worksheet instructions
CA11 Proposed Thermal Capacity from Geothermal Resource
The data requested in this section is thermal capacity supplied from the ground heat exchanger (GHX), not supplied to the buildings.
CA12 Other Thermal Resources Proposed as a (% of Total Thermal Resource )
Identify renewable or waste heat thermal resources that will be used to supplement the heat provided from the GHX.
CA13 Ground Heat Exchanger
Identify the proposed Earth-coupling method(s).
CA14 Heat Pumps
Provide information on proposed heat pumps including COPs, entering water temperatures, refrigerant, and equipment information.
CA15 Pilot Borehole(s)
Provide information regarding test bores or wells that were installed during the scoping study.
CA16 Onsite Electric Generation / Storage
Identify type and capacity of other renewable power sources or energy storage proposed for the project.
CA17 Community Distribution Piping Proposed
Indicate whether the community distribution system will be a 2-pipe (e.g., ambient loop) or 4-pipe (e.g., separate chilled and hot water piping) system.
Provide community distribution system information including pipe size, insulation, and length for 2- and 4-pipe systems.
Business Model worksheet instructions
C18 Building Ownership
Identify the proposed entity ownership composition of the community system.
C19 Proposed System Ownership & Operation
Indicate who is the proposed owner and operator of the community system, whether pubic, private, utility PPA
C20 Key Assumptions used for 25 year NPV Life Cycle Cost Analysis
Indicate the discount, inflation and rate escalation rates you are using in your business model, along with life expectancy of primary system components.
Report Stage
(Final Report for Category A Instructions part 2)
Category A: Site-specific scoping study

## Cat A_District
DISTRICT CHARACTERISTICS
Applicant: | CNYRDPB
CA1 Location & Site Area
District Street Address | 650 Hiawatha Blvd W | City/Town, Zipcode | Syracuse, NY 13204
District site area (acres) |  | Latitude , Longitude | 43.0621192585, -76.1759606307
CA2 Building Cluster Scale & Type | Indicate all that apply | CA3 Building Construction/Retrofit | Indicate all that apply | CA4 District System Construction/Retrofit | Indicate all that apply
a. SMALL e.g. a cluster of ten or more single-family houses |  | a. New Construction | X | a. New Construction | X
b. MEDIUM e.g. college campus or multifamily residential complex consisting of multiple buildings, an office or medical park, etc. |  | b. Major Retrofit of Existing Buildings | X | b. Retrofit of Existing District Energy Distribution System
c. LARGE e.g. an urban core consisting of one or numerous city blocks. | X | c. If both, provide % Mix of New and Retrofit by conditioned area | 14% New, 86% Retrofit | c. If both, provide % Mix of New and Retrofit by conditioned area served
OTHER - Specify |  | d. Replacement of Building Heating/Cooling System |  | Indicate present & proposed distribution system type (e.g., steam, High-temp hot water, etc.)
CA5 Building Address, Type, Size, Conditioned Area, Age | [7 empty] | CA6 Estimated Building Loads |  |  |  |  | CA7 If Retrofit - Energy Systems of Existing Buildings | [8 empty] | CA8 If Retrofit - Building Conversion Related Information
Building Number | Street Address | Building Type (select from drop down list) | Building Size (square feet) | Conditioned Area to be Served - COOLING (square feet) | Conditioned Area to be Served - HEATING (square feet) | Type of Construction (New Construction, Major Renovation, Retrofit of Heating and Cooling Systems) | If Major Renovation or Retrofit Building Age (years) | Summer Peak Total Cooling Load (kBtu/hr) | Winter Peak Total Heating Load (kBtu/hr) | Process Heating Load- Steam or Hot Water (e.g. swimming pool, hotel, autoclaves, lab animal cage washing, Other- Specify) (MMBtu/hour) | Process Cooling Load (data centers, lasers etc) (tons) | Domestic Hot Water (gpm) | Primary Energy Source Currently Used for Heating (Oil, Gas, Propane, ConEd Steam, Electricity, Other) | Primary Energy Source Currently Used for Cooling (Electricity, Gas, ConEd Steam, Other) | Annual Gas Consumption from Utility Bills (MMBTU) | Annual Fuel Oil Consumption from Utility Bills (gal) | Annual Electricity Consumption for cooling from Utility Bills (kWh) | Annual Electricity Consumption for heating from Utility Bills (kWh) | Are annual electricity use data metered for cooling and heating systems or are they estimated from building totals? | Existing Heating System (Steam, Hot water, Forced air, Radiators, baseboard, hydronic, Other-specify) | Existing Cooling System (Window A/C, Central A/C, Forced air, hydronic, Other-specify) | Heat Pumps Currently Used? (Y/N) | Year HEATING System Last Installed or Replaced | Year COOLING System Last Installed or Replaced | Type of Fan Coil/Unit Ventilator systems in building (2-pipe or 4-pipe?) | Type of Connection to Distribution System (active with pumps or passive with only HX?)
Barclay Damon | 125 E Jefferson St | Large Office | 330000 | 330000 | 330000 | Retrofit of Heating and Cooling Systems |  | 3716.9042 | 3582.0955 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump | Heat Pump | Yes | Unk | Unk |  | Passive
Atrium | 2 Clinton Sq | Large Office | 170000 | 170000 | 170000 | Retrofit of Heating and Cooling Systems |  | 1914.7688 | 1845.3219 | N/A | N/A | N/A | Gas | Electricity | 3674 |  | 984475.25 |  | Estimated | Heat Pump - Boiler | Heat Pump - Cooling Tower | Yes | Unk | Unk |  | Passive
State Tower | 109 S Warren St | Large Office | 1200000 | 1200000 | 1200000 | Retrofit of Heating and Cooling Systems |  | 13516.0153 | 13025.8018 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump - Boiler | Heat Pump - Cooling Tower | Yes | Unk | Unk |  | Passive
Courtyard Marriott | 300 W Fayette St | Hotel | 40000 | 40000 | 40000 | Retrofit of Heating and Cooling Systems |  | 846.5227 | 985.6521 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump - Boiler | Heat Pump - Cooling Tower | Yes | Unk | Unk |  | Passive
US Social Security Admin | 110 Fayette St | Large Office | 287000 | 287000 | 287000 | Retrofit of Heating and Cooling Systems |  | 3232.5803 | 3115.3376 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump - Boiler | Heat Pump - Cooling Tower | Yes | Unk | Unk |  | Passive
M&T Bank | 101 S Salina St | Large Office | 365000 | 365000 | 365000 | Retrofit of Heating and Cooling Systems |  | 4111.1213 | 3962.0147 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Boiler | Water Cooled Chiller | No | Unk | Unk |  | Passive
State Office Building | 333 E Washington St | Large Office | 360000 | 360000 | 360000 | Retrofit of Heating and Cooling Systems |  | 4054.8046 | 3907.7405 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump? | Heat Pump & Water Cooled Chiller | No | Unk | Unk |  | Passive
SU-Warehouse | 350 W Fayette St | Medium Office | 72000 | 72000 | 72000 | Retrofit of Heating and Cooling Systems |  | 1781.2799 | 1420.8084 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump - Boiler | Heat Pump - Cooling Tower | Yes | Unk | Unk |  | Passive
One Park Place | 300 S State St | Large Office | 252910 | 252910 | 252910 | Retrofit of Heating and Cooling Systems |  | 2848.6129 | 2745.2963 | N/A | N/A | N/A | Gas | Electricity | 1725 |  | 676796.75 |  | Estimated | Heat Pump - Boiler | Heat Pump - Cooling Tower | Yes | Unk | Unk |  | Passive
Key Bank Building | 201 S Warren St | Large Office | 132000 | 132000 | 132000 | Retrofit of Heating and Cooling Systems |  | 1486.7617 | 1432.8382 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | NG Boiler | Water Cooled Chiller | No | Unk | Unk |  | Passive
White Memorial | 100 E Washington St | Midrise Apartment | 50000 | 50000 | 50000 | Retrofit of Heating and Cooling Systems |  | 992.1878 | 929.809 | N/A | N/A | N/A | Gas | Electricity | 876 |  | 108375 |  | Estimated | Heat Pump - Boiler | PTAC | Yes | Unk | Unk |  | Passive
Ramboll | 333 W Washington St | Large Office | 137000 | 137000 | 137000 | Retrofit of Heating and Cooling Systems |  | 1543.0784 | 1487.1124 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump | Heat Pump | Yes | Unk | Unk |  | Passive
City Hall | 233 E Washington St | Medium Office | 84555 | 84555 | 84555 | Retrofit of Heating and Cooling Systems |  | 2091.8906 | 1668.5619 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | (2) 1700 MBH NG steam boilers | (7) AHUs, (3) 7-265 T chillers | No | Unk | Unk |  | Passive
1 Lincoln Center | 110 W Fayette St | Large Office | 367500 | 367500 | 367500 | Retrofit of Heating and Cooling Systems |  | 4139.2797 | 3989.1518 | N/A | N/A | N/A | Gas | Electricity | 13711 |  | 1194150.75 |  | Estimated | Boiler | Chiller | No | Unk | Unk |  | Passive
SUNY Oswego MetroCenter | 2 S Clinton St | Large Office | 185530 | 185530 | 185530 | Retrofit of Heating and Cooling Systems |  | 2089.6886 | 2013.8975 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump | Heat Pump & Water Cooled Chiller | No | Unk | Unk |  | Passive
217 Montgomery St | 217 Montgomery St | Medium Office | 50000 | 50000 | 50000 | Retrofit of Heating and Cooling Systems |  | 1237 | 986.6725 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump - Boiler | Heat Pump | Yes | Unk | Unk |  | Passive
City Hall Commons | 201 E Washington St | Medium Office | 52957 | 52957 | 52957 | Retrofit of Heating and Cooling Systems |  | 1310.1561 | 1045.0243 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump | Heat Pump | Yes | Unk | Unk |  | Passive
Salinas Place | 205 S Salina St | Midrise Apartment | 50000 | 50000 | 50000 | Retrofit of Heating and Cooling Systems |  | 898.541 | 650.7799 | N/A | N/A | N/A | Gas | Electricity | 676 |  | 193500 |  | Estimated | NG Condensing Boilers (9 300 MBH / 7 300 MBH) | Modified heat pump; 7-T AC | Yes | Unk | Unk |  | Passive
AXA Towers | 100 Madison St | Large Office | 653177 | 653177 | 653177 | Retrofit of Heating and Cooling Systems |  | 7356.9586 | 7090.1285 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Boilers | Water Cooled Chiller | No | Unk | Unk |  | Passive
Onondaga County DH&C Plant | 421 Montgomery St | Large Office | 2516392 | 2516392 | 0 | Retrofit of Heating and Cooling Systems |  | 28342.994 | 27315.0196 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Natural Gas Steam Boilers | Water Cooled Chiller | No | Unk | Unk |  | Passive
Hotel Syracuse | 100 E Onondaga St | Hotel | 720000 | 720000 | 720000 | Retrofit of Heating and Cooling Systems |  | 15237.4093 | 17741.7384 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump - Boiler | Heat Pump - Cooling Tower | Yes | Unk | Unk |  | Passive
Tech Garden | 235 Harrison St | Medium Office | 35550 | 35550 | 35550 | Retrofit of Heating and Cooling Systems |  | 879.507 | 701.5242 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump - Boiler | Heat Pump - Cooling Tower | Yes | Unk | Unk |  | Passive
Bank of America | 1 S Clinton St | Midrise Apartment | 45000 | 45000 | 45000 | Retrofit of Heating and Cooling Systems |  | 1288.0608 | 1426.3099 | N/A | N/A | N/A | Gas | Electricity | 3094 |  |  |  |  | Heat Pump - Boiler | Heat Pump - Cooling Tower | Yes | Unk | Unk |  | Passive
Clinton Exchange | 101 N Clinton St | Large Office | 180000 | 180000 | 180000 | Retrofit of Heating and Cooling Systems |  | 2027.4023 | 1953.8703 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump? | Heat Pump | Yes | Unk | Unk |  | Passive
National Grid | 300 W Erie Blvd | Large Office | 511200 | 511200 | 511200 | Retrofit of Heating and Cooling Systems |  | 5757.8225 | 5548.9916 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | NG/RTU | Heat Pump | Yes | Unk | Unk |  | Passive
Post Standard | 101 N Salina St | Large Office | 179000 | 179000 | 179000 | Retrofit of Heating and Cooling Systems |  | 2016.139 | 1943.0154 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump - Boiler | Heat Pump - Cooling Tower | Yes | Unk | Unk |  | Passive
Galleries of Syracuse | 441 S Salina St | Large Office | 219000 | 219000 | 219000 | Retrofit of Heating and Cooling Systems |  | 2466.6728 | 2377.2088 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | NG/RTU | Water Cooled Chiller | No | Unk | Unk |  | Passive
100 Clinton Sq | 100 Clinton Sq | Large Office | 120000 | 120000 | 120000 | Retrofit of Heating and Cooling Systems |  | 1351.6015 | 1302.5802 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | RTU - NG? | RTU? | Yes | Unk | Unk |  | Passive
City of Syr Criminal Court House | 505 S State St | Medium Office | 95977 | 95977 | 95977 | Retrofit of Heating and Cooling Systems |  | 2374.4709 | 1893.9573 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | District Steam | District Chilled Water | No | Unk | Unk |  | Passive
550 Harrison Building | 550 Harrison St | Retail | 252000 | 252000 | 252000 | Retrofit of Heating and Cooling Systems |  | 0 | 13489.1654 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Boiler? | Air Cooled Chiller | No | Unk | Unk |  | Passive
Jefferson Clinton Hotel | 416 S Clinton St | Hotel | 42204 | 42204 | 42204 | Retrofit of Heating and Cooling Systems |  | 893.1661 | 1039.9616 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Boiler | None | No | Unk | Unk |  | Passive
Sky Armory | 351 S Clinton St | Medium Office | 40700 | 40700 | 40700 | Retrofit of Heating and Cooling Systems |  | 1006.918 | 803.1514 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | RTU | RTU | Yes | Unk | Unk |  | Passive
Clinton Plaza | 550 S Clinton St | Midrise Apartment | 254690 | 254690 | 254690 | Retrofit of Heating and Cooling Systems |  | 3688.8452 | 2624.2339 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump | PTAC | Yes | Unk | Unk |  | Passive
MOST | 500 S Franklin St | Medium Office | 40000 | 40000 | 40000 | Retrofit of Heating and Cooling Systems |  | 989.6 | 789.338 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump | Heat Pump | Yes | Unk | Unk |  | Passive
600 Montgomery St | 600 Montgomery St | Medium Office | 36684 | 36684 | 36684 | Retrofit of Heating and Cooling Systems |  | 907.5621 | 723.9019 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump - Boiler? | Heat Pump | Yes | Unk | Unk |  | Passive
SU-Peck Hall | 601 E Genesee St | Medium Office | 25920 | 25920 | 25920 | Retrofit of Heating and Cooling Systems |  | 641.2608 | 511.491 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | Heat Pump - Boiler | Heat Pump | Yes | Unk | Unk |  | Passive
Parcel 1 | 328 W Kirkpatrick St | Medium Office | 180000 | 180000 | 180000 | New Construction |  | 5444.1419 | 5149.8606 | N/A | N/A | N/A | Gas | Electricity | [7 empty] | Yes | N/A | N/A |  | Passive
Parcel 2 | 328 W Kirkpatrick St | Retail | 120000 | 120000 | 120000 | New Construction |  | 3219.1747 | 3143.6724 | N/A | N/A | N/A | Gas | Electricity | [7 empty] | Yes | N/A | N/A |  | Passive
Parcel 3 | 328 W Kirkpatrick St | Midrise Apartment | 45000 | 45000 | 45000 | New Construction |  | 1068.5654 | 1098.82 | N/A | N/A | N/A | Gas | Electricity | [7 empty] | Yes | N/A | N/A |  | Passive
Parcel 4 | 328 W Kirkpatrick St | Retail | 110000 | 110000 | 110000 | New Construction |  | 2950.9101 | 2881.6997 | N/A | N/A | N/A | Gas | Electricity | [7 empty] | Yes | N/A | N/A |  | Passive
Parcel 5 | 328 W Kirkpatrick St | Midrise Apartment | 30000 | 30000 | 30000 | New Construction |  | 712.3769 | 732.5467 | N/A | N/A | N/A | Gas | Electricity | [7 empty] | Yes | N/A | N/A |  | Passive
Parcel 6 | 328 W Kirkpatrick St | Midrise Apartment | 225000 | 225000 | 225000 | New Construction |  | 3258.8251 | 2318.3188 | N/A | N/A | N/A | Gas | Electricity | [7 empty] | Yes | N/A | N/A |  | Passive
Parcel 7 | 328 W Kirkpatrick St | Retail | 320000 | 320000 | 320000 | New Construction |  | 8584.4658 | 8383.1264 | N/A | N/A | N/A | Gas | Electricity | [7 empty] | Yes | N/A | N/A |  | Passive
Parcel 8 | 328 W Kirkpatrick St | Midrise Apartment | 120000 | 120000 | 120000 | New Construction |  | 1738.0401 | 1236.4367 | N/A | N/A | N/A | Gas | Electricity | [7 empty] | Yes | N/A | N/A |  | Passive
Parcel 9 | 328 W Kirkpatrick St | Midrise Apartment | 60000 | 60000 | 60000 | New Construction |  | 1424.7538 | 1465.0933 | N/A | N/A | N/A | Gas | Electricity | [7 empty] | Yes | N/A | N/A |  | Passive
Parcel 10 | 328 W Kirkpatrick St | Midrise Apartment | 160000 | 160000 | 160000 | New Construction |  | 2317.3868 | 1648.5823 | N/A | N/A | N/A | Gas | Electricity | [7 empty] | Yes | N/A | N/A |  | Passive
Parcel 11 | 328 W Kirkpatrick St | Retail | 270000 | 270000 | 270000 | New Construction |  | 7243.143 | 7073.2629 | N/A | N/A | N/A | Gas | Electricity | [7 empty] | Yes | N/A | N/A |  | Passive
Parcel 12 | 328 W Kirkpatrick St | Classroom | 85000 | 85000 | 85000 | New Construction |  | 2537.9348 | 2641.7508 | N/A | N/A | N/A | Gas | Electricity | [7 empty] | Yes | N/A | N/A |  | Passive
Medical Office Bldg | 475 Irving Ave | Retail | 25056 | 25056 | 25056 | Retrofit of Heating and Cooling Systems |  | 0 | 1341.2084 | N/A | N/A | N/A | Gas | Electricity | [5 empty] | RTU - NG? | RTU | Yes | N/A | N/A |  | Passive
TOTALS |  |  |  | 11904002 | 9387610
CA9 Energy Use from Existing Facilities
a. Total for All Buildings - Annual Gas Consumption from Utility Bills for Heating and Cooling (MMBTU) |  |  |  |  | 150411
b. Total for All Buildings - Annual Oil Consumption from Utility Bills for Heating (gal) |  |  |  |  | 0
c. Total for All Buildings - Annual Electricity Consumption from Utility Bills for Heating and Cooling (kWh) |  |  |  |  | 44736375
CA10 Conditioned Space, Loads and Energy Use
a. Total for All Buildings -Conditioned Area Served - Cooling (square feet) |  |  |  |  | 11904002
b. Total for All Buildings Conditioned Area Served - Heating (square feet) |  |  |  |  | 9387610
Category A: Site-specific scoping study
Report Stage
(Final Report for Category A Instructions part 2)
Note on K18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Walck, Charles These units don’t seem correct, can you check this? Reply: The values in the Load calcs had the decimal place moved the wrong direction to go from MMBtu/hr to MBtu/hr here. Updated.

## Cat A_Systems & Technology
SYSTEMS AND TECHNOLOGY
Applicant: | CNYRDPB
CA11 Proposed Thermal Capacity from Geothermal Resource
|  |  | Summer Peak | Winter Peak | Diversified District Summer Peak | Diversified District Winter Peak
Heating (MBtu/hour) |  | 0
Cooling (tons) |  | 0
Domestic Hot Water (GPM) |  | 0
Process Heating (MBtu/hour) |  | 0
Process Cooling (tons) |  | 0
CA12 Other Thermal Resources Proposed as a (% of Total Thermal Resource )
Solar thermal |  | 0%
Sewer waste heat recovery |  | 100%
Waste heat from Data Center |  | 0%
Biomass |  | 0%
Other - Specify |  | 0%
CA13 Ground Heat Exchanger
Earth Coupling Method
Closed loop (horizontal or vertical) - (bores or energy piles) |  | N/A
Open loop (dedicated injection well or seasonal reversal) |  | N/A
Standing column wells (specify design bleed %, if any) |  | N/A
Surface water coupled (lake/pond, river/stream, or marine) |  | N/A
Other - specify |  | N/A
GHX Balancing
Are seasonal GHX loads balanced?
Antifreeze used in GHX piping?
GHX Land Area
Area needed for GHX |  | N/A
Percentage of property area |  | N/A
Closed Loop Systems - vertical
Number of bores (closed loop - vertical) |  | N/A
Depth of closed-loop borehole heat exchangers (ft) |  | N/A
Closed-loop borehole heat exchanger grout thermal conductivity (W/m°K) |  | N/A
Closed-loop antifreeze design temperature (°F) |  | N/A
Thermal response test results - thermal conductivity (W/m°K) |  | N/A
Thermal response test results - thermal diffusivity (m2/s) |  | N/A
CAPEX of closed-loop boreholes ($) |  | N/A
Closed Loop Systems - horizontal
Length of horizontal closed-loop heat exchanger trench (ft) |  | N/A
Horizontal closed-loop heat exchanger depth below grade (ft) |  | N/A
Horizontal closed-loop heat exchanger construction (e.g., slinky, # pipes per trench) |  | N/A
CAPEX of horizontal closed-loop heat exchanger ($) |  | N/A
Open-Loop Systems
No. of open-loop wells |  | N/A
Depth of open-loop wells (ft) |  | N/A
Open-loop well borehole and screen diameter (in) |  | N/A
Design open-loop well extraction rate (gpm/well) |  | N/A
Design open-loop well injection rate (gpm/well) |  | N/A
Open -loop system configuration (ATES or dedicated injection well) |  | N/A
Open-loop well drilling method |  | N/A
Open-loop well screen length (ft) |  | N/A
CAPEX of open-loop well system ($) |  | N/A
Standing-Column Well Systems
No. of standing column wells |  | N/A
Depth of standing column wells (ft) |  | N/A
Standing column well design bleed rate (%, gpm/well) |  | N/A
Standing column well design thermal diffusivity (m2/s) |  | N/A
CAPEX of standing column wells ($/ft) |  | N/A
CA14 Heat Pumps
Heat Pump Configuration (centralized, distributed or both) |  | Both
For distributed heat pumps, complete for each type
Heat Pump Type | Make & Model | Number | Heating Capacity (MBtu/hr) Full/Part | Heating COP Full/Part | Heating COP EWT (°F) | Cooling Capacity (MBtu/hr) (tons) Full/Part | Cooling EER (Btu/wh) Full/Part | Cooling EER EWT (°F) | Refrigerant (R134A, NH3, CO2, Other - specify)
CA15 Pilot Borehole(s)
No. of pilot boreholes |  | N/A
Proposed pilot well use |  | N/A
Additional value / use of pilot well(s) |  | N/A
Ground surface elevation (ft) |  | N/A
Geophysical logging conducted? |  | N/A
Thermal response testing conducted? |  | N/A
Aquifer pumping test conducted? |  | N/A
Groundwater sampling conducted? |  | N/A
Soil or groundwater sampling conducted? |  | N/A
Measured ambient ground water temperature (° F) |  | N/A
Subsurface contamination potential? |  | N/A
Drilling method |  | N/A
Borehole Depth (ft) |  | N/A
Groundwater Depth (ft) |  | N/A
Borehole Diameter (in) |  | N/A
Geologic conditions in target formation (bedrock, surficial/glacial, coastal plain) |  | N/A
CA16 Onsite Electric Generation / Storage
Solar PV |  | N/A
Solar PV capacity (kW) |  | N/A
Wind Turbine |  | N/A
Wind turbine capacity (kW) |  | N/A
Battery Storage |  | N/A
Battery Storage Capacity (AH) |  | N/A
CA17 Community Distribution Piping Proposed
No. of distribution pipes (2 or 4)
2 pipe
Pipe Material | Pipe Diameter (inches) | Insulation Type
4 pipe
Chilled Water
Pipe Material | Pipe Diameter (inches) | Insulation Type
Hot Water
Pipe Material | Pipe Diameter (inches) | Insulation Type
Category A: Site-specific scoping study
Report Stage
(Final Report for Category A Instructions part 2)

## Cat A_Business Model
BUSINESS MODEL
Applicant: | CNYRDPB
Ownership
C18 Building Ownership
Buildings all owned by a single entity
Buildings having unrelated owners |  | X
Buildings owned by a cooperative or association
Other - Specify
C19 Proposed System Ownership & Operation
System owned/operated by a private entity
System owned/operated by a public entity (municipality)
System owned by a public entity and operated by a private entity
System owned/operated by a utility |  | X
System owned by a private or public entity and operated by another private entity
System owned/operated by a public-private partnership. |  | X
Other - Specify
C20 Key Assumptions used for 25 year NPV Life Cycle Cost Analysis
Economic Factors | input values here - the values are examples
Economic Discount Rate or Hurdle Rate | 7%
General Inflation Rate | 3% | /year
Electricity Escalation Rate | 5% | /year
Useful life of Ground Heat Exchanger Loop | N/A | years
Useful life of GSHP | N/A | years
Category A: Site-specific scoping study
Report Stage
(Final Report for Category A Instructions part 2)

## Drop down lists
Building Types | Type of Construction
Classroom | New Construction
Research Lab | Major Renovation
Data Center | Retrofit of Heating and Cooling Systems
Dormitory
Large Office | Primary Energy Source Currently Used for Heating
Medium Office | Oil
Small Office | Gas
Residential- Single family | Propane
Residential - Multi family | ConEd Steam
Residential - Multi floor | Electricity
Warehouse | Other
Stand Alone Retail
Strip Mall | Primary Energy Source Currently Used for Cooling
Primary School | Electricity
Secondary School | Gas
Supermarket | ConEd Steam
Quick Service Restaurant | Other
Full Service Restaurant
Hospital | Yes
Outpatient Health Clinic | No
Small Hotel
Large Hotel | Drilling Method
Midrise Apt | Air rotary
Other - Specify | Mud rotary
Dual rotary
Subsurface contamination potential | DTH air hammer
Unknown | DTW water hammer
Known contaminated | Sonic
Known uncontaminated | Auger
Unlikely | Other
Likely
Geologic conditions in target formation
Bedrock
Surficial / glacial deposits
Coastal plain deposits