## Read Me
Study Objectives
This study estimates energy efficiency and electrification savings potential over a 20-year period, from 2023 to 2042. The main objective of the study is to identify and explore energy efficiency and electrification potential opportunities in New York State’s buildings sector statewide. A secondary objective is to inform the design and planning of energy efficiency and electrification interventions, though the study scope does not include estimating the program potential that any prospective energy efficiency program could attain. The study makes information available to public and private stakeholders, in support of New York State’s initiatives to advance clean energy and climate goals under the Climate Leadership and Community Protection Act (explained in Box 2).
Box 2. The Climate Act and the Statewide Potential Study for Buildings
The New York State Climate Leadership and Community Protection Act (Climate Act) is one of the most ambitious climate laws in the nation. It commits New York State to a 40% reduction in greenhouse gas (GHG) emissions by 2030 and an 85% reduction by 2050, from 1990 levels. The Climate Act also required the development of the New York State Climate Action Council Scoping Plan, under the direction of a 22-member Climate Action Council, which advances recommendations on how New York State can reduce GHG emissions, achieve net-zero emissions, increase renewable energy usage, and ensure climate justice. The Climate Act goals and specific strategies recommended in the Scoping Plan inform this study.
Scenario Descriptions
Scenario 1. Baseline
This study incorporates statewide building energy codes and federal equipment standards into estimated business-as-usual energy sales and equipment consumption estimates. The Baseline Scenario builds on this by incorporating state appliance and equipment efficiency standards and the enacted New York City Local Laws 97 and 154. In alignment with the Scoping Plan, this scenario also assumes that new building energy codes will take effect for new construction, requiring highly efficient, zero-emission new construction starting in 2025 for single-family buildings and 2028 for multifamily and commercial buildings. These anticipated code adjustments will, in effect, expand the phase-out of fossil fuel systems in new buildings—which is already required under New York City Local Law 154—across all of New York State. Table 2-1 provides a summary of the building codes and equipment standards included in the Baseline Scenario. This scenario does not model any new upfront financial incentives for consumers beyond currently available federal tax credits from the 2022 Inflation Reduction Act and a New York State geothermal tax credit for homeowners. The Baseline Scenario establishes a case to which additional interventions can be compared.
Scenario 2: CapEx Incentives
The CapEx Incentives Scenario includes the elements modeled for the Baseline Scenario. It adds sustainability guidelines that New York State Homes and Community Renewal (HCR) has established for the new construction of housing for low-income households, which is modeled as a requirement that new construction of subsidized affordable multifamily buildings adopts high-performance shell and heat pumps from 2024 onward (with incentives provided through 2027). The scenario assumes that consumers receive an incentive amount calculated at 50% of the measure incremental cost after applicable tax credits. This incentive design is commonly used by program administrators in New York State. Incentives are modeled for all measures (except those subject to state and federal codes or standards). Incentive caps are applied to each measure, up to a maximum of $30,000 per single-family dwelling unit, $35,000 per multifamily dwelling unit, and $20 per square foot in commercial spaces.
Scenario 3: Reasonable Return Incentives
The Reasonable Return Incentives Scenario includes the elements modeled for the Baseline Scenario and the HCR sustainability guidelines. Like Scenario 2, this scenario models incentives that encourage households and businesses to adopt energy efficiency and electrification measures (unless measures are subject to state and federal codes and standards). Scenario 3 applies a more tailored approach to setting incentives, in which the incentive is equal to the upfront amount required to achieve a reasonable customer rate of return on the measure’s incremental lifetime cost. Measures that are highly cost-effective in the Baseline Scenario (such as commercial lighting) receive little or no upfront incentive in this scenario, while measures that do not initially offer a reasonable project return (as is often the case for heat pumps) see higher incentives and may even exceed 50% of the incremental cost. Like Scenario 2, this scenario applies an incentive cap to each measure, up to a maximum of $30,000 per single-family dwelling unit, $35,000 per multifamily dwelling unit, and $20 per square foot in commercial spaces.
Data Format
Each row in these tables represents the application of a specific measure package to a building typology. The building typology each line represents is defined by the differentiating factors in columns A-K. The remaining columns show various measure package characteristics or EE and electrification impact potentials. Savings are cumulative of all installations that have occurred throughout the study period unless mentioned otherwise (meaning 2030 savings represent results of installations occurring in 2023-2030).
Energy Efficiency and Electrification Measures
Single-Family Energy Efficiency and Electrification Measures by Measure Group
Multifamily Energy Efficiency and Electrification Measures by Measure Group
Table 3-3 shows the multifamily measures considered for this study, along with their corresponding measure group, and identifies which measures are electrification measures. In multifamily buildings, different measures may apply to tenants or to whole buildings. The measure names indicate the space to which they apply. Measures labeled “tenant,” such as tenant lighting or ductless heat pumps, affect tenant space only (in green). Measures labeled “whole building,” such as central boilers and shell improvements, affect both tenant and common area space (in blue).
Commercial Energy Efficiency and Electrification Measures by Measure Group