## Title
DMSHP market characterization study
Appendix E
Market Literature Review

## 1-Overview
Secondary Reserarch- Survey of Secondary Sources- Market Focused Topics
The research team leveraged the 2014 NEEP Ductless Heat Pump Meta-study (http://www.neep.org/neep-ductless-heat-pump-meta-study-report ) as part of its survey of secondary sources of information related to Ductless mini-split heat pumps (DMSHP) and more specifically the detailed research questions that were core to this project. This spreadsheet contains several tabs documenting findings from dozens of secondary resources.
Tab 1- This opening tab provides a brief overview of what the key tabs include.
Tab 2- This synopsis provides a brief overall description of the various studies that the research team surveyed, both as part of the 2014 Meta-study and the "new", more recent studies.
Tab 3- This tab documents findings from the various studies/reports that provided insight into the key research questions posed as part fo this study. This spreadsheet focuses on topics related to the DMSHP Market.
Remaining Tabs- Several remaining tabs document past findings from NEEP's 2014 Meta-study

## 2-DHP Studies - Synopsis
DB# | Reference Study | Synopsis
1 | Bangor Hydro Electric and Maine Public Service Heat Pump Pilot Program | This is an interim report on the summer impacts of a heat pump pilot program in Maine. As we finalized this meta-study, the final report became available and we have updated the findings.
2 | Performance of Ductless Heat Pumps in the Pacific Northwest | This study reports results from a Pacific Northwest utility pilot program which installed, monitored, and evaluated DHP technology. The paper reports on the evaluation of sub-metered data collected on 14 homes. Four channels of energy use are monitored: DHP, electric heat, hot water, and total use.
3 | Air Source Heat Pumps in Southeast Alaska | The Cold Climate Housing Research Center prepared this study that includes a literature review, market assessment, and preliminary modeling for residential heat pumps in Southeast Alaska to provide a picture of the current use in that region. The four sections of the report include a primer on air source heat pumps, a literature reivew regarding heat pumps in cold climates, a southeast Alaska market assessment, and RETScreen and AkWarm modeling.
4 | Mini Split Heat Pump Efficiency Analysis | Analysis conducted by CSG based on historical data referencing other studies. Indicates that heat pumps currently operate with lower carbon footprints and comparable end-user operating costs to current combustion heating equipment. The trend for heat pumps suggests that efficiencies will continue to increase significantly over the coming years, whereas combustion equipment is near its maximum theoretical limit and will therefore remain relatively steady.
5 (16) | Ductless Mini Pilot Study | This 2009 study is an evaluation of a DSHP pilot program conducted by CL&P, UI, NSTAR, and Ngrid in CT and MA in which DHP were installed at approximately 145 sites with installation costs fully paid by the utilities. Energy and demand impacts and customer satisfaction and perspective were assessed.
6 | DHP Monitored Projects from Marc Rosenbaum | N/A
7 | Ductless Heat Pump Engineering Analysis | The study described in this report was funded by the Bonneville Power Administration (BPA) to provide an assessment of the state of technology development and the potential for emerging technologies to increase the efficiency of electricity use.This study evaluated the impact of ductless heat pumps (DHPs) on single-family and manufactured homes with forced-air furnaces (FAFs).
8 | Commonwealth Accelerated Renewable Thermal Strategy | This is a market strategy report covering current state and potential of several technologies - only general technical information is included
9 | Massachusetts Renewable Heating and Cooling Opportunities and Impacts Study | This non-technical report covers market barriers and potential for multiple renewable energy systems - DHPs are classified as renewable energy systems for this report
10 | Ductless Heat Pump Impact & Process Evaluation: Billing Analysis Report | This is a comprehensive report covering an extensive billing analysis report on the heating and cooling savings for DHPs in the PNW - it expands upon and updates/modifies the savings reported in the Field Metering Report
11 | Ductless Heat Pump Impact & Process Evaluation: Field Metering Report | Field monitoring of several DHPS with COP and savings calculations
12 | Energy Efficient Heating Options: Pilot Projects and Relevant Studies | The document is a report to the Maine legislature that outlines opportunities related to reducing heating costs for Mainers. The data relevent to DHP in this report is excerpted from Study #1
13 | Efficiency Maine Low Income Multifamily Weatherization Program | This study assesses the realization rate of savings resulting from upgrades funded by the Maine Low Income Multifamily Weatherization Program by comparing pre- and post-upgrade utility data.
14 | Laboratory Test Report for Fujitsu 12RLS and Mitsubishi FE12NA Mini-Split Heat Pumps | This study evaluates the Northwest Ductless Heat Pump Pilot Project with field monitoring of 95 DHP installations throughout the Pacific Northwest and laboratory performance testing of two DHPs: the Fujitsu 12RLS and Mitsubishi FE12NA.
15 | Mitsubishi Heat Pump VRF Market Data | This data produced by Mitsubishi Electric shows market growth, history, and forecast for DHPs.
16 | Ductless Split Heat Pump – Retrofit (Measure 21) | N/A
17 | MA Cool Smart (Vol. Ductless Mini-Split Heat Pump Survey Results) | This is a slide deck that presents summarized results of study #39
18 | Final Summary Report for the Ductless Heat Pump Impact and Process Evaluation | Final report in a series of evaluation reports based on a pilot project that ran in the Pacific Northwest in 2008-2009, and was monitored through 2012. 3,899 DHP units were installed through the 2008-09 pilot in homes that had previously been heated by electric resistence heat, and there has been extensive evaluation of both technical performance and market impacts. The pilot focused on displacing, rather than replacing existing heating systems, offseting significant portions of the heating load without eliminating the need for a primary heating system that can maintain comfort in more extreme conditions.
19 | Northeast/Mid-Atlantic Air-Source Heat Pump Market Strategies Report | This report characterizes the opportunity for homes to reduce home energy consumption, costs, GHG emissions, and for states to meet energy policy goals. It also identifies market barriers and recommends strategies to realize the important potential for energy and cost savings with DHPs.
20 | EM&V Forum: Primary Research ‒ Ductless Heat Pumps | Reports the results of primary research conducted to better determine the potential for energy savings and efficiency program support for ductless mini-split heat pumps (DHPs)in the residential sector, particularly in heating‐dominant climates, and to determine appropriate methodologies for assessing the savings.
21 | Northwest Ductless Heat Pump Initiative (#E12-245 ed., Vol. Market Progress Evaluation Report #2) | This is the 2nd report on market progress for this substantive, long range NEEA study. It is more specific than the overall final report for the project (Study # 18) It reports that since the initiative launch, over 15,800 DHPs have been installed in the Nothwest.
22 | Heat Pumps (Vol. An alternative to oil heat for the Northeast - input for planners and policy-makers) | Policy paper that presents heat pumps (not just DHP) as an alternative to oil heat in the Northeast. It reviews some market barriers and presents a high level picture of the underlying negatives for oil heat in the Northeast.
23 | A Case Study: ~3,000 Ductless Heat Pumps in Maine | This presentation covers a range of considerations associated with specifying and installing heat pumps in cold climates, addresses DHP concerns, reviews key factors that affect performance of DHPs in cold climates, and interprets manufacturers’ specifications.
24 | Cold Climate Ductless Heat Pumps – Measured performance | This study explores the measured results of a DHP Installation: Stamford, VT July, 2012. Also touches upon Maine program experience, including evaluation billing study
25 | Air Source Heat Pumps in Cold Climate Homes: Expert Meeting Report | The Consortium for Advanced Residential Buildings hosted an Expert Meeting with 45 participants to establish current status and future potential of ccASHP technology including surveys on installations, testing, implementation, program metrics, etc..
26 | Technology Trends (Vol. Cold Climate Heat Pumps / Mini Splits) | Presentation covering technology trends of cold climate heat pumps & mini splits
27 | N/A | N/A
28 | Northwest Ductless Heat Pump Initiative: (#E14-278 ed., Vol. Market Progress Evaluation Report #3) | This is the 3rd report on market progress for this substantive, long range NEEA study. It updates findings from study #21, and provides some of the basis for study #18. Between the initiative launch in 2008 and the As of the publication date utilities have supported the installation of over 19,000 DHPs through the pilot and subsequent programs.
29 | Ductless Heat Pump Impact & Process Evaluation: Lab-Testing Report | Same as #8
30 | Ductless Heat Pump Retrofits in Multifamily and Small Commercial Buildings | This study evaluates the electricity savings that can be gained by installing ductless heat pumps (DHPs) in multifamily and small commercial applications in the Pacific NW.
31 | Eliakim’s Way Three Year Energy Usage | Study focuses on homes in Massachusetts with new DHP installations with three years of annual data at a glance. Not too much substantial info.
32 | Mitsubishi Indoor Unit Brochure | Overview of Mitsubishi Electric cooling and heating systems' specifications for their DHP indoor fan units.
33 | Mitsubishi System Technologies | Overview of Mitsubishi Electric cooling and heating systems' specifications for their DHP models.
34 | Ductless Mini-Split and Multi-Split Heat Pump units under 65kBtuh | This work paper addresses replace on burnout (ROB) of a split system air conditioning unit <65kBtu/h in commercial applications with equivalently sized mini-split ductless systems at 16, 19, and 22 SEER and multi-splits at 16 and 19 SEER.
35 | Improved Modeling of Residential Air Conditioners and Heat Pumps for Energy Calculations | This report presents improved air conditioner (AC) and heat pump (HP) modeling methods in the context of whole-building simulation tools. Its goal is to enable more accurate evaluation of cost-effective equipment upgrade opportunities and efficiency improvements in residential buildings.
36 | Laboratory Testing of Residential, Variable Speed Heat Pump | The objective of this work was to assess the heating performance of a newly developed residential variable capacity heat pump. Evaluating the steady-state, frost accumulation, and cyclic operation of the system were focuses within the assessment. Quantifying the energy savings potential of the residential variable capacity system and identifying the characteristics of variable speed equipment which result in system performance were included in the evaluation.
37 | Economic and Environmental Analysis of Residential Heating and Cooling Systems: A Study of Heat Pump Performance in U.S. Cities | This study analyzes and compares the energy and environmental impacts of HVAC options on an hourly or seasonal basis. It addresses which options are most cost-effective, which provides the greatest CO2 reductions, and which cities are consumers more likely to gain benefit from these technologies.
38 | Kallock FE18 Data | N/A
39 | Ductless Mini-Split Heat Pump Customer Survey Results | A web survey conducted of participants in The Massachusetts COOL SMART program to better understand motivations for participating and how the DHP equipment is being used. The final survey included responses from 430 participants, and the key findings are as follows: DHPs are being installed as retrofit projects, the majority of participants are installing DMSHPs for improved comfort, more often for for cooling than heating, and are being used to supplement, rather than replace existing heating systems.
40 | Incremental Cost Study Phase Two Final Report | This report presents the results of the Second Phase Incremental Cost Study (ICS) commissioned by the Evaluation, Measurement and Verification (EM&V) Forum Research Subcommittee (Subcommittee) to investigate and update incremental costs for a number of common measures employed in energy efficiency programs, including DHPs.
41 | Emera Maine Heat Pump Pilot Program (Vol. Final Report) | This is the final report from the Maine evaluation covered by the preliminary report listed as report #1
42 | Heat Pump Impact on Load Forecast | Presentation presenting predicted impacts of heat pump installations on Vermont energy loads
43 | Navigant: A Ductless Heat Pump in Every Pot…or Home? | DHPs offer solutions to heating savings and winter peak savings. Due to the vast variability in (a) customer motivation (save $, increase cooling or heating comfort, both), (b) different existing equipment, (c) different home characterictics, the baseline should vary. Program design should also vary depending on the goal (saving heating costs, saving winter peak, etc.). Contractors need education so they can educate home owners as to optimal operation. 2 parts to this paper: (1) Con Edison Metering study found DHP operation was highly variable with much lower heating savings than expected and much higher cooling savings than expected. Effective coincidence factor was much lower (0.47) than predicted and savings not corrleated well to rated equipment efficiency & capacity. (2) Survey of market actors & experts in Northwest that looked at market characterization of DHPs in NW and potential load displacement. Findings: Market changing rapidly due to variety of customer motivations and home applications with lots of new products entering; More savings are available but contractors are not using this as part of their sales; Prices unlikely to drop soon; NW motivation is primarily about saving $ by converting from electric baseboards - as compared to motivations in other US locales; When there are ducts, use regular ducted heat pumps. Significant savings are available in places outside of NE and NW if there are goals to reduce winter peak and electric resistance is used. A number of recommendations provided for program designers & also evaluators.
44 | Navigant,Eversource,Cadmus: The Humpty Dumpty of Heating_Minisplit HP Usage in NE | An on-line survey and metering (with on-site interview) of Massachusetts' COOL SMART participants that found DMSHPs are: (1) installed for added amentity (2/3 participants reported they installed DMSHP for improved comfort, 1/3 for energy savings); (2) primarily used for heating & cooling (74% respondents); (3) replacing existing cooling systems (32% respondents stated the space had been cooled previously, of which 85% used window A/C, of which 88% removed the old window A/C system); (4) supplementing rather than replacing heating systems (89% respondents stated area was heated before installation of DMSHP; of which 95% said pre-existing system stayed in place. Of this group, 41% said previously existing system was still primary system, 29% reported DMSHP was now their primary); (5) A blended baseline is most accurate for high-efficiency DMSHP.
45 | BPA: HVAC Market Intelligence Report | BPA completed research on the HVAC market, highlighting how the market works, what the industry is excited about, efficiency trends in equipment sales, and providing suggestions for program design. High-level findings: Industry is excited about ductless; high-efficiency HVAC equipment showing a fairly stagnant market and may need market intervention to jumpstart; information on how purhase decision-making and product flow through the supply chain may impede high-efficiency sales - and there are ways for programs to address these barriers.
46 | NEEA: Residential Inverter-Driven HP Technical & Market Assmnt | The key objectives of this study were to (1) identify relevant market segments in the NW and quantify the maximum tehcnical potential for displacing electric resistance heating in each segment; (2) identify current market barriers and likely market adoption issues for standard DHPs in the NW, and: (3) forecast the likely total displacement of electric resistance heating by standard and specialized DHPs over the next 20 years under different market adoption scenarios. Findings were: (1) The technical potential over 10 years reached nearly 1,350 aMW, while the achievable potential savings (high, medium and low scenarios) were 180 aMW, 240 aMW and 440 aMW; (2) equipment costs are expected to increae at least at the same rate as inflation because of material costs (according to market actors). Recommendations: (1) sponsor the new manufactured housing market; (2) expand the current initiative to other technologies to achieve a greater portion of the single-family existing homes market; (3) The multi-family market should be a low priority unless NEEA plans on bundling DHP with other offerings. If NEEA does this, marketing should focus on the increased value to the rental property (and therefore the opportunity to increase rent price); (4) NEEA should increase marketing & awareness of short-run ducted systems to alleviate aesthetic concerns about traditional DHPs - marketing should focus on "there is a heat pump solution for all applications"; (5) NEEA should consider promoting cold climate heat pumps as the best solution for all participants (as they help peak demand, which may become an increased concern in the future); (6) NEEA should consider adding central inverter-driven heat pumps to the current DHP inititaive to target the market where central heating & cooling is most applicable (e.g. homes with ducts).
47 | DOE EERE BA: CASE STUDY Field Performance of Inverter Driven HP in Cold Climates | Short brochure of monitoring heat output and electricity consumption of seven inverter-driven ASHPs in the northesast during the winter of 2013-14. This included performance in subzero (Fahrenheit) temperatures. The overall COPs were calculated with the data.
48 | DOE EERE BA: Field Performance of Inverter Driven HP in Cold Climates | Full report on monitoring heat output and electricity consumption of seven inverter-driven ASHPs in the northesast during the winter of 2013-14. This included performance in subzero (Fahrenheit) temperatures. The overall COPs were calculated with the data.
49 | NYSERDA: HP Potential for Energy Savings in NY State | A report completed by Optimal Energy for NYSERDA that provides an assessment of the potential for energy savings from heat pumps in NY state. The report has three sections: (1) results of the potential assessment, (2) description of methodology, (3) overivew of selected heat pump technologies, their market status & ideal site characteristsi for installation, and barriers to market adoption. The assessment was limited to heat pumps providing both heating and cooling in residential and commercial buildings in 4 zones: Long Island, NYC, Hudson Valley, Upstate NY. Three potential assessments were performed: (1) Technical potential for ASHP, (2) Technical potential for GSHP, (3) Economic potential for AS and GS heat pumps combined. Analysis compared the potential savings froma heat pump with the likely code compliant alternative and was NOT an analysis that quantifyed the full savings customers would experience (based on TRC). Report builds on NY's Energy Efficiency & Renewable Energy Potential Study.
50 | DOE EERE NREL: Mini-Split Heat Pumps MF Retrofit Feasibility Study | This report investigates whether mini-splits can work in multi-family retrofits focusing on 4 areas: (1) identification of technical barriers to installing MSHPs in selected buildings types; (2) cost with respect to competing alternatives; (3) review of collateral impacts and benefits of MSHPs such as on electrical billing for space heating; (4) market potential for MSHP retrofits in low-rise multifamily buildings, including characterization of the best applications for MSHPs. Conclusions: MSHPs are a viable retrofit opportunity for certain low- to mid-rise multifamily buildings, with many conditions proving to be cost-effective, looking at 3 states ( ) with all projects being retrofits of electric resistance heated buildings. Buildings most suitable are those with high-cost heating fuel (propane, oil, electric resistance); natural gas less suitable. Coupling expensive fuels with poor thermal envelopes further improves benefits. It is easier to install MSHPs on low- to mid-rise (up to 9 floors) buildings where ground and/or roof space permits mounting compressor units in relative close proximity to indoor units. Small, open plan homes where distribution of conditioned air is easy-to-do is more cost-effective. BEOpt modeling using NYC climate converting from electric resistance saves ~30% of annualized energy-related costs. Converting from oil saved ~4%. Converting from NG increases cost 30% more. BEOpt modeling using Boston cliamte found 50% cost savings for electric resistance, 3% savings for oil, and an increase in cost of 24% from NG. Low-rise MF buildings saw minimal technical and regulatory barriers (looking at Maine and Connecticut). For affordable housing where a shift from central heating to individually metered MSHP systems may engender regulatory barriers but no existing conversions of this type were identified.
51 | NEEA: Northwest Ductless HP Initiative Market Progress Evaluation Report No 4 | 4th Market Progress Evaluation Report (MPER) of NEEAs NW Ductless Heat Pump Project (Initiative), launched in 2008 - 2010. The Initiative is a market transofmration effort that (1) promotes product availability and (2) builds consumer and market awareness for DHPs, focusing on "pushing" equipment through midstream and upstreamn and creating "pull" from customers through consumer-focused marketing. Initiative trains installers to become Master Installers who must participate in Orientation & Best Practices training and install a minimum # of DHPs in last 3 years - they then receive beneifts such as preferred listings on website etc.
52 | NEEA: Consumer Messaging for Ductless HP and HPWH | Report summarizes the findings from the DHP and HPWH mesasge testing conducted by ILLUME for NEEA. Key findings inlcude: customers are somehwat aware of DHP and HPWH; despite being unfamiliar almost all consumers are open to learning more and ultimately purchasing them; for DHPs upfront cost (58%), concerns about impropery installation (57%) and ease of self-install (41%) were primary barriers by respondents. For HPWHs, upfront cost, lack of familiarity & ease of self-install were primary barriers. Aesthetic concerns were a barrier (21%) but the other benefits can offset this; consumers intend to purchase a heating system or water heater only when their current system breaks down; participants said they would ask contractors for more DHP info (this was second to most-cited source of info which was family and friends at 36%). Customers indicated contractors are a key source ofinfo, but so too are online ratings, customer reviews, utility company info. Motivation: saving money first (and saving energy somewhat synonymous). For DHPs, safety *73%) and ease of operation (68%) also weighed in. For HPWHS, durability and long life also factored but not as much as saving money.
53 | NYSERDA Residential Baseline Study Volume Three HVAC Market Assessment Final Report | The HVAC Market Assessment identifies the baseline conditions for residential non-electric heating and water ehating equipment, central air conditioning, and heat pumps in NY state, focusing on single-family homes with 1 to 4 units, multifamily buildings, or in townhouse-style configurations where individual units have their own heating systems. The assessment shows where market is now based on equipment sold/installed in 2012 and after, and what % of the equipment currently being sold is high efficiency. This information will be used to establish more accurate baselines, estimate the influence of NYSERDAs and other PA activities on the market, and to support program planning in NY. They study used primary data (47 phone surveys & over 3,000 phone & web surveys), secondary data (HARDI sales data for 2013 and Census), and also made comparisons to data on installed HVAC equipment from on-site inspections of 179 new construction and 197 existing homes.
54 | R113 Ductless Heat Pump Evaluation - Connecticut Energy Efficiency Board (DNV GL) - 6/27/16 | This study was undertaken to identify the causes of the lower than expected realization rate (46%) for ductless heat pumps (DHPs) reported in the R16 Impact Evaluation of the 2011 program year for DHPs installations in single and multifamily residences in Connecticut through the Connecticut Energy Efficiency Fund (CEEF). Study involved: Collection of data from both 2011 participants and participants in subsequent years (2013 - 2015), including 124 phone surveys, of which 20 respondents agreed to an on-site survey; and also in-depth vendor interviews. FIndings included: (1) Participants are overwhelmingly satisfied with their DHP, (2) low realization rate due primarily to (a) a moderate # of installations that added to heat loads which was not accounted for in original calculation, (b) cooling saving factor that was used for original calculation was pased on program operations and installation conditions that differ from actual conditions, (c) many customers are adopting control strategies that reduce the overall efficiency of their DHPs. Other conclusions include: (a) electric savings in future years may be even lower than the R16 findings for a variety of reasons, (b) Although considerable customer education is occuring, more needs to be done in the area of integrating the pre-existing system, (c) there was not enough evidence to conclude that temperature take-back was a factor in the low realization rate - other operational patterns were likely to have more of an impact, (d) majority of pre-existing cooling systems are no longer in use, (e) operational patterns of DHP users suggest using a two-stage, variable degree-day billing analysis approach when the pre-existing heating system is electric; (f) using billing analysis methods to evluate customers with pre-existing oil heat is not recommended due to lack of fuel use data, etc. RECOMMENDATIONS: Update the current PSD savings calculations to reflect actual applications, (b) perform billing analysis for electric heat users, (c)perform on-site engineering analysis, (d) educate customers on DHP operation strategies to maximize efficiency, (e) target electric resistance heat users, (f) use a 2-stage, variable degree day approach for all fugure applications of biling analysis to estimate DHP savings (g) change DHP application form to ask about location of DHP (addition or new space?) and whether DHP will be used for heating, cooling, or both.
55 | Ecotope: Performance Testing of HP in NW | The research described in this paper incorporated detailed house and duct measurements and eight weeks of heating season monitoring and evaluated the capacity and efficiency of the combined heat pump and duct system in homes in central Oregon.
56 | CEE Field Assessment of CC ASHP | This paper describes the results from installing three ccASHPs in Minnesota homes, including detailed monitoring equipment, to collect data for the 2015-2016 heating season. Data analysis was performed to determine energy savings, heat pump heating capacity, installed efficiency, and the ability to reduce reliance on the traditional or backup heating system. Space heating energy savings of 39-65% and cost savings of 14-29% were found.
57 | Cadmus: DMSHP Systems: Answers to Questions about Efficiency You Didn’t Know You Had | This paper provides technical background information about DHPs, then explains the DHP testing and analytical methodology defined in the AHRI standard. There are several real-world examples from long-term meter data included to support these concepts. Additionally, the authors compare nameplate efficiency ratings to the actual measured average efficiency from 90 DHPs for a full cooling season. The paper includes a comprehensive explanation of rated efficiency and performance to describe how AHRI standard ratings may be misleading, and explains which specification data are important and how to use these data to select a DHP system that meets the needed criteria and maximized energy savings.
58 | Cadmus: Interaction of Cold Weather DHP and Primary Fossil Systems | This paper gives a summary of a study of over 100 homes in Massachusetts where detailed data was collected on 150 DMSHPs and on the heating systems that had previously fully heated the study homes. The paper examines when residents used ductless systems and base systems and estimates the relative costs of that use.
Note on A46: Gabrielle: # aligned with above

## 3-2016 NYSERDA questions
| MARKET SIZE |  |  |  | TRACKING/BASELINE |  | LOCATION / CUSTOMER USE | CONSUMER |  | CHANNELS |  | MARKET ACTORS | BARRIERS |  |  | AWARENESS |  |  |  | BIZ MODEL/DECISIONS |  | PROGRAM IMPACT | MISC NOTES
2016 NYSERDA Questions | What is the size of the current market by county ("state?") including baseline market share- by climate zones? | What is the size of the potential market by county ("state?") including baseline market share- by climate zones? | How does the size of the markets differ between residential, multi-family and small commercial? (an estimation is acceptable) | Which market segments (res, MF, small commercial) are most ripe for further adoption? | Which key market indicators should be used to effectively track sales, market share and promotion of DHP? | What should be used for a baseline measurement? | Where are DHP currently installed and would a different location in the building lead to greater energy savings? (if located in different space, does the customer use the DHP differently?) | What is the primary consumer motivation for installing DMSHP? Heating? Cooling? Both? Saving money? Going green? | To the best of your ability, please rate customer satisfaction with the product on a 1-10 scale. (1 is low; 10 is high). | What are the product distribution channels? | What are the product sales channels? | Who are the key market actors? What are their roles in promoting DHP? What is their level of activity in promoting DHP? | What are the market barriers for installers and contractors? | What are the market barriers for technology success? | What do contractors and installers think are the barriers for customers to adopt DHP? | How aware are installers/contractors of DMSHP? | According to manufacturers, what/how aware are distributors? | According to distributors, what/how aware are installers/contractors? | According to installers/contractors, how aware are customers? | What is the contractor/installers business model? What are their drivers? How do contractors view the value propositions of the customers? | What decisions are upstream manufacturers and distributors making regarding production and distribution of DHP? | Are there (?)/ what are the potential future impacts from program intervention (e.g. what is the anticipated increase in market share of DHP in absence of traditional per-unit measure incentives?
Navigant: A Ductless Heat Pump in Every Pot…or Home? |  |  |  | Consider promoting DHPs in high-end res new construction. Where baseline heating systemp is two ore more, separate ducted systems, a ductless heat pump may offer large savings. The incremental cost of a DHP relative to a ducted system with zoning is lower than the incremental cost of a DHP relative to a single zone central system. Additional savings available by avoiding ducts altogether. |  | Choice of baseline depends on customer motivation (heating, cooling, save $). Code-min DHP for customers adding heat/cool to existing space with no ducts. If customer installs to save $ on heating, baseline should be existing equipment under a retrofit since existing equip usually stays put. |  | Motivations vary depending on customer. 3 reasons: save heating $, want new central cooling in home w/o ducts, or both. | [9 empty] | Manu & dist say contractors are not emphasizing the savings potential available through CCHP in their sales. |  | Contractors not emphasizing savings potential of CCHP to customers. |  | Programs can influence customers differently depending on program goals (e.g. if goal is to save fossil fuels, then influence cust to install DHPs; for peak savings, program can influence cust to select improved DHP). Programs can maximize their savings goals by educating customer on operation. Provide contractor & customer training to max savings. Target DHPs to displace existing oil, propane & electric resistance heat b/c more savings = higher rebate levels = greater market influence. | Manufac & Distrib say DHP market changing rapidly with new products being introduced to meet the wide variety of customers interests, different existing equipment & home characteristics.
Navigant,Eversource,Cadmus: The Humpty Dumpty of Heating_Minisplit HP Usage in NE | [5 empty] | A standard efficiency DMSHP is not the correct baseline equipment for high-efficiency DMSHPs in Massachusetts due to different uses (heating/cooling) and different custome rmotivations.A blended baseline is suggested. In this study, 47% of participants were characterized so standard efficiency DMSHP baseline would be accurate; 53% were characterized so existing or stated alternative technology was most appropriate baseline. | 58% of respondents installed DMSHP in a place that had been ONLY heated, and 31% installed DMSHP in a place that was heated AND cooled. Only 2% of respondents installed in a NEW space, while 7% installed in spaces that were not previously conditioned. | Varies. 74% of on-line survey respondents use DMSHP for heating & cooling; 1% for heating only; 25% for cooling only.
BPA: HVAC Market Intelligence Report -- NORTHWEST area |  |  |  |  | HVAC industry does not divide RES from COMM like EE industry does. Rather, they track sales by product line, size (tonnage) & technology type. RES (<5 tons), small COM (5-25 tons), large comm (25+ tons). |  | Installers recommend DHP for additions or spaces that were previously unheated, homes w/ zonal electric heat, homes w/ wood and commercial spaces. Wood, wall heaters and baseboards were the most common heating sources used prior to installing DHP. |  |  | RES: RES market is fairly straightforward compared to COMM. Not too many players crowding supply chain with a predictable decision-making framework. The supply chain is consolidated at manufacturing and distribution. However, the contractors and builders are very fragmented. VERSUS COMM market is complex with many moving parts, players and longer sales cycles. Efficiency often falls to the side unless there are strong champions and the efficient equipment is available and familiar. For RES product dist channel, it's a hub-and-spoke model. VERSUS >25 ton systems are shipped directly from manufacturer to builder site. |  | Market is seeing manufacturing partnerships between US and Asia, eg: York+Hitachi; Goodman+Daikin; Midea+Lennos; Carrier+Toshiba; with Trane and Mitsubishi strong enough to not partner. US firm brings brand awareness w/ Asian firm bringing equipment. |  | Distributors will not stock what they cannot frequently sell. If consumers & contractors aren't requesting high efficiency equipment, distributors are unlikely to keep stock, causing longer lead times. Also, there is not enough proof of savings for VRF. | High up-front cost, consumer awareness. | [6 empty] | In Commercial, higher efficiency models not moving unless program support. Opportunity in RES market to work with manu/dist more than installer & enduser. Suggestions for programs: include distributors as target audience; support distributors in promoting/stocking equip and getting efficiency message to contractors; identify how to move new const market; embrace ductless but don't forget majority is ducted. Educate market actors in COMM sector; Collect data on VRF savings. | Ductless HP is growing, but still show fewer sales than ducted HP systems. DHP make sense when there are no ducts and in new const. Suggestions to not duct in new const due to 30% heat loss. VRF shows opportunity in new commercial construction w/o ducts. VRF has more advanced controls, provide simultaneous heating & cooling and heat recovery. Commercial more challenging to move than RES for high efficiency HVAC systems due to complexity of business channel.
NEEA: Residential Inverter-Driven HP Technical & Market Assmnt | [7 empty] | Cited the 2014 Navigant study: (1) save money on heating; (2) want a new central cooling amenity in a home without ducts; (3) both 1 and 2. |  |  |  |  | Contractor barriers include lack of knowlede, experience, distrust in the technology's capabilities. | Technical barriers include: temperature/climate-related limits to unit capacity; spatial restrictions to heat flowing to the full home; whether wall construction dictates that it is cost-prohibitive to run refrigerant lines | Physical barriers, as defined in this study, are related to the occupant's willingness to purchase a DHP. (1) the presence and condition of existing ducts; (2) access to natural gas. Other market barriers from the occupant include: financial barriers, lack of awareness, distaste for aesthetics, etc. | Installers do not value - or they do not blieve that most customers will value - the benefit of CCHP relative to standard heat pumps. | [6 empty] | NEEA should: (1) focus on new manufactured homes; (2) expand incentives to other HP technologies serving single family homes; (3)Equipment costs unlikely to decrease unless there is increased competition in the marketplace (e.g. material costs unlikely to drop); (4) Only focus on multi-family if incentive is combined with another offering - otherwise this will be a hard sell and not the easiest market to move; (5) Focus marketing efforts on awareness & benefits of short-run ducted systems; (6) Promote CCHP for all participants; (7) NEEA should consider central inverter-driven HP incentives for homes with existing ductwork.
NYSERDA: HP Potential for Energy Savings in NY State |  |  | In the Pacific NW, GSHPs tend to go into homes >3,000 sq. ft. | VRF systems are best suited to larger commercial and residential buildings that benefit from a high degree of individual zone control (offices, hospitals, multifamily buildings, nursing homes, strip malls, schools). | [8 empty] | For DMSHP: Uncertainty and lack of installers, lack of contractor training. For VRF: poor understanding of savings, concerns about refrigerant leaks, limited manufacturer presence. For GSHP: High first cost, complexity, site limitations, limited number of qualified, trained installers. | For DMSHP: High first cost, aesthetic concerns, low temperature heating. For VRF: High first cost, poor understanding of savings, concerns about refrigerant leaks, limited manufacturer presence, ventilation requirements, lack of test rating procedures. For GSHP: physical constraints such as proximity to water, large enough land area, soil type, etc., potential for glycol or refrigerant leaks. | For DMSHP: High first cost, aesthetic concerns, lack of awareness. For VRF: High first cost. For GSHP: High First cost, economics compared to ASHPs, site limitations. | [7 empty] | NYC generally the least cost-effective location (highest equipment and labor costs, most expensive winter elec avoided costs, least expensive oil. Upstate NY is generally the most cost-effective due to the opposite characteristics as NYC). This report found the opposite as a previous report - that costs would come down as technology becomes more well-known. GSHP penetration in Scandinavia: 30% of Swedish houses have GSHP, with 15,000 GSHP systems in Norway and 46,000 systems in Finland.
DOE EERE NREL: Mini-Split Heat Pumps MF Retrofit Feasibility Study |  |  |  | MSHPs may be promising for new construction where multiple units can be strategically located; for retrofit as a replacement of old inefficient HVAC systems wehre space is a premium; and for providing a solution for replacing deteriorating central heating systems in MF building stock and/or electric resistance heating systems in cold climates where other fuel options besides electricity are impractical. |  |  |  | This report referenced a NEEA report: 57% choose MSHP b/c it's efficient; 17% b/c ductless. | This report referenced a NEEA report: 90% expectations were met; 96% use the new MSHP for primary heating. |  |  |  |  | Barriers related to placement/location of outdoor compressor unit and proximity to indoor evaporator unit. 9+ stories will require intermediate locations for compressor placement. Building codes may limit locations. Utility billing may make it hard to go from 1 central heating to individual MSHPs bills. Impacts to peak will vary depending on original fuel type. Generally not cost effective to fuel switch from NG. There may be challenges for affordable housing to switch from one central heating system to individual MSHPs for billing purposes. | [8 empty] | Contractors may find that selling the reduced annual maintenance for the property management company may be a good sales pitch (replacing filters regularly is less work than removing/installing/storing window A/C units. Can also charge higher rent b/c higher property value. Need to educate homeowners to turn OFF electric resistance heating, not just lower, in order to see estimated savings from MSHPs. Learning curve for one housing authority - they told people to use ER heat due to snow covering the MSHP and they had 1 defected unit and 1 unit infested w/ insects. Utility costs are passed thru to state/fed programs, but additional maintenance costs are not. B/c utility program sealed up pre-existing a/c sleeves, if the heat pump fails, they will return to window units for A/C.
NEEA: Northwest Ductless HP Initiative Market Progress Evaluation Report No 4 | In the NW: 13% market saturation as of 2013/2014. The program goal is 85% by 2029. |  |  | Installers & others believe manufactured homes market continues to have high, untapped potential. |  |  |  |  | 95% of participants were satisfied or very satisfied, more than 75% recommended to a friend. |  |  | "Master installers" are a strong driver for Initiative activity and tend to be more sophisticated in DHPs than others. Customers continue to rely on Word-of-Mouth as primary source of initial info on DHPs. | [6 empty] | Customer interest is increasing (43% in previous study to 52% in this study). Customers relying more on internet & WOM rather than installers for info. |  |  | ~50% suppliers indicated the Initiative directly influences their marketing & that they dedicate marketing to incented products. NEEA should: increase the # of Master Intallers, support smaller installers and encourage a higher # of installatiosn per installer, increase outreach to retailers, reassess the 85% by 2029 market penetration goal. | Aesthetics is less of an issue than anticipated, and becomes a non-issue post-installation.
NEEA: Consumer Messaging for Ductless HP and HPWH | [7 empty] | Motivation: saving money first (and saving energy somewhat synonymous). For DHPs, safety *73%) and ease of operation (68%) also weighed in. For HPWHS, durability and long life also factored but not as much as saving money. |  |  |  | Customers indicated contractors are a key source of info, but so too are online ratings, customer reviews, utility company info. Participants said they would ask contractors for more DHP info (this was second to most-cited source of info which was family and friends at 36%). |  |  | For DHPs upfront cost (58%), concerns about improper installation (57%) and ease of self-install (41%) were primary barriers by respondents. Aesthetic concerns were a barrier (21%) but the other benefits can offset this. |  |  |  | Customers are somehwat aware of DHP and HPWH; despite being unfamiliar almost all consumers are open to learning more and ultimately purchasing them. |  |  |  | Consumers intend to purchase a heating system or water heater only when their current system breaks down - this would indicate that messaging should try to motivate customers to purchase sooner, rather than waiting for current the system to break down.
NYSERDA Residential Baseline Study Volume Three HVAC Market Assessment Final Report | ~6.1% of the primary heating equipment is replaced each year, usually with ducted furnaces & water boilers (~70%). Page 15: Zone 5 has a much higher % of ducted furnaces as compared to Zones 4 & 6. Zone 4 has a much higher % of boilers. / ~9.8% of the primary cooling equipment is replaced each year. |  | Mini-split systems represent 12% of new cooling systems in existing homes vs <1% of new construction cooling equipment. |  |  | >80% of central AC systems statewide were not high efficiency.<15% of recent equipment sales are very high efficiency. | [5 empty] | The small contractor group is the largest opportunity for influencing the market for high efficiency HVAC equipment b/c they are doing 2/3rds of the total annual sales of heating systems. Also, small contractors reported that they were less likely to attend trainings and be certified than large businesses. | [6 empty] | Large & small contractors think the primary driver for more efficient HVAC equipment will be customer demand, followed by utility or state rebates/incentives. | NATE received the most mentions among surveyed contractors as their "go-to" resource for training & certification. Vast majority of contractors said they used manufacturer/distributor training programs (93% of large contractors require training; 52% of small contractors require). |  |  | Both large & small contractors feel they are very proficient in all key design & installation practices including proper sizing, but they also indicated they could improve on the amount of testing done to ensure efficient operation. Small contractors were less likely to test building ventilation calculations, duct leakage tests, duct pressurization tests. Large contractors were also less likely to conduct duct leakage, duct pressurization and measure water flows. General awareness of federal standards for EE equipment was low. Only 2 contractors felt there was an increase in early retirement: there are opportunities for savings from early retirement programs for EE equipment.
R113 Ductless Heat Pump Evaluation - Connecticut Energy Efficiency Board (DNV GL) - 6/27/16 | [6 empty] | Programs should try to capture whether the space is new, a space previously unheated - and whether the system will be used for heating, cooling, or both - to get a better sense of real energy savings opportunities. |  | Customers overwhelmingly satisfied even though they are not using the DHPs as efficiently as possible. | [9 empty] | Customers struggle with understanding how to operate their DHPs even though they receive training and education - particularly how to integrate DHP with existing heating system. |  |  | With low oil prices, may be difficult for programs to move this technology as much as otherwise possible. PAs should target electric resistance heat users.
Cadmus: DMSHP Systems: Answers to Questions about Efficiency You Didn’t Know You Had | [21 empty] | In Minnesota, programs should target existing homes that use electricity, propane, heating oil (not natural gas); should include shell work; and cost-effectiveness should be based on the total energy savings (electricity and heating fuel), net any increase in electricity from ccASHP. Fuel switching should be considered - and controls and operations will help improve savings.
Cadmus: Interaction of Cold Weather DHP and Primary Fossil Systems | [5 empty] | Baseline will depend on what the DHP is being used for. |  | 65% of customers purchased DMSHP for heating & cooling; 31% said they purchased primarly for cooling; 4% purchased for heating only. There were significant differences in DMSHP use between those who purchased DHP for heating vs cooling; with those who purchased for cooling using it for heat, but only using it for 1/4 heat load. | [13 empty] | PAs should understand how a potential market plans on using the system to achieve best applications and greatest savings (e.g. for heating, for cooling, for both, in a space that already has heating, etc.). | How a DMSHP is used is one of the largest determiners of fuel savings and cost effectiveness. Reasons why a DMSHP may not operate at maximum capacity include: (1) user choice is based on economics, (2) user choice is based on performance (they like their traditional "hot" air), (3) it is located in a low-occupancy area; (4) It is located in a zone with coincident heat.

## 2014_DHP Studies-MKT Condensed
DB# | Reference Study | N/A to Market / Customer issues | Customer Characteristics | Customer satisfaction | Customer Comfort | Barriers | Market Characteristics | EE Program Information | Quality of installations | Installed unit costs
1 | BHE-EMT Heat Pump Interim Report 2013 |  | X | X |  | X | X | X
2 | BPA- ACEEE Performance of DHP in the Pac. NW 2010 | [5 empty] | X
3 | CCHRC ASHP Report 2013 | [5 empty] | X | X |  | X
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 |  | X | X | X | X | X |  | X
7 | BPA DHP Engineering Analysis (Res) 2012 |  |  | X | X
8 | DOER Renewable Thermal Strategy Report 2014 |  |  |  |  | X | X
9 | DOER Renewable Heating & Cooling Impact Study 2012 | [5 empty] | X
10 | NEEA DHP Billing Analysis Report 2013 | [5 empty] | X
11 | NEEA DHP Evaluation Field Metering Report 2012 | [5 empty] | X
15 | Mitsubishi Heat Pump Market Data 2011 | [5 empty] | X
18 | NEEA DHP Final Summary Report 2014 |  |  | X | X | X | X | X
19 | NEEP Strategy Report 2013 |  |  |  | X | X | X | X |  | X
20 | NEEP DHP Report Final 2014 |  |  | X | X |  | X
21 | NEEA DHP Market Progress Eval 2 2012 |  | X | X |  | X | X | X | X | X
22 | Rocky Mountain Instit. DHP Paper 2013 |  |  |  |  | X | X
23 | EMaine Case Study (Andy Meyer) 2014 | [6 empty] | X
28 | NEEA DHP Market Progress Eval 3 2014 |  | X |  |  |  | X | X
39 | Ductless Mini-Split Heat Pump Customer Survey Results |  | X | X | X |  | X | X
40 | NEEP incremental cost study | [5 empty] | X |  |  | X

## 2014_Customer Characteristics
DB# | Reference Study | Customer Characteristics | Highlights
1 | BHE-EMT Heat Pump Interim Report 2013 | X | Study looked at customer motivations for participating in the DHP program. 81% cited saving on heating expenses was the primary reason for installing a DHP.51% of respondents cited "to take advantage of the program" as a secondary reason. Only 5% cited air conditioning as the primary reason for installing the DHP but 60% indicated that air conditioning was among their reasons for choosing a heat pump. Most installers agreed that most of their heat pump customers were already aware of and educated on the technology, and were in general more affluent and educated.
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 | X | Did not find anything relevant
21 | NEEA DHP Market Progress Eval 2 2012 | X | 300 phone surveys were completed in 2012- 101 with homeowners who had installed a DHP through the program and 199 with the general population. The survey identified utility sources as the most common information source regarding DHP (52%) followed by word of mouth (47%) and contractors/installers (30%). The study identified that 32% of respondents reported that hearing about DHP from a friend or relative influenced their purchase. It also found that the main reason for homeowners' initial interest in DHP was a desire to be more energy efficient, but that adding cooling (23%), the need for additional/supplemental space conditioning (22%), existing heating was not working well enough (20%), and needed space conditioning and had no ducts (17%) were all significant. Since installing DHP 96% of participants now rely on the DHP as their primary heat source. Comfort potential and cheaper operating costs were very important factors in customers' decision to install DHP, as were the installed cost of the unit and the cooling capacity. For the general population, roughly 3% had actually installed a DHP outside of the program. 34% were aware of DHPs. Of these, 41% had heard about DHP from friends and relatives. 41% of the non-participants were aware of DHP and had considered installing one. Over half of the non-participants who were aware of DHP knew that utilities provided incentives for them.
28 | NEEA DHP Market Progress Eval 3 2014 | X | 304 phone surveys were conducted- 101 for households that had installed DHP through Q1 2012 and 203 general population surveys. Surveys were also conducted with contractors- both those who have interacted with the initiative and those who have not. Surveys were also conducted with representatives of 24 Northwest utilities with DHP programs and with 13 DHP manufacturers and distributors. Most commonly participants learned about DHP from someone they knew or by utility sources. A significant number also learned about DHP from home shows and through the internet or social media. 51% of participants were initially interested in DHP to become more energy efficient, 16% needed heating or cooling and had no ducts, and 16% wanted to lower their energy bills. Only 8% said that their initial interest was due to rebates, though 35% said that rebates were very important in making the purchase decision and 46% said rebates were somewhat important. Only 2% said that rebates were not important at all. Factors that influenced participants purchase decisions include cheaper operating costs (93% said this was at least somewhat important), purchase/installation costs (83% said this was at least somewhat important) and comfort potential (81% said this was at least somewhat important). Post-install, 94% of participants report that the DHP is now their primary heating source.
OVERALL SUMMARY |  |  | Data is limited to studies in Maine and the Northwest. In both cases customers primarily purchased heat pumps to lower heating costs, increase home comfort, and become more energy efficieint. However, the added benefit of cooling and available incentives help close the sale. DHP customers in areas with mature programs have heard about the technology through PA promotion efforts, word-of-mouth, and contractors. Once installed, the vast majority of DHP owners tend to use them as their primary heating and cooling source.

## 2014_Customer Satisfaction
DB# | Reference Study | Customer satisfaction | Highlights
1 | BHE-EMT Heat Pump Interim Report 2013 | X | Survey of 945 program participants with DHP installations in Maine. Overall, satisfaction with the Program and each of its components is quite high (e.g., participating contractors, response from program staff). On average respondents rated the likelihood that they would recommend the DHP program 9.7 on a 0-10 scale. Among other things the study looked at customers' satisfaction with the installation of their heat pump. Most customers were very satisfied with the quality of work (76%) and the quality of the installers knowledge of heat pumps (83%). However 11% were very dissatisfied on both counts. It is not clear what caused this level of dissatisfaction.
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 | X | The study surveyed pilot participants on a number of issues. 38 out of 40 participants reported satisfaction at 4 or 5 on a 5 point scale with 5 being the highest. 31 customers indicated that the new system works better than the old one. Customers are somewhat more satisfied with the cooling performance than the heating performance. The study did also note that some participants found the remote control confusing. In terms of customer perception of savings, only 5 of 32 respondents claim that their electric bills went down a lot, and another 16 say that their bills have decreased somewhat. One of the key perceived drawbacks tot he systems was difficulty understanding the remote control- most found the systems easy to use once they got the hang of it, but felt that they needed more training at the outset.
7 | BPA DHP Engineering Analysis (Res) 2012 | X | Participant survey of 20 homes. Study evaluted the impact of ductless heat pumps in single family and manufactured homes with forced-air furnaces. Most participants were very satisfied with the sound, electricity bill, comfort, and maitenance of the systems. The rest were either neutral or satisfied.
11 | NEEA DHP Evaluation Field Metering Report 2012 | X | Strong consumer acceptance reported
18 | NEEA DHP Final Summary Report 2014 | X | The study found that DHP has strong consumer acceptance and performance that matches the space heating needs of typical utility customers. 92% of survey respondents reported high levels of satisfaction with the DHPs and with the program processes. The majority of participant and installer respondents found the installations to be quick and relatively un-burdensome.
20 | NEEP DHP Report Final 2014 | X | Participant survey. Most participants were extremely satisfied with the heating ability. All participants expressed satisfaction with the cooling performance.
21 | NEEA DHP Market Progress Eval 2 2012 | X | 89% of participants said that the DHP met their expectations. 74% report that the DHP provides sufficient heating and cooling for their household. When systems weren't able to meet heating needs it was typically when the outdoor temps were between 10 and 30 degrees. The study does not indicate how many of these systems were rated for cold climate performance. The primary reason that participants would recommend a DHP is to lower energy bills.
28 | NEEA DHP Market Progress Eval 3 2014 | X | Participants were surveyed for satisfaction on a number of performance criteria, including sound of indoor unit, required maintenance, comfort of cooling, comfort of heating, electricity bill since install, and appearance of indoor unit. A very strong majority were either very or somewhat satisfied on all these criteria.
OVERALL SUMMARY |  |  | DHP customers tend to be highly satisfied with their systems. Bill savings are noticed. For those most unsatisfied, it was regarding under-performance at lower temperatures. There is some confustion about DHP controls.

## 2014_Customer Comfort
DB# | Reference Study | Customer Comfort | Highlights
3 | CCHRC ASHP Report 2013 | X | Participant survey of several homes between 2006-2011 in Southern Alaska. With the DHPs, overall comfort improved as heat was provided to locations that were previously not heated well.
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 | X | The study ran 3 focus groups of 10-12 people each. Most attendees named increased comfort and steady temperature as a key benefit. Some participants found that in large rooms or those with hidden corners or spaces the systems failed to provide a consistent temperature.
7 | BPA DHP Engineering Analysis (Res) 2012 | X | Participant survey of 20 homes. Focus group attendees were generally satisfied or very satisfied with the system. All but 5 were very satisfied with the comfort of the new heating/cooling. Those 5 were just "satisfied."
18 | NEEA DHP Final Summary Report 2014 | X | Participant survey. Most participants reported receiving non-energy benefits from their DHPs: increased comfort, ease of control, and air filtration.
20 | NEEP DHP Report Final 2014 | X | Homeowner surveys. No negative comfort issues associated with units
OVERALL SUMMARY |  |  | Most DHP customers are satisfied with their systems. They like the increased comfort and steady temperatures in the proximity of the DHP, but find some temperature variability in other locations away from the DHP.

## 2014_Market Barriers
DB# | Reference Study | Barriers | Highlights
1 | BHE-EMT Heat Pump Interim Report 2013 | X | The pilot program "was designed around mitigating four major barriers: (1) lack of awareness regarding heat pumps, (2) difficulty identifying qualified contractors, (3) high first costs of installation, (4) lack of available capital to make home improvements: The study looked at customer concerns and found that low temperature performance, reliability of cost savings, and reliability of the heat pump in general were the most significant concerns. The research team also surveyed installers for information on barriers. Half of the installers cited their perception that first costs were too high for many customers regardless of the sales technique used.
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 | X | For this pilot program the full installation costs were paid b y the program. In a post-install survey, 10 of 40 respondents would have kept their old system if they had to pay the full cost, 6 were unsure, and 11 would have paid the full cost.
18 | NEEA DHP Final Summary Report 2014 | X | Contractors had not seen strong market potential for DHP prior to the pilot project. The key issue in turning this around seems to be contractor understanding of the value of DHP to displace rather than replace prior heating system use. Once they accepted this approach they found that DHP had a positive impact on their businesses and on customer satisfaction. Initially there was a notable lack of customer awareness of the technology, and customers also faced aesthetic issues, first cost barriers, and a lack of a solid distribution network. Utilities, manufacturers, distributors, and installers worked together to raise awareness. Utilities reported that despite reduced marketing, consumer demand for DHP continued to grow in 2010. Most attributed this to word-of-mouth from satisfied customers.
19 | NEEP Strategy Report 2013 | X | The study includes information on market barriers, which it identifies as, among others: poor awareness of technology improvements; difficulty in identifying models designed for cold climates; large range in predicted savings; high install costs; inappropriateness of ductless systems for replacing, rather than displacing, central ducted systems. In addition, the NEEP study specifically referenced the lack of data regarding savings in fuel-switching scenarios as a barrier to rapid market growth. Also the lack of policy level awareness and support.
22 | Rocky Mountain Instit. DHP Paper 2013 | X | The barriers that this policy paper identifies are for heat pumps in general, not just for DHP. They are 1) initial costs are too high; 2) limited awareness of the technology including negative associations with the appearance of DHP and lack of qualified installers and system designers; 3) the difficulty of the retrofit installation, including challenges of replacing an existing failed oil system with a differently configured heat pump system.
OVERALL SUMMARY |  |  | (1) Lack of customer awareness and aesthetic acceptability regarding DHPs, (2) Difficulty identifying qualified contractors, (3) Lack of contractor awareness of DHP technology improvements, applicability as a displacement vs. replacement option, value to their customers and profitability to them, (4) High first costs and minimal information on predicted savings, (5) Lack of a coordinated effort between utilities, manufacturers, distributors, and installers, (6) Lack of policy-level support when using ratepayer funds.

## 2014_Market Characteristics
DB# | Reference Study | Market Characteristics | Highlights
1 | BHE-EMT Heat Pump Interim Report 2013 | X | Study researched DHP market structure and identified key stakeholders for DHP EE programs: 1)utilities 2) Efficiency Maine3) Registered Installers 4) Distributors 5)Manufacturers 6)Financiers 7)Customers. Also looked at pre-program market indicators and determined that 20% of residential and commercial customers combined reported at least some familiarity with heat pumps, 13% of customers reported the utility as the first source of energy saving information, 4% of customers have installed a heat pump at their home, and 50% of heat pumps sold were "program eligible".
2 | BPA- ACEEE Performance of DHP in the Pac. NW 2010 | X | While primarily a metering study, this paper refers to a 2009 NEEA market assessment study that determined there are roughly 575,000 homes heated with electric resistance heat in the four state region of Washington, Oregon, Montana, and Idaho. It also notes that there have been numerous, relatively successful weatherization programs over the years that addressed energy in these homes, but that they had not in the past been able to address heating system replacement due to the high cost of distribution and the lack of capital faced by many families.
3 | CCHRC ASHP Report 2013 | X | ASHP have been used in southeast Alaska for decades, but a 1982 study found that there "was anecdotal evidence of problems with the defrost cycle" and they were used sparingly. The report suggests that technology improvements and more efficient homes with smaller heat loads have changed the relevance of ASHP for the southeast Alaska market. The report also notes that with the prevalent rain and snow in the region some installers have taken to installing a roof with open sides over the outside units to prevent snow and ice buildup on the units that would cause the defrost cycle to run more than would otherwise be necessary. The study compares oil prices (relatively high) with electricity (relatively low) which is advantageous to the installation of heat pumps. Mitsubishi and Fujitsu dominate the market for cold-climate heat pumps in this region. The study looks at installer experience, and reports that at the time the study was being conducted installers reported a surge of interest in heat pumps and saw no need for advertising.
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 | X | This study provided very limited market information, addressing only a couple of questions related to prior perceptions in focus groups. The study states that in CT there was little prior awareness of DHP among focus group attendees, while in MA the prior awareness was greater as participants had seen them either in TV commercials or at home shows. Those who had prior awareness did not do anything prior to the pilot program either because they just did not take action or because the costs were too high. Most of those who participated in the program did so to save money on their electric bills and/or to improve the quality of their home heating or to replace their previous cooling equipment.
18 | NEEA DHP Final Summary Report 2014 | X | The pilot project focused on site-built electrically heated single family homes. In order to be cost-effective and successful, the approach used was to optimize the replacement system with a single outdoor compressor and one or two indoor air handlers.
19 | NEEP Strategy Report 2013 | X | This report includes a high level assessment of the general characteristics and current heating and cooling profiles of homes in the Northeast and Mid-Atlantic regions, as well as climate data across the regions. In the Northeast, 12.5% of homes heat with electricity and 31% use heating oil. In the Mid-Atlantic nearly 26% of homes heat with electricity and only 6% use oil. The study also found that 30% of homes in the Northeast have central air conditioning while 65% of homes in the Mid-Atlantic do. In the Mid-Atlantic half of the systems are over 10 years old. Sales of ductless systems are growing at a strong pace- 17% per year average between 1999 and 2011. Fujitsu and Mitsubishi reported 25%-35% growth in the sale of inverter-driven residential systems in the Northeast.
21 | NEEA DHP Market Progress Eval 2 2012 | X | The pilot targeted SF site built homes with primary electric heat, but the report also notes that many of these homes use some amount of propane, kerosene, or wood as a supplemental source. 61% of contractors surveyed expect their DHP sales to increase in the next two years. Most of these firms did not indicate any capacity constraints that would limit their ability to grow along with demand. The vast majority of contractors focused on displacing rather than replacing existing heating equipment in their marketing approaches. The study notes that in interviews with 5 DHP manufacturers and 5 distributors all indicated that they target their sales to installers and not to end users. Some distributors are working with electricians as long as they have a refrigerant license, but others are not for a variety of reasons.
22 | Rocky Mountain Instit. DHP Paper 2013 | X | This paper presents market characteristics at a very high level, looking at the economic and environmental costs of heating with oil in the Northeast
28 | NEEA DHP Market Progress Eval 3 2014 | X | Per phone surveys, 21% of participants had window or room A/C prior to the DHP install, and 77% had no cooling. There were also 187 phone surveys with installers- 98 who were known to have interacted with programs and 89 with no known program interactions. About 11% of installed systems were reported to be short run or concealed duct types- these are growing in popularity because the fans are quieter and households don't want to see the indoor units. 73% of installers expect sales to increase over the next two years. 99% of participating installers and 95% of non-participating installers recommend DHP to customers. The most common reason for not recommending DHP was that the heating/cooling system is still working. multiple suppliers stated that non-incentive sales seem to be increasing and may be 50% of the market. The common reasons for not getting an incentive are that the heating fuel did not qualify, that the installation was not in primary living space, that it was for an ineligible building type, or that there was not a local program or incentives ran out.
OVERALL SUMMARY |  |  | With technology improvements to enable operating at colder temperatures and resolving other reliability, control and manufacturer support issues, the market has opened up to electrically- and delivered fuels-heated homes. Most homeowners are unaware and skeptical about the technology without a market-intervention initiative. Once a concerted effort is made to promote DHPs and quality DHPs are being installed, the word spreads and demand increases. Manufacturers and contractors all expect rapid (20-30%) growth in program areas. Depending on the region, some/many homes have some inefficient A/C (window or central) that is either replaced or displaced with much more efficient DHPs. Once a DHP market is established, about half the DHP installations occur outside of programs due to numerous program-constraining issues contractors don't want to manage.

## 2014_EE Program Information
DB# | Reference Study | EE Program Information | Highlights
1 | BHE-EMT Heat Pump Interim Report 2013 | X | This study noted that financing is not a major driver of program participation, however 27% of program participants used some sort of financing to make their heat pump purchase.
3 | CCHRC ASHP Report 2013 | X | The study provides some limited information on utility programs for heat pumps. The City and Borough of Sitka offered a $1500 incentive for electric heat customers to switch to ASHP. Several others offered GSHP incentives but not ASHP incentives.
18 | NEEA DHP Final Summary Report 2014 | X | The study found that utility incentive programs appeared to be overcoming the first cost hurdles faced by customers in 2010. They also found that utility buy-in was critical to the success of the pilot project by using their communication channels and credibility to reach potential customers, as well as providing incentives.
28 | NEEA DHP Market Progress Eval 3 2014 | X | As of 2012, rebates ranged between $750 to $2,670 and averaged just over $1300. The most common reasons for offering rebates were the suitability of DHP for customers with electric resistance heat and regulatory obligations to provide multiple energy efficiency alternatives. DHP program budgets ranged from less than 1% to about half of utility residential portfolio budgets.
OVERALL SUMMARY |  |  | Program incentives for DHPs range widely from a few hundred to $1500 per unit. Utility incentive programs appeared to be overcoming the first cost hurdles faced by customers. Lack of financing does not drive DHP installation decitions, although it is used if available. In the PNW, DHP program budgets ranged from less than 1% to about half of utility residential portfolio budgets.

## 2014_Installed Costs
DB# | Reference Study | Market Characteristics | Highlights
3 | CCHRC ASHP Report 2013 | X | The study reports an installed cost for a DHP at about $3500. Another mention in the report suggests $3000 for a DHP that is effective down to 20 degrees F.
5 (16) | KEMA Ductless Mini Pilot Study & Update 2009-2011 | X | Average installed costs for this pilot program ranged from $4200 to $9440 though it is not clear how many of these were single vs. multi-zone systems.
19 | NEEP Strategy Report 2013 | X | Identifies a range of installed costs in studies between 2009 and 2013 of $2,069 to $12,267. There is not sufficient information to understand the basis of these cost differences.
21 | NEEA DHP Market Progress Eval 2 2012 | X | Installed costs were lower for contractors who are more active with DHP- $3188 for a single headed system as compared with $3694 for less active contractors.
28 | NEEA DHP Market Progress Eval 3 2014 | X | Installed costs for a single head unit are about $4000 and suppliers do not expect that to change
40 | NEEP incremental cost study | X
OVERALL SUMMARY |  |  | Installed costs seem to range between $3,000 and $4000 per single-head unit. Installed prices come down as markets mature.